## BoQ1
Government eProcurement System Created By: Ravindra singh Mehrok Created Date/Time: 04-May-2022 05:31 PM Tender Title: Supply of GLF Spares at Vadodara Airport (Yr.2022-23) Tender ID: 2022_AAI_111828_1
Tender Inviting Authority: Asst.Gen. Manager(E-E), AAI, CA, Vadodara
Name of Work: Supply of GLF Spares at Vadodara Airport (Yr.2022-23)
Contract No: AAI/BO/E-E/NIT-6/GLF Spares/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 6 sq.mm., 5 KV grade PVC insulated & PVC sheathed, anti-termite & anti-rodent, multi-stranded copper conductor single core Airfield lighting cable confirming to IS 1554 (Part-II) with up to date amendments and confirming to technical specifications, terms & conditions etc. as specified in tender document complete as required. | 500.00 | Mtr. |  | 110.00 | 55000.00 | 100.00 | 50000.00 | 50000.00 | electromach sales agencies
2.00 | Supply of Dichroic Green Filter suitable for use in Youyang make 105W inset-type Runway edge/Threshold lights (Spares should be supplied from OEM i.e M/s. Youyang or its authorised dealer.) | 10.00 | Each |  | 6500.00 | 65000.00 | 5000.00 | 50000.00 | 50000.00 | electromach sales agencies
3.00 | Supply of Dichroic Red Filter suitable for use in Youyang make 105W inset-type Runway edge/END light (Spares should be supplied from OEM i.e M/s. Youyang or its authorised dealer.) | 10.00 | Each |  | 6500.00 | 65000.00 | 5000.00 | 50000.00 | 50000.00 | electromach sales agencies
4.00 | Supply of Dichroic Red Filter suitable for use in Youyang make elevated type Uni-directional End Light Fitting. (Spares should be supplied from OEM i.e M/s. Youyang or its authorised dealer.) | 20.00 | Each |  | 5600.00 | 112000.00 | 5000.00 | 100000.00 | 100000.00 | electromach sales agencies
5.00 | Supply of Dichroic Green Filter suitable for use in Youyang make elevated type Uni-directional Threshold Light Fitting. (Spares should be supplied from OEM i.e M/s. Youyang or its authorised dealer.) | 5.00 | Each |  | 10450.00 | 52250.00 | 5000.00 | 25000.00 | 25000.00 | electromach sales agencies
6.00 | Supply of Dichroic Red Filter suitable for use in Safegate make 105W inset-type Runway edge/END light.(Spares should be supplied from OEM i.e M/s.Safegate or its authorised dealer ) | 10.00 | Each |  | 9500.00 | 95000.00 | 10000.00 | 100000.00 | 95000.00 | Techno Electricals
7.00 | Supply of Dichroic Orange Filter suitable for use in Safegate make 105W inset-type Runway edge light.(Spares should be supplied from OEM i.e M/s.Safegate or its authorised dealer ) | 10.00 | Each |  | 9500.00 | 95000.00 | 10000.00 | 100000.00 | 95000.00 | Techno Electricals
8.00 | Supply of Dichroic Green Filter suitable for use in AMA make elevated type Uni-directional Threshold Light Fitting.(Spares should be supplied from OEM i.e M/s.AMA or its authorised dealer ) | 5.00 | Each |  | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 10000.00 | electromach sales agencies, Techno Electricals
9.00 | Supply of 360° Blue Outer dome suitable for AMA Make LED type Elevated Taxi/ Turning Pad Edge light fittings. (Spares should be supplied from OEM i.e M/s.AMA or its authorised dealer ) | 5.00 | Each |  | 1800.00 | 9000.00 | 1000.00 | 5000.00 | 5000.00 | electromach sales agencies
10.00 | Supply of 360° Blue Outer dome suitable for AMA Make 45W halogen type Elevated Taxi/ Turning Pad Edge light fittings. (Spares should be supplied from OEM i.e M/s. AMA or its authorised dealer) | 5.00 | Each |  | 700.00 | 3500.00 | 1200.00 | 6000.00 | 3500.00 | Techno Electricals
11.01 | Supply of following spares suitable for use in 6.6A Current driven 50Hz. SafeGate make Elevated type 2xLED Runway Guard Light Fixture.(Spares should be supplied from OEM i.e M/s.Safegate or its authorised dealer ) a) Canopy | 4.00 | Each |  | 4000.00 | 16000.00 | 15000.00 | 60000.00 | 16000.00 | Techno Electricals
11.02 | b) Canopy bracket | 4.00 | Each |  | 3000.00 | 12000.00 | 10000.00 | 40000.00 | 12000.00 | Techno Electricals
11.03 | c) Breakable Coupling | 4.00 | Each |  | 1500.00 | 6000.00 | 3500.00 | 14000.00 | 6000.00 | Techno Electricals
11.04 | d) Gasket EMI enclosure | 4.00 | Each |  | 500.00 | 2000.00 | 3000.00 | 12000.00 | 2000.00 | Techno Electricals
11.05 | e) Gasket lens | 4.00 | Each |  | 500.00 | 2000.00 | 3000.00 | 12000.00 | 2000.00 | Techno Electricals
11.06 | f) Lens clear | 4.00 | Each |  | 7000.00 | 28000.00 | 9500.00 | 38000.00 | 28000.00 | Techno Electricals
11.07 | g) Power supply assembly | 1.00 | Each |  | 60000.00 | 60000.00 | 130000.00 | 130000.00 | 60000.00 | Techno Electricals
12.00 | Supply of 700mm Length LED strip with 0.5W 11 Nos. LEDs suitable for use in Operational area signages connected with GLF series circuit complete as required. | 25.00 | Each |  | 300.00 | 7500.00 | 1500.00 | 37500.00 | 7500.00 | Techno Electricals
13.00 | Supply of Halogen lamp for Inset fitting 105W,6.6A (Narva Cat no.6103 / Osram Cat No.64339B). | 150.00 | Each |  | 890.00 | 133500.00 | 1050.00 | 157500.00 | 133500.00 | Techno Electricals
14.00 | Supply of 200W,6.6A, Bi-Pin type Halogen lamp (Narva Cat no.6373 / Osram Cat No.64386 ). | 50.00 | Each |  | 400.00 | 20000.00 | 475.00 | 23750.00 | 20000.00 | Techno Electricals
15.00 | Supply of 200W,6.6A, lead type Halogen lamp (Narva Cat no. 6117LL /Osram Cat No.64382). | 50.00 | Each |  | 828.00 | 41400.00 | 900.00 | 45000.00 | 41400.00 | Techno Electricals
16.00 | Supply of PAPI lamp holder suitable for AMA make PAPI light fittings.(Spares should be supplied from OEM i.e M/s. AMA or its authorised dealer ) | 30.00 | Each |  | 350.00 | 10500.00 | 400.00 | 12000.00 | 10500.00 | Techno Electricals
17.00 | Supply of retrofit LED driver suitable for using on 15W LED type Taxiway light fittings AMA makes.(Spares should be supplied from OEM i.e M/s.AMA or its authorised dealer ) | 15.00 | Each |  | 1600.00 | 24000.00 | 1800.00 | 27000.00 | 24000.00 | Techno Electricals
18.00 | Supply of LED driver suitable for use in Operational area signage of all sizes operated through series circuit with current range from 2.8 to 6.6 Amps with inbuilt dual circuit with auto change over facility to work on main and standby circuit complete as required. | 10.00 | Each |  | 3500.00 | 35000.00 | 5000.00 | 50000.00 | 35000.00 | Techno Electricals
19.00 | Supply of LED driver suitable for use in Operational area signage of all sizes operated through series circuit with current range from 2.8 to 6.6 Amps with single circuit complete as required. | 20.00 | Each |  | 3500.00 | 70000.00 | 5000.00 | 100000.00 | 70000.00 | Techno Electricals
20.01 | Supply of following type 5KV grade 50Hz series type Isolating Transformers, encapsulated in polyester resin finally moulded in neoprene type rubber with primary & secondary connections and ready to install etc. complete as required. a) 200w, 6.6/6.6A | 10.00 | Each |  | 4350.00 | 43500.00 | 4200.00 | 42000.00 | 42000.00 | electromach sales agencies
20.02 | b) 15W, 6.6/6.6A | 30.00 | Each |  | 3000.00 | 90000.00 | 3200.00 | 96000.00 | 90000.00 | Techno Electricals
21.01 | Supply of Secondary lead cable of size 2 x 4 sq.mm PVC insulated PVC sheathed anti termite & anti rodent stranded copper conductor airfield lighting cable of 1.1 KV grade. Confirming to IS 1554 part II with up to date ammendnebts as required for following length along with 1.1KV grade Plug and receptacles moulded plug at one end and receptacles at the other end etc complete as required. a) 0.5 mtr. long | 10.00 | Each |  | 350.00 | 3500.00 | 400.00 | 4000.00 | 3500.00 | Techno Electricals
21.02 | b) 1.5 mtr. long | 10.00 | Each |  | 750.00 | 7500.00 | 600.00 | 6000.00 | 6000.00 | electromach sales agencies
22.00 | Supply of 16 Sq. mm. size 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade of PVC insulated PVC sheathed single core copper conductor Airfield Lighting cable conforming to the relevant IS specification etc. complete as required. | 50.00 | Each |  | 380.00 | 19000.00 | 400.00 | 20000.00 | 19000.00 | Techno Electricals
23.00 | Supply of Multi pin Connector PCB suitable for use in operational area signboard | 10.00 | Each |  | 200.00 | 2000.00 | 3500.00 | 35000.00 | 2000.00 | Techno Electricals
24.00 | Supply of Rubber Gasket suitable for Base plates of Runway & Taxi Elevated Edge light fittings. | 20.00 | Each |  | 90.00 | 1800.00 | 300.00 | 6000.00 | 1800.00 | Techno Electricals
25.00 | Supply of Rubber Gasket (O-ring) suitable for Youyang make 105w Inset type runway edge light.(Orange/White colour) (Spares should be supplied from OEM i.e M/s.Youyang or its authorised dealer) | 50.00 | Each |  | 350.00 | 17500.00 | 500.00 | 25000.00 | 17500.00 | Techno Electricals
26.00 | Supply of Rubber Gasket (O-ring) suitable for Safegate make 105w Inset type runway edge light.(Orange/White colour) (Spares should be supplied from OEM i.e M/s.Safegate or its authorised dealer ) | 50.00 | Each |  | 350.00 | 17500.00 | 500.00 | 25000.00 | 17500.00 | Techno Electricals
27.00 | Supply of Prism Rubber Gasket suitable for Youyang make 105w Inset type runway edge light. (Spares should be supplied from OEM i.e M/s.Youyang or its authorised dealer ) | 60.00 | Each |  | 500.00 | 30000.00 | 500.00 | 30000.00 | 30000.00 | electromach sales agencies, Techno Electricals
28.00 | Supply of Prism Rubber Gasket suitable for Safegate make 105w Inset type runway edge light.(Spares should be supplied from OEM i.e M/s. Safegate or its authorised dealer ) | 50.00 | Each |  | 700.00 | 35000.00 | 500.00 | 25000.00 | 25000.00 | electromach sales agencies
29.00 | Supply of blanking plate of 330 mm dia., 06 mm thick fabricated from cast Iron having 6 nos. holes suitable for bolting M-10 stainless steel bolts suitable for covering of transformer housing boxes | 10.00 | Each |  | 1200.00 | 12000.00 | 1700.00 | 17000.00 | 12000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 1308950.00 |  | 1585750.00
Lowest Amount Quoted BY: Techno Electricals(1308950.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of GLF Spares at Vadodara Airport (Yr.2022-23) Tender ID: 2022_AAI_111828_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 1308950.00 | L1
| 2 | electromach sales agencies | 1585750.00 | L2