## BoQ1
Government eProcurement System Created By: Jagannath singh Deshmukh Created Date/Time: 05-May-2022 12:00 PM Tender Title: Supply of spares for Electrical installations at C. A. Rajkot. Tender ID: 2022_AAI_111862_1
Tender Inviting Authority: SM (E E), AAI, CA Rajkot.
Name of Work: Supply of spares for Electrical installations at C. A. Rajkot.
Contract No: AAI/RAJ/SM(E-E)/NIT-01/22-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Adarsh electric works(GSTN-24ABOFA4210B1Z4) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | Taral Electricals(GSTN-24ACMPR0280M1Z9) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size single core copper conductor PVC insulated, flexible, heat resistant flame retardent grade wires suitable for 1100 volts confirming to IS-694 and up to date amendments. A) 6 sq.mm. (R/1,B/1,Y/1) | 270.00 | Mtr |  | 57.00 | 15390.00 | 85.00 | 22950.00 | 65.00 | 17550.00 | 63.00 | 17010.00 | 66.00 | 17820.00 | 65.00 | 17550.00 | 67.00 | 18090.00 | 15390.00 | Adarsh electric works
2.00 | Supply of following size single core copper conductor PVC insulated, flexible, heat resistant flame retardent grade wires suitable for 1100 volts confirming to IS-694 and up to date amendments. B) 4 sq.mm. (R/2,Y/2,B/1) | 450.00 | Mtr |  | 39.00 | 17550.00 | 59.00 | 26550.00 | 43.00 | 19350.00 | 40.00 | 18000.00 | 44.00 | 19800.00 | 43.00 | 19350.00 | 44.00 | 19800.00 | 17550.00 | Adarsh electric works
3.00 | Supply of following size single core copper conductor PVC insulated, flexible, heat resistant flame retardent grade wires suitable for 1100 volts confirming to IS-694 and up to date amendments. C) 2.5 sq.mm. (R/2,Y/2,B/2,G/2) | 720.00 | Mtr |  | 26.00 | 18720.00 | 40.00 | 28800.00 | 29.00 | 20880.00 | 29.00 | 20880.00 | 27.00 | 19440.00 | 29.00 | 20880.00 | 30.00 | 21600.00 | 18720.00 | Adarsh electric works
4.00 | Supply of following size single core copper conductor PVC insulated, flexible, heat resistant flame retardent grade wires suitable for 1100 volts confirming to IS-694 and up to date amendments. D) 1.5 sq.mm. (R/2,Y/2,B/2,G/1) | 630.00 | Mtr |  | 17.00 | 10710.00 | 26.00 | 16380.00 | 18.00 | 11340.00 | 23.00 | 14490.00 | 13.00 | 8190.00 | 17.00 | 10710.00 | 19.00 | 11970.00 | 8190.00 | Rudraksha Enterprise
5.00 | Supply of following size stranded copper conductor PVC insulated, PVC sheathed flexible wire suitable for 1100 volts confirming to IS-694 and up to date amendments. A) 3C x 2.5 sq.mm. | 200.00 | Mtr |  | 87.00 | 17400.00 | 85.00 | 17000.00 | 94.00 | 18800.00 | 98.00 | 19600.00 | 89.00 | 17800.00 | 90.00 | 18000.00 | 111.00 | 22200.00 | 17000.00 | Bafna Electric Corp
6.00 | Supply of following size stranded copper conductor PVC insulated, PVC sheathed flexible wire suitable for 1100 volts confirming to IS-694 and up to date amendments. B) 3C x 1.5 sq.mm. | 200.00 | Mtr |  | 55.00 | 11000.00 | 52.00 | 10400.00 | 59.00 | 11800.00 | 63.00 | 12600.00 | 56.00 | 11200.00 | 57.00 | 11400.00 | 70.00 | 14000.00 | 10400.00 | Bafna Electric Corp
7.00 | Supply of conductive aluminium lugs with coated finish and standard stud hole size for following cable sizes. A) 25 sq.mm. | 20.00 | Each |  | 7.00 | 140.00 | 6.00 | 120.00 | 5.50 | 110.00 | 34.00 | 680.00 | 14.00 | 280.00 | 8.00 | 160.00 | 5.00 | 100.00 | 100.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Supply of conductive aluminium lugs with coated finish and standard stud hole size for following cable sizes. B) 70 sq.mm. | 20.00 | Each |  | 18.00 | 360.00 | 47.00 | 940.00 | 15.00 | 300.00 | 69.00 | 1380.00 | 20.00 | 400.00 | 27.00 | 540.00 | 18.00 | 360.00 | 300.00 | Yash Energy Pvt. Ltd
9.00 | Supply of conductive aluminium lugs with coated finish and standard stud hole size for following cable sizes. C) 120 sq.mm. | 15.00 | Each |  | 30.00 | 450.00 | 85.00 | 1275.00 | 21.00 | 315.00 | 115.00 | 1725.00 | 34.00 | 510.00 | 45.00 | 675.00 | 31.00 | 465.00 | 315.00 | Yash Energy Pvt. Ltd
10.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. A) SPMCB 06 AMP,10KA (C series) | 20.00 | Each |  | 116.00 | 2320.00 | 100.00 | 2000.00 | 120.00 | 2400.00 | 115.00 | 2300.00 | 113.00 | 2260.00 | 123.00 | 2460.00 | 124.00 | 2480.00 | 2000.00 | Bafna Electric Corp
11.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. B) SPMCB 16 AMP,10KA (C series) | 20.00 | Each |  | 116.00 | 2320.00 | 100.00 | 2000.00 | 120.00 | 2400.00 | 115.00 | 2300.00 | 113.00 | 2260.00 | 123.00 | 2460.00 | 124.00 | 2480.00 | 2000.00 | Bafna Electric Corp
12.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. C) SPMCB 20 AMP,10KA (C series) | 15.00 | Each |  | 116.00 | 1740.00 | 100.00 | 1500.00 | 120.00 | 1800.00 | 115.00 | 1725.00 | 113.00 | 1695.00 | 123.00 | 1845.00 | 124.00 | 1860.00 | 1500.00 | Bafna Electric Corp
13.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. D) DPMCB 32 AMP,10KA (C series) | 5.00 | Each |  | 421.00 | 2105.00 | 350.00 | 1750.00 | 418.00 | 2090.00 | 288.00 | 1440.00 | 405.00 | 2025.00 | 383.00 | 1915.00 | 387.00 | 1935.00 | 1440.00 | DOSHI ELECTRIC ENGG. CO.
14.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. E) FPMCB 63 AMP,10KA (C series) | 5.00 | Each |  | 1483.00 | 7415.00 | 1100.00 | 5500.00 | 1320.00 | 6600.00 | 1035.00 | 5175.00 | 1276.00 | 6380.00 | 1197.00 | 5985.00 | 1210.00 | 6050.00 | 5175.00 | DOSHI ELECTRIC ENGG. CO.
15.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. F) TPN MCB 16 AMP,10KA (C series) | 10.00 | Each |  | 949.00 | 9490.00 | 776.00 | 7760.00 | 840.00 | 8400.00 | 851.00 | 8510.00 | 883.00 | 8830.00 | 836.00 | 8360.00 | 845.00 | 8450.00 | 7760.00 | Bafna Electric Corp
16.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. G) TPN MCB 63 AMP,10KA (C series) | 7.00 | Each |  | 1424.00 | 9968.00 | 1105.00 | 7735.00 | 1215.00 | 8505.00 | 1035.00 | 7245.00 | 1276.00 | 8932.00 | 1197.00 | 8379.00 | 1210.00 | 8470.00 | 7245.00 | DOSHI ELECTRIC ENGG. CO.
17.00 | Supply of following rating DP, 240V 2-module RCCB having a sensitivity current of 30mA conforming to IS 12640 (Part 1) / IEC 61008-1 A) DP RCCB 25 AMP (C series) | 20.00 | Each |  | 1655.00 | 33100.00 | 1300.00 | 26000.00 | 1548.00 | 30960.00 | 1311.00 | 26220.00 | 1473.00 | 29460.00 | 1386.00 | 27720.00 | 1401.00 | 28020.00 | 26000.00 | Bafna Electric Corp
18.00 | Supply of following rating DP, 240V 2-module RCCB having a sensitivity current of 30mA conforming to IS 12640 (Part 1) / IEC 61008-1 B) DP RCCB 40 AMP (C series) | 20.00 | Each |  | 1774.00 | 35480.00 | 1330.00 | 26600.00 | 1590.00 | 31800.00 | 1323.00 | 26460.00 | 1630.00 | 32600.00 | 1551.00 | 31020.00 | 1569.00 | 31380.00 | 26460.00 | DOSHI ELECTRIC ENGG. CO.
19.00 | Supply of following rating FP, 415V 4-module RCCB having a sensitivity current of 30mA conforming to IS 12640 (Part 1) / IEC 61008-1 A) FP RCCB 40 AMP (C series) | 5.00 | Each |  | 2195.00 | 10975.00 | 1700.00 | 8500.00 | 2036.00 | 10180.00 | 1806.00 | 9030.00 | 1969.00 | 9845.00 | 1848.00 | 9240.00 | 1868.00 | 9340.00 | 8500.00 | Bafna Electric Corp
20.00 | Supply of following rating FP, 415V 4-module RCCB having a sensitivity current of 30mA conforming to IS 12640 (Part 1) / IEC 61008-1 B) FP RCCB 63 AMP (C series) | 5.00 | Each |  | 2432.00 | 12160.00 | 1935.00 | 9675.00 | 2313.00 | 11565.00 | 1921.00 | 9605.00 | 2214.00 | 11070.00 | 2092.00 | 10460.00 | 2115.00 | 10575.00 | 9605.00 | DOSHI ELECTRIC ENGG. CO.
21.00 | Supply of following 4-pole MCCBs of L&T make having fixed time/current characteristics use on 240V / 415V, 50Hz, AC supply as required. A) MCCB 100 AMP,10KA (C series) Brand : L&T Electrical (Catalog No:CM97919OOK2OG) | 6.00 | Each |  | 6110.00 | 36660.00 | 5658.00 | 33948.00 | 6348.00 | 38088.00 | 5658.00 | 33948.00 | 5510.00 | 33060.00 | 5478.00 | 32868.00 | 5629.00 | 33774.00 | 32868.00 | Taral Electricals
22.00 | Supply of following 4-pole MCCBs of L&T make having fixed time/current characteristics use on 240V / 415V, 50Hz, AC supply as required. B) MCCB 125 AMP,10KA (C series) Brand : L&T Electrical (Catalog No:CM90681OOLOOG) | 4.00 | Each |  | 7398.00 | 29592.00 | 6567.00 | 26268.00 | 7367.00 | 29468.00 | 6567.00 | 26268.00 | 6395.00 | 25580.00 | 6358.00 | 25432.00 | 6532.00 | 26128.00 | 25432.00 | Taral Electricals
23.00 | Supply of following 4-pole MCCBs of L&T make having fixed time/current characteristics use on 240V / 415V, 50Hz, AC supply as required. C) MCCB 250 AMP,10KA (C series) Brand : L&T Electrical (Catalog No:CM90642OOPO) | 2.00 | Each |  | 15009.00 | 30018.00 | 13840.00 | 27680.00 | 14111.00 | 28222.00 | 13835.00 | 27670.00 | 13474.00 | 26948.00 | 11520.00 | 23040.00 | 13762.00 | 27524.00 | 23040.00 | Taral Electricals
24.00 | Supply of 63 A four pole contactor conforming to IS / IEC 60947-4-1 & IEC 60947-4-1; suitable for 415 V, 50 Hz; without auxilliary contact as required. | 2.00 | Each |  | 4153.00 | 8306.00 | 3085.00 | 6170.00 | 3250.00 | 6500.00 | 2875.00 | 5750.00 | 3004.00 | 6008.00 | 2986.00 | 5972.00 | 3147.00 | 6294.00 | 5750.00 | DOSHI ELECTRIC ENGG. CO.
25.00 | Supply of 16A analog daily programmable timer with a shortest switching time of 30min or less; accuracy of +/- 1.5 s/day or better; -10 degree C to +55 degree C operating temperature; suitable for 240 V, 50 Hz, AC supply as required. | 20.00 | Each |  | 2195.00 | 43900.00 | 1895.00 | 37900.00 | 1906.00 | 38120.00 | 2300.00 | 46000.00 | 1462.00 | 29240.00 | 1691.00 | 33820.00 | 979.00 | 19580.00 | 19580.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Supply of Basic multifunctional meter with LCD display and features like input voltage range 50-520VAC, CT/PT programmable; selectable parameters V, A, F, PF, KW, KVA; auto scaling kilo giga,mega with acuuracy class 0.5 | 5.00 | Each |  | 3085.00 | 15425.00 | 7897.00 | 39485.00 | 5352.00 | 26760.00 | 3450.00 | 17250.00 | 3629.00 | 18145.00 | 3617.00 | 18085.00 | 7554.00 | 37770.00 | 15425.00 | Adarsh electric works
27.00 | Supply of single-phase LCD-display digital energy meter with box 5A to 30A with accuracy class 1.0. | 15.00 | Each |  | 831.00 | 12465.00 | 1477.00 | 22155.00 | 1654.00 | 24810.00 | 1610.00 | 24150.00 | 1328.00 | 19920.00 | 1503.00 | 22545.00 | 1518.00 | 22770.00 | 12465.00 | Adarsh electric works
28.00 | 20A MCB protected metal Industrial type socket box with plug top combined; | 10.00 | Each |  | 653.00 | 6530.00 | 1425.00 | 14250.00 | 660.00 | 6600.00 | 2070.00 | 20700.00 | 784.00 | 7840.00 | 931.00 | 9310.00 | 220.00 | 2200.00 | 2200.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | 25mm fire retardant polypropylene corrugated flexible conduit pipe | 200.00 | Mtr |  | 33.00 | 6600.00 | 15.00 | 3000.00 | 22.00 | 4400.00 | 35.00 | 7000.00 | 10.00 | 2000.00 | 21.00 | 4200.00 | 17.00 | 3400.00 | 2000.00 | Rudraksha Enterprise
30.00 | 25x16mm uPVC mini trunking; color : white | 120.00 | Mtr |  | 36.00 | 4320.00 | 36.00 | 4320.00 | 38.00 | 4560.00 | 40.00 | 4800.00 | 22.00 | 2640.00 | 32.00 | 3840.00 | 33.00 | 3960.00 | 2640.00 | Rudraksha Enterprise
31.00 | 25x16mm uPVC mini trunking elbow; color : white | 30.00 | Each |  | 6.00 | 180.00 | 25.00 | 750.00 | 5.00 | 150.00 | 23.00 | 690.00 | 3.00 | 90.00 | 4.00 | 120.00 | 4.00 | 120.00 | 90.00 | Rudraksha Enterprise
32.00 | 25x16mm uPVC mini trunking internal elbow; color : white | 30.00 | Each |  | 6.00 | 180.00 | 25.00 | 750.00 | 4.00 | 120.00 | 23.00 | 690.00 | 3.00 | 90.00 | 4.00 | 120.00 | 4.00 | 120.00 | 90.00 | Rudraksha Enterprise
33.00 | 25x16mm uPVC mini trunking external bend; color : white | 30.00 | Each |  | 6.00 | 180.00 | 25.00 | 750.00 | 5.00 | 150.00 | 23.00 | 690.00 | 3.00 | 90.00 | 6.00 | 180.00 | 7.00 | 210.00 | 90.00 | Rudraksha Enterprise
34.00 | 38x25mm uPVC mini trunking; color : white | 120.00 | Mtr |  | 68.00 | 8160.00 | 65.00 | 7800.00 | 65.00 | 7800.00 | 115.00 | 13800.00 | 50.00 | 6000.00 | 60.00 | 7200.00 | 83.00 | 9960.00 | 6000.00 | Rudraksha Enterprise
35.00 | 38x25mm uPVC mini trunking elbow; color : white | 30.00 | Each |  | 9.00 | 270.00 | 35.00 | 1050.00 | 7.00 | 210.00 | 46.00 | 1380.00 | 5.00 | 150.00 | 8.00 | 240.00 | 8.00 | 240.00 | 150.00 | Rudraksha Enterprise
36.00 | 38x25mm uPVC mini trunking internal elbow; color : white | 30.00 | Each |  | 9.00 | 270.00 | 35.00 | 1050.00 | 8.00 | 240.00 | 52.00 | 1560.00 | 4.00 | 120.00 | 7.00 | 210.00 | 8.00 | 240.00 | 120.00 | Rudraksha Enterprise
37.00 | 38x25mm uPVC mini trunking external bend; color : white | 30.00 | Each |  | 9.00 | 270.00 | 35.00 | 1050.00 | 9.00 | 270.00 | 58.00 | 1740.00 | 4.00 | 120.00 | 9.00 | 270.00 | 10.00 | 300.00 | 120.00 | Rudraksha Enterprise
38.00 | 25mm Round conduit MMS (medium mechanical stress) uPVC pipe (socketed); color : white | 120.00 | Mtr |  | 42.00 | 5040.00 | 40.00 | 4800.00 | 36.00 | 4320.00 | 92.00 | 11040.00 | 38.00 | 4560.00 | 39.00 | 4680.00 | 39.00 | 4680.00 | 4320.00 | Yash Energy Pvt. Ltd
39.00 | 25mm uPVC round conduit slip bend; color : white | 30.00 | Each |  | 13.00 | 390.00 | 20.00 | 600.00 | 14.00 | 420.00 | 12.00 | 360.00 | 15.00 | 450.00 | 14.00 | 420.00 | 13.00 | 390.00 | 360.00 | DOSHI ELECTRIC ENGG. CO.
40.00 | 25mm uPVC round elbow; color : white | 30.00 | Each |  | 12.00 | 360.00 | 20.00 | 600.00 | 10.00 | 300.00 | 17.00 | 510.00 | 13.00 | 390.00 | 10.00 | 300.00 | 10.00 | 300.00 | 300.00 | Yash Energy Pvt. Ltd, ABHISHEK INTEGRATIONS LIMITED, Taral Electricals
41.00 | 25mm metal saddle strap | 150.00 | Each |  | 2.00 | 300.00 | 8.00 | 1200.00 | 6.00 | 900.00 | 12.00 | 1800.00 | 4.00 | 600.00 | 1.00 | 150.00 | 6.00 | 900.00 | 150.00 | Taral Electricals
42.00 | Supply of 6A, 1way switch suitable for 240V~50Hz Make : Anchor PENTA (Code : 14111) | 30.00 | Each |  | 14.00 | 420.00 | 15.00 | 450.00 | 14.00 | 420.00 | 23.00 | 690.00 | 13.00 | 390.00 | 14.00 | 420.00 | 12.00 | 360.00 | 360.00 | ABHISHEK INTEGRATIONS LIMITED
43.00 | Supply of 6A, socket suitable for 240V~50Hz Make : Anchor PENTA (Code : 14302) | 30.00 | Each |  | 34.00 | 1020.00 | 41.00 | 1230.00 | 33.00 | 990.00 | 46.00 | 1380.00 | 31.00 | 930.00 | 31.00 | 930.00 | 41.00 | 1230.00 | 930.00 | Rudraksha Enterprise, Taral Electricals
44.00 | Supply of 100W fan regulator , suitable for 240V~50Hz Make : Anchor PENTA (Code : 14502) | 40.00 | Each |  | 208.00 | 8320.00 | 210.00 | 8400.00 | 198.00 | 7920.00 | 282.00 | 11280.00 | 189.00 | 7560.00 | 193.00 | 7720.00 | 176.00 | 7040.00 | 7040.00 | ABHISHEK INTEGRATIONS LIMITED
45.00 | Supply of 20A, 1way switch suitable for 240V~50Hz Make : Anchor PENTA (Code : 14401) | 15.00 | Each |  | 72.00 | 1080.00 | 75.00 | 1125.00 | 70.00 | 1050.00 | 104.00 | 1560.00 | 66.00 | 990.00 | 69.00 | 1035.00 | 66.00 | 990.00 | 990.00 | ABHISHEK INTEGRATIONS LIMITED, Rudraksha Enterprise
46.00 | Supply of 6A/16A Uni socket, suitable for 240V~50Hz Make : Anchor PENTA (Code : 14307) | 15.00 | Each |  | 80.00 | 1200.00 | 80.00 | 1200.00 | 77.00 | 1155.00 | 115.00 | 1725.00 | 73.00 | 1095.00 | 75.00 | 1125.00 | 72.00 | 1080.00 | 1080.00 | ABHISHEK INTEGRATIONS LIMITED
47.00 | Supply of 6A/16A, 5-in-1 switch-socket box with 4 fixing holes; complete with indicator fuse etc. suitable for 240V~50Hz Make : Anchor PENTA (Code : 14620) | 15.00 | Each |  | 190.00 | 2850.00 | 195.00 | 2925.00 | 181.00 | 2715.00 | 575.00 | 8625.00 | 173.00 | 2595.00 | 176.00 | 2640.00 | 242.00 | 3630.00 | 2595.00 | Rudraksha Enterprise
48.00 | Supply of 6A, pendent holder with plastic ring suitable for 240V~50Hz Make : Anchor PENTA (Code : 14706, color : white) | 10.00 | Each |  | 27.00 | 270.00 | 29.00 | 290.00 | 27.00 | 270.00 | 58.00 | 580.00 | 25.00 | 250.00 | 26.00 | 260.00 | 26.00 | 260.00 | 250.00 | Rudraksha Enterprise
49.00 | Supply of 6A, Angle lamp holder with metal ring suitable for 240V~50Hz Make : Anchor PENTA (Code : 51169, color : white) | 20.00 | Each |  | 30.00 | 600.00 | 32.00 | 640.00 | 29.00 | 580.00 | 207.00 | 4140.00 | 28.00 | 560.00 | 28.00 | 560.00 | 28.00 | 560.00 | 560.00 | ABHISHEK INTEGRATIONS LIMITED, Rudraksha Enterprise, Taral Electricals
50.00 | Supply of domestic surface mounting box; 3 gang box Make : Anchor PENTA (Code : 7032, color : white) | 8.00 | Each |  | 30.00 | 240.00 | 31.00 | 248.00 | 28.00 | 224.00 | 69.00 | 552.00 | 30.00 | 240.00 | 29.00 | 232.00 | 41.00 | 328.00 | 224.00 | Yash Energy Pvt. Ltd
51.00 | Supply of domestic surface mounting box; 2 gang box Make : Anchor PENTA (Code : 7112, color : white) | 20.00 | Each |  | 24.00 | 480.00 | 24.00 | 480.00 | 23.00 | 460.00 | 58.00 | 1160.00 | 24.00 | 480.00 | 22.00 | 440.00 | 33.00 | 660.00 | 440.00 | Taral Electricals
52.00 | Supply of domestic surface mounting box; 4 gang box (Double Domestic) Make : Anchor PENTA (Code : 7203, color : white) | 8.00 | Each |  | 49.00 | 392.00 | 50.00 | 400.00 | 46.00 | 368.00 | 575.00 | 4600.00 | 48.00 | 384.00 | 45.00 | 360.00 | 65.00 | 520.00 | 360.00 | Taral Electricals
53.00 | Supply of domestic surface mounting box; 6 gang box (Double Domestic) Make : Anchor PENTA (Code : 7393, color : white) | 5.00 | Each |  | 59.00 | 295.00 | 60.00 | 300.00 | 56.00 | 280.00 | 1058.00 | 5290.00 | 58.00 | 290.00 | 55.00 | 275.00 | 80.00 | 400.00 | 275.00 | Taral Electricals
54.00 | Supply of 6AX, 1way switch suitable for 240V~50Hz Make : Crabtree VERONA (Code : ACVSXXW061) | 40.00 | Each |  | 34.00 | 1360.00 | 50.00 | 2000.00 | 51.00 | 2040.00 | 86.00 | 3440.00 | 50.00 | 2000.00 | 46.00 | 1840.00 | 35.00 | 1400.00 | 1360.00 | Adarsh electric works
55.00 | Supply of 6A, 3Pin shuttered socket with ISI marking suitable for 240V~50Hz Make : Crabtree VERONA (Code : ACVKSWW063) | 120.00 | Each |  | 87.00 | 10440.00 | 115.00 | 13800.00 | 117.00 | 14040.00 | 92.00 | 11040.00 | 105.00 | 12600.00 | 105.00 | 12600.00 | 81.00 | 9720.00 | 9720.00 | ABHISHEK INTEGRATIONS LIMITED
56.00 | Supply of 100W 2M fan regulator , suitable for 240V~50Hz Make : Crabtree VERONA (Code : ACVRFHW008) | 50.00 | Each |  | 294.00 | 14700.00 | 399.00 | 19950.00 | 407.00 | 20350.00 | 305.00 | 15250.00 | 400.00 | 20000.00 | 365.00 | 18250.00 | 282.00 | 14100.00 | 14100.00 | ABHISHEK INTEGRATIONS LIMITED
57.00 | Supply of 16AX, 1way switch suitable for 240V~50Hz Make : Crabtree VERONA (Code : ACVSXXW161) | 120.00 | Each |  | 90.00 | 10800.00 | 120.00 | 14400.00 | 122.00 | 14640.00 | 104.00 | 12480.00 | 105.00 | 12600.00 | 109.00 | 13080.00 | 85.00 | 10200.00 | 10200.00 | ABHISHEK INTEGRATIONS LIMITED
58.00 | Supply of 6A/16A, 3Pin shuttered socket with ISI marking suitable for 240V~50Hz Make : Crabtree VERONA (Code : ACVKCWW163) | 40.00 | Each |  | 134.00 | 5360.00 | 175.00 | 7000.00 | 180.00 | 7200.00 | 247.00 | 9880.00 | 170.00 | 6800.00 | 161.00 | 6440.00 | 124.00 | 4960.00 | 4960.00 | ABHISHEK INTEGRATIONS LIMITED
59.00 | Supply of 6A, SP, 1 way, 1 module switch with indicator suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 01) | 20.00 | Each |  | 185.00 | 3700.00 | 175.00 | 3500.00 | 180.00 | 3600.00 | 190.00 | 3800.00 | 300.00 | 6000.00 | 193.00 | 3860.00 | 244.00 | 4880.00 | 3500.00 | Bafna Electric Corp
60.00 | Supply of 6A, 2 module, 3-pin shuttered socket suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 70) | 20.00 | Each |  | 217.00 | 4340.00 | 210.00 | 4200.00 | 200.00 | 4000.00 | 230.00 | 4600.00 | 260.00 | 5200.00 | 225.00 | 4500.00 | 185.00 | 3700.00 | 3700.00 | ABHISHEK INTEGRATIONS LIMITED
61.00 | Supply of 100W, 2 module fan step regulator , suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 63) | 20.00 | Each |  | 700.00 | 14000.00 | 665.00 | 13300.00 | 646.00 | 12920.00 | 748.00 | 14960.00 | 910.00 | 18200.00 | 730.00 | 14600.00 | 597.00 | 11940.00 | 11940.00 | ABHISHEK INTEGRATIONS LIMITED
62.00 | Supply of 2400mA, 2 module USB charger, suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 22) | 2.00 | Each |  | 1523.00 | 3046.00 | 1680.00 | 3360.00 | 1673.00 | 3346.00 | 1967.00 | 3934.00 | 1900.00 | 3800.00 | 1588.00 | 3176.00 | 1299.00 | 2598.00 | 2598.00 | ABHISHEK INTEGRATIONS LIMITED
63.00 | Supply of 20A, SP, 1 way, 1 module switch with indicator suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5720 63) | 30.00 | Each |  | 223.00 | 6690.00 | 215.00 | 6450.00 | 206.00 | 6180.00 | 230.00 | 6900.00 | 270.00 | 8100.00 | 233.00 | 6990.00 | 189.00 | 5670.00 | 5670.00 | ABHISHEK INTEGRATIONS LIMITED
64.00 | Supply of 6A/16A, 2 module, 3-pin shuttered socket suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 71) | 30.00 | Each |  | 287.00 | 8610.00 | 275.00 | 8250.00 | 265.00 | 7950.00 | 293.00 | 8790.00 | 360.00 | 10800.00 | 300.00 | 9000.00 | 244.00 | 7320.00 | 7320.00 | ABHISHEK INTEGRATIONS LIMITED
65.00 | 16A 3pin plug top; ISI approved; suitable for 230V, 50Hz power supply; color : white | 30.00 | Each |  | 77.00 | 2310.00 | 70.00 | 2100.00 | 51.00 | 1530.00 | 92.00 | 2760.00 | 59.00 | 1770.00 | 78.00 | 2340.00 | 66.00 | 1980.00 | 1530.00 | Yash Energy Pvt. Ltd
66.00 | 6A 3pin plug top; ISI approved; suitable for 230V, 50Hz power supply; color : white | 30.00 | Each |  | 57.00 | 1710.00 | 50.00 | 1500.00 | 68.00 | 2040.00 | 75.00 | 2250.00 | 45.00 | 1350.00 | 67.00 | 2010.00 | 44.00 | 1320.00 | 1320.00 | ABHISHEK INTEGRATIONS LIMITED
67.00 | Supply of 2.5 mfd fan capacitor conforming to IS 1709:1984, etc. as required | 180.00 | Each |  | 28.00 | 5040.00 | 24.00 | 4320.00 | 24.00 | 4320.00 | 69.00 | 12420.00 | 22.00 | 3960.00 | 24.00 | 4320.00 | 66.00 | 11880.00 | 3960.00 | Rudraksha Enterprise
68.00 | Tubelight Holder for 20W LED tubelight Make : Bajaj | 200.00 | Each |  | 12.00 | 2400.00 | 15.00 | 3000.00 | 8.50 | 1700.00 | 58.00 | 11600.00 | 13.00 | 2600.00 | 33.00 | 6600.00 | 28.00 | 5600.00 | 1700.00 | Yash Energy Pvt. Ltd
| Total in Figures |  |  |  |  | 539882.00 |  | 583829.00 |  | 561841.00 |  | 619857.00 |  | 526382.00 |  | 527714.00 |  | 534811.00
Lowest Amount Quoted BY: Rudraksha Enterprise(526382.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of spares for Electrical installations at C. A. Rajkot. Tender ID: 2022_AAI_111862_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rudraksha Enterprise | 526382.00 | L1
| 2 | Taral Electricals | 527714.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 534811.00 | L3
| 4 | Adarsh electric works | 539882.00 | L4
| 5 | Yash Energy Pvt. Ltd | 561841.00 | L5
| 6 | Bafna Electric Corp | 583829.00 | L6
| 7 | DOSHI ELECTRIC ENGG. CO. | 619857.00 | L7