## BoQ1
Government eProcurement System Created By: UMESH KUMAR SINGH Created Date/Time: 10-May-2022 04:23 PM Tender Title: Miscellaneous electrical works.SH.Laying of LT cables at Surat Airport, Surat. Tender ID: 2022_AAI_112079_1
Tender Inviting Authority: SM (E-E), AAI, Surat Airport, Surat
Name of Work:Miscellaneous electrical works. SH:Laying of LT cables at Surat Airport, Surat.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | QUICK CONTROL(GSTN-24AEXPP3444E1Z9) |  | DC ELECTRICS(GSTN-24AWYPC0029K1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Laying of one number XLPE insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
1.01 | Above 185 sq. mm and upto 400 sq. mm | 152.00 | Meter |  | 295.00 | 44840.00 | 350.00 | 53200.00 | 350.00 | 53200.00 | 44840.00 | QUICK CONTROL
2.00 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required.
2.01 | Above 185 sq. mm and upto 400 sq. mm | 1064.00 | Meter |  | 230.00 | 244720.00 | 110.00 | 117040.00 | 300.00 | 319200.00 | 117040.00 | DC ELECTRICS
3.00 | Laying and fixing of one number PVC insulated and PVC sheathed XLPE power cable of 1.1 kv grade of following size on cable tray/slotted angle cable tray/ channel cable tray/angle cable tray by using GI U clamp of 8mm dia having 300mm length, the distance between 2 clamps should be approx 1 meter to accomodate cable of 3.5 X 300 sq.mm & 3.5 X 400 sq.mm indivisually each etc. as required.
3.01 | Above 185 sq. mm and upto 400 sq. mm | 2376.00 | Meter |  | 185.00 | 439560.00 | 160.00 | 380160.00 | 150.00 | 356400.00 | 356400.00 | Manish Electricals
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required.
4.01 | Above 185 sq. mm and upto 400 sq. mm | 212.00 | Meter |  | 180.00 | 38160.00 | 120.00 | 25440.00 | 50.00 | 10600.00 | 10600.00 | Manish Electricals
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
5.01 | Above 185 sq. mm and upto 400 sq. mm | 160.00 | Meter |  | 225.00 | 36000.00 | 120.00 | 19200.00 | 50.00 | 8000.00 | 8000.00 | Manish Electricals
6.00 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess or on cable tray for loop earthing along with existing cable as required. | 5254.00 | Meter |  | 42.00 | 220668.00 | 21.00 | 110334.00 | 30.00 | 157620.00 | 110334.00 | DC ELECTRICS
7.00 | Providing and laying of 110 mm ISI marked HDPE pipe, conforming to IS 4984, along with all accessories like socket, bend, couplers, suitable size PP rope as required including fitting, cutting, jointing & Laying of one number XLPE insulated and PVC sheathed / XLPE armoured power cable of 1.1 kV grade of size of 300 sq.mm or 400 sq.mm cable in HDPE pipe with HDD trenchless method direct in ground (6 mtrs below ground level ) in all type of soil etc complete in all respect as per direction of Engineer-in-Charge. required. | 136.00 | Meter |  | 2350.00 | 319600.00 | 2040.00 | 277440.00 | 1250.00 | 170000.00 | 170000.00 | Manish Electricals
8.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required
8.01 | 3.5 X 300 sqmm | 12.00 | Job |  | 4450.00 | 53400.00 | 3000.00 | 36000.00 | 4000.00 | 48000.00 | 36000.00 | DC ELECTRICS
8.02 | 3.5 X 400 sqmm | 12.00 | Job |  | 5450.00 | 65400.00 | 3800.00 | 45600.00 | 4500.00 | 54000.00 | 45600.00 | DC ELECTRICS
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
9.01 | 3.5 X 300 sqmm | 4.00 | Job |  | 2450.00 | 9800.00 | 4000.00 | 16000.00 | 1200.00 | 4800.00 | 4800.00 | Manish Electricals
9.02 | 3.5 X 400 sqmm | 4.00 | Job |  | 3450.00 | 13800.00 | 4000.00 | 16000.00 | 1500.00 | 6000.00 | 6000.00 | Manish Electricals
10.00 | Dismantling/ Opening of already terminated PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 kV with brass compression gland and aluminium lugs by cutting the cable and pluging the hole with sealant after drawing the cable for following size as required.
10.01 | 3.5 X 300 sqmm | 4.00 | Job |  | 1450.00 | 5800.00 | 1500.00 | 6000.00 | 200.00 | 800.00 | 800.00 | Manish Electricals
10.02 | 3.5 X 400 sqmm | 4.00 | Job |  | 1650.00 | 6600.00 | 1500.00 | 6000.00 | 200.00 | 800.00 | 800.00 | Manish Electricals
| Total in Figures |  |  |  |  | 1498348.00 |  | 1108414.00 |  | 1189420.00
Lowest Amount Quoted BY: DC ELECTRICS(1108414.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous electrical works.SH.Laying of LT cables at Surat Airport, Surat. Tender ID: 2022_AAI_112079_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DC ELECTRICS | 1108414.00 | L1
| 2 | Manish Electricals | 1189420.00 | L2
| 3 | QUICK CONTROL | 1498348.00 | L3