## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 11-May-2022 05:24 PM Tender Title: Provision of UPS for aerobridge at Calicut International Airport Tender ID: 2022_AAI_112372_1
Tender Inviting Authority: Asst. General Manager (E-E) - I
Name of Work : Provision of UPS for aerobridge at Calicut International Airport
Ref No: AAI/CL/ENGG(E)/ 144/NIT-01/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Three D Integrated Solutions Ltd(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of 15 KVA output power capacity uninterruptable power supply of, 3 phase IN & 3 phase 4 wire OUT configuration, used for standalone application and meeting the technical specifications provided in the tender document, to the satisfaction of the Engineer-In-Charge. The UPS shall be suitable for operation with battery bank of capacity (12 V, 42Ah-32 Nos.) available with AAI. Quote shall be exclusive of battery bank | 1.00 | Job |  | 236250.00 | 236250.00 | 236250.00 | Three D Integrated Solutions Ltd
| Total in Figures |  |  |  |  | 236250.00
Lowest Amount Quoted BY: Three D Integrated Solutions Ltd(236250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of UPS for aerobridge at Calicut International Airport Tender ID: 2022_AAI_112372_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Three D Integrated Solutions Ltd | 236250.00 | L1