## BoQ1
Government eProcurement System Created By: Dadan Singh Created Date/Time: 12-May-2022 05:22 PM Tender Title: Construction of ATC Tower cum Technical Block at Raja Bhoj Airport, Bhopal. SH Design, Manufacturing, Supply, Installation, Testing and Commissioning of Elevators. Tender ID: 2022_AAI_112458_1
Tender Inviting Authority: AGM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Construction of ATC Tower cum Technical Block at RAJA BHOJ AIRPORT BHOPAL. SH: Design, Manufacturing, Supply, Installation, Testing and Commissioning of Elevators.
Contract No: AAI/BPL/ENGG(E)/NIT-03/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Escon elevators Pvt Ltd(GSTN-27AAACE0977F1ZQ) |  | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9) |  | ORBIS ELEVATOR CO LTD(GSTN-NA) |  | Techno Industries Private Limited(GSTN-NA) |  | ECE Industries Limited(GSTN-NA) |  | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I :- SITC of Elevators :- Supply, Installation, Testing & Commissioning of following capacity machine room less electic traction type passenger elevators suitable for following travel height, stops & openings and entrance on all the serving floors, automatic center opening door, car enclosure provided with scratch resistant finish stainless steel panel suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control, speed of 1.50 Mtr/sec, electromagnetic brake system, Simplex full collective operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI's EPABX, infrared ray sensing door protection for suitable height, reverse phase relay on controller, fireman's switch at ground floor, digital car position indicator in car and landing at all floors with UP/DOWN direction, LED type light fixtures, ventilation fan complete with all accessories including automatic rescue device and suitable protocol for BMS etc. The traction motor of machine room less elevator shall be of gearless type and placed inside the elevator hoist way complete as per technical specifications. The elevator shall conform to the detailed specifications attached.
1.01 | 13 Passenger (minimum) capacity, 844 kg approx. (barrier free) having automatic center opening stainless steel doors with & stainless steel frame (car & landing doors), 13.50 mtr travel height (Approx), 4 stops & 4 opening (Ground Plus Three Floor) on same side suitable for shaft size of 2510mm x 2250mm. (Technical Block) | 2.00 | Each |  | 1465000.00 | 2930000.00 | 1495000.00 | 2990000.00 | 1285000.00 | 2570000.00 | 1470000.00 | 2940000.00 | 1459000.00 | 2918000.00 | 1710700.00 | 3421400.00 | 2570000.00 | ORBIS ELEVATOR CO LTD
1.02 | 13 Passenger (minimum) capacity, 844 kg approx. (barrier free) having automatic center opening stainless steel doors with & stainless steel frame (car & landing doors), 21.00 mtr travel height (Approx), 7 stops & 7 opening (Ground plus Six floor) on same side suitable for shaft size of 2235mm x 2170mm. (ATC Tower Block) | 2.00 | Each |  | 1700000.00 | 3400000.00 | 1666000.00 | 3332000.00 | 1485000.00 | 2970000.00 | 1745000.00 | 3490000.00 | 1692000.00 | 3384000.00 | 2028600.00 | 4057200.00 | 2970000.00 | ORBIS ELEVATOR CO LTD
2.00 | SH-II :- All Inclusive Comprehensive Maintenance Contract (AICMC) AICMC of 13 passenger Elevator (as per item no. 1.01 of SH-I) which include routine, preventive, breakdown maintenance, monthly preventive maintenance visit of trained engineer / technician, attending any number of breakown calls during the month as and when required, and repair / replacement of wornout items with minimum downtime and carrying out renewal of lifts licenses (if applicable) etc as per special conditions / specifications enclosed. (Technical Block)
2.01 | For First Year After DLP (4.5 % of SITC Cost of BOQ Item No. 1.01) | 2.00 | Each |  | 65925.00 | 131850.00 | 67275.00 | 134550.00 | 57825.00 | 115650.00 | 66150.00 | 132300.00 | 65655.00 | 131310.00 | 76982.00 | 153964.00 | 115650.00 | ORBIS ELEVATOR CO LTD
2.02 | For Second Year After DLP (6 % of Cumulative enhencement on Year 1 AICMC Cost) | 2.00 | Each |  | 69881.00 | 139762.00 | 71312.00 | 142624.00 | 61295.00 | 122590.00 | 70119.00 | 140238.00 | 69594.00 | 139188.00 | 81601.00 | 163202.00 | 122590.00 | ORBIS ELEVATOR CO LTD
2.03 | For Third Year After DLP (6 % of Cumulative enhencement on Year 2 AICMC Cost) | 2.00 | Each |  | 74074.00 | 148148.00 | 75591.00 | 151182.00 | 64973.00 | 129946.00 | 74326.00 | 148652.00 | 73770.00 | 147540.00 | 86497.00 | 172994.00 | 129946.00 | ORBIS ELEVATOR CO LTD
2.04 | For Fourth Year After DLP (6 % of Cumulative enhencement on Year 3 AICMC Cost) | 2.00 | Each |  | 78518.00 | 157036.00 | 80126.00 | 160252.00 | 68871.00 | 137742.00 | 78786.00 | 157572.00 | 78196.00 | 156392.00 | 91687.00 | 183374.00 | 137742.00 | ORBIS ELEVATOR CO LTD
2.05 | For Fifth Year After DLP (6 % of Cumulative enhencement on Year 4 AICMC Cost) | 2.00 | Each |  | 83229.00 | 166458.00 | 84934.00 | 169868.00 | 73003.00 | 146006.00 | 83513.00 | 167026.00 | 82888.00 | 165776.00 | 97188.00 | 194376.00 | 146006.00 | ORBIS ELEVATOR CO LTD
3.00 | AICMC of 13 passenger Elevator (as per item no. 1.02 of SH-I) which include routine, preventive, breakdown maintenance, monthly preventive maintenance visit of trained engineer / technician, attending any number of breakown calls during the month as and when required, and repair / replacement of wornout items with minimum downtime and carrying out renewal of lifts licenses (if applicable) etc as per special conditions / specifications enclosed. (ATC Tower Block)
3.01 | For First Year After DLP (4.5 % of SITC Cost of BOQ Item No. 1.02) | 2.00 | Each |  | 76500.00 | 153000.00 | 74970.00 | 149940.00 | 66825.00 | 133650.00 | 78525.00 | 157050.00 | 76140.00 | 152280.00 | 91287.00 | 182574.00 | 133650.00 | ORBIS ELEVATOR CO LTD
3.02 | For Second Year After DLP (6 % of Cumulative enhencement on Year 1 AICMC Cost) | 2.00 | Each |  | 81090.00 | 162180.00 | 79468.00 | 158936.00 | 70835.00 | 141670.00 | 83237.00 | 166474.00 | 80708.00 | 161416.00 | 96764.00 | 193528.00 | 141670.00 | ORBIS ELEVATOR CO LTD
3.03 | For Third Year After DLP (6 % of Cumulative enhencement on Year 2 AICMC Cost) | 2.00 | Each |  | 85955.00 | 171910.00 | 84236.00 | 168472.00 | 75085.00 | 150170.00 | 88231.00 | 176462.00 | 85550.00 | 171100.00 | 102570.00 | 205140.00 | 150170.00 | ORBIS ELEVATOR CO LTD
3.04 | For Fourth Year After DLP (6 % of Cumulative enhencement on Year 3 AICMC Cost) | 2.00 | Each |  | 91112.00 | 182224.00 | 89290.00 | 178580.00 | 79590.00 | 159180.00 | 93525.00 | 187050.00 | 90683.00 | 181366.00 | 108724.00 | 217448.00 | 159180.00 | ORBIS ELEVATOR CO LTD
3.05 | For Fifth Year After DLP (6 % of Cumulative enhencement on Year 4 AICMC Cost) | 2.00 | Each |  | 96579.00 | 193158.00 | 94647.00 | 189294.00 | 84365.00 | 168730.00 | 99137.00 | 198274.00 | 96124.00 | 192248.00 | 115247.00 | 230494.00 | 168730.00 | ORBIS ELEVATOR CO LTD
| Total in Figures |  |  |  |  | 7935726.00 |  | 7925698.00 |  | 6945334.00 |  | 8061098.00 |  | 7900616.00 |  | 9375694.00
Lowest Amount Quoted BY: ORBIS ELEVATOR CO LTD(6945334.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ATC Tower cum Technical Block at Raja Bhoj Airport, Bhopal. SH Design, Manufacturing, Supply, Installation, Testing and Commissioning of Elevators. Tender ID: 2022_AAI_112458_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ORBIS ELEVATOR CO LTD | 6945334.00 | L1
| 2 | ECE Industries Limited | 7900616.00 | L2
| 3 | OMEGA ELEVATORS | 7925698.00 | L3
| 4 | Escon elevators Pvt Ltd | 7935726.00 | L4
| 5 | Techno Industries Private Limited | 8061098.00 | L5
| 6 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED | 9375694.00 | L6