## BoQ1
Government eProcurement System Created By: Praveen K Created Date/Time: 12-May-2022 11:15 AM Tender Title: Renovation of balance toilet in terminal ITB AND DTB at Calicut international Airport. SH Face lift of 4 nos toilet block and construction of additional 2 nos toilet block in terminal building Tender ID: 2022_AAI_112472_1
Tender Inviting Authority: <Bid Manager, O/o HOD [Civil], Engineering Wing, Calicut Airport , AAI, Calicut Intl. Airport-673647 >
Name of Work: <Renovation of balance toilet in terminal ITB & DTB at Calicut international Airport. SH: Face lift of 4 nos toilet block and construction of additional 2 nos toilet block in terminal building>
Contract No: <2022_AAI_112472>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RUBICON PROJECT MANAGEMENT P LTD(GSTN-32AADCR0771P1Z6) |  | TATI CONSTRUCTION PVT LTD(GSTN-32AACCT8307Q1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing sanitary fixtures for handicapped toilet including one wash basin of size 450x300mm (cera cat no S2040121SN or approved equivalent), one pair mounting brackets and all other related fittings like bottle trap (ALD-CHR-769L300X190 of Jaguar or approved equvalent),angle valve,waste coupling(ALD-CHR-709 Jaguar or approved equvalent), single lever clinical faucet-piller cock( CERA F9030453CH or approved equvalent), one number EWC (cera cat no S1013200SN or approved equivalent) & Cistern with raised soft push button for convenient acces complete with fittings & seat cover , one no.stainless steel Hand rail 75 cm & five nos. of stainless steel grab rails 60 cm and one no.of HelthFaucet ( Jaguar ALD-CHR-573 or approved equvalent) etc of make CERA or equivalent as per drawing & as per manufactures specification including cutting and making good the walls and floors wherever required as directed by engineer in charge. | 6.00 | Each |  | 27317.00 | 163902.00 | 36250.00 | 217500.00 | 163902.00 | RUBICON PROJECT MANAGEMENT P LTD
2.00 | Providing & fixing of white vitreous China wall mounting cascade type water closet (CERA Cat No. S1043111SN for WC with seat cover and B1110112XX for concealed cistern with half frame set, Q KNOBE ( CERA B1120104SF) or approved equivalent) with CP bolts, nuts, CI chair hanging arrangements with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed cistern with flow restriction 1.5LPM as per GRIHA standard including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 69.00 | Each |  | 19200.00 | 1324800.00 | 14600.00 | 1007400.00 | 1007400.00 | TATI CONSTRUCTION PVT LTD
3.00 | Providing & fixing white vitrous china flat back urinal with automatic flushing systems CERA Cat No. - S4010101SN and or approved equivalent) comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipmentand bottle trap Hindware make and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 55.00 | Each |  | 19450.00 | 1069750.00 | 16300.00 | 896500.00 | 896500.00 | TATI CONSTRUCTION PVT LTD
4.00 | Providing & fixing of white vitreous china under counter oval wash basin/circular basin CERA cat No. S2030104SN or approved equivalent) with CP brass waste assembly, CP cast brass bottle trap with extension piece (Jaguar ALD-CHR-769 L 300*190) or approved equivalent), 450mm long CP copper connections pipes (Jaquar Cat No.ALD 805B or approved equivalent), wall flanges and rubber adapters for waste connection complete including , nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 89.00 | Each |  | 6100.00 | 542900.00 | 5500.00 | 489500.00 | 489500.00 | TATI CONSTRUCTION PVT LTD
5.00 | Providing & fixing modular toilet cubicles (model, type ZMS series of Marino/Green Sturdo Vibrance Series Serene Model of Greenply or equivalent), consisting of high pressure 12mm thick compact laminate board as per IS 2046 and as per fire retardent BS-476/96 standard with phenolic core panels for partitions of intermediate divider, doors and pilasters (The cubicle shall have dimensions of 1250mm x 1800mm,1995mm (including bottom gap 150 mm, but the panel area required for one cabin shall be one longer and the one shorter side of the cabin including one door) with a door size of 650mm width, the assembly shall be supported by black satin finish aluminium head rail on top of panels and panels shall fixed on the floor with a clearance of maximum 150mm using aluminium alloy satin finish adjustable legs screwed to the floor included accessories with standard - Besco make aluminium, nylon polyamide accessories, gravity hinges,Aluminium top rail,Privacy thumb turn c/w occupancy indicator,coat hook, door knob,Adjustable pedestal,Aluminium "U" channel, aluminum door stopper channel,rubber door stopper lining,screws & wall plug etc complete as per manufacturers specification and as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. (L shaped panels matching the two dimensions of a cabin is only required to make one cubicle) | 69.00 | Each |  | 43500.00 | 3001500.00 | 32000.00 | 2208000.00 | 2208000.00 | TATI CONSTRUCTION PVT LTD
6.00 | Providing and fixing Pillar taps presmatic push type auto closing syste with flow restriction 6LPM as per GRIHA standard for wash basin of Chrome finished of make Grohe / Kohler / Jaquar cat no.PRS-CHR-031 or equivalent etc complete as per direction of EIC. | 89.00 | Each |  | 2600.00 | 231400.00 | 2450.00 | 218050.00 | 218050.00 | TATI CONSTRUCTION PVT LTD
7.00 | Providing and fixing Pillar taps presmatic push type auto closing syste with flow restriction 6LPM as per GRIHA standard for wash basin of Chrome finished of make Grohe / Kohler / Jaquar cat no.PRS-CHR-031 or equivalent etc complete as per direction of EIC. | 97.00 | Each |  | 2600.00 | 252200.00 | 2450.00 | 237650.00 | 237650.00 | TATI CONSTRUCTION PVT LTD
8.00 | Providing & fixing of Urinal partition projection 450 mm Jaguar JSE-CHR-810UCP450X ro approved equvalent as directed by Engineer in charge The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. | 55.00 | Each |  | 6698.00 | 368390.00 | 4550.00 | 250250.00 | 250250.00 | TATI CONSTRUCTION PVT LTD
9.00 | Providing, fixing, testing and commissioning SS Body liquid soap dispenser (EURONICS ES 05) fixed to wall with screws | 44.00 | Each |  | 2966.00 | 130504.00 | 2500.00 | 110000.00 | 110000.00 | TATI CONSTRUCTION PVT LTD
10.00 | Providing, fixing, testing and commissioning SS Twin Toilet paper holder (RHP 05T) recessed to wall | 69.00 | Each |  | 1300.00 | 89700.00 | 2850.00 | 196650.00 | 89700.00 | RUBICON PROJECT MANAGEMENT P LTD
11.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 30.00 | Each |  | 1900.00 | 57000.00 | 1250.00 | 37500.00 | 37500.00 | TATI CONSTRUCTION PVT LTD
12.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 87.00 | Each |  | 844.00 | 73428.00 | 1300.00 | 113100.00 | 73428.00 | RUBICON PROJECT MANAGEMENT P LTD
13.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 14.00 | Each |  | 1840.00 | 25760.00 | 1700.00 | 23800.00 | 23800.00 | TATI CONSTRUCTION PVT LTD
14.00 | Providing and fixing 6mm thick mirror with studs as per the direction of Engineer in charge in approved sizes and shapes in toilets. The rates includes material, labour, machineries and fixing charges in nothing extra shall be payable. | 54.00 | Sqm |  | 1675.00 | 90450.00 | 2200.00 | 118800.00 | 90450.00 | RUBICON PROJECT MANAGEMENT P LTD
15.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 89.00 | Each |  | 403.00 | 35867.00 | 1200.00 | 106800.00 | 35867.00 | RUBICON PROJECT MANAGEMENT P LTD
16.00 | Laterite masonry with laterite stone blocks of size 0.35x0.21x0.20 with cement mortar 1 : 6 (1cement : 6 coarse sand including dressing of sides etc complete as per the direction of Engineer in charge above plinth level upto floor V level | 139.00 | meter |  | 310.00 | 43090.00 | 600.00 | 83400.00 | 43090.00 | RUBICON PROJECT MANAGEMENT P LTD
17.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels Granite of any colour and shade Area of slab over 0.50 sqm | 67.00 | Sqm |  | 4210.00 | 282070.00 | 5000.00 | 335000.00 | 282070.00 | RUBICON PROJECT MANAGEMENT P LTD
18.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 1000x1000 mm | 660.00 | Sqm |  | 1708.00 | 1127280.00 | 1600.00 | 1056000.00 | 1056000.00 | TATI CONSTRUCTION PVT LTD
19.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 1000x1000 mm | 1500.00 | Sqm |  | 1708.00 | 2562000.00 | 1700.00 | 2550000.00 | 2550000.00 | TATI CONSTRUCTION PVT LTD
20.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 66.00 | Cum |  | 8292.00 | 547272.00 | 12900.00 | 851400.00 | 547272.00 | RUBICON PROJECT MANAGEMENT P LTD
21.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 7.00 | Cum |  | 10304.00 | 72128.00 | 15500.00 | 108500.00 | 72128.00 | RUBICON PROJECT MANAGEMENT P LTD
22.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 70.00 | Sqm |  | 522.00 | 36540.00 | 850.00 | 59500.00 | 36540.00 | RUBICON PROJECT MANAGEMENT P LTD
23.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1050.00 | kg |  | 124.00 | 130200.00 | 120.00 | 126000.00 | 126000.00 | TATI CONSTRUCTION PVT LTD
24.00 | Providing and laying autoclaved aerated cement blocks masonry with 100 mm thick AAC blocks in super structure above plinth level up to floor V level in cement mortar 1:4 (1 cement : 4 coarse sand ). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work. | 9.00 | Cum |  | 10300.00 | 92700.00 | 10000.00 | 90000.00 | 90000.00 | TATI CONSTRUCTION PVT LTD
25.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.00 | Cum |  | 10085.00 | 50425.00 | 10000.00 | 50000.00 | 50000.00 | TATI CONSTRUCTION PVT LTD
26.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in Cement mortar 1:4 (1 cement : 4 coarse sand) | 80.00 | Cum |  | 10185.00 | 814800.00 | 11500.00 | 920000.00 | 814800.00 | RUBICON PROJECT MANAGEMENT P LTD
27.00 | Providing and fixing CP brass two way bib cock with flow restriction 1.5 LPM as per GRIHA standard of approved quality of make Jaquar cat no.FUS-29041/Grohe/Kohler or equivalent conforming to IS 8931 including all fittings and fixtures complete including cutting and making good the walls and floor wherever required as directed by engineer in charge | 69.00 | Each |  | 2600.00 | 179400.00 | 2550.00 | 175950.00 | 175950.00 | TATI CONSTRUCTION PVT LTD
28.00 | Laterite masonry with laterite stone blocks of size 0.35 x 0.21 x 0.20 m with cement mortar 1 : 6 (1 cement : 6 coarse) sand including dressing of sides etc. complete as per the direction of Engineer in charge. Up to plinth level. | 11.00 | Cum |  | 7924.00 | 87164.00 | 7000.00 | 77000.00 | 77000.00 | TATI CONSTRUCTION PVT LTD
29.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 225.00 | Sqm |  | 356.00 | 80100.00 | 450.00 | 101250.00 | 80100.00 | RUBICON PROJECT MANAGEMENT P LTD
30.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 860.00 | Sqm |  | 167.00 | 143620.00 | 150.00 | 129000.00 | 129000.00 | TATI CONSTRUCTION PVT LTD
31.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 50 mm nominal outer dia Pipes | 305.00 | meter |  | 949.00 | 289445.00 | 1100.00 | 335500.00 | 289445.00 | RUBICON PROJECT MANAGEMENT P LTD
32.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 32 mm nominal outer dia Pipes | 114.00 | meter |  | 546.00 | 62244.00 | 600.00 | 68400.00 | 62244.00 | RUBICON PROJECT MANAGEMENT P LTD
33.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 178.00 | meter |  | 562.00 | 100036.00 | 600.00 | 106800.00 | 100036.00 | RUBICON PROJECT MANAGEMENT P LTD
34.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia Pipes | 178.00 | meter |  | 395.00 | 70310.00 | 450.00 | 80100.00 | 70310.00 | RUBICON PROJECT MANAGEMENT P LTD
35.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 16.00 | Each |  | 7700.00 | 123200.00 | 3350.00 | 53600.00 | 53600.00 | TATI CONSTRUCTION PVT LTD
36.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 25 mm nominal bore | 75.00 | Each |  | 1465.00 | 109875.00 | 1000.00 | 75000.00 | 75000.00 | TATI CONSTRUCTION PVT LTD
37.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand Cast Iron S&S as per IS: 1729 | 80.00 | Each |  | 2965.00 | 237200.00 | 1350.00 | 108000.00 | 108000.00 | TATI CONSTRUCTION PVT LTD
38.00 | providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with fttings in sewer line vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 110 mm | 235.00 | meter |  | 1300.00 | 305500.00 | 1350.00 | 317250.00 | 305500.00 | RUBICON PROJECT MANAGEMENT P LTD
39.00 | providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with fttings in sewer line vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 75 mm | 350.00 | meter |  | 633.00 | 221550.00 | 750.00 | 262500.00 | 221550.00 | RUBICON PROJECT MANAGEMENT P LTD
40.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugsat 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | 655.00 | Sqm |  | 1688.00 | 1105640.00 | 3200.00 | 2096000.00 | 1105640.00 | RUBICON PROJECT MANAGEMENT P LTD
41.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 73.00 | Cum |  | 1489.00 | 108697.00 | 6000.00 | 438000.00 | 108697.00 | RUBICON PROJECT MANAGEMENT P LTD
42.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge | 7.00 | Cum |  | 4546.00 | 31822.00 | 7000.00 | 49000.00 | 31822.00 | RUBICON PROJECT MANAGEMENT P LTD
43.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 44.00 | Cum |  | 1346.00 | 59224.00 | 6500.00 | 286000.00 | 59224.00 | RUBICON PROJECT MANAGEMENT P LTD
44.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead For thickness of tiles 10 mm to 25 mm | 2130.00 | Sqm |  | 138.00 | 293940.00 | 150.00 | 319500.00 | 293940.00 | RUBICON PROJECT MANAGEMENT P LTD
45.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 660.00 | Sqm |  | 165.00 | 108900.00 | 600.00 | 396000.00 | 108900.00 | RUBICON PROJECT MANAGEMENT P LTD
46.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 54.00 | Each |  | 270.00 | 14580.00 | 500.00 | 27000.00 | 14580.00 | RUBICON PROJECT MANAGEMENT P LTD
47.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. (The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry.) | 370.00 | Sqm |  | 400.00 | 148000.00 | 580.00 | 214600.00 | 148000.00 | RUBICON PROJECT MANAGEMENT P LTD
48.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 13.00 | Sqm |  | 5100.00 | 66300.00 | 4900.00 | 63700.00 | 63700.00 | TATI CONSTRUCTION PVT LTD
49.00 | Dismantling of existing EWC,IWC,URINALS,Wash basinsincluding stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead | 150.00 | Each |  | 405.00 | 60750.00 | 600.00 | 90000.00 | 60750.00 | RUBICON PROJECT MANAGEMENT P LTD
50.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 150.00 | meter |  | 67.00 | 10050.00 | 480.00 | 72000.00 | 10050.00 | RUBICON PROJECT MANAGEMENT P LTD
51.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | Each |  | 5590.00 | 27950.00 | 14200.00 | 71000.00 | 27950.00 | RUBICON PROJECT MANAGEMENT P LTD
52.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each |  | 34000.00 | 68000.00 | 35000.00 | 70000.00 | 68000.00 | RUBICON PROJECT MANAGEMENT P LTD
53.00 | Disposal of building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved dumping ground for lead upto 1 km for all lifts, complete as per directions of Engineer-in-charge | 150.00 | Cum |  | 370.00 | 55500.00 | 250.00 | 37500.00 | 37500.00 | TATI CONSTRUCTION PVT LTD
| Total in Figures |  |  |  |  | 17385053.00 |  | 18581950.00
Lowest Amount Quoted BY: RUBICON PROJECT MANAGEMENT P LTD(17385053.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of balance toilet in terminal ITB AND DTB at Calicut international Airport. SH Face lift of 4 nos toilet block and construction of additional 2 nos toilet block in terminal building Tender ID: 2022_AAI_112472_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RUBICON PROJECT MANAGEMENT P LTD | 17385053.00 | L1
| 2 | TATI CONSTRUCTION PVT LTD | 18581950.00 | L2