## BoQ1
Government eProcurement System Created By: PRADIP KUMAR B Created Date/Time: 17-May-2022 01:08 PM Tender Title: Operation and Maintenance of Electrical and Mechanical Installations at Kushinagar International Airport, Kushinagar. (For the year 2022-23 and 2023-24) Tender ID: 2022_AAI_112599_1
Tender Inviting Authority: AGM(Engg-E), AAI, Kushinagar Airport
Name of Work: Operation and Maintenance of Electrical & Mechanical Installations at Kushinagar International Airport, Kushinagar. (For the year 2022-23 and 2023-24).
Contract No: 2022_AAI_112599_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | M/S GAURAV ELECTRICAL WORKS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance of Power supply HT & LT installations, Standby DG Sets, Internal & External electrical & mechanical installations, Water supply pumps, Fire Hydrant,Alarm S/s & Sprinkler pumps, STP, Escalators and Elevators etc., by deploying required qualified manpower as specified in the specifications for operation, monitoring, recording performance log books, carrying out preventive maintenance activies & maintaining records, attending breakdown complaints and minor repair works to ensure serviceability on round the clock basis i/c. Sundays and Holidays etc. complete as required as per the Special Condition of Contract. .
1.01 | Job contract by deployment of 10 Manpower as per SCC | 6.00 | Month |  | 200000.00 | 1200000.00 | 182820.00 | 1096920.00 | 160000.00 | 960000.00 | 135000.00 | 810000.00 | 810000.00 | M/S GAURAV ELECTRICAL WORKS
1.02 | Job contract by deployment of 20 Manpower as per SCC | 12.00 | Month |  | 370000.00 | 4440000.00 | 348300.00 | 4179600.00 | 325000.00 | 3900000.00 | 275000.00 | 3300000.00 | 3300000.00 | M/S GAURAV ELECTRICAL WORKS
2.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis.
2.01 | Skilled | 50.00 | Hours |  | 100.00 | 5000.00 | 80.00 | 4000.00 | 900.00 | 45000.00 | 170.00 | 8500.00 | 4000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.02 | Un-skilled | 50.00 | Hours |  | 80.00 | 4000.00 | 58.00 | 2900.00 | 550.00 | 27500.00 | 120.00 | 6000.00 | 2900.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | One time Servicing, Maintenance, Testing, overhauling of 11KV/0.433KV, 630 KVA Dry type Transformer COMPACT SUB-STATION (OUTDOOR TYPE) ( Make : Sudhir Power/Schneider) through OEM only as per the scope of work of Special Condition of Contract. . | 1.00 | Job |  | 10000.00 | 10000.00 | 25000.00 | 25000.00 | 30000.00 | 30000.00 | 40000.00 | 40000.00 | 10000.00 | Techno Electricals
4.00 | One time Servicing, Maintenance, Testing, overhauling of 11KV/0.433KV, 400 KVA Oil type Transformer COMPACT SUB-STATION (OUTDOOR TYPE) ( Make : C & S) through OEM only as per the scope of work of Special Condition of Contract. . | 1.00 | Job |  | 10000.00 | 10000.00 | 25000.00 | 25000.00 | 30000.00 | 30000.00 | 70000.00 | 70000.00 | 10000.00 | Techno Electricals
5.00 | Visiting and breakdown maintenance by OEM Service Engineer for 630 kva Compact Substation Dry type/400 kva Compact Substation Oil type as and when required. | 3.00 | Job |  | 8000.00 | 24000.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Awasthi Electric Works
6.00 | Visiting and breakdown maintenance by OEM Service Engineer for Miscellaneous installations as 3-ph 1.5 HP Hydropneumatic pump/3-ph 20 KVA UPS type as and when required. | 2.00 | Job |  | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 9000.00 | 18000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Awasthi Electric Works
7.00 | Supply of New Transformer Oil conforming to IS:335 to be supplied in non-returnable barrel. | 200.00 | Litre |  | 155.00 | 31000.00 | 135.00 | 27000.00 | 200.00 | 40000.00 | 100.00 | 20000.00 | 20000.00 | M/S GAURAV ELECTRICAL WORKS
8.00 | One time Overhauling & servicing of following capacity of L&T Make ACBs along with all protection relays, testing of protection release of ACBs through secondary injection method wherever applicable, checking of IR value, functional check of all relays, cleaning of all contracts and carrying out all other necessary maintenance works as per OEM's standard etc complete as required. (i) 800 Amp ACB | 10.00 | Job |  | 4000.00 | 40000.00 | 3500.00 | 35000.00 | 12000.00 | 120000.00 | 5000.00 | 50000.00 | 35000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Annual Comprehensive Maintenance contract of existing 5 no. of Automatic bi-parting (2 Leafs) Sliding doors including servicing,repairing,supply and replacement of spares as per the requirement and to attend breakdown calls and quarterly visit for preventive maintenance by ensuring safe and smooth functioning of Automatic sliding doors to the satisfaction of EIC including technical support and spares from OEM or equivalent manufacturer approved by EIC. The Automatic Sliding door consists of automation systems make by GEZE(Motor,controller,Electronic components,sensors, power transmitting device,belt clamp , rollers,cable winder,cables, all safety devices,stoppers etc and i/c all other accessories and parts.The work involves quarterly visit and as and when required by service engineer for Doors , carrying out preventive and scheduled maintenance as per OEM recommendation and special condition of contract. | 1.50 | Job |  | 25000.00 | 37500.00 | 235000.00 | 352500.00 | 30000.00 | 45000.00 | 160000.00 | 240000.00 | 37500.00 | Techno Electricals
10.00 | Annual Comprehensive Maintenance contract of existing 1X20 KVA ALPHA-33 UPS (PEGASUS make UNLE190361) through OEM only including servicing,repairing,supply and replacement of spares as per the requirement and quaterly preventive maintenance visits and breakdown visits through OEM only strictly as per the scope of work of Special Condition of Contract. | 1.50 | Job |  | 10000.00 | 15000.00 | 35000.00 | 52500.00 | 20000.00 | 30000.00 | 60000.00 | 90000.00 | 15000.00 | Techno Electricals
11.00 | Annual Comprehensive Maintenance contract of existing 4 no. of Oasis make recessed bi level drinking water fountain, with double SS bubbler and with mechanical and sensor both through OEM only including servicing,repairing,supply and replacement of all spares(i/c refrigerant) as per the requirement and quaterly preventive maintenance visits and breakdown visits through OEM only strictly as per the scope of work of Special Condition of Contract. | 1.50 | Job |  | 35000.00 | 52500.00 | 7500.00 | 11250.00 | 20000.00 | 30000.00 | 150000.00 | 225000.00 | 11250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.00 | Annual Comprehensive Maintenance contract of 4 no. Bluestar make storage type water purifier (RO + UV) including mandatory one time all Consumable replacement (As per the Scope of work) , with quaterly visit and any breakdown visit and covering all electrical parts,Compressor ,Refrigerant under CMC through OEM or Authorized OEM vendor,installed at various location etc complete as required as per Special condition of contract. Make: BlueStar,[Model :SWCSDLX6080UVROE]. | 1.50 | Job |  | 25000.00 | 37500.00 | 7500.00 | 11250.00 | 10000.00 | 15000.00 | 90000.00 | 135000.00 | 11250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.00 | Water Testing for 4 no . of Bluestar make water coolers(raw water & Purified water) from Govt. approved/authorized laboratory along with submitting the Water test report having following parameters BOD,COD,TSS, O&G, PH value etc including. | 6.00 | Job |  | 3500.00 | 21000.00 | 7500.00 | 45000.00 | 5000.00 | 30000.00 | 800.00 | 4800.00 | 4800.00 | M/S GAURAV ELECTRICAL WORKS
14.00 | Supply of Consumables of Bluestar make Water Cooler purifiers additional as and when required.[Model :SWCSDLX6080UVROE]
14.01 | Candel 10'' | 4.00 | Each |  | 7000.00 | 28000.00 | 850.00 | 3400.00 | 500.00 | 2000.00 | 800.00 | 3200.00 | 2000.00 | Awasthi Electric Works
14.02 | Candel 20'' | 4.00 | Each |  | 700.00 | 2800.00 | 850.00 | 3400.00 | 1000.00 | 4000.00 | 800.00 | 3200.00 | 2800.00 | Techno Electricals
14.03 | Block 10" | 4.00 | Each |  | 1000.00 | 4000.00 | 1250.00 | 5000.00 | 500.00 | 2000.00 | 800.00 | 3200.00 | 2000.00 | Awasthi Electric Works
14.04 | Block 20" | 4.00 | Each |  | 1000.00 | 4000.00 | 1250.00 | 5000.00 | 1000.00 | 4000.00 | 800.00 | 3200.00 | 3200.00 | M/S GAURAV ELECTRICAL WORKS
14.05 | Pf Candel 20" | 4.00 | Each |  | 2500.00 | 10000.00 | 1250.00 | 5000.00 | 500.00 | 2000.00 | 1800.00 | 7200.00 | 2000.00 | Awasthi Electric Works
14.06 | Membrane | 16.00 | Each |  | 3700.00 | 59200.00 | 4850.00 | 77600.00 | 1000.00 | 16000.00 | 2500.00 | 40000.00 | 16000.00 | Awasthi Electric Works
15.00 | Lifting, lowering of 1.0 HP/2.0 HP submersible pump motor set i/c column pipe,cable, ,jointing of submersible cable and sealing of pump motor with sealant material, testing commissioning etc complete as reqd. | 4.00 | Job |  | 2500.00 | 10000.00 | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 1000.00 | 4000.00 | 4000.00 | M/S GAURAV ELECTRICAL WORKS
16.00 | Repairing and rewinding of 3 phase 1.0/2.0 HP motor submersible pump set motor including replacement of motor bush, ol seal, bearings etc including dismantling the existing pump, transportation to and fro, reinstallation, testing and commissioning etc complete as required (dismantled copper wire,bushes etc need not to be returned) | 4.00 | Job |  | 3000.00 | 12000.00 | 1250.00 | 5000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 5000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
17.00 | Temporary lighting decoration by (i) Hiring and fixing of LED decorated colourful lighting (jhalar) of length 4-5 mtr each ( min. 200 nos such lengths for city side and Air Side canopy) in tricolour or as directed by EIC. (ii) Hiring and Fixing of LED Focus lights at each canopy pillar( 8 no. city side and 8 no Air side) in tricolour or as directed by EIC. (iii) Hiring and fixing of decorated colourful lighting (jhalar) at Garden area in front of ITB or additional area as directed by EIC. for 03 days. | 3.00 | Job |  | 75000.00 | 225000.00 | 85000.00 | 255000.00 | 60000.00 | 180000.00 | 35000.00 | 105000.00 | 105000.00 | M/S GAURAV ELECTRICAL WORKS
18.00 | CPWD Schedule of rates DSR-2018 (Electrical) items of Rs. 2,00,000/- - Chapter 01 to 17 & Appendix-I,II. The rate shall be quoted for this item as per examples given below- • Please refer clause 8 of SCC page No. 5 before quoting rates for this item. • If bidder wants to quote the rates at par with rates of DSR-2018 (E & M), then bidder has to quote 1.00 in the rate column. • If bidder wants to quote the rates 10% above the rates of DSR- 2018 (E & M), then bidder has to quote 1.10 in the rate column. • If bidder wants to quote the rates 10% below the rates of DSR- 2018 (E & M), then bidder has to quote 0.90 in the rate column. | 1.00 | Job |  | 180000.00 | 180000.00 | 185000.00 | 185000.00 | 140000.00 | 140000.00 | 170000.00 | 170000.00 | 140000.00 | Awasthi Electric Works
19.00 | Supply of 1000 W Halogen Lamp suitable for existing Bajaj make BJQF 1000 H Flood light Luminaire ,for 220/240 voltage, 4.20 Amps mains current, etc as required. | 10.00 | Each |  | 200.00 | 2000.00 | 1250.00 | 12500.00 | 2000.00 | 20000.00 | 400.00 | 4000.00 | 2000.00 | Techno Electricals
20.00 | Supply of heavy duty 2 X 400 W twin Lamp suitable for existing Bajaj make Luminaire(Model :BGENF 22 R, 2 x 400 SV T Lamp) for 220/240 voltage, 4.20 Amps mains current, etc as required . | 10.00 | Each |  | 1000.00 | 10000.00 | 1250.00 | 12500.00 | 5000.00 | 50000.00 | 700.00 | 7000.00 | 7000.00 | M/S GAURAV ELECTRICAL WORKS
21.00 | Supply of 9 W Threaded LED Lamp suitable for existing Landing-H Direction indicator. | 15.00 | Each |  | 350.00 | 5250.00 | 285.00 | 4275.00 | 500.00 | 7500.00 | 200.00 | 3000.00 | 3000.00 | M/S GAURAV ELECTRICAL WORKS
22.00 | Supply of 20 W LED Lamp suitable for existing Kanishk Trading Co. make windcone. | 5.00 | Each |  | 400.00 | 2000.00 | 150.00 | 750.00 | 1000.00 | 5000.00 | 200.00 | 1000.00 | 750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 6497750.00 |  | 6487345.00 |  | 5786000.00 |  | 5409300.00
Lowest Amount Quoted BY: M/S GAURAV ELECTRICAL WORKS(5409300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of Electrical and Mechanical Installations at Kushinagar International Airport, Kushinagar. (For the year 2022-23 and 2023-24) Tender ID: 2022_AAI_112599_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S GAURAV ELECTRICAL WORKS | 5409300.00 | L1
| 2 | Awasthi Electric Works | 5786000.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 6487345.00 | L3
| 4 | Techno Electricals | 6497750.00 | L4