## BoQ1
Government eProcurement System Created By: Kamal Kishore Created Date/Time: 09-Jun-2022 11:34 AM Tender Title: Servicing, Testing, Calibration etc of different gas and ACB, relays and control devices at 33 KV new power house and different switch gears of NTB. SH-Servicing and overhauling of GE and ABB makes ACBs for two years at Khajuraho Airport Tender ID: 2022_AAI_112802_1
Tender Inviting Authority: Senior Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: "Servicing, Testing, Calibration etc of different gas & air circuit breaker, relays and control devices at 33 KV new power house and different switch gears of NTB. SH:-Servicing and overhauling of GE & ABB makes ACBs for two years at Khajuraho Airport (2022-2024)."
Contract No: 2022_AAI_ 112802_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MASTER ENGINEERING SERVICES(GSTN-07AIDPB9113C2ZV) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | KALINGA CONSTRUCTION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual maintenance contract of following capacity GE Make Air Circuit Breakers installed at various panels at Khajuraho Airport. Job include mandatory visit of Engineer/Technicians of OEM or OEM Authorized service agent at site twice in a year and performing overhauling & servicing of ACB's as per OEM recommedations and attending to breakdown as and when required.
1.01 | 415 V, 2500 Amp Model No.- S2500
1.02 | 1st year | 5.00 | Job |  | 6000.00 | 30000.00 | 9500.00 | 47500.00 | 10400.00 | 52000.00 | 30000.00 | MASTER ENGINEERING SERVICES
1.03 | 2nd year | 5.00 | Job |  | 6000.00 | 30000.00 | 9800.00 | 49000.00 | 10400.00 | 52000.00 | 30000.00 | MASTER ENGINEERING SERVICES
1.04 | 415 V, 1250 Amp Model No.- S1250
1.05 | 1st year | 17.00 | Job |  | 6000.00 | 102000.00 | 11100.00 | 188700.00 | 9500.00 | 161500.00 | 102000.00 | MASTER ENGINEERING SERVICES
1.06 | 2nd year | 17.00 | Job |  | 6000.00 | 102000.00 | 11200.00 | 190400.00 | 9500.00 | 161500.00 | 102000.00 | MASTER ENGINEERING SERVICES
1.07 | 415 V, 1000 Amp Model No.- S1000
1.08 | 1st year | 4.00 | Job |  | 6000.00 | 24000.00 | 10200.00 | 40800.00 | 9500.00 | 38000.00 | 24000.00 | MASTER ENGINEERING SERVICES
1.09 | 2nd year | 4.00 | Job |  | 6000.00 | 24000.00 | 10500.00 | 42000.00 | 9500.00 | 38000.00 | 24000.00 | MASTER ENGINEERING SERVICES
2.00 | Annual maintenance contract of following capacity ABB Make Air Circuit Breakers installed at various panels at Khajuraho Airport. Job include mandatory visit of Engineer/Technicians of OEM or OEM Authorized service agent at site twice in a year and performing overhauling & servicing of ACB's as per OEM recommadations and attending to breakdown as and when required.
2.01 | 415 V, 1250 Amp Model No.-SACE E1
2.02 | 1st year | 3.00 | Job |  | 6000.00 | 18000.00 | 11000.00 | 33000.00 | 4750.00 | 14250.00 | 14250.00 | KALINGA CONSTRUCTION
2.03 | 2nd year | 3.00 | Job |  | 6000.00 | 18000.00 | 11200.00 | 33600.00 | 4750.00 | 14250.00 | 14250.00 | KALINGA CONSTRUCTION
2.04 | 415 V, 800 Amp Model No.-S4CE Emax E1
2.05 | 1st year | 3.00 | Job |  | 6000.00 | 18000.00 | 11200.00 | 33600.00 | 4750.00 | 14250.00 | 14250.00 | KALINGA CONSTRUCTION
2.06 | 2nd year | 3.00 | Job |  | 6000.00 | 18000.00 | 11500.00 | 34500.00 | 4750.00 | 14250.00 | 14250.00 | KALINGA CONSTRUCTION
3.00 | Supply of the spare parts of following rating ACBs of make ABB as and when required basis.
3.01 | E1N 800 Amp to 1250 Amp.
3.02 | Single phase pole | 1.00 | Each |  | 18920.00 | 18920.00 | 7786.00 | 7786.00 | 42500.00 | 42500.00 | 7786.00 | Manish Electricals
3.03 | operating mechanism | 1.00 | Each |  | 25960.00 | 25960.00 | 10000.00 | 10000.00 | 105000.00 | 105000.00 | 10000.00 | Manish Electricals
3.04 | closing coil | 1.00 | Each |  | 4664.00 | 4664.00 | 1500.00 | 1500.00 | 4700.00 | 4700.00 | 1500.00 | Manish Electricals
3.05 | triping coil | 1.00 | Each |  | 6300.80 | 6300.80 | 2000.00 | 2000.00 | 4700.00 | 4700.00 | 2000.00 | Manish Electricals
3.06 | motor operator | 1.00 | Each |  | 23864.50 | 23864.50 | 10500.00 | 10500.00 | 35000.00 | 35000.00 | 10500.00 | Manish Electricals
3.07 | closing spring | 1.00 | Each |  | 4664.00 | 4664.00 | 1500.00 | 1500.00 | 4200.00 | 4200.00 | 1500.00 | Manish Electricals
3.08 | jaw contact set | 1.00 | Each |  | 12760.00 | 12760.00 | 4000.00 | 4000.00 | 4200.00 | 4200.00 | 4000.00 | Manish Electricals
3.09 | single arcing chamber | 1.00 | Each |  | 3696.00 | 3696.00 | 1500.00 | 1500.00 | 3200.00 | 3200.00 | 1500.00 | Manish Electricals
3.10 | spring charged flag set | 1.00 | Each |  | 2200.00 | 2200.00 | 800.00 | 800.00 | 3750.00 | 3750.00 | 800.00 | Manish Electricals
3.11 | coils support | 1.00 | Each |  | 5280.00 | 5280.00 | 1800.00 | 1800.00 | 1300.00 | 1300.00 | 1300.00 | KALINGA CONSTRUCTION
3.12 | maintenance kit | 1.00 | Each |  | 10560.00 | 10560.00 | 2000.00 | 2000.00 | 1450.00 | 1450.00 | 1450.00 | KALINGA CONSTRUCTION
3.13 | 4 open closed auxiliary contact | 1.00 | Each |  | 4913.70 | 4913.70 | 1500.00 | 1500.00 | 2290.00 | 2290.00 | 1500.00 | Manish Electricals
4.00 | Supply of the spare parts of following rating ACBs of make GE as and when required basis
4.01 | ACBs of 1000 Amp
4.02 | closing coil | 1.00 | Each |  | 6289.00 | 6289.00 | 4500.00 | 4500.00 | 3500.00 | 3500.00 | 3500.00 | KALINGA CONSTRUCTION
4.03 | Tripping coil | 1.00 | Each |  | 2375.00 | 2375.00 | 1500.00 | 1500.00 | 4200.00 | 4200.00 | 1500.00 | Manish Electricals
4.04 | cluster contact | 2.00 | Each |  | 3591.00 | 7182.00 | 1800.00 | 3600.00 | 6500.00 | 13000.00 | 3600.00 | Manish Electricals
4.05 | Arcing moving contact | 2.00 | Each |  | 1311.00 | 2622.00 | 600.00 | 1200.00 | 700.00 | 1400.00 | 1200.00 | Manish Electricals
4.06 | Arcing Fix contact | 2.00 | Each |  | 1311.00 | 2622.00 | 600.00 | 1200.00 | 1350.00 | 2700.00 | 1200.00 | Manish Electricals
4.07 | Rear horizontal terminal | 1.00 | Each |  | 1216.00 | 1216.00 | 500.00 | 500.00 | 2700.00 | 2700.00 | 500.00 | Manish Electricals
4.08 | LT Moving contact | 2.00 | Each |  | 1216.00 | 2432.00 | 500.00 | 1000.00 | 1750.00 | 3500.00 | 1000.00 | Manish Electricals
4.09 | LT Fix contact | 2.00 | Each |  | 1216.00 | 2432.00 | 500.00 | 1000.00 | 2200.00 | 4400.00 | 1000.00 | Manish Electricals
4.10 | Auxiliary switch | 2.00 | Each |  | 2451.00 | 4902.00 | 800.00 | 1600.00 | 1150.00 | 2300.00 | 1600.00 | Manish Electricals
4.11 | Arc Barrier | 2.00 | Each |  | 266.00 | 532.00 | 100.00 | 200.00 | 1700.00 | 3400.00 | 200.00 | Manish Electricals
4.12 | Shutter Assy. | 2.00 | Each |  | 3059.00 | 6118.00 | 1200.00 | 2400.00 | 3500.00 | 7000.00 | 2400.00 | Manish Electricals
4.13 | ACBs of 1250 Amp
4.14 | front box assly | 1.00 | Each |  | 5681.00 | 5681.00 | 2000.00 | 2000.00 | 12500.00 | 12500.00 | 2000.00 | Manish Electricals
4.15 | charging motor | 2.00 | Each |  | 22960.00 | 45920.00 | 15000.00 | 30000.00 | 37000.00 | 74000.00 | 30000.00 | Manish Electricals
4.16 | closing coil | 5.00 | Each |  | 6289.00 | 31445.00 | 3500.00 | 17500.00 | 4000.00 | 20000.00 | 17500.00 | Manish Electricals
4.17 | Tripping coil | 5.00 | Each |  | 2375.00 | 11875.00 | 1500.00 | 7500.00 | 4000.00 | 20000.00 | 7500.00 | Manish Electricals
4.18 | UDC assly | 2.00 | Each |  | 27280.00 | 54560.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 30000.00 | Manish Electricals
4.19 | Pole assly | 2.00 | Each |  | 26486.00 | 52972.00 | 12000.00 | 24000.00 | 35000.00 | 70000.00 | 24000.00 | Manish Electricals
4.20 | cluster contact | 4.00 | Each |  | 3591.00 | 14364.00 | 1500.00 | 6000.00 | 4500.00 | 18000.00 | 6000.00 | Manish Electricals
4.21 | Arcing moving contact | 4.00 | Each |  | 1311.00 | 5244.00 | 600.00 | 2400.00 | 1200.00 | 4800.00 | 2400.00 | Manish Electricals
4.22 | Arcing Fix contact | 4.00 | Each |  | 1311.00 | 5244.00 | 600.00 | 2400.00 | 2000.00 | 8000.00 | 2400.00 | Manish Electricals
4.23 | Rear horizontal terminal | 4.00 | Each |  | 1216.00 | 4864.00 | 600.00 | 2400.00 | 700.00 | 2800.00 | 2400.00 | Manish Electricals
4.24 | Lead screw for front box assembly | 4.00 | Each |  | 1311.00 | 5244.00 | 600.00 | 2400.00 | 500.00 | 2000.00 | 2000.00 | KALINGA CONSTRUCTION
4.25 | LT Moving contact | 5.00 | Each |  | 1216.00 | 6080.00 | 600.00 | 3000.00 | 1300.00 | 6500.00 | 3000.00 | Manish Electricals
4.26 | LT Fix contact | 5.00 | Each |  | 1216.00 | 6080.00 | 600.00 | 3000.00 | 1800.00 | 9000.00 | 3000.00 | Manish Electricals
4.27 | Auxiliary switch | 5.00 | Each |  | 2451.00 | 12255.00 | 1200.00 | 6000.00 | 960.00 | 4800.00 | 4800.00 | KALINGA CONSTRUCTION
4.28 | Trip probe | 2.00 | Each |  | 969.00 | 1938.00 | 300.00 | 600.00 | 300.00 | 600.00 | 600.00 | KALINGA CONSTRUCTION, Manish Electricals
4.29 | Arc chute | 1.00 | Each |  | 4807.00 | 4807.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 500.00 | KALINGA CONSTRUCTION
4.30 | Hylum sheet (pole seprator) | 1.00 | Each |  | 532.00 | 532.00 | 200.00 | 200.00 | 450.00 | 450.00 | 200.00 | Manish Electricals
4.31 | Arc Barrier | 5.00 | Each |  | 266.00 | 1330.00 | 100.00 | 500.00 | 500.00 | 2500.00 | 500.00 | Manish Electricals
4.32 | Shutter Assy. | 2.00 | Each |  | 3059.00 | 6118.00 | 1200.00 | 2400.00 | 4000.00 | 8000.00 | 2400.00 | Manish Electricals
4.33 | Front sheet | 2.00 | Each |  | 2451.00 | 4902.00 | 1200.00 | 2400.00 | 3000.00 | 6000.00 | 2400.00 | Manish Electricals
4.34 | ACBs of 2500 Amp
4.35 | charging motor | 1.00 | Each |  | 22960.00 | 22960.00 | 15000.00 | 15000.00 | 35000.00 | 35000.00 | 15000.00 | Manish Electricals
4.36 | closing coil | 1.00 | Each |  | 6289.00 | 6289.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2000.00 | Manish Electricals
4.37 | Tripping coil | 1.00 | Each |  | 2375.00 | 2375.00 | 1500.00 | 1500.00 | 3500.00 | 3500.00 | 1500.00 | Manish Electricals
4.38 | Main shaft | 1.00 | Each |  | 4978.00 | 4978.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | KALINGA CONSTRUCTION, Manish Electricals
4.39 | Pole assly | 1.00 | Each |  | 26486.00 | 26486.00 | 12000.00 | 12000.00 | 32000.00 | 32000.00 | 12000.00 | Manish Electricals
4.40 | cluster contact | 1.00 | Each |  | 8474.00 | 8474.00 | 3000.00 | 3000.00 | 4500.00 | 4500.00 | 3000.00 | Manish Electricals
4.41 | Arcing moving contact | 1.00 | Each |  | 1653.00 | 1653.00 | 800.00 | 800.00 | 1200.00 | 1200.00 | 800.00 | Manish Electricals
4.42 | Arcing Fix contact | 1.00 | Each |  | 1919.00 | 1919.00 | 800.00 | 800.00 | 2000.00 | 2000.00 | 800.00 | Manish Electricals
4.43 | Rear horizontal terminal | 1.00 | Each |  | 3401.00 | 3401.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 1500.00 | Manish Electricals
4.44 | LT Moving contact | 1.00 | Each |  | 1216.00 | 1216.00 | 500.00 | 500.00 | 500.00 | 500.00 | 500.00 | KALINGA CONSTRUCTION, Manish Electricals
4.45 | LT Fix contact | 1.00 | Each |  | 1216.00 | 1216.00 | 500.00 | 500.00 | 3900.00 | 3900.00 | 500.00 | Manish Electricals
4.46 | Auxiliary switch | 1.00 | Each |  | 2451.00 | 2451.00 | 900.00 | 900.00 | 1150.00 | 1150.00 | 900.00 | Manish Electricals
4.47 | Arc Barrier | 1.00 | Each |  | 266.00 | 266.00 | 100.00 | 100.00 | 500.00 | 500.00 | 100.00 | Manish Electricals
4.48 | Shutter Assy. | 1.00 | Each |  | 4807.00 | 4807.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 2000.00 | Manish Electricals
4.49 | Front sheet | 1.00 | Each |  | 2451.00 | 2451.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | KALINGA CONSTRUCTION, Manish Electricals
5.00 | Supply of following spares suitable to use in GE make ACBs of rating 1000A, 1250 A & 2500 A etc. as required.
5.01 | Main spring | 2.00 | Each |  | 3667.00 | 7334.00 | 1500.00 | 3000.00 | 6500.00 | 13000.00 | 3000.00 | Manish Electricals
5.02 | UV Coil | 5.00 | Each |  | 2812.00 | 14060.00 | 1800.00 | 9000.00 | 3500.00 | 17500.00 | 9000.00 | Manish Electricals
5.03 | Hardware kit | 2.00 | Each |  | 3591.00 | 7182.00 | 1800.00 | 3600.00 | 1000.00 | 2000.00 | 2000.00 | KALINGA CONSTRUCTION
5.04 | Pole barrier | 4.00 | Each |  | 437.00 | 1748.00 | 300.00 | 1200.00 | 500.00 | 2000.00 | 1200.00 | Manish Electricals
| Total in Figures |  |  |  |  | 949226.00 |  | 963786.00 |  | 1284090.00
Lowest Amount Quoted BY: MASTER ENGINEERING SERVICES(949226.00)

## BOQ Summary
BOQ Summary Details Tender Title: Servicing, Testing, Calibration etc of different gas and ACB, relays and control devices at 33 KV new power house and different switch gears of NTB. SH-Servicing and overhauling of GE and ABB makes ACBs for two years at Khajuraho Airport Tender ID: 2022_AAI_112802_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MASTER ENGINEERING SERVICES | 949226.00 | L1
| 2 | Manish Electricals | 963786.00 | L2
| 3 | KALINGA CONSTRUCTION | 1284090.00 | L3