## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 28-Apr-2022 05:08 PM Tender Title: CMC OF SPLIT, CASSETTTEE TYPE AC, WATER COOLER AND WATER PURIFIERS AT JORHAT AND TEZPUR AIRPORT 22-25 Tender ID: 2022_AAI_112897_1
Tender Inviting Authority:
Name of Work: CMC OF SPLIT, CASSETTE TYPE AC, WATER COOLER AND WATER PURIFIERS AT JORHAT & TEZPUR AIRPORT (2022-25).
Contract No: 2022_AAI_112897_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | WORK SITE : JORHAT AIRPORT
2.00 | SH-I: CMC of Air Conditioners
3.00 | All Inclusive Comprehensive Maintenance Contract of High wall Split Type Air-Conditioners of all makes of 1.0/1.5/2.0 TR Capacity at different locations of Jorhat Airport including repairing/replacing of faulty components, all necessary spares, consumbles, filters,gas,PCB Board and compressor etc., preventive maintenance, breakdown maintenance and emergency call service etc., to keep equipment in perfect condition etc as required and as per directions of Engineer-in Charge. (Note: AICMC of one No. AC for one month shall be treated as 1 Job.The quoted rate shall be exclusive of GST.)
4.00 | a) First Year | 395.00 | Jobs | 0.00 | 379.00 | 149705.00 | 226.00 | 89270.00 | 89270.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | b) Second Year | 408.00 | Jobs | 0.00 | 379.00 | 154632.00 | 254.25 | 103734.00 | 103734.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | c) Third Year | 408.00 | Jobs | 0.00 | 390.00 | 159120.00 | 282.50 | 115260.00 | 115260.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | All Inclusive Comprehensive Maintenance Contract of 4.0 TR capacity Voltas make Cassette type Air-conditioners and all its related accessories at Terminal Building of Jorhat Airport including repairing/replacing of faulty components, all necessary spares, consumbles, filters,gas,PCB Board and compressor etc., preventive maintenance, breakdown maintenance and emergency call service etc., to keep equipment in perfect condition etc as required and as per directions of Engineer-in Charge. (Note: AICMC of one No. AC for one month shall be treated as 1 Job.The quoted rate shall be exclusive of GST.)
8.00 | a) First Year | 48.00 | Jobs | 0.00 | 838.00 | 40224.00 | 1130.00 | 54240.00 | 40224.00 | sudarshnacoolingcentre andelectricals
9.00 | b) Second Year | 48.00 | Jobs | 0.00 | 838.00 | 40224.00 | 1243.00 | 59664.00 | 40224.00 | sudarshnacoolingcentre andelectricals
10.00 | c) Third Year | 48.00 | Jobs | 0.00 | 849.00 | 40752.00 | 1367.30 | 65630.40 | 40752.00 | sudarshnacoolingcentre andelectricals
11.00 | Carrying out repair of voltage stabilizer upto 5KVA capacity suitable for above split A/C units i/c dismantling,repairing and refixing etc. as and when required (On need basis) | 12.00 | Jobs | 0.00 | 453.00 | 5436.00 | 2090.50 | 25086.00 | 5436.00 | sudarshnacoolingcentre andelectricals
12.00 | Supply of cordless remote of different makes for 1.0/1.5/2.0/4.0 TR split/cassette A/C units as and when required. | 12.00 | Nos | 0.00 | 1008.00 | 12096.00 | 850.00 | 10200.00 | 10200.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Dismantling of following Type Air-Conditioners including Indoor and outdoor units and all accessories ,outdoor unit's angle iron support etc and filling the hole of the dismantled wall, plastering etc as required. (On need basis)
14.00 | a) High Wall Split Type Air-conditioners of all makes upto 2.0 Tr capacity | 10.00 | Jobs | 0.00 | 566.00 | 5660.00 | 500.00 | 5000.00 | 5000.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | b) Cassette ACs upto 4 Tr. | 2.00 | Job | 0.00 | 566.00 | 1132.00 | 500.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Installation, Testing and Commissioning of following type of AC units of any make i/c fitting of indoor and outdoor unit at their respective locations, drilling holes in the wall using suitable hardwares, outdoor angle iron supporting arrangement, leak testing of entire system, charging refrigerant gas in the unit , making good the surface as per requirement of the site(On need basis)
17.00 | a) High Wall Split Type Air-conditioners of all makes upto 2.0 Tr capacity | 10.00 | Jobs | 0.00 | 1699.00 | 16990.00 | 2000.00 | 20000.00 | 16990.00 | sudarshnacoolingcentre andelectricals
18.00 | b) Cassette ACs upto 4 Tr. | 2.00 | Job | 0.00 | 2039.00 | 4078.00 | 2500.00 | 5000.00 | 4078.00 | sudarshnacoolingcentre andelectricals
19.00 | Supply & Installation of additional Refrigerant copper piping of suitable size b/w Indoor and Outdoor units, including protective external covering with 10mm thick closed cell Polyethylene foam insulation or nitrile rubber or PUF with all necessary supports,fittings,brazing and leak proof arrangements as required and recommended by the OEM.(On need basis) Refrigerant copper piping: For 1TR: Suction Tube 1/2" & Liquid Tube 1/4" For 1.5TR: Suction Tube 1/2" & Liquid Tube 1/4" For 2TR: Suction Tube 5/8" & Liquid Tube 3/8" For 4TR: Suction Tube 3/4" & Liquid Tube 1/2"
20.00 | a) SITC of Suction Tube & Liquid Tube for 1TR & 1.5 TR AC | 35.00 | Mtrs | 0.00 | 364.00 | 12740.00 | 400.00 | 14000.00 | 12740.00 | sudarshnacoolingcentre andelectricals
21.00 | b) SITC of Suction Tube & Liquid Tube for 2TR AC | 15.00 | Mtrs | 0.00 | 598.00 | 8970.00 | 450.00 | 6750.00 | 6750.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | c) SITC of Suction Tube & Liquid Tube for 4 TR AC | 10.00 | Mtrs | 0.00 | 367.00 | 3670.00 | 480.00 | 4800.00 | 3670.00 | sudarshnacoolingcentre andelectricals
23.00 | Supplying of following thickness closed cell elastrometric nitrile rubber of class ‘O’ as per specifications and as required complete in all respect.(On need basis)
24.00 | a) 9 mm thick , 5/8' dia | 20.00 | Mtrs | 0.00 | 56.00 | 1120.00 | 85.00 | 1700.00 | 1120.00 | sudarshnacoolingcentre andelectricals
25.00 | b) 9 mm thick ,1/2' dia | 20.00 | Mtrs | 0.00 | 45.00 | 900.00 | 85.00 | 1700.00 | 900.00 | sudarshnacoolingcentre andelectricals
26.00 | Supply of Standard Outdoor wall bracket with vibration pad of suitable size for different capacity of AC's complete as and when required at site.
27.00 | a) Split AC upto 1.0/1.5/2 TR (Outdoor) | 8.00 | Each | 0.00 | 441.00 | 3528.00 | 950.00 | 7600.00 | 3528.00 | sudarshnacoolingcentre andelectricals
28.00 | Supply and fixing of wall mounting type new 5KVA Voltage stabilizer suitable for 1.5/2 ton Inverter type split AC units suitable for operation on 230V, 50Hz. AC supply capable of performing with working voltage range 170 Volt to 270 Volt with high/low voltage cut off, ON delay etc., including dismantling of existing stbalizer as required. | 6.00 | Jobs | 0.00 | 3229.00 | 19374.00 | 11850.00 | 71100.00 | 19374.00 | sudarshnacoolingcentre andelectricals
29.00 | Supply & Installation of followig size drain pipe as and when required
30.00 | a) 20 mm PVC flexible drain pipe | 30.00 | Mtrs | 0.00 | 125.00 | 3750.00 | 48.00 | 1440.00 | 1440.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | b) 20 mm dia PVC pipe i/c PVC fittings such as Tees, crosses, plugs, sockets, elbows, reducers, Union, sleeve pieces, gaskets,nuts/bolts & necessary clamps, screws, supports etc. | 30.00 | Mtrs | 0.00 | 38.00 | 1140.00 | 85.00 | 2550.00 | 1140.00 | sudarshnacoolingcentre andelectricals
32.00 | SH-II CMC of Water coolers and Water purifiers.
33.00 | Annual Comprehensive maintenance contract of Pure chill RO-80 PSS/ Equivalent water purifier cum cooler (Make:Aquaguard) alongwith its external industrial Iron-removal Filter at Jorhat airport including providing all necessary spares & consumables , Filters,Taps, compressor including Pump, UV lamp etc. (except Item mentioned in Sl. No. 16) as required to keep the equipment in perfect working condition etc. to the entire satisfaction of Engineer-In-Charge. (Note: AICMC of one No. Purifier cum Cooler for one month shall be treated as 1 Job.The quoted rate shall be exclusive of GST.)
34.00 | a) First Year | 30.00 | Jobs | 0.00 | 566.00 | 16980.00 | 226.00 | 6780.00 | 6780.00 | ABHISHEK INTEGRATIONS LIMITED
35.00 | b) Second Year | 36.00 | Jobs | 0.00 | 566.00 | 20376.00 | 248.60 | 8949.60 | 8949.60 | ABHISHEK INTEGRATIONS LIMITED
36.00 | c) Third Year | 36.00 | Jobs | 0.00 | 566.00 | 20376.00 | 273.46 | 9844.56 | 9844.56 | ABHISHEK INTEGRATIONS LIMITED
37.00 | Annual Comprehensive maintenance contract of UV-80 PSS/Pure Chill RO-80 PSS/Equivalent Water cooler cum Purifier (Make:Aquaguard) at Jorhat airport including providing all necessary spares & consumables , Filters , Taps, compressor including Pump,UV lamp etc. (except Items mentioned in Sl. No. 16) as required to keep the equipment in perfect working condition etc. to the entire satisfaction of Engineer-In-Charge. (Note: AICMC of one No. Purifier cum Cooler for one month shall be treated as 1 Job.The quoted rate shall be exclusive of GST.)
38.00 | a) First Year | 48.00 | Jobs | 0.00 | 566.00 | 27168.00 | 226.00 | 10848.00 | 10848.00 | ABHISHEK INTEGRATIONS LIMITED
39.00 | b) Second Year | 48.00 | Jobs | 0.00 | 566.00 | 27168.00 | 248.60 | 11932.80 | 11932.80 | ABHISHEK INTEGRATIONS LIMITED
40.00 | c) Third Year | 48.00 | Jobs | 0.00 | 566.00 | 27168.00 | 273.46 | 13126.08 | 13126.08 | ABHISHEK INTEGRATIONS LIMITED
41.00 | Annual Comprehensive maintenance contract of RO water filter cum purifier of 50 Liters per Hour capacity (Make Aquaguard/ Equivalent) at Jorhat Airport including providing all necessary spares & consumables , Filters, Taps, compressor including Pump, UV lamp etc (except Items mentioned in Sl. No. 16) as required to keep the equipment in perfect working condition etc. to the entire satisfaction of Engineer-In-Charge. (Note: AICMC of one No. Purifier for one month shall be treated as 1 Job.The quoted rate shall be exclusive of GST.)
42.00 | a) First Year | 12.00 | Jobs | 0.00 | 566.00 | 6792.00 | 226.00 | 2712.00 | 2712.00 | ABHISHEK INTEGRATIONS LIMITED
43.00 | b) Second Year | 12.00 | Jobs | 0.00 | 566.00 | 6792.00 | 248.60 | 2983.20 | 2983.20 | ABHISHEK INTEGRATIONS LIMITED
44.00 | c) Third Year | 12.00 | Jobs | 0.00 | 566.00 | 6792.00 | 273.46 | 3281.52 | 3281.52 | ABHISHEK INTEGRATIONS LIMITED
45.00 | Annual Comprehensive maintenance contract of RO water filter cum purifier upto 15 Liters Per Hour capacity make (Aquaguard / equivalent) at Jorhat airport including providing all necessary spares & consumables , Filters,Taps including Pump, UV lamps etc (except Items mentioned in Sl. No. 16) as required to keep the equipment in perfect working condition etc.,to the entire satisfaction of Engineer-In-Charge. (Note: AICMC of one No. Purifier for one month shall be treated as 1 Job.The quoted rate shall be exclusive of GST.)
46.00 | a) First Year | 48.00 | Jobs | 0.00 | 320.00 | 15360.00 | 226.00 | 10848.00 | 10848.00 | ABHISHEK INTEGRATIONS LIMITED
47.00 | b) Second Year | 48.00 | Jobs | 0.00 | 320.00 | 15360.00 | 248.60 | 11932.80 | 11932.80 | ABHISHEK INTEGRATIONS LIMITED
48.00 | c) Third Year | 48.00 | Jobs | 0.00 | 320.00 | 15360.00 | 273.46 | 13126.08 | 13126.08 | ABHISHEK INTEGRATIONS LIMITED
49.00 | Supply & Installation of following spares of water coolers/purifiers as and when required and as per the Direction of Enginner-In-Charge
50.00 | a) 20 inch External Iron Removal Filter Cartridge | 48.00 | Nos | 0.00 | 736.00 | 35328.00 | 895.00 | 42960.00 | 35328.00 | sudarshnacoolingcentre andelectricals
51.00 | b) 10 inch External Iron Removal Filter Cartridge | 24.00 | Nos | 0.00 | 509.00 | 12216.00 | 720.00 | 17280.00 | 12216.00 | sudarshnacoolingcentre andelectricals
52.00 | c) 20 inch External Cartridge Filter | 96.00 | Nos | 0.00 | 736.00 | 70656.00 | 790.00 | 75840.00 | 70656.00 | sudarshnacoolingcentre andelectricals
53.00 | d) 10 inch External Cartridge Filter | 48.00 | Nos | 0.00 | 453.00 | 21744.00 | 475.00 | 22800.00 | 21744.00 | sudarshnacoolingcentre andelectricals
54.00 | e) RO Membrane for UV-80 PSS/RO-80 PSS Purifier | 21.00 | Nos | 0.00 | 2200.00 | 46200.00 | 2625.00 | 55125.00 | 46200.00 | sudarshnacoolingcentre andelectricals
55.00 | f) RO Membrane for Auquaguard Purifier of 50 LPH capacity | 3.00 | Nos | 0.00 | 2200.00 | 6600.00 | 2625.00 | 7875.00 | 6600.00 | sudarshnacoolingcentre andelectricals
56.00 | g) RO Membrane for Auquaguard Purifier of upto 15 LPH capacity | 12.00 | Nos | 0.00 | 2200.00 | 26400.00 | 2625.00 | 31500.00 | 26400.00 | sudarshnacoolingcentre andelectricals
57.00 | h) Housing Box with nuts/bolts & other accessories for 20 inch External Iron Removal Filter/Cartridge Filter | 10.00 | Nos | 0.00 | 1246.00 | 12460.00 | 1000.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
58.00 | i) Housing Box with nuts/bolts & other accessories for 10 inch External Iron Removal Filter/Cartridge Filter | 10.00 | Nos | 0.00 | 668.00 | 6680.00 | 1000.00 | 10000.00 | 6680.00 | sudarshnacoolingcentre andelectricals
59.00 | Supply, Installation, Testing & Commissioning of 15Ltr (min) water flow Reverse Osmosis (RO) online water filter cum purifier with min five stage purification of pre-filter, anti-scale, pre-carbon filter, sediment filter, RO membrance, UV etc., including 8ltr (min) RO water storage capacity tank with suitable stand with 10 inch external iron removal filter and Pre-filter, suitable for operation on 230 volts +/- 10%, 50 Hz single phase AC supply complete with all accessories as required (Eureka Forbes, Kent, Blue Star or Equivalent) | 4.00 | Jobs | 0.00 | 19147.00 | 76588.00 | 24000.00 | 96000.00 | 76588.00 | sudarshnacoolingcentre andelectricals
60.00 | WORK SITE : TEZPUR AIRPORT
61.00 | Comprehensive maintenance of 1.5 Ton window/Split type AC with voltage stablizer of Air- conditioners of different makes at different locations including replacement of defective compressor by company make new / company repaired compressor only, providing all necessary consumables, spares and refrigerent etc complete as required as per tender specifications. (Per Unit per Month)
62.00 | a) First Year | 288.00 | Jobs | 0.00 | 305.00 | 87840.00 | 226.00 | 65088.00 | 65088.00 | ABHISHEK INTEGRATIONS LIMITED
63.00 | b) Second Year | 288.00 | Jobs | 0.00 | 306.00 | 88128.00 | 254.25 | 73224.00 | 73224.00 | ABHISHEK INTEGRATIONS LIMITED
64.00 | c) Third Year | 288.00 | Jobs | 0.00 | 307.00 | 88416.00 | 259.90 | 74851.20 | 74851.20 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 1470189.00 |  | 1354632.24
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(1354632.24)

## BOQ Summary
BOQ Summary Details Tender Title: CMC OF SPLIT, CASSETTTEE TYPE AC, WATER COOLER AND WATER PURIFIERS AT JORHAT AND TEZPUR AIRPORT 22-25 Tender ID: 2022_AAI_112897_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 1354632.24 | L1
| 2 | sudarshnacoolingcentre andelectricals | 1470189.00 | L2