## BoQ1
Government eProcurement System Created By: Nagendran M Created Date/Time: 20-May-2022 03:07 PM Tender Title: Facility Management Contrat of E and M Installations at Agatti Airport Tender ID: 2022_AAI_112938_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work: Annual Repair and Maintenance of E&M Installations at Agatti Airport during 2022 to 2024. SH : Facility Management Contract of E&M Installations at Agatti Airport.
Contract No: <2022_AAI_112938_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mohammed Shafi C.K(GSTN-31ANRPM9306P1ZC) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance and operation of Electrical and Mechanical installations involving operations, repairs and maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance, maintenance of records / documents etc as per the detailed specifications, terms and conditions covered under this contract on all days including Sundays and holidays. First Year | 12.00 | Months |  | 210000.00 | 2520000.00 | 175000.00 | 2100000.00 | 235039.00 | 2820468.00 | 192972.00 | 2315664.00 | 2100000.00 | CENTRE TAP ENGINEERING
2.00 | Periodical Maintenance and operation of Electrical and Mechanical installations involving operations, repairs and maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance, maintenance of records / documents etc as per the detailed specifications, terms and conditions covered under this contract on all days including Sundays and holidays. Second Year | 12.00 | Months |  | 215000.00 | 2580000.00 | 200000.00 | 2400000.00 | 245999.00 | 2951988.00 | 192972.00 | 2315664.00 | 2315664.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. (Group C) | 10.00 | Point |  | 1300.00 | 13000.00 | 250.00 | 2500.00 | 1569.00 | 15690.00 | 990.00 | 9900.00 | 2500.00 | CENTRE TAP ENGINEERING
4.00 | Supplying and fixing following size / modules, PVC/Plastic box alongwith modular base & cover plate for modular switches in recess etc as required 2 Module | 10.00 | Each |  | 250.00 | 2500.00 | 250.00 | 2500.00 | 349.00 | 3490.00 | 108.00 | 1080.00 | 1080.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Supplying and fixing following size / modules, PVC/Plastic box alongwith modular base & cover plate for modular switches in recess etc as required 3 Module | 15.00 | Each |  | 300.00 | 4500.00 | 375.00 | 5625.00 | 379.00 | 5685.00 | 144.00 | 2160.00 | 2160.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Supplying and fixing following size / modules, PVC/Plastic box alongwith modular base & cover plate for modular switches in recess etc as required 6 Module | 15.00 | Each |  | 375.00 | 5625.00 | 500.00 | 7500.00 | 519.00 | 7785.00 | 207.00 | 3105.00 | 3105.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Supplying and fixing following size / modules, PVC/Plastic box alongwith modular base & cover plate for modular switches in recess etc as required 12 Module | 3.00 | Each |  | 560.00 | 1680.00 | 750.00 | 2250.00 | 729.00 | 2187.00 | 279.00 | 837.00 | 837.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. (20 mm) | 150.00 | Meter |  | 100.00 | 15000.00 | 90.00 | 13500.00 | 129.00 | 19350.00 | 112.50 | 16875.00 | 13500.00 | CENTRE TAP ENGINEERING
9.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. (25 mm) | 100.00 | Meter |  | 120.00 | 12000.00 | 125.00 | 12500.00 | 189.00 | 18900.00 | 126.00 | 12600.00 | 12000.00 | Mohammed Shafi C.K
10.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit / casing-capping as required. 3 X 1.5 sq.mm | 200.00 | Meter |  | 110.00 | 22000.00 | 75.00 | 15000.00 | 139.00 | 27800.00 | 72.00 | 14400.00 | 14400.00 | ABHISHEK INTEGRATIONS LIMITED
11.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit / casing-capping as required. 3 X 2.5 sq.mm | 100.00 | Meter |  | 150.00 | 15000.00 | 125.00 | 12500.00 | 189.00 | 18900.00 | 99.00 | 9900.00 | 9900.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit / casing-capping as required. 3 X 4 sq.mm | 200.00 | Meter |  | 250.00 | 50000.00 | 175.00 | 35000.00 | 299.00 | 59800.00 | 162.00 | 32400.00 | 32400.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit / casing-capping as required. 5 X 4 sq.mm | 150.00 | Meter |  | 400.00 | 60000.00 | 375.00 | 56250.00 | 499.00 | 74850.00 | 257.40 | 38610.00 | 38610.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Supply and fixing following modular type switch on the existing switch box / cover including connections etc. as required. 5 / 6 amps Modular switch | 75.00 | Each |  | 100.00 | 7500.00 | 75.00 | 5625.00 | 149.00 | 11175.00 | 22.50 | 1687.50 | 1687.50 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Supply and fixing following modular type switch / socket / regulator on the existing switch box / cover including connections etc. as required. 15 / 16 amps Modular switch | 10.00 | Each |  | 195.00 | 1950.00 | 100.00 | 1000.00 | 299.00 | 2990.00 | 46.80 | 468.00 | 468.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections etc. as required 3 pin 5 / 6 amps Modular socket | 25.00 | Each |  | 170.00 | 4250.00 | 75.00 | 1875.00 | 219.00 | 5475.00 | 48.60 | 1215.00 | 1215.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections etc. as required 5 pin 15 / 16 amps modular socket | 25.00 | Each |  | 240.00 | 6000.00 | 100.00 | 2500.00 | 299.00 | 7475.00 | 77.40 | 1935.00 | 1935.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Supplying and fixing two module stepped type electronic fan regulator (5 step) on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 10.00 | Each |  | 460.00 | 4600.00 | 200.00 | 2000.00 | 499.00 | 4990.00 | 198.00 | 1980.00 | 1980.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) SPN 12 Way MCB DB double door horizontal. | 2.00 | Each |  | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 4999.00 | 9998.00 | 4718.70 | 9437.40 | 7000.00 | Mohammed Shafi C.K
20.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) SPN 6 Way MCB DB double door horizontal. | 2.00 | Each |  | 2600.00 | 5200.00 | 2500.00 | 5000.00 | 3999.00 | 7998.00 | 3957.30 | 7914.60 | 5000.00 | CENTRE TAP ENGINEERING
21.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker (single pole) suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 10.00 | Each |  | 250.00 | 2500.00 | 1000.00 | 10000.00 | 499.00 | 4990.00 | 107.00 | 1070.00 | 1070.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Supplying and fixing following rating double pole, 240/415V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 Amps | 5.00 | Each |  | 600.00 | 3000.00 | 1250.00 | 6250.00 | 699.00 | 3495.00 | 217.80 | 1089.00 | 1089.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Supply and fixing of PVC Casing and Capping on surface as required: 32 x 12mm | 100.00 | Meter |  | 80.00 | 8000.00 | 150.00 | 15000.00 | 99.00 | 9900.00 | 29.70 | 2970.00 | 2970.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | Supply and fixing of PVC Casing and Capping on surface as required: 38x 20mm | 100.00 | Meter |  | 85.00 | 8500.00 | 250.00 | 25000.00 | 149.00 | 14900.00 | 74.70 | 7470.00 | 7470.00 | ABHISHEK INTEGRATIONS LIMITED
25.00 | Supply of 12V, 130 AH Lead Acid battery suitable for cranking of 160 KVA DG set as required | 2.00 | Each |  | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 14999.00 | 29998.00 | 13500.00 | 27000.00 | 10000.00 | CENTRE TAP ENGINEERING
26.00 | Supply of 12V, 130 AH Lead Acid battery suitable for cranking of 160 KVA DG set as required | 1.00 | Each |  | 16500.00 | 16500.00 | 7500.00 | 7500.00 | 18999.00 | 18999.00 | 13500.00 | 13500.00 | 7500.00 | CENTRE TAP ENGINEERING
27.00 | Hire charges for providing coloured LED serial light sets 50 Nos.(1 set shall consist of 40 Nos bulb) for decorating Depature Terminal Facia and Arrival areas etc for 2 days. | 4.00 | Job |  | 4800.00 | 19200.00 | 25000.00 | 100000.00 | 5999.00 | 23996.00 | 27000.00 | 108000.00 | 19200.00 | Mohammed Shafi C.K
28.00 | Supply of 250A 4P MCCB,50kA (equivalent to C&S model GBN 204) as spare. | 1.00 | No |  | 26000.00 | 26000.00 | 5000.00 | 5000.00 | 30999.00 | 30999.00 | 12721.50 | 12721.50 | 5000.00 | CENTRE TAP ENGINEERING
29.00 | Supply of LED 30 W flood lights (IP 65) for use in wind direction indicator as spare. | 10.00 | No |  | 1800.00 | 18000.00 | 1000.00 | 10000.00 | 2199.00 | 21990.00 | 1980.00 | 19800.00 | 10000.00 | CENTRE TAP ENGINEERING
30.00 | Rewinding with super enamelled copper winding wire,varnishing, baking, overhauling, replacement of ball bearings, capacitor, greasing, refitting etc. of following fans as required: 300 mm Exhaust fan | 2.00 | Each |  | 1200.00 | 2400.00 | 500.00 | 1000.00 | 2199.00 | 4398.00 | 585.00 | 1170.00 | 1000.00 | CENTRE TAP ENGINEERING
31.00 | Rewinding with super enamelled copper winding wire, varnishing, baking, overhauling, replacement of ball bearings, capacitor, greasing, painting refitting etc. of following fans as required: 1200mm Sweep ceiling fan | 2.00 | Each |  | 1500.00 | 3000.00 | 500.00 | 1000.00 | 2149.00 | 4298.00 | 765.00 | 1530.00 | 1000.00 | CENTRE TAP ENGINEERING
32.00 | Supply and providing exhaust pipe line made of MS pipe, class C, 4 inch dia (approx 5 meter length) for 160 KVA DG set and dismantling the existing exhaust pipe, including supply and fixing its accessories like short bend, MS flange, packing sheet, GI bolts etc. as required, including providing insulation with glass wool and metal mesh and covering it with aluminium cladding as required up to the wall of power house from the DG set including the labour charge for the same etc. as required up to the satisfaction of Engineer in Charge. The job includes the service charge of the skilled person for commissioning the system at Agatti Airport. | 1.00 | Each |  | 100000.00 | 100000.00 | 5000.00 | 5000.00 | 200000.00 | 200000.00 | 5848.00 | 5848.00 | 5000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 5568905.00 |  | 4886875.00 |  | 6444957.00 |  | 5000001.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(4886875.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management Contrat of E and M Installations at Agatti Airport Tender ID: 2022_AAI_112938_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 4886875.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 5000001.00 | L2
| 3 | Mohammed Shafi C.K | 5568905.00 | L3
| 4 | CHENNAI ENGINEERING SERVICES | 6444957.00 | L4