## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 17-May-2022 12:41 PM Tender Title: Minor works required for Cat-I ALS, Provision of new signages and rerouting of power cables as per DGCA requirement at Coimbatore International Airport Tender ID: 2022_AAI_113474_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: Minor works required for Cat-I ALS, Provision of new signages and re-routing of power cables as per DGCA requirement at Coimbatore International Airport
Contract No: 2022_AAI_113474_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | C P MONCHESTER ELECTRICALS(GSTN-33AJOPP7842E1ZY) |  | surbhi association(GSTN-23AGKPD2522N1ZK)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | Supply following 5 KV grade PVC insulated & PVC sheathed unarmored stranded copper conductor AFL cable conforming to IS 1554 (Part II) with up to date amendment and as per particular specifications etc. as required. 1 x 6 sqmm | 2650.00 | Mtr |  | 118.00 | 312700.00 | 117.00 | 310050.00 | 105.00 | 278250.00 | 278250.00 | surbhi association
1.20 | Supply following 5 KV grade PVC insulated & PVC sheathed unarmored stranded copper conductor AFL cable conforming to IS 1554 (Part II) with up to date amendment and as per particular specifications etc. as required. 1 x 16 sqmm | 1760.00 | Mtr |  | 235.00 | 413600.00 | 160.00 | 281600.00 | 220.00 | 387200.00 | 281600.00 | C P MONCHESTER ELECTRICALS
2.00 | Supply of 2C x 4 sq.mm secondary lead made out of multi stranded copper conductor, EPR insulalted PCP sheathed, treated 600V grade cable as specified and as required excluding male/female connectors. | 856.00 | Mtr |  | 175.00 | 149800.00 | 160.00 | 136960.00 | 150.00 | 128400.00 | 128400.00 | surbhi association
3.00 | Supply of 5 KV grade plug and receptacle of type- I class B connector, suitable for field attachment with 5 KV grade PVC insulated PVC sheathed single core copper conductor cable of 6 sq.mm as required and conforming to the relevant IS specifications as required. | 25.00 | Set |  | 450.00 | 11250.00 | 450.00 | 11250.00 | 400.00 | 10000.00 | 10000.00 | surbhi association
4.00 | Supply of connector kits (male & female) for 2x4 sqmm AFL secondary leads | 73.00 | Set |  | 400.00 | 29200.00 | 750.00 | 54750.00 | 800.00 | 58400.00 | 29200.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.00 | Supply of XLPE insulated and PVC sheathed armoured aluminium conductor under ground power cable of 1.1 KV grade of following size conforming to IS 7098(Part -1/1988) with upto date ammendments etc complete as required. 3.5 x 240 Sqmm | 110.00 | Mtr |  | 1350.00 | 148500.00 | 1350.00 | 148500.00 | 1450.00 | 159500.00 | 148500.00 | LAKSHMI ELECTRICAL ENTERPRISES, C P MONCHESTER ELECTRICALS
6.00 | SITC of illuminated Guidance Signage Boards as per ICAO standards with suitable wattage for operating with LEDs of luminous intensity, life, THD etc. as per specifications, ensuring heat dissipation, uniform distribution of light illuminated by a single driver by using single isolating transformer of suitable rating, suitable to operate on runway/ Taxiway circuit of current varying from 2.8 to 6.6 Amps, having uniform brightness across the entire range of current, including providing concrete pedestal surrounding to the signage board, GI/ Aluminium pipes supports(Minimum 3 legs) and breakable coupling, providing isolating transformer of required rating, secondary lead etc. as required as per latest amendments of ICAO standards. Information signs for Runway vacated (Height of Face dimension 600 mm) - 5 Nos boards | 8.70 | Sqmtr |  | 40000.00 | 348000.00 | 41400.00 | 360180.00 | 35000.00 | 304500.00 | 304500.00 | surbhi association
7.00 | Installation of departmentally supplied cylindrtical type transformer housing box providing a base concrete of ratio 1:3:6 ( 1cement : 3 :coarse sand : 6 graded stone aggregate of 20 mm nominal size) of size 830 mm dia x 100mm thick and concrete of ratio 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) all around the CI box for 150 mm and coping up of top slope, including providing & fixing 300 mm long 15 mm dia "B" class G.I. pipe for drainage of water, fixing departmentally supplied 50mm dia DWC HDPE pipes for cable entry at 2 or 3 sides of CI box as required. | 20.00 | Job |  | 2500.00 | 50000.00 | 3000.00 | 60000.00 | 2500.00 | 50000.00 | 50000.00 | LAKSHMI ELECTRICAL ENTERPRISES, surbhi association
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 kV grade of following size in the existing RCC/ HUME/ METAL/ DWC HDPE PIPE /Closed masonry duct etc. as required. 1 x 6 Sqmm / 1x16 Sqmm | 4410.00 | Mtr |  | 20.00 | 88200.00 | 10.00 | 44100.00 | 15.00 | 66150.00 | 44100.00 | C P MONCHESTER ELECTRICALS
9.00 | Laying of 1.1kv grade 2x4 sqmm AFL secondary lead in the existing DWC HDPE pipes as required. | 751.00 | Mtr |  | 20.00 | 15020.00 | 15.00 | 11265.00 | 10.00 | 7510.00 | 7510.00 | surbhi association
10.00 | Dismantling of the existing elevated type approach light fittings including disconnecting the secondary lead from isolating transformers etc. as required. | 89.00 | Job |  | 150.00 | 13350.00 | 90.00 | 8010.00 | 100.00 | 8900.00 | 8010.00 | C P MONCHESTER ELECTRICALS
11.00 | Making suitable holes on CI transformer housing box for 25 mm/50mm dia GI pipe entry at one side at height as per site condition. | 20.00 | Job |  | 500.00 | 10000.00 | 450.00 | 9000.00 | 250.00 | 5000.00 | 5000.00 | surbhi association
12.00 | Installation and testing and commissioning of elevated type approach light fixtures in concrete surface by providing 6 Nos. of 10mm anchor bolts including connecting the secondary leads to the isolating transformer in CI box, providing insulation tape, setting the light fixture at required angle & aligning as per site condition etc. as required. | 89.00 | Job |  | 350.00 | 31150.00 | 270.00 | 24030.00 | 500.00 | 44500.00 | 24030.00 | C P MONCHESTER ELECTRICALS
13.00 | Making field connections by crimping departmentally supplied 6 sq.mm size plug and receptacle with the existing 6 sq.mm single core PVC copper conductor cable including filling the gap with water sealant material, applying HT / PVC insulation tape etc. complete as required. | 25.00 | Job |  | 200.00 | 5000.00 | 150.00 | 3750.00 | 150.00 | 3750.00 | 3750.00 | C P MONCHESTER ELECTRICALS, surbhi association
14.00 | Supply and laying of 6 SWG GI wire along with cable including providing lugs for termination, etc complete as required. | 4410.00 | Mtr |  | 28.00 | 123480.00 | 27.00 | 119070.00 | 30.00 | 132300.00 | 119070.00 | C P MONCHESTER ELECTRICALS
15.10 | Supplying and laying of following size DWC HDPE pipe ISI marked along with accessories like socket, bend, couplers etc. conforming to IS 14930, Part II including cutting, jointing etc.in the existing trench, complete as required. 50 mm dia OD, 38 mm dia ID | 3822.00 | Mtr |  | 85.00 | 324870.00 | 63.00 | 240786.00 | 80.00 | 305760.00 | 240786.00 | C P MONCHESTER ELECTRICALS
15.20 | Supplying and laying of following size DWC HDPE pipe ISI marked along with accessories like socket, bend, couplers etc. conforming to IS 14930, Part II including cutting, jointing etc.in the existing trench, complete as required. 110 mm dia OD, 95 mm dia ID | 975.00 | Mtr |  | 165.00 | 160875.00 | 140.00 | 136500.00 | 150.00 | 146250.00 | 136500.00 | C P MONCHESTER ELECTRICALS
16.00 | Supply and laying of 110mm dia, PN 6 and PE 63 grade ISI marked, HDPE pipe conforming to IS 14930, Part II with up to date amendments, in existing trench in ground and across rain water drain line etc. complete as required | 12.00 | Mtr |  | 200.00 | 2400.00 | 500.00 | 6000.00 | 250.00 | 3000.00 | 2400.00 | LAKSHMI ELECTRICAL ENTERPRISES
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe/DWC HDPE pipe etc. as required. Above 185 sq. mm and upto 400 sq. mm | 1066.00 | Mtr |  | 87.00 | 92742.00 | 60.00 | 63960.00 | 100.00 | 106600.00 | 63960.00 | C P MONCHESTER ELECTRICALS
18.10 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 x 300 Sqmm | 5.00 | Set |  | 5000.00 | 25000.00 | 9000.00 | 45000.00 | 5000.00 | 25000.00 | 25000.00 | LAKSHMI ELECTRICAL ENTERPRISES, surbhi association
18.20 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 x 240 Sqmm | 2.00 | Set |  | 4500.00 | 9000.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 9000.00 | LAKSHMI ELECTRICAL ENTERPRISES
19.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed XLPE aluminium conductor cable of 1.1KV grade as required. 3.5 x 300 Sqmm (70mm) | 1.00 | Set |  | 1500.00 | 1500.00 | 1798.00 | 1798.00 | 1000.00 | 1000.00 | 1000.00 | surbhi association
20.00 | Excavation for cable trenches in soft soil, depth up to 1.2 m including dressing of sides lift up to 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc. in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 meters. | 1518.00 | Cum |  | 260.00 | 394680.00 | 243.00 | 368874.00 | 245.00 | 371910.00 | 368874.00 | C P MONCHESTER ELECTRICALS
21.00 | Making concrete platform in ground by excavating soil for installation of Elevated type approach light fixtures by providing a base concrete of ratio 1:3:6 ( 1cement : 3 :coarse sand : 6 graded stone aggregate of 20 mm nominal size) for 100mm thick and cement concrete of ratio 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) for 200mm thick, including plastering the outer surface for ratio1:3 (1 cement: 3 coarse sand) excluding the cost of centering and shuttering - All work up to plinth level including form work etc as required. | 35.00 | Cum |  | 5400.00 | 189000.00 | 6000.00 | 210000.00 | 4500.00 | 157500.00 | 157500.00 | surbhi association
22.00 | Dismantling of cylindrical type Transformer housing boxes of outside dia 330 mm and height of up to 450 mm from the soil including excavation of soil, demolition of concrete and making it suitable for re-installation, refilling the soil etc. complete as required. | 19.00 | Job |  | 1500.00 | 28500.00 | 350.00 | 6650.00 | 700.00 | 13300.00 | 6650.00 | C P MONCHESTER ELECTRICALS
23.00 | Making pre-cast cement concrete moulds for size 400mm (L) x 400mm (B) x 300mm(D) by cement concrete of ratio 1:1½ : 3 ( 1 cement : 1½ coarse sand : 3 graded stone aggregate of 20mm nominal size) including providing 1" dia PVC pipe with bend from top to middle of the casting etc as required. | 15.00 | Job |  | 1450.00 | 21750.00 | 900.00 | 13500.00 | 750.00 | 11250.00 | 11250.00 | surbhi association
| Total in Figures |  |  |  |  | 2999567.00 |  | 2693583.00 |  | 2795930.00
Lowest Amount Quoted BY: C P MONCHESTER ELECTRICALS(2693583.00)

## BOQ Summary
BOQ Summary Details Tender Title: Minor works required for Cat-I ALS, Provision of new signages and rerouting of power cables as per DGCA requirement at Coimbatore International Airport Tender ID: 2022_AAI_113474_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | C P MONCHESTER ELECTRICALS | 2693583.00 | L1
| 2 | surbhi association | 2795930.00 | L2
| 3 | LAKSHMI ELECTRICAL ENTERPRISES | 2999567.00 | L3