## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 26-May-2022 03:01 PM Tender Title: Annual Maintenance and operation of Internal and External E and M installation i.e. 33KV Substation Escalators Elevators, DVOR and Fire Safety System at Goa Airport, during a period of 2022 2024. Tender ID: 2022_AAI_113561_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-E), AAI, Goa Airport, Goa.
Name of Work: Annual Maintenance and operation of Internal & External E&M installation i.e. 33KV Substation, Escalators – Elevators, DVOR & Fire Safety System at Goa Airport, during a period of 2022-2024
Contract No: 2022_AAI_113561_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | R. D. ENGINEERS(GSTN-07AAOPG1416G1ZZ) |  | Brady Services Pvt. Ltd.(GSTN-07AABCB4175F1ZW) |  | SWASTIK ELECTROTECH PRIVATE LIMITED(GSTN-07AANCS9215R1ZF) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | Voltas Limited(GSTN-19AAACV2809D1ZJ) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I:- Manpower for Operation & Maintenance Annual operation and maintenance of 33KV Substation, 33 kV HT panels, LT panels ,1500KVA, 7.5 kVA, 25kVA DG Sets, synchronizing panel, 25KVA DG set at DVOR site, fire fighting and fire detection and alarm system , escalators & elevators, nav-aid, GLF system, external & internal lighting works in NITB, Admin Block , Airport Premises , CISF barracks accommodation, cargo building, AAI Colony, navy area etc. on 24hrs x 7 days including Saturday, sunday and other holidays & maintaining all records as per the requirement of works at Goa International Airport by deploying most suitable manpower as specified as required as per Annexure-A
1.01 | (a) For 1st Year | 12.00 | Months |  | 1580400.00 | 18964800.00 | 1574551.60 | 18894619.20 | 2054400.00 | 24652800.00 | 1594187.00 | 19130244.00 | 1723551.83 | 20682622.00 | 1861660.00 | 22339920.00 | 1785000.00 | 21420000.00 | 1630666.00 | 19567992.00 | 1646396.00 | 19756752.00 | 18894619.20 | Brady Services Pvt. Ltd.
1.02 | (b) For 2nd Year | 12.00 | Months |  | 1530000.00 | 18360000.00 | 1574811.60 | 18897739.20 | 2256800.00 | 27081600.00 | 1594187.00 | 19130244.00 | 1723551.83 | 20682622.00 | 1861660.00 | 22339920.00 | 1785000.00 | 21420000.00 | 1630666.00 | 19567992.00 | 1646396.00 | 19756752.00 | 18360000.00 | R. D. ENGINEERS
2.00 | SH-II:- Rewinding & Repair Works Refilling of stored pressure water CO2 type fire extinguishers, 09 ltr. capacity to get the specified weight within tolerance limit including packing ,freight ,insurance etc., and handing over to the stores in good condition as and when required.Work to be carried out on as and when required Basis.
2.01 | (a) For 1st Year | 34.00 | Job |  | 500.00 | 17000.00 | 300.00 | 10200.00 | 500.00 | 17000.00 | 500.00 | 17000.00 | 500.00 | 17000.00 | 330.00 | 11220.00 | 2250.00 | 76500.00 | 300.00 | 10200.00 | 220.00 | 7480.00 | 7480.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
2.02 | (b) For 2nd Year | 34.00 | Job |  | 500.00 | 17000.00 | 350.00 | 11900.00 | 550.00 | 18700.00 | 550.00 | 18700.00 | 650.00 | 22100.00 | 345.00 | 11730.00 | 2250.00 | 76500.00 | 300.00 | 10200.00 | 220.00 | 7480.00 | 7480.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.00 | Refilling of 4.5 Kgs. carbon dioxide fire extinguishers to the required qty to get the specified weight with in tolerance limit including packing ,freight ,insurance etc., and handing over to the stores in good condition as and when required.Work to be carried out on as and when required Basis.
3.01 | (a) For 1st Year | 62.00 | Job |  | 550.00 | 34100.00 | 320.00 | 19840.00 | 980.00 | 60760.00 | 250.00 | 15500.00 | 500.00 | 31000.00 | 330.00 | 20460.00 | 1150.00 | 71300.00 | 450.00 | 27900.00 | 325.00 | 20150.00 | 15500.00 | Manish Electricals
3.02 | (b) For 2nd Year | 62.00 | Job |  | 550.00 | 34100.00 | 350.00 | 21700.00 | 1070.00 | 66340.00 | 250.00 | 15500.00 | 650.00 | 40300.00 | 345.00 | 21390.00 | 1150.00 | 71300.00 | 450.00 | 27900.00 | 325.00 | 20150.00 | 15500.00 | Manish Electricals
4.00 | Refilling of 6.0 Kgs., DCP type fire extinguishers to the required qty to get the specified weight with in tolerance limit including packing ,freight ,insurance etc., and handing over to the stores in good condition as and when required.Work to be carried out on as and when required Basis.
4.01 | (a) For 1st Year | 18.00 | Job |  | 660.00 | 11880.00 | 550.00 | 9900.00 | 650.00 | 11700.00 | 250.00 | 4500.00 | 560.00 | 10080.00 | 500.00 | 9000.00 | 1500.00 | 27000.00 | 500.00 | 9000.00 | 340.00 | 6120.00 | 4500.00 | Manish Electricals
4.02 | (b) For 2nd Year | 18.00 | Job |  | 660.00 | 11880.00 | 600.00 | 10800.00 | 720.00 | 12960.00 | 250.00 | 4500.00 | 560.00 | 10080.00 | 510.00 | 9180.00 | 1500.00 | 27000.00 | 500.00 | 9000.00 | 340.00 | 6120.00 | 4500.00 | Manish Electricals
5.00 | Refilling of stored pressure mechanical foam type, 09 litrs. capacity fire extinguishers to the required qty to get the specified weight within tolerance limit including packing ,freight ,insurance etc., and handing over to the stores in good condition as and when required.Work to be carried out on as and when required Basis
5.01 | (a) For 1st Year | 3.00 | Job |  | 550.00 | 1650.00 | 450.00 | 1350.00 | 690.00 | 2070.00 | 200.00 | 600.00 | 2200.00 | 6600.00 | 330.00 | 990.00 | 2250.00 | 6750.00 | 200.00 | 600.00 | 280.00 | 840.00 | 600.00 | ABHISHEK INTEGRATIONS LIMITED, Manish Electricals
5.02 | (b) For 2nd Year | 3.00 | Job |  | 550.00 | 1650.00 | 500.00 | 1500.00 | 770.00 | 2310.00 | 200.00 | 600.00 | 2200.00 | 6600.00 | 345.00 | 1035.00 | 2250.00 | 6750.00 | 200.00 | 600.00 | 280.00 | 840.00 | 600.00 | ABHISHEK INTEGRATIONS LIMITED, Manish Electricals
6.00 | Refilling of FOAM (AFFF) type stored pressure, 50 litrs. capacity fire extinguishers to the required qty to get the specified weight within tolerance limit including packing ,freight ,insurance etc., and handing over to the stores in good condition as and when required.Work to be carried out on as and when required Basis
6.01 | (a) For 1st Year | 3.00 | Job |  | 950.00 | 2850.00 | 1590.00 | 4770.00 | 2750.00 | 8250.00 | 400.00 | 1200.00 | 2350.00 | 7050.00 | 1665.00 | 4995.00 | 12500.00 | 37500.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 1200.00 | Manish Electricals
6.02 | (b) For 2nd Year | 3.00 | Job |  | 950.00 | 2850.00 | 1685.00 | 5055.00 | 3000.00 | 9000.00 | 400.00 | 1200.00 | 2350.00 | 7050.00 | 1694.00 | 5082.00 | 12500.00 | 37500.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 1200.00 | Manish Electricals
7.00 | Refilling of 25.0 Kgs., DCP type fire extinguishers to the required qty to get the specified weight with in tolerance limit including packing ,freight ,insurance etc., and handing over to the stores in good condition as and when required.Work to be carried out on as and when required Basis.
7.01 | (a) For 1st Year | 2.00 | Job |  | 2435.00 | 4870.00 | 2000.00 | 4000.00 | 3200.00 | 6400.00 | 600.00 | 1200.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 6250.00 | 12500.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 1200.00 | Manish Electricals
7.02 | (b) For 2nd Year | 2.00 | Job |  | 2435.00 | 4870.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 600.00 | 1200.00 | 5000.00 | 10000.00 | 2025.00 | 4050.00 | 6250.00 | 12500.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 1200.00 | Manish Electricals
8.00 | Rewinding of various type of Monoblock / Submersible water / sewage pump/ Air Blower, motor etc. of following capacity as and when required including all other associated works like bearing replacement, shaft works etc. complete as required.
8.01 | (a) For 1st Year
8.02 | 1.5 HP (high mast motor) | 5.00 | Job |  | 2000.00 | 10000.00 | 50.00 | 250.00 | 2750.00 | 13750.00 | 2000.00 | 10000.00 | 500.00 | 2500.00 | 3300.00 | 16500.00 | 1200.00 | 6000.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 250.00 | Brady Services Pvt. Ltd.
8.03 | 3 HP (pump / blower / sewage pump) | 7.00 | Job |  | 2500.00 | 17500.00 | 50.00 | 350.00 | 6050.00 | 42350.00 | 3000.00 | 21000.00 | 500.00 | 3500.00 | 5550.00 | 38850.00 | 2500.00 | 17500.00 | 3000.00 | 21000.00 | 2000.00 | 14000.00 | 350.00 | Brady Services Pvt. Ltd.
8.04 | 3 HP (submersible pump) | 4.00 | Job |  | 2500.00 | 10000.00 | 50.00 | 200.00 | 7200.00 | 28800.00 | 3000.00 | 12000.00 | 500.00 | 2000.00 | 4600.00 | 18400.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 3500.00 | 14000.00 | 200.00 | Brady Services Pvt. Ltd.
8.05 | 5 HP (Cooling tower pump) | 1.00 | Job |  | 3000.00 | 3000.00 | 50.00 | 50.00 | 8250.00 | 8250.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 7550.00 | 7550.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 50.00 | Brady Services Pvt. Ltd.
8.06 | 10 HP (CT / DG fan) | 1.00 | Job |  | 10000.00 | 10000.00 | 50.00 | 50.00 | 10500.00 | 10500.00 | 4000.00 | 4000.00 | 500.00 | 500.00 | 10000.00 | 10000.00 | 5500.00 | 5500.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 50.00 | Brady Services Pvt. Ltd.
8.07 | 12.5 HP (DG CT pump) | 2.00 | Job |  | 15000.00 | 30000.00 | 50.00 | 100.00 | 12650.00 | 25300.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 13300.00 | 26600.00 | 7500.00 | 15000.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 100.00 | Brady Services Pvt. Ltd.
8.08 | (b) For 2nd Year
8.09 | 1.5 HP (high mast motor) | 5.00 | Job |  | 2000.00 | 10000.00 | 50.00 | 250.00 | 2900.00 | 14500.00 | 3000.00 | 15000.00 | 500.00 | 2500.00 | 4000.00 | 20000.00 | 1200.00 | 6000.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 250.00 | Brady Services Pvt. Ltd.
8.10 | 3 HP (pump / blower / sewage pump) | 7.00 | Job |  | 2500.00 | 17500.00 | 50.00 | 350.00 | 6350.00 | 44450.00 | 4000.00 | 28000.00 | 500.00 | 3500.00 | 6500.00 | 45500.00 | 2500.00 | 17500.00 | 3000.00 | 21000.00 | 2000.00 | 14000.00 | 350.00 | Brady Services Pvt. Ltd.
8.11 | 3 HP (submersible pump) | 4.00 | Job |  | 2500.00 | 10000.00 | 50.00 | 200.00 | 7500.00 | 30000.00 | 4000.00 | 16000.00 | 500.00 | 2000.00 | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 3500.00 | 14000.00 | 200.00 | Brady Services Pvt. Ltd.
8.12 | 5 HP (Cooling tower pump) | 1.00 | Job |  | 5000.00 | 5000.00 | 50.00 | 50.00 | 8650.00 | 8650.00 | 4000.00 | 4000.00 | 500.00 | 500.00 | 8000.00 | 8000.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 50.00 | Brady Services Pvt. Ltd.
8.13 | 10 HP (CT / DG fan) | 1.00 | Job |  | 10000.00 | 10000.00 | 50.00 | 50.00 | 11000.00 | 11000.00 | 5000.00 | 5000.00 | 500.00 | 500.00 | 10500.00 | 10500.00 | 5500.00 | 5500.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 50.00 | Brady Services Pvt. Ltd.
8.14 | 12.5 HP (DG CT pump) | 2.00 | Job |  | 15000.00 | 30000.00 | 50.00 | 100.00 | 13300.00 | 26600.00 | 6000.00 | 12000.00 | 500.00 | 1000.00 | 13500.00 | 27000.00 | 7500.00 | 15000.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 100.00 | Brady Services Pvt. Ltd.
9.00 | Providing of one number non AC Commercial Vehicle (Bolero/Tata Sumo) with a driver for 1500 Kms on 12 hrs. a days including holidays, Saturdays and Sundays for daily inspection of dedicated cable and carry out other maintenance works of DVOR, AAI Colony, CISF barrack accommodation etc. along with fuel and all other necessary consumable, reparing & servicing etc.
9.01 | (a) For 1st Year | 12.00 | Months |  | 100000.00 | 1200000.00 | 62950.00 | 755400.00 | 35000.00 | 420000.00 | 35100.00 | 421200.00 | 35000.00 | 420000.00 | 70000.00 | 840000.00 | 40000.00 | 480000.00 | 45000.00 | 540000.00 | 50000.00 | 600000.00 | 420000.00 | SWASTIK ELECTROTECH PRIVATE LIMITED, Ascent Electrification Engineers
9.02 | (b) For 2nd Year | 12.00 | Months |  | 50000.00 | 600000.00 | 65960.00 | 791520.00 | 38000.00 | 456000.00 | 36100.00 | 433200.00 | 35000.00 | 420000.00 | 75000.00 | 900000.00 | 40000.00 | 480000.00 | 45000.00 | 540000.00 | 50000.00 | 600000.00 | 420000.00 | Ascent Electrification Engineers
10.00 | Servicing of HVLS Fans which includes cleaning, safety check, motor, gear box, drive check, alignment & leveling check, VFD parameters check and setting including oil change (as per OEM recommendation), other diagnosis etc. through OEM.
10.01 | (a) For 1st Year | 5.00 | Job |  | 2000.00 | 10000.00 | 25000.00 | 125000.00 | 3000.00 | 15000.00 | 900.00 | 4500.00 | 7500.00 | 37500.00 | 25000.00 | 125000.00 | 9500.00 | 47500.00 | 27500.00 | 137500.00 | 5000.00 | 25000.00 | 4500.00 | Manish Electricals
10.02 | (b) For 2nd Year | 6.00 | Job |  | 2000.00 | 12000.00 | 27500.00 | 165000.00 | 3500.00 | 21000.00 | 900.00 | 5400.00 | 7500.00 | 45000.00 | 26000.00 | 156000.00 | 12500.00 | 75000.00 | 27500.00 | 165000.00 | 5000.00 | 30000.00 | 5400.00 | Manish Electricals
11.00 | SH-III :- Servicing & Maintenance of Circuit Breakers One time servicing of ACB rating 800-1600 A as per standard OEM specification and per technical specification enclosed Make L&T / Schneider Including provision of L&T Maintenance Kit.
11.01 | (a) For 1st Year | 34.00 | Each |  | 1500.00 | 51000.00 | 1.00 | 34.00 | 7700.00 | 261800.00 | 1500.00 | 51000.00 | 2000.00 | 68000.00 | 2350.00 | 79900.00 | 2500.00 | 85000.00 | 2000.00 | 68000.00 | 2200.00 | 74800.00 | 34.00 | Brady Services Pvt. Ltd.
11.02 | (b) For 2nd Year | 34.00 | Each |  | 1500.00 | 51000.00 | 1.00 | 34.00 | 8070.00 | 274380.00 | 1500.00 | 51000.00 | 2000.00 | 68000.00 | 2400.00 | 81600.00 | 2500.00 | 85000.00 | 2000.00 | 68000.00 | 2200.00 | 74800.00 | 34.00 | Brady Services Pvt. Ltd.
12.00 | One time servicing of ACB rating 800-1600 A as per standard OEM specification and per technical specification enclosed. Make GE.
12.01 | (a) For 1st Year | 7.00 | Each |  | 1500.00 | 10500.00 | 1.00 | 7.00 | 7700.00 | 53900.00 | 1500.00 | 10500.00 | 2000.00 | 14000.00 | 2350.00 | 16450.00 | 4000.00 | 28000.00 | 2000.00 | 14000.00 | 2500.00 | 17500.00 | 7.00 | Brady Services Pvt. Ltd.
12.02 | (b) For 2nd Year | 7.00 | Each |  | 1500.00 | 10500.00 | 1.00 | 7.00 | 8070.00 | 56490.00 | 1500.00 | 10500.00 | 2000.00 | 14000.00 | 2400.00 | 16800.00 | 4000.00 | 28000.00 | 2000.00 | 14000.00 | 2500.00 | 17500.00 | 7.00 | Brady Services Pvt. Ltd.
13.00 | One time servicing of ACB rating 2000-2500 A as per standard OEM specification and per technical specification enclosed. Make L& T / Schneider
13.01 | (a) For 1st Year | 4.00 | Each |  | 1500.00 | 6000.00 | 1.00 | 4.00 | 9000.00 | 36000.00 | 1800.00 | 7200.00 | 2000.00 | 8000.00 | 2775.00 | 11100.00 | 3500.00 | 14000.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 4.00 | Brady Services Pvt. Ltd.
13.02 | (b) For 2nd Year | 4.00 | Each |  | 1500.00 | 6000.00 | 1.00 | 4.00 | 9900.00 | 39600.00 | 1800.00 | 7200.00 | 2000.00 | 8000.00 | 2800.00 | 11200.00 | 3500.00 | 14000.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 4.00 | Brady Services Pvt. Ltd.
14.00 | One time servicing of ACB rating 3200-4000 A as per standard OEM specification and per technical specification enclosed. Make L& T / L& T / Schneider
14.01 | (a) For 1st Year | 25.00 | Each |  | 1500.00 | 37500.00 | 1.00 | 25.00 | 10900.00 | 272500.00 | 1800.00 | 45000.00 | 2000.00 | 50000.00 | 3350.00 | 83750.00 | 7000.00 | 175000.00 | 2500.00 | 62500.00 | 3500.00 | 87500.00 | 25.00 | Brady Services Pvt. Ltd.
14.02 | (b) For 2nd Year | 28.00 | Each |  | 1500.00 | 42000.00 | 1.00 | 28.00 | 12000.00 | 336000.00 | 2000.00 | 56000.00 | 2000.00 | 56000.00 | 3400.00 | 95200.00 | 7500.00 | 210000.00 | 2500.00 | 70000.00 | 3500.00 | 98000.00 | 28.00 | Brady Services Pvt. Ltd.
15.00 | One time servicing of VCB rating 33KV as per standard OEM specification and per technical specification enclosed. Make Jyoti
15.01 | (a) For 1st Year | 11.00 | Each |  | 1500.00 | 16500.00 | 1.00 | 11.00 | 27500.00 | 302500.00 | 5000.00 | 55000.00 | 7000.00 | 77000.00 | 7500.00 | 82500.00 | 8500.00 | 93500.00 | 8500.00 | 93500.00 | 8000.00 | 88000.00 | 11.00 | Brady Services Pvt. Ltd.
15.02 | (b) For 2nd Year | 11.00 | Each |  | 1500.00 | 16500.00 | 1.00 | 11.00 | 32000.00 | 352000.00 | 6000.00 | 66000.00 | 7000.00 | 77000.00 | 8000.00 | 88000.00 | 8500.00 | 93500.00 | 8500.00 | 93500.00 | 8000.00 | 88000.00 | 11.00 | Brady Services Pvt. Ltd.
16.00 | Mobilising and providing manpower and tools (like HV Kit, Timing Kit, IR Kit, CRM Kit etc.) for one time servicing / overhauling of all Jyoti Make 33 kV VCB (as per Item no 16) at Goa Airport per visit.
16.01 | (a) For 1st Year | 1.00 | Each |  | 10000.00 | 10000.00 | 1.00 | 1.00 | 20000.00 | 20000.00 | 6000.00 | 6000.00 | 15000.00 | 15000.00 | 22000.00 | 22000.00 | 5000.00 | 5000.00 | 15000.00 | 15000.00 | 22000.00 | 22000.00 | 1.00 | Brady Services Pvt. Ltd.
16.02 | (b) For 2nd Year | 1.00 | Each |  | 10000.00 | 10000.00 | 1.00 | 1.00 | 25000.00 | 25000.00 | 6000.00 | 6000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 5500.00 | 5500.00 | 15000.00 | 15000.00 | 22000.00 | 22000.00 | 1.00 | Brady Services Pvt. Ltd.
17.00 | SH-IV Calibration of following Relays and submission of calibration reports.
17.01 | ABB - Model:- CV2D2J
17.02 | For First year | 18.00 | Nos. |  | 1000.00 | 18000.00 | 1.00 | 18.00 | 2750.00 | 49500.00 | 300.00 | 5400.00 | 500.00 | 9000.00 | 388.00 | 6984.00 | 1200.00 | 21600.00 | 565.00 | 10170.00 | 800.00 | 14400.00 | 18.00 | Brady Services Pvt. Ltd.
17.03 | For Second year | 18.00 | Nos. |  | 1000.00 | 18000.00 | 1.00 | 18.00 | 3000.00 | 54000.00 | 300.00 | 5400.00 | 500.00 | 9000.00 | 390.00 | 7020.00 | 1200.00 | 21600.00 | 565.00 | 10170.00 | 800.00 | 14400.00 | 18.00 | Brady Services Pvt. Ltd.
17.04 | ABB - Model:- PQ8NCH2J
17.05 | For First year | 14.00 | Nos. |  | 1000.00 | 14000.00 | 1.00 | 14.00 | 2750.00 | 38500.00 | 200.00 | 2800.00 | 250.00 | 3500.00 | 388.00 | 5432.00 | 1200.00 | 16800.00 | 190.00 | 2660.00 | 700.00 | 9800.00 | 14.00 | Brady Services Pvt. Ltd.
17.06 | For Second year | 14.00 | Nos. |  | 1000.00 | 14000.00 | 1.00 | 14.00 | 3000.00 | 42000.00 | 200.00 | 2800.00 | 250.00 | 3500.00 | 390.00 | 5460.00 | 1200.00 | 16800.00 | 190.00 | 2660.00 | 700.00 | 9800.00 | 14.00 | Brady Services Pvt. Ltd.
17.07 | ABB - Model:- SPAJ140C
17.08 | For First year | 9.00 | Nos. |  | 1000.00 | 9000.00 | 1.00 | 9.00 | 2750.00 | 24750.00 | 400.00 | 3600.00 | 900.00 | 8100.00 | 1110.00 | 9990.00 | 1200.00 | 10800.00 | 1060.00 | 9540.00 | 1100.00 | 9900.00 | 9.00 | Brady Services Pvt. Ltd.
17.09 | For Second year | 9.00 | Nos. |  | 1000.00 | 9000.00 | 1.00 | 9.00 | 3000.00 | 27000.00 | 400.00 | 3600.00 | 900.00 | 8100.00 | 1115.00 | 10035.00 | 1200.00 | 10800.00 | 1060.00 | 9540.00 | 1100.00 | 9900.00 | 9.00 | Brady Services Pvt. Ltd.
17.10 | ABB - Model:- TCS
17.11 | For First year | 10.00 | Nos. |  | 1000.00 | 10000.00 | 1.00 | 10.00 | 2750.00 | 27500.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 388.00 | 3880.00 | 1200.00 | 12000.00 | 190.00 | 1900.00 | 600.00 | 6000.00 | 10.00 | Brady Services Pvt. Ltd.
17.12 | For Second year | 10.00 | Nos. |  | 1000.00 | 10000.00 | 1.00 | 10.00 | 3000.00 | 30000.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 390.00 | 3900.00 | 1200.00 | 12000.00 | 190.00 | 1900.00 | 600.00 | 6000.00 | 10.00 | Brady Services Pvt. Ltd.
17.13 | ABB - Model:- VHXM22B
17.14 | For First year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 2750.00 | 11000.00 | 200.00 | 800.00 | 250.00 | 1000.00 | 830.00 | 3320.00 | 1200.00 | 4800.00 | 190.00 | 760.00 | 800.00 | 3200.00 | 4.00 | Brady Services Pvt. Ltd.
17.15 | For Second year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 3000.00 | 12000.00 | 200.00 | 800.00 | 250.00 | 1000.00 | 835.00 | 3340.00 | 1200.00 | 4800.00 | 190.00 | 760.00 | 800.00 | 3200.00 | 4.00 | Brady Services Pvt. Ltd.
17.16 | ABB - Model:- REJ601
17.17 | For First year | 2.00 | Nos. |  | 1000.00 | 2000.00 | 1.00 | 2.00 | 2750.00 | 5500.00 | 500.00 | 1000.00 | 900.00 | 1800.00 | 1110.00 | 2220.00 | 1200.00 | 2400.00 | 1060.00 | 2120.00 | 800.00 | 1600.00 | 2.00 | Brady Services Pvt. Ltd.
17.18 | For Second year | 2.00 | Nos. |  | 1000.00 | 2000.00 | 1.00 | 2.00 | 3000.00 | 6000.00 | 500.00 | 1000.00 | 900.00 | 1800.00 | 1115.00 | 2230.00 | 1200.00 | 2400.00 | 1060.00 | 2120.00 | 800.00 | 1600.00 | 2.00 | Brady Services Pvt. Ltd.
17.19 | L&T - Model:- MG30
17.20 | For First year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 2800.00 | 11200.00 | 500.00 | 2000.00 | 700.00 | 2800.00 | 1389.00 | 5556.00 | 1200.00 | 4800.00 | 815.00 | 3260.00 | 800.00 | 3200.00 | 4.00 | Brady Services Pvt. Ltd.
17.21 | For Second year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 3100.00 | 12400.00 | 500.00 | 2000.00 | 700.00 | 2800.00 | 1395.00 | 5580.00 | 120.00 | 480.00 | 815.00 | 3260.00 | 800.00 | 3200.00 | 4.00 | Brady Services Pvt. Ltd.
17.22 | L&T - Model:- MD32G
17.23 | For First year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 2800.00 | 11200.00 | 500.00 | 2000.00 | 700.00 | 2800.00 | 1389.00 | 5556.00 | 1000.00 | 4000.00 | 815.00 | 3260.00 | 800.00 | 3200.00 | 4.00 | Brady Services Pvt. Ltd.
17.24 | For Second year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 3200.00 | 12800.00 | 500.00 | 2000.00 | 700.00 | 2800.00 | 1395.00 | 5580.00 | 1500.00 | 6000.00 | 815.00 | 3260.00 | 800.00 | 3200.00 | 4.00 | Brady Services Pvt. Ltd.
17.25 | ALSTOM - Model:- VAX31ZG8071BCH
17.26 | For First year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 2800.00 | 11200.00 | 200.00 | 800.00 | 200.00 | 800.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 190.00 | 760.00 | 300.00 | 1200.00 | 4.00 | Brady Services Pvt. Ltd.
17.27 | For Second year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 3200.00 | 12800.00 | 200.00 | 800.00 | 200.00 | 800.00 | 510.00 | 2040.00 | 1500.00 | 6000.00 | 190.00 | 760.00 | 300.00 | 1200.00 | 4.00 | Brady Services Pvt. Ltd.
17.28 | ALSTOM - Model:- VAJH3YF0001BBA
17.29 | For First year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 2800.00 | 11200.00 | 200.00 | 800.00 | 200.00 | 800.00 | 388.00 | 1552.00 | 1000.00 | 4000.00 | 190.00 | 760.00 | 500.00 | 2000.00 | 4.00 | Brady Services Pvt. Ltd.
17.30 | For Second year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 3200.00 | 12800.00 | 200.00 | 800.00 | 200.00 | 800.00 | 390.00 | 1560.00 | 1500.00 | 6000.00 | 190.00 | 760.00 | 500.00 | 2000.00 | 4.00 | Brady Services Pvt. Ltd.
17.31 | MASIBUS - Model:-8208 MIX
17.32 | For First year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 2800.00 | 11200.00 | 400.00 | 1600.00 | 1000.00 | 4000.00 | 1110.00 | 4440.00 | 1000.00 | 4000.00 | 1320.00 | 5280.00 | 650.00 | 2600.00 | 4.00 | Brady Services Pvt. Ltd.
17.33 | For Second year | 4.00 | Nos. |  | 1000.00 | 4000.00 | 1.00 | 4.00 | 3200.00 | 12800.00 | 400.00 | 1600.00 | 1000.00 | 4000.00 | 1115.00 | 4460.00 | 1500.00 | 6000.00 | 1320.00 | 5280.00 | 650.00 | 2600.00 | 4.00 | Brady Services Pvt. Ltd.
17.34 | ASHIDA - Model:- ADR241A
17.35 | For First year | 2.00 | Nos. |  | 1000.00 | 2000.00 | 1.00 | 2.00 | 2800.00 | 5600.00 | 500.00 | 1000.00 | 900.00 | 1800.00 | 1110.00 | 2220.00 | 1000.00 | 2000.00 | 1060.00 | 2120.00 | 850.00 | 1700.00 | 2.00 | Brady Services Pvt. Ltd.
17.36 | For Second year | 2.00 | Nos. |  | 1000.00 | 2000.00 | 1.00 | 2.00 | 3200.00 | 6400.00 | 500.00 | 1000.00 | 900.00 | 1800.00 | 1115.00 | 2230.00 | 1500.00 | 3000.00 | 1060.00 | 2120.00 | 850.00 | 1700.00 | 2.00 | Brady Services Pvt. Ltd.
18.00 | Servicing of 3x 4kW grundfos make hydropneumatic pumps along with control panel which includes cleaning, safety check, motor, gear box, drive check, VFD parameters check etc. as per OEM recommendation through OEM or authorised service partner of OEM.
18.01 | (a) For 1st Year | 2.00 | Job |  | 10000.00 | 20000.00 | 6000.00 | 12000.00 | 7000.00 | 14000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 3500.00 | 7000.00 | 5500.00 | 11000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 7000.00 | Voltas Limited
18.02 | (b) For 2nd Year | 2.00 | Job |  | 10000.00 | 20000.00 | 6500.00 | 13000.00 | 8000.00 | 16000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 4000.00 | 8000.00 | 5500.00 | 11000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 8000.00 | Voltas Limited
19.00 | Servicing of 0.55 kW - 3 kW grundfos make pumps which includes cleaning, safety check, motor, gear box, drive check etc. as per OEM recommendation through OEM or authorised service partner of OEM.
19.01 | (a) For 1st Year | 4.00 | Job |  | 10000.00 | 40000.00 | 2500.00 | 10000.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 3500.00 | 14000.00 | 5500.00 | 22000.00 | 7000.00 | 28000.00 | 4000.00 | 16000.00 | 10000.00 | Brady Services Pvt. Ltd.
19.02 | (b) For 2nd Year | 4.00 | Job |  | 10000.00 | 40000.00 | 3000.00 | 12000.00 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 4000.00 | 16000.00 | 5500.00 | 22000.00 | 7000.00 | 28000.00 | 4000.00 | 16000.00 | 12000.00 | Brady Services Pvt. Ltd.
| Total in Figures |  |  |  |  | 40000000.00 |  | 39784618.40 |  | 55704560.00 |  | 39833488.00 |  | 43113404.00 |  | 47817957.00 |  | 45590180.00 |  | 41468564.00 |  | 41736384.00
Lowest Amount Quoted BY: Brady Services Pvt. Ltd.(39784618.40)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance and operation of Internal and External E and M installation i.e. 33KV Substation Escalators Elevators, DVOR and Fire Safety System at Goa Airport, during a period of 2022 2024. Tender ID: 2022_AAI_113561_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Brady Services Pvt. Ltd. | 39784618.40 | L1
| 2 | Manish Electricals | 39833488.00 | L2
| 3 | R. D. ENGINEERS | 40000000.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 41468564.00 | L4
| 5 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 41736384.00 | L5
| 6 | Ascent Electrification Engineers | 43113404.00 | L6
| 7 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 45590180.00 | L7
| 8 | Voltas Limited | 47817957.00 | L8
| 9 | SWASTIK ELECTROTECH PRIVATE LIMITED | 55704560.00 | L9