## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 03-Jun-2022 11:32 AM Tender Title: Annual operation and maintenance of 3x600 TR (Carrier make), 3x300TR (York make), VRV and precision type air- conditioners, window/ split AC units, water coolers, RO system and water purifiers at SGRDJI Airport, Amritsar. (For 02 Years). Tender ID: 2022_AAI_113678_1
Tender Inviting Authority: <Jt. General Manager, Engg.(Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Annual operation & maintenance of 3x600 TR (Carrier make), 3x300TR (York make), VRV & precision type air- conditioners, window/ split AC units, water coolers, RO system and water purifiers at SGRDJI Airport, Amritsar. (For 02 Years) SH: Operation & maintenance of air-conditioning equipment including pumps, cooling towers, AHUs, window/split AC units, water coolers, RO systems, water purifiers, etc. including spares.>
Contract No: <AAI/ASR/ENGG-ELECT/eNIT-01/2022-23>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Brady Services Pvt. Ltd.(GSTN-07AABCB4175F1ZW) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | Arctic Engineering Services(GSTN-07AAWFA5497P1ZA) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | Blue Star Limited(GSTN-04AAACB4487D1Z0)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | O&M of water cooled central Air conditioning system by operation of centrifugal type chilling machines (3 Nos.) of 600 TR capacity (Carrier make) and operation & maintenance of high side equipment such as chilled water pumps, condensor water pumps, cooling towers and low side equipment consisting of 43 nos. of AHUs of different capacities, ceiling suspended centrifugal fans, etc. complete as required and as specified in the contract agreement. | 24.00 | Months |  | 400150.00 | 9603600.00 | 292835.00 | 7028040.00 | 399000.00 | 9576000.00 | 268000.00 | 6432000.00 | 350000.00 | 8400000.00 | 6432000.00 | Supertech Engineers
2.00 | Supply and replacement of following items as and when required or as per the direction of Engineer-in-charge.
2.01 | Belt (Part No. A-76) | 156.00 | Nos. |  | 1.00 | 156.00 | 65.00 | 10140.00 | 95.00 | 14820.00 | 281.00 | 43836.00 | 90.00 | 14040.00 | 156.00 | Brady Services Pvt. Ltd.
2.02 | Belt (Part No. A-78) | 144.00 | Nos. |  | 1.00 | 144.00 | 65.00 | 9360.00 | 95.00 | 13680.00 | 286.00 | 41184.00 | 90.00 | 12960.00 | 144.00 | Brady Services Pvt. Ltd.
2.03 | Belt (Part No. A-50) | 100.00 | Nos. |  | 1.00 | 100.00 | 65.00 | 6500.00 | 95.00 | 9500.00 | 195.00 | 19500.00 | 90.00 | 9000.00 | 100.00 | Brady Services Pvt. Ltd.
2.04 | Belt (Part No. B-65) | 24.00 | Nos. |  | 1.00 | 24.00 | 45.00 | 1080.00 | 95.00 | 2280.00 | 320.00 | 7680.00 | 90.00 | 2160.00 | 24.00 | Brady Services Pvt. Ltd.
2.05 | Belt (Part No. B-68) | 16.00 | Nos. |  | 1.00 | 16.00 | 45.00 | 720.00 | 95.00 | 1520.00 | 346.00 | 5536.00 | 90.00 | 1440.00 | 16.00 | Brady Services Pvt. Ltd.
2.06 | Belt (Part No. B-76) | 8.00 | Nos. |  | 1.00 | 8.00 | 45.00 | 360.00 | 95.00 | 760.00 | 378.00 | 3024.00 | 90.00 | 720.00 | 8.00 | Brady Services Pvt. Ltd.
2.07 | Belt (Part No. B-88) | 32.00 | Nos. |  | 1.00 | 32.00 | 45.00 | 1440.00 | 95.00 | 3040.00 | 476.00 | 15232.00 | 90.00 | 2880.00 | 32.00 | Brady Services Pvt. Ltd.
2.08 | Belt (Part No. B-95) | 12.00 | Nos. |  | 1.00 | 12.00 | 45.00 | 540.00 | 95.00 | 1140.00 | 550.00 | 6600.00 | 90.00 | 1080.00 | 12.00 | Brady Services Pvt. Ltd.
2.09 | Belt (Part No. B-115) | 60.00 | Nos. |  | 1.00 | 60.00 | 45.00 | 2700.00 | 95.00 | 5700.00 | 676.00 | 40560.00 | 90.00 | 5400.00 | 60.00 | Brady Services Pvt. Ltd.
2.10 | Belt (Part No. 2600) | 32.00 | Nos. |  | 1.00 | 32.00 | 45.00 | 1440.00 | 395.00 | 12640.00 | 700.00 | 22400.00 | 90.00 | 2880.00 | 32.00 | Brady Services Pvt. Ltd.
2.11 | Belt (Part No. C-124) | 24.00 | Nos. |  | 1.00 | 24.00 | 45.00 | 1080.00 | 145.00 | 3480.00 | 1060.00 | 25440.00 | 90.00 | 2160.00 | 24.00 | Brady Services Pvt. Ltd.
2.12 | Belt (Part No. C-118) | 36.00 | Nos. |  | 1.00 | 36.00 | 45.00 | 1620.00 | 145.00 | 5220.00 | 1024.00 | 36864.00 | 90.00 | 3240.00 | 36.00 | Brady Services Pvt. Ltd.
2.13 | Belt (Part No. C-110) | 60.00 | Nos. |  | 1.00 | 60.00 | 45.00 | 2700.00 | 145.00 | 8700.00 | 985.00 | 59100.00 | 90.00 | 5400.00 | 60.00 | Brady Services Pvt. Ltd.
2.14 | Bearing No. 6310 | 24.00 | Nos. |  | 1.00 | 24.00 | 45.00 | 1080.00 | 549.00 | 13176.00 | 1000.00 | 24000.00 | 750.00 | 18000.00 | 24.00 | Brady Services Pvt. Ltd.
2.15 | Bearing No. 6309 | 40.00 | Nos. |  | 1.00 | 40.00 | 45.00 | 1800.00 | 549.00 | 21960.00 | 900.00 | 36000.00 | 750.00 | 30000.00 | 40.00 | Brady Services Pvt. Ltd.
2.16 | Bearing No. 6308 | 14.00 | Nos. |  | 1.00 | 14.00 | 45.00 | 630.00 | 549.00 | 7686.00 | 625.00 | 8750.00 | 750.00 | 10500.00 | 14.00 | Brady Services Pvt. Ltd.
2.17 | Bearing No. 6307 | 13.00 | Nos. |  | 1.00 | 13.00 | 45.00 | 585.00 | 549.00 | 7137.00 | 400.00 | 5200.00 | 750.00 | 9750.00 | 13.00 | Brady Services Pvt. Ltd.
2.18 | Bearing No. 6312 | 9.00 | Nos. |  | 1.00 | 9.00 | 45.00 | 405.00 | 549.00 | 4941.00 | 1700.00 | 15300.00 | 1100.00 | 9900.00 | 9.00 | Brady Services Pvt. Ltd.
2.19 | Bearing No. 6313 | 6.00 | Nos. |  | 1.00 | 6.00 | 45.00 | 270.00 | 549.00 | 3294.00 | 1900.00 | 11400.00 | 1250.00 | 7500.00 | 6.00 | Brady Services Pvt. Ltd.
2.20 | Bearing No. 6315 | 6.00 | Nos. |  | 1.00 | 6.00 | 45.00 | 270.00 | 659.00 | 3954.00 | 2200.00 | 13200.00 | 2000.00 | 12000.00 | 6.00 | Brady Services Pvt. Ltd.
2.21 | Bearing No. 6316 | 3.00 | Nos. |  | 1.00 | 3.00 | 45.00 | 135.00 | 761.00 | 2283.00 | 2300.00 | 6900.00 | 3500.00 | 10500.00 | 3.00 | Brady Services Pvt. Ltd.
2.22 | Bearing No. 6209 | 16.00 | Nos. |  | 1.00 | 16.00 | 45.00 | 720.00 | 449.00 | 7184.00 | 550.00 | 8800.00 | 500.00 | 8000.00 | 16.00 | Brady Services Pvt. Ltd.
2.23 | Bearing No. 6210 | 24.00 | Nos. |  | 1.00 | 24.00 | 45.00 | 1080.00 | 449.00 | 10776.00 | 600.00 | 14400.00 | 500.00 | 12000.00 | 24.00 | Brady Services Pvt. Ltd.
2.24 | Bearing No. P-212 | 30.00 | Nos. |  | 1.00 | 30.00 | 45.00 | 1350.00 | 549.00 | 16470.00 | 1200.00 | 36000.00 | 1200.00 | 36000.00 | 30.00 | Brady Services Pvt. Ltd.
2.25 | Bearing No. P-213 | 20.00 | Nos. |  | 1.00 | 20.00 | 45.00 | 900.00 | 549.00 | 10980.00 | 1300.00 | 26000.00 | 1800.00 | 36000.00 | 20.00 | Brady Services Pvt. Ltd.
2.26 | Bearing No. UK-211 | 22.00 | Nos. |  | 1.00 | 22.00 | 45.00 | 990.00 | 449.00 | 9878.00 | 1500.00 | 33000.00 | 1800.00 | 39600.00 | 22.00 | Brady Services Pvt. Ltd.
2.27 | Gear Oil | 192.00 | Ltr. |  | 1.00 | 192.00 | 200.00 | 38400.00 | 89.00 | 17088.00 | 200.00 | 38400.00 | 450.00 | 86400.00 | 192.00 | Brady Services Pvt. Ltd.
3.00 | O&M of water cooled central Air conditioning system by operation of screw type chilling machines (3 Nos.) of 300 TR capacity (York make) and operation & maintenance of high side equipment such as chilled water pumps, condensor water pumps, cooling towers and low side equipment consisting of 13 nos. of AHUs of different capacities, ceiling suspended centrifugal fans, etc. complete as required and as specified in the contract agreement. | 24.00 | Months |  | 203843.75 | 4892250.00 | 256311.00 | 6151464.00 | 207499.00 | 4979976.00 | 225000.00 | 5400000.00 | 310000.00 | 7440000.00 | 4892250.00 | Brady Services Pvt. Ltd.
4.00 | Complete items of CPWD Schedule of Rates (DSR) HVAC 2018 (Rates shall be quoted in multiples eg. 0.99 or 1.01 for below/above. (Item includes Labour Cess, terminal building charges but excludes GST). | 103020.00 | Rs. |  | .75 | 77265.00 | .75 | 77265.00 | .75 | 77265.00 | 1.00 | 103020.00 | .99 | 101989.80 | 77265.00 | Brady Services Pvt. Ltd., Anoop Refrigeration, Arctic Engineering Services
5.00 | Annual all inclusive Comprehensive Maintenance Contract of RO/ water purifier RO system of AAI/ BCAS building having capacity of 10 Ltrs. per hour of make ION Exchange (Zero B Model) installed at AAI/ BCAS building including preventive & breakdown maintenance, attending to complaints/ faults/ breakdowns and taking rectification action, testing ensuring serviceablility / satisfactory working condition of RO system, maintaining of records / documentation etc. complete as required & as specified. | 8.00 | Each for 24 months |  | 10000.00 | 80000.00 | 2160.00 | 17280.00 | 2900.00 | 23200.00 | 12970.00 | 103760.00 | 6000.00 | 48000.00 | 17280.00 | Anoop Refrigeration
6.00 | Annual all inclusive Comprehensive maintenance of Water coolers of all makes of capacity upto 40 litres installed at AAI/ BCAS building which includes replacement of defective compressor with company make original uncut compressor along with stablizers at different locations including providing all necessary consumables & spares complete as required & as specified. | 8.00 | Each for 24 months |  | 14600.00 | 116800.00 | 2430.00 | 19440.00 | 2900.00 | 23200.00 | 12970.00 | 103760.00 | 5000.00 | 40000.00 | 19440.00 | Anoop Refrigeration
7.00 | Annual all inclusive Comprehensive Maintenance of following capacity Airconditioners of all makes which includes replacement of defective compressor with company make original uncut compressor along with stablizers at different locations including providing all necessary consumables & spares complete as required & as specified.
7.01 | 1.5 TR (Split Type) | 24.00 | Each for 24 months |  | 5210.00 | 125040.00 | 1350.00 | 32400.00 | 1000.00 | 24000.00 | 12750.00 | 306000.00 | 2400.00 | 57600.00 | 24000.00 | Arctic Engineering Services
7.02 | 1.5TR (Window Type) | 29.00 | Each for 24 months |  | 4830.00 | 140070.00 | 1260.00 | 36540.00 | 1000.00 | 29000.00 | 12600.00 | 365400.00 | 2400.00 | 69600.00 | 29000.00 | Arctic Engineering Services
7.03 | 2 TR (Split Type) | 103.00 | Each for 24 months |  | 6940.00 | 714820.00 | 1800.00 | 185400.00 | 1000.00 | 103000.00 | 12750.00 | 1313250.00 | 2400.00 | 247200.00 | 103000.00 | Arctic Engineering Services
7.04 | 2 TR (Window Type) | 11.00 | Each for 24 months |  | 6430.00 | 70730.00 | 1710.00 | 18810.00 | 1000.00 | 11000.00 | 12650.00 | 139150.00 | 2400.00 | 26400.00 | 11000.00 | Arctic Engineering Services
7.05 | 3TR/3.8TR (Cassette / Floor mounted type) | 10.00 | Each for 24 months |  | 11960.00 | 119600.00 | 3060.00 | 30600.00 | 1650.00 | 16500.00 | 13120.00 | 131200.00 | 2400.00 | 24000.00 | 16500.00 | Arctic Engineering Services
8.00 | Annual all inclusive Comprehensive Maintenance of following capacity Airconditioners of all makes which includes replacement of all defective parts, spares and consumables along with sockets and stabilisers, but excludes replacement of defective compressors at different locations, complete as required & as specified. Note: The compressors for these ACs are under warranty of their respective OEMs and are thus not covered in the comprehensive maintenance.
8.01 | 1.5 TR (Split Type) | 27.00 | Each for 24 months |  | 4280.00 | 115560.00 | 990.00 | 26730.00 | 1000.00 | 27000.00 | 12170.00 | 328590.00 | 1000.00 | 27000.00 | 26730.00 | Anoop Refrigeration
8.02 | 2 TR (Split Type) | 47.00 | Each for 24 months |  | 5750.00 | 270250.00 | 1350.00 | 63450.00 | 1000.00 | 47000.00 | 12170.00 | 571990.00 | 1000.00 | 47000.00 | 47000.00 | Blue Star Limited, Arctic Engineering Services
8.03 | 2 TR (Cassette Type) | 8.00 | Each for 24 months |  | 6060.00 | 48480.00 | 1530.00 | 12240.00 | 1500.00 | 12000.00 | 12170.00 | 97360.00 | 1000.00 | 8000.00 | 8000.00 | Blue Star Limited
9.00 | Annual all inclusive Comprehensive maintenance of Water coolers of all makes of capacity upto 150 litres which includes replacement of defective compressor with company make original uncut compressor along with stablizers at different locations including providing all necessary consumables & spares complete as required & as specified. | 34.00 | Each for 24 months |  | 10300.00 | 350200.00 | 1080.00 | 36720.00 | 3930.00 | 133620.00 | 12370.00 | 420580.00 | 5000.00 | 170000.00 | 36720.00 | Anoop Refrigeration
10.00 | Annual all inclusive Comprehensive maintenance of Water purifiers (RO) of following capacity at different locations. Items covered under this AMC : RO membrane, booster pump, Sediment Filter, Carbon filter, UV tube more than 10 W, Nano silver filter, adaptor, pipe & fittings,softner consumables & spares complete as required & as specified.
10.01 | 20 LPH | 4.00 | Each for 24 months |  | 10500.00 | 42000.00 | 1800.00 | 7200.00 | 4250.00 | 17000.00 | 16570.00 | 66280.00 | 6000.00 | 24000.00 | 7200.00 | Anoop Refrigeration
10.02 | 25 LPH | 1.00 | Each for 24 months |  | 10500.00 | 10500.00 | 2250.00 | 2250.00 | 4250.00 | 4250.00 | 16570.00 | 16570.00 | 6000.00 | 6000.00 | 2250.00 | Anoop Refrigeration
10.03 | 50 LPH | 21.00 | Each for 24 months |  | 16700.00 | 350700.00 | 4050.00 | 85050.00 | 5500.00 | 115500.00 | 17570.00 | 368970.00 | 7250.00 | 152250.00 | 85050.00 | Anoop Refrigeration
10.04 | 60 LPH | 5.00 | Each for 24 months |  | 19150.00 | 95750.00 | 4590.00 | 22950.00 | 6500.00 | 32500.00 | 18570.00 | 92850.00 | 11500.00 | 57500.00 | 22950.00 | Anoop Refrigeration
11.00 | Annual all inclusive Comprehensive maintenance of Water Dispenser ,Floor mounted cooling type, 3 litres water storage capacity and cabinet capacity 16 Liters.
11.01 | Blue star make Cooling Capacity 3 ltr/hr Hot water capacity 6 ltr/hr | 6.00 | Each for 24 months |  | 2520.00 | 15120.00 | 810.00 | 4860.00 | 1000.00 | 6000.00 | 13116.00 | 78696.00 | 2600.00 | 15600.00 | 4860.00 | Anoop Refrigeration
11.02 | Voltas/Media make Cooling Capacity 3 ltr/hr Hot water capacity 4 ltr/hr | 6.00 | Each for 24 months |  | 2260.00 | 13560.00 | 945.00 | 5670.00 | 1000.00 | 6000.00 | 13116.00 | 78696.00 | 2600.00 | 15600.00 | 5670.00 | Anoop Refrigeration
12.00 | Testing of Drinking Water through FSSAI authorised vendors as per IS:10500-2012 complete in detail (Chemical & bacteriological) testing including collection of sample from Airport premises & submission of test report after testing complete as required & as specified. | 4.00 | Job |  | 6235.00 | 24940.00 | 1620.00 | 6480.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 6500.00 | 26000.00 | 6480.00 | Anoop Refrigeration
13.00 | Testing of Drinking Water through Govt. Laboratory quarterly basis including collection of samples from Airport premises & submission of test report after testing complete as specified. | 64.00 | Job |  | 3350.00 | 214400.00 | 1500.00 | 96000.00 | 850.00 | 54400.00 | 500.00 | 32000.00 | 1000.00 | 64000.00 | 32000.00 | Supertech Engineers
14.00 | Annual operation of 4 x 18 TR Precision package Air - conditioning system of Stulz make installed at ASR/MSSR building in operational area involving round the clock operation, daily monitoring, maintaining the records/ documentation etc. as per detailed specifications, terms and conditions covered under this contract on all days i/c Sundays and Holidays and including deployment of man power round the clock in three shifts as required & as specified. | 24.00 | Months |  | 55300.00 | 1327200.00 | 183612.00 | 4406688.00 | 4200.00 | 100800.00 | 100000.00 | 2400000.00 | 190000.00 | 4560000.00 | 100800.00 | Arctic Engineering Services
15.00 | All inclusive Comprehensive Maintenance Contract of 4 x 18 TR Precision package Air - conditioning system of Stulz make installed at ASR/MSSR building in operational area complete including preventive & breakdown maintenance through OEM/authorized service agency, attending the complaints, ensuring serviceability/ satisfactory working condition of the system complete as required & as specified. | 24.00 | Months |  | 34800.00 | 835200.00 | 5400.00 | 129600.00 | 49500.00 | 1188000.00 | 9000.00 | 216000.00 | 9000.00 | 216000.00 | 129600.00 | Anoop Refrigeration
16.00 | Annual all inclusive Comprehensive Maintenance Contract of VRV Type Air-conditioning system of AAI/ BCAS building of DAIKIN Make with 206 HP total capacity including preventive & breakdown maintenance of all equipment (IDU/ODU/control system) through OEM/authorized service agency, attending to complaints/ faults/ breakdowns and taking rectification action, ensuring serviceablility / satisfactory working condition of Air-conditioning system complete as required & as specified. | 24.00 | Months |  | 43700.00 | 1048800.00 | 12360.00 | 296640.00 | 45000.00 | 1080000.00 | 22000.00 | 528000.00 | 39000.00 | 936000.00 | 296640.00 | Anoop Refrigeration
17.00 | Annual all inclusive Comprehensive maintenance contract of Air cooled ductable Packged Air Conditioning Unit of Blue star make of following capacities with hermetically sealed scroll compressor operating on R-407/R-410 /Non CFC (Eco Friendly) installed at CCR hall first floor building including preventive & breakdown maintenance through OEM/authorized service agency, attending complaints, ensuring serviceability/ satisfactory working condition of the system complete as required & as specified.
17.01 | 16.5 TR - 04 nos. (Model: DPA1983R2A-I) | 24.00 | Months |  | 11050.00 | 265200.00 | 4950.00 | 118800.00 | 6000.00 | 144000.00 | 4000.00 | 96000.00 | 6000.00 | 144000.00 | 96000.00 | Supertech Engineers
17.02 | 5.5 TR - 01 no. (Model: DPA661-R2A-I) | 24.00 | Months |  | 980.00 | 23520.00 | 413.00 | 9912.00 | 1500.00 | 36000.00 | 2500.00 | 60000.00 | 600.00 | 14400.00 | 9912.00 | Anoop Refrigeration
18.00 | Rewinding of motors of pumps/cooling towers of following capacities with copper winding of suitable capacity as reqd complete in all respect. (Dismantled copper wire can be kept by the contractor & rewound motor shall have minimum warranty period of 06 (Six) months).
18.01 | 15 HP | 2.00 | Job |  | 1.00 | 2.00 | 500.00 | 1000.00 | 2000.00 | 4000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 2.00 | Brady Services Pvt. Ltd.
18.02 | 20 HP | 2.00 | Job |  | 1.00 | 2.00 | 500.00 | 1000.00 | 3500.00 | 7000.00 | 8500.00 | 17000.00 | 12500.00 | 25000.00 | 2.00 | Brady Services Pvt. Ltd.
18.03 | 40 HP | 1.00 | Job |  | 1.00 | 1.00 | 500.00 | 500.00 | 4500.00 | 4500.00 | 16000.00 | 16000.00 | 20500.00 | 20500.00 | 1.00 | Brady Services Pvt. Ltd.
18.04 | 50 HP | 1.00 | Job |  | 1.00 | 1.00 | 500.00 | 500.00 | 5000.00 | 5000.00 | 19000.00 | 19000.00 | 30000.00 | 30000.00 | 1.00 | Brady Services Pvt. Ltd.
18.05 | 75 HP | 1.00 | Job |  | 1.00 | 1.00 | 500.00 | 500.00 | 7000.00 | 7000.00 | 32000.00 | 32000.00 | 35000.00 | 35000.00 | 1.00 | Brady Services Pvt. Ltd.
18.06 | 100 HP | 1.00 | Job |  | 1.00 | 1.00 | 500.00 | 500.00 | 10000.00 | 10000.00 | 40000.00 | 40000.00 | 39000.00 | 39000.00 | 1.00 | Brady Services Pvt. Ltd.
19.00 | Overhauling of pumps of all capacities including replacement/repair of shaft, mechanical seals/gland dori, bearings, coupling tyre and greasing/oiling of all parts and replacement/repair of any other component required for efficient operation of the pumps complete in all respect.
19.01 | 40 HP | 1.00 | Job |  | 1.00 | 1.00 | 500.00 | 500.00 | 2000.00 | 2000.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 1.00 | Brady Services Pvt. Ltd.
19.02 | 50 HP | 1.00 | Job |  | 1.00 | 1.00 | 500.00 | 500.00 | 3000.00 | 3000.00 | 12000.00 | 12000.00 | 12000.00 | 12000.00 | 1.00 | Brady Services Pvt. Ltd.
19.03 | 75 HP | 1.00 | Job |  | 1.00 | 1.00 | 500.00 | 500.00 | 5000.00 | 5000.00 | 16000.00 | 16000.00 | 15000.00 | 15000.00 | 1.00 | Brady Services Pvt. Ltd.
19.04 | 100 HP | 1.00 | Job |  | 1.00 | 1.00 | 500.00 | 500.00 | 7500.00 | 7500.00 | 20000.00 | 20000.00 | 20000.00 | 20000.00 | 1.00 | Brady Services Pvt. Ltd.
| Total in Figures |  |  |  |  | 20992690.00 |  | 19022774.00 |  | 18149498.00 |  | 20660428.00 |  | 23553149.80
Lowest Amount Quoted BY: Arctic Engineering Services(18149498.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual operation and maintenance of 3x600 TR (Carrier make), 3x300TR (York make), VRV and precision type air- conditioners, window/ split AC units, water coolers, RO system and water purifiers at SGRDJI Airport, Amritsar. (For 02 Years). Tender ID: 2022_AAI_113678_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Arctic Engineering Services | 18149498.00 | L1
| 2 | Anoop Refrigeration | 19022774.00 | L2
| 3 | Supertech Engineers | 20660428.00 | L3
| 4 | Brady Services Pvt. Ltd. | 20992690.00 | L4
| 5 | Blue Star Limited | 23553149.80 | L5