## BoQ1
Government eProcurement System Created By: Ram kesh Meena Created Date/Time: 27-May-2022 10:32 AM Tender Title: Supply of spares for GLF installations at Kishangarh Airport, Ajmer (Year 2022) Tender ID: 2022_AAI_114148_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-E), Kishangarh Airport, Ajmer
Name of work :- Supply of spares for GLF installations at Kishangarh Airport, Ajmer (Year 2022)
Contract No: 2022_AAI_114148_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 200W, 6.6A, bi-pin halogen lamp, suitable for AMA Make elevated type Approach fitting/PAPI fitting. (Make OSRAM Model no. 64382 HLX-C PK30d or equivalent) | 45.00 | Each | 100.00 | 806.00 | 36270.00 | 815.00 | 36675.00 | 850.00 | 38250.00 | 36270.00 | Bafna Electric Corp
2.00 | Supply of 150W, 6.6A, bi-pin halogen lamp, suitable for AMA Make elevated type runway edge light fitting. (Make OSRAM Model no. 64361 HLX-A PK30d or equivalent ) | 60.00 | Each | 100.00 | 775.00 | 46500.00 | 815.00 | 48900.00 | 480.00 | 28800.00 | 28800.00 | electromach sales agencies
3.00 | Supply of 105W, 6.6A, halogen Lamp with reflector (lead type), suitable for OCEM-Model-SLRE inset type Runway Edge light fitting. (Make NARVA or equivalent) | 10.00 | Each | 100.00 | 910.00 | 9100.00 | 885.00 | 8850.00 | 925.00 | 9250.00 | 8850.00 | Techno Electricals
4.00 | Supply of 45W, 6.6A, bi-pin halogen lamp, suitable for AMA Make elevated type Taxiway edge light fitting. (Make OSRAM; Modal no.: 64337C or equivalent) | 40.00 | Each | 100.00 | 398.00 | 15920.00 | 425.00 | 17000.00 | 425.00 | 17000.00 | 15920.00 | Bafna Electric Corp
5.00 | Supply of 200W, 6.6/6.6A, 5KV grade 50Hz series type Isolating Transformers, encapsulated in polyester resin finally moulded in neoprene type rubber with primary & secondary leads, confirming to latest specifications suitable for airfield lighting application. | 5.00 | Each | 100.00 | 4598.00 | 22990.00 | 4500.00 | 22500.00 | 4000.00 | 20000.00 | 20000.00 | electromach sales agencies
6.00 | Supply of Bi-Pin lamp holder, suitable for 45/150/200W, 6.6A, halogen lamp. | 150.00 | Each | 100.00 | 205.00 | 30750.00 | 200.00 | 30000.00 | 200.00 | 30000.00 | 30000.00 | electromach sales agencies, Techno Electricals
7.00 | Supply of gaskets and valve kit, suitable for OCEM Model-SLRE inset type Runway Edge light fitting | 2.00 | Each | 100.00 | 1250.00 | 2500.00 | 4800.00 | 9600.00 | 3000.00 | 6000.00 | 2500.00 | Bafna Electric Corp
8.00 | Supply of power converter, suitable for LED signage, operating with input current of 2.8A-6.6A in series circuit & output of 20 V DC. | 15.00 | Each | 100.00 | 3300.00 | 49500.00 | 3300.00 | 49500.00 | 3800.00 | 57000.00 | 49500.00 | Bafna Electric Corp, Techno Electricals
9.00 | Supply of LED strip of 700 x 20 x 2 mm size having 11 LED of 0.5 Watt, operating on 20V DC. (OSRAM make or equivalent) | 30.00 | Each | 100.00 | 690.00 | 20700.00 | 350.00 | 10500.00 | 600.00 | 18000.00 | 10500.00 | Techno Electricals
10.00 | Supply of 20A, Cyramic connectror, suitable for power supply of PAPI light. | 25.00 | Each | 100.00 | 40.00 | 1000.00 | 100.00 | 2500.00 | 80.00 | 2000.00 | 1000.00 | Bafna Electric Corp
11.00 | Supply of 16 A, Bakelite Connector, suitable for power supply of LED signage. | 20.00 | Each | 100.00 | 50.00 | 1000.00 | 125.00 | 2500.00 | 200.00 | 4000.00 | 1000.00 | Bafna Electric Corp
12.00 | Supply of 100A, HRC fuse, suitable for Hirect Make CCR. | 3.00 | Each | 100.00 | 410.00 | 1230.00 | 850.00 | 2550.00 | 600.00 | 1800.00 | 1230.00 | Bafna Electric Corp
13.00 | Supply of red filter, suitable for AMA make MK- III PAPI fitting. | 4.00 | Each | 100.00 | 3800.00 | 15200.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 10000.00 | electromach sales agencies
14.00 | Supply of Clear Lens, suitable for AMA make MK- III PAPI fitting. | 3.00 | Each | 100.00 | 3600.00 | 10800.00 | 1750.00 | 5250.00 | 2500.00 | 7500.00 | 5250.00 | Techno Electricals
15.00 | Supply of Clear Spreader Lens, suitable for AMA Model-FAU200 approach light fitting. | 5.00 | Each | 100.00 | 1585.00 | 7925.00 | 1800.00 | 9000.00 | 1500.00 | 7500.00 | 7500.00 | electromach sales agencies
16.00 | Supply of 180 degree Green Filter (Right side), suitable for AMA Make elevated Runway Edge light Fitting. | 10.00 | Each | 100.00 | 1460.00 | 14600.00 | 1850.00 | 18500.00 | 1500.00 | 15000.00 | 14600.00 | Bafna Electric Corp
17.00 | Supply of 180 degree Green Filter (Left side), suitable for AMA Make elevated Runway Edge light Fitting. | 10.00 | Each | 100.00 | 1460.00 | 14600.00 | 1850.00 | 18500.00 | 1500.00 | 15000.00 | 14600.00 | Bafna Electric Corp
18.00 | Supply of 180 degree Red Filter (Right side), suitable for AMA make elevated type Runway Fittings. | 10.00 | Each | 100.00 | 1460.00 | 14600.00 | 1850.00 | 18500.00 | 1500.00 | 15000.00 | 14600.00 | Bafna Electric Corp
19.00 | Supply of 180 degree Red Filter (Left side), suitable for AMA make elevated type Runway fitting. | 10.00 | Each | 100.00 | 1460.00 | 14600.00 | 1850.00 | 18500.00 | 1500.00 | 15000.00 | 14600.00 | Bafna Electric Corp
20.00 | Supply of 180 degree Yellow Filter (Right Side), suitable for AMA make elevated Runway Edge light Fittings. | 10.00 | Each | 100.00 | 1460.00 | 14600.00 | 1850.00 | 18500.00 | 1500.00 | 15000.00 | 14600.00 | Bafna Electric Corp
21.00 | Supply of 180 degree Yellow Filter (Left Side), suitable for AMA make elevated Runway Edge light Fittings. | 10.00 | Each | 100.00 | 1460.00 | 14600.00 | 1850.00 | 18500.00 | 1500.00 | 15000.00 | 14600.00 | Bafna Electric Corp
22.00 | Supply of 6 sqmm size 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade (Essna connector) of PVC insulated PVC sheathed single core copper conductor Airfield Lighting cable conforming to the relevant IS specification. | 10.00 | Each | 100.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 3500.00 | Bafna Electric Corp
23.00 | Supply of 16 sqmm size 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade (Essna connector) of PVC insulated PVC sheathed single core copper conductor Airfield Lighting cable conforming to the relevant IS specification.. | 15.00 | Each | 100.00 | 350.00 | 5250.00 | 400.00 | 6000.00 | 400.00 | 6000.00 | 5250.00 | Bafna Electric Corp
24.00 | Supply of 6 sqmm size 5KV grade copper pipe lugs suitable for connection/joint of 5KV grade of PVC insulated PVC sheathed single core copper conductor Airfield Lighting cable conforming to the relevant IS specification. | 30.00 | Each | 100.00 | 15.00 | 450.00 | 50.00 | 1500.00 | 100.00 | 3000.00 | 450.00 | Bafna Electric Corp
25.00 | Supply of 16 sqmm size 5KV grade copper pipe lugs suitable for connection/joint of 5KV grade of PVC insulated PVC sheathed single core copper conductor Airfield Lighting cable conforming to the relevant IS specification. | 30.00 | Each | 100.00 | 20.00 | 600.00 | 80.00 | 2400.00 | 200.00 | 6000.00 | 600.00 | Bafna Electric Corp
26.00 | Supply of Two pin secondary plug assembly (2.5 mtr long) suitable for AMA make MK- III PAPI fitting. | 5.00 | Each | 100.00 | 730.00 | 3650.00 | 1000.00 | 5000.00 | 500.00 | 2500.00 | 2500.00 | electromach sales agencies
27.00 | Supply of Main control card (HR-257_R5), suitable for Hind Rectifiers Ltd. (Hirect) make CCR. | 3.00 | Each | 100.00 | 41125.00 | 123375.00 | 45000.00 | 135000.00 | 40000.00 | 120000.00 | 120000.00 | electromach sales agencies
28.00 | Supply of Insulation Monitoring Card (3C-3583, 4E-744/A/1), suitable for Hind Rectifiers Ltd. (Hirect) make CCR. | 1.00 | Each | 100.00 | 17250.00 | 17250.00 | 12000.00 | 12000.00 | 19000.00 | 19000.00 | 12000.00 | Techno Electricals
29.00 | Supply of Firing Control Card (HR-201), suitable for Hind Rectifiers Ltd. (Hirect) make CCR. | 1.00 | Each | 100.00 | 9480.00 | 9480.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 9480.00 | Bafna Electric Corp
30.00 | Supply of Display Card ACE4 NEXTGEN (HR-271-R1), suitable for Hind Rectifiers Ltd. (Hirect) make CCR. | 1.00 | Each | 100.00 | 19750.00 | 19750.00 | 5000.00 | 5000.00 | 16500.00 | 16500.00 | 5000.00 | Techno Electricals
31.00 | Supply of Elite Make power supply card (2805 A -R) suitable for Hind Rectifiers Ltd. (Hirect) make CCR. | 1.00 | Each | 100.00 | 9595.00 | 9595.00 | 35000.00 | 35000.00 | 10000.00 | 10000.00 | 9595.00 | Bafna Electric Corp
32.00 | Supply of PLC, suitable for Ground Lighting communication. (Make:-Allen Bradley Micro 800 series) | 2.00 | Each | 100.00 | 42500.00 | 85000.00 | 15000.00 | 30000.00 | 32000.00 | 64000.00 | 30000.00 | Techno Electricals
33.00 | Supply of reflector for, AMA Make, 200W, Halogen lamp type, elevated type simple approach light fitting. | 15.00 | Each | 100.00 | 2050.00 | 30750.00 | 750.00 | 11250.00 | 1500.00 | 22500.00 | 11250.00 | Techno Electricals
34.00 | Supply of 180 degree clear lense(Left side), Suitable for AMA Make elevated Runway Edge light fittings. | 15.00 | Each | 100.00 | 1460.00 | 21900.00 | 1500.00 | 22500.00 | 1500.00 | 22500.00 | 21900.00 | Bafna Electric Corp
35.00 | Supply of 180 degree clear lense(Right Side), Suitable for AMA Make elevated Runway Edge light fittings. | 15.00 | Each | 100.00 | 1460.00 | 21900.00 | 1500.00 | 22500.00 | 1500.00 | 22500.00 | 21900.00 | Bafna Electric Corp
36.00 | Supply of Monitor Board for series circuit LETG Spare part kit: Non‐Monitored series circuit power supply board assembly, mainly composed by two electronic boards and one transformer fixed on an metallic plate, suitable for LETG LED runway guard light fixture. Make:-OCEM, Product code:-RISLB0003 | 1.00 | Each | 100.00 | 141875.00 | 141875.00 | 135000.00 | 135000.00 | 99000.00 | 99000.00 | 99000.00 | electromach sales agencies
| Total in Figures |  |  |  |  | 853310.00 |  | 820475.00 |  | 774600.00
Lowest Amount Quoted BY: electromach sales agencies(774600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of spares for GLF installations at Kishangarh Airport, Ajmer (Year 2022) Tender ID: 2022_AAI_114148_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | electromach sales agencies | 774600.00 | L1
| 2 | Techno Electricals | 820475.00 | L2
| 3 | Bafna Electric Corp | 853310.00 | L3