## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 31-May-2022 11:24 AM Tender Title: CAMC of AC Palnt Split AC Tender ID: 2022_AAI_114162_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : Annual Comprehensive Maintenance and Operation of A/C Plant & Comprehensive Maintenance of split type A/C units at various locations in Operational Area at IGI Airport, New Delhi for 02 years (2022-24)
Contract No/Tender ID : 2022_AAI_114162_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | V Save Electronics Pvt Ltd(GSTN-09AADCV5572A1ZD) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | Arctic Engineering Services(GSTN-07AAWFA5497P1ZA) |  | AAR PEE REFRIGERATION AND AIR CONDITIONING(GSTN-07AAEPA9214E2Z6) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Skyline Airconditioning Engineers Pvt. Ltd.(GSTN-09AAKCS1530L1Z4) |  | Saneh Cool Care(GSTN-NA) |  | ASHOKA ELECTRICALS(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | At ASR 29/11 &ASR 28/10, Palam Airport
2.00 | 1. Operation of 4 Nos. 28 TR (2 x 14 TR) at ASR 29/11 Air Conditioner plant (Air-cooled condensing unit & Air Handling unit) round the clock (in three shifts) on all working days i/c Sundays & holidays complete as reqd.
3.00 | Contractor shall have to depute the following minimum manpower.
4.00 | (a) Operator cum A/C mechanic(skilled)- 1 No. in each shift (for three shifts) at ASR 29/11 and 01 no. reliever. (b) 01 no. AC Mechanic(skilled) and 01 no. khallasi (un-skilled) in general shift. | 24.00 | Months | 100.00 | 130000.00 | 3120000.00 | 121000.00 | 2904000.00 | 105000.00 | 2520000.00 | 130713.00 | 3137112.00 | 129500.00 | 3108000.00 | 118800.00 | 2851200.00 | 130339.00 | 3128136.00 | 122500.00 | 2940000.00 | 125000.00 | 3000000.00 | 109000.00 | 2616000.00 | 151018.00 | 3624432.00 | 2520000.00 | Supertech Engineers
5.00 | 2. Comprehensive maintenance of 4 Nos. 28 TR (2 X 14 TR) A/C plant consisting of Air-cooled Condensing unit & AHU at ASR 29/11 Runway IGI Airport having scroll type compressors of Danfoss Make, Model No. SM 185S4CC provided in Blue Star make AC Plant i/c replacement of defective compressors with new compressor of Danfoss make only (i.e. including supply of new compressor), gas charging, replacement of defective condenser, AHU Filter, copper pipe line, piping thermal insulation, Fan Belt, bearing, MCCB and other accessories of ATS/LT panel, & any other defective components of A/C units (i.e. including supply of new componenets in place of defective components), rewinding of blower motors, Fan motor etc. complete as reqd, for one month. | 24.00 | Job | 10.00 | 12000.00 | 288000.00 | 9200.00 | 220800.00 | 30000.00 | 720000.00 | 25000.00 | 600000.00 | 16990.00 | 407760.00 | 5400.00 | 129600.00 | 35000.00 | 840000.00 | 8000.00 | 192000.00 | 16333.00 | 391992.00 | 19000.00 | 456000.00 | 25000.00 | 600000.00 | 129600.00 | AAR PEE REFRIGERATION AND AIR CONDITIONING
6.00 | 3. Annual comprehensive maintenance of following capacity split type, split type invertor Air-conditioner units i/c replacement of defective compressor with new one of same company make (i.e. including supply of new compressor), gas charging, replacement of defective condenser, PCB, thermal insulation, drain pipe & any other defective components (i.e. including supply of new components in place of defective components), rewinding of blower motor, Fan motor, i/c comprehensive maintenance of voltage stabilizer for above units (wherever installed) complete as reqd. for 24 months.
7.00 | (a) 1.5 Ton, Split type AC | 24.00 | Each | 10.00 | 3000.00 | 72000.00 | 5000.00 | 120000.00 | 1300.00 | 31200.00 | 500.00 | 12000.00 | 2800.00 | 67200.00 | 900.00 | 21600.00 | 4000.00 | 96000.00 | 1450.00 | 34800.00 | 1580.00 | 37920.00 | 1400.00 | 33600.00 | 4500.00 | 108000.00 | 12000.00 | SRS ENGINEERS
8.00 | (b) 1.5 Ton, Split type, invertor AC | 24.00 | Each | 10.00 | 4000.00 | 96000.00 | 5000.00 | 120000.00 | 1300.00 | 31200.00 | 600.00 | 14400.00 | 4200.00 | 100800.00 | 900.00 | 21600.00 | 4500.00 | 108000.00 | 1550.00 | 37200.00 | 1880.00 | 45120.00 | 1500.00 | 36000.00 | 5500.00 | 132000.00 | 14400.00 | SRS ENGINEERS
9.00 | (c) 2.0 Ton, Split type AC | 9.00 | Each | 10.00 | 4400.00 | 39600.00 | 5000.00 | 45000.00 | 1500.00 | 13500.00 | 800.00 | 7200.00 | 2800.00 | 25200.00 | 900.00 | 8100.00 | 5000.00 | 45000.00 | 1550.00 | 13950.00 | 1880.00 | 16920.00 | 1500.00 | 13500.00 | 5500.00 | 49500.00 | 7200.00 | SRS ENGINEERS
10.00 | (d) 2.0 Ton, Split type, Inverter AC | 21.00 | Each | 10.00 | 4700.00 | 98700.00 | 5000.00 | 105000.00 | 2000.00 | 42000.00 | 900.00 | 18900.00 | 4200.00 | 88200.00 | 900.00 | 18900.00 | 5200.00 | 109200.00 | 1550.00 | 32550.00 | 2180.00 | 45780.00 | 1600.00 | 33600.00 | 6500.00 | 136500.00 | 18900.00 | SRS ENGINEERS, AAR PEE REFRIGERATION AND AIR CONDITIONING
11.00 | (e) 3.0 Ton, 3 Phase Split type AC | 32.00 | Each | 10.00 | 4800.00 | 153600.00 | 5500.00 | 176000.00 | 2500.00 | 80000.00 | 1200.00 | 38400.00 | 4850.00 | 155200.00 | 1800.00 | 57600.00 | 9000.00 | 288000.00 | 1900.00 | 60800.00 | 5800.00 | 185600.00 | 1800.00 | 57600.00 | 9000.00 | 288000.00 | 38400.00 | SRS ENGINEERS
12.00 | 4. Comprehensive maintenance of water coolers of different capacity & make i/c the replacement of defective compressor with new one of same make (i.e. including supply of new compressor), gas charging & any other defective components (i.e. including supply of new components in place of defective components), i/c comprehensive maintenance of voltage stabilizer for above units (whereever installed) complete as required for 24 months. | 2.00 | Each | 10.00 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 6000.00 | 12000.00 | 3200.00 | 6400.00 | 3330.00 | 6660.00 | 12000.00 | 24000.00 | 3500.00 | 7000.00 | 1400.00 | 2800.00 | 2000.00 | 4000.00 | 8000.00 | 16000.00 | 2000.00 | Supertech Engineers
13.00 | 5. Replacement(including SITC) of 14 TR compressor(Make - Danfoss, Model- SM 185S4CC) compatible with the exisiting 2x14 TR Bluestar make AC Plant i/c refrigerant gas charging(R-22) etc. Note:- The item may be a one time measure/event and will be executed only during Handing over/taking over of installations in case of defective compressor(if any) of the AC Plant. | 2.00 | Each | 10.00 | 50000.00 | 100000.00 | 23500.00 | 47000.00 | 70000.00 | 140000.00 | 40000.00 | 80000.00 | 65519.00 | 131038.00 | 90000.00 | 180000.00 | 48000.00 | 96000.00 | 80000.00 | 160000.00 | 150000.00 | 300000.00 | 10000.00 | 20000.00 | 115000.00 | 230000.00 | 20000.00 | ASHOKA ELECTRICALS
| Total in Figures |  |  |  |  | 3975900.00 |  | 3747800.00 |  | 3579900.00 |  | 3920012.00 |  | 4089798.00 |  | 3295260.00 |  | 4734336.00 |  | 3478300.00 |  | 4026132.00 |  | 3270300.00 |  | 5184432.00
Lowest Amount Quoted BY: ASHOKA ELECTRICALS(3270300.00)

## BOQ Summary
BOQ Summary Details Tender Title: CAMC of AC Palnt Split AC Tender ID: 2022_AAI_114162_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASHOKA ELECTRICALS | 3270300.00 | L1
| 2 | AAR PEE REFRIGERATION AND AIR CONDITIONING | 3295260.00 | L2
| 3 | Skyline Airconditioning Engineers Pvt. Ltd. | 3478300.00 | L3
| 4 | Supertech Engineers | 3579900.00 | L4
| 5 | V Save Electronics Pvt Ltd | 3747800.00 | L5
| 6 | SRS ENGINEERS | 3920012.00 | L6
| 7 | SNOWMEX ENGINEERS LIMITED | 3975900.00 | L7
| 8 | Saneh Cool Care | 4026132.00 | L8
| 9 | Arctic Engineering Services | 4089798.00 | L9
| 10 | Manish Electricals | 4734336.00 | L10
| 11 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 5184432.00 | L11