## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 13-May-2022 12:13 PM Tender Title: Construction development of 05nos of borewell and water bank at Srinagar International Airport SHProvision of submersible motor pump sets cabling etc Tender ID: 2022_AAI_114396_1
Tender Inviting Authority: AGM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: Construction / development of 05nos of borewell and water bank at Srinagar International Airport. SH: Provision of submersible motor pump sets, cabling etc.
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MASTER ELECTRIC STORE(GSTN-07AAHPB6825H1ZU) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | M/S NEW SAHARA ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of 5 HP 11 stage Submersible Pump Set for drinking water supply having dynacmically balanced NORYL impeller with water proof installation to run on 415 v 50hz 3 phase AC supply capable of delivering 10000LPH at head of 83 mtrs and having ahead range of 55 to 102 mtr etc. complete as required. | 3.00 | Job |  | 55000.00 | 165000.00 | 65000.00 | 195000.00 | 38668.00 | 116004.00 | 116004.00 | M/S NEW SAHARA ELECTRICALS
2.00 | Supply, Installation, Testing & Commissioning of 5 HP 11 stage Submersible Pump Set for drinking water supply having dynacmically balanced NORYL impeller with waterproof installation to run on 415 v 50hz 3 phase AC supply capable of delivering 8000LPH at 82 mtrs and having head range of 47 mtr to 129 mtr etc. complete as required. | 2.00 | Job |  | 54000.00 | 108000.00 | 65000.00 | 130000.00 | 33822.00 | 67644.00 | 67644.00 | M/S NEW SAHARA ELECTRICALS
3.00 | Supply, Installation, Testing & Commissioning of 7.5 HP horizontal Submersible Pump Set for drinking water supply having dynacmically balanced NORYL impeller with waterproof installation to run on 415 v 50hz 3 phase AC supply capable of delivering 310-960 L/min and having head range of 28 mtr to 58 mtr etc. complete as required. | 2.00 | Job |  | 65000.00 | 130000.00 | 63000.00 | 126000.00 | 45318.00 | 90636.00 | 90636.00 | M/S NEW SAHARA ELECTRICALS
4.00 | SITC of Indoor type control panel board wallmounted/floor double door suitable for upto 7.5 HP pump set made up of 1.6mm MS sheet with painted waterproof, locable including double coat synthetic paint for pump set having following accessories : a) DOL starter with push button main on/off switches with overload relay. b) Single phase preventor. c) Digital ammeter of suitable range. d) Digital volt meter 0 to 500 volt with RYB selector switch. e) LED phase indication lamp (On/Trip Indication ). | 7.00 | Job |  | 14000.00 | 98000.00 | 23000.00 | 161000.00 | 12516.00 | 87612.00 | 87612.00 | M/S NEW SAHARA ELECTRICALS
5.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
5.10 | 4 way (4 + 12), Double door | 5.00 | Each |  | 5000.00 | 25000.00 | 6800.00 | 34000.00 | 4126.00 | 20630.00 | 20630.00 | M/S NEW SAHARA ELECTRICALS
6.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
6.10 | 63 A | 5.00 | Each |  | 600.00 | 3000.00 | 750.00 | 3750.00 | 611.00 | 3055.00 | 3000.00 | MASTER ELECTRIC STORE
7.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
7.10 | Triple pole | 20.00 | Each |  | 500.00 | 10000.00 | 835.00 | 16700.00 | 604.00 | 12080.00 | 10000.00 | MASTER ELECTRIC STORE
8.00 | Supply & Fixing of "B "class 50mm Dia GI pipe with suitable size flange , Socket, union, nut bolts , waterproof gasket, etc. complete as required. | 300.00 | Mtr. |  | 1230.00 | 369000.00 | 790.00 | 237000.00 | 1034.00 | 310200.00 | 237000.00 | Awasthi Electric Works
9.00 | Providing, installation, testing and commissioning of non-return valve of following sizes confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc.as required :
9.10 | 50 mm Dia | 3.00 | Set |  | 5000.00 | 15000.00 | 4600.00 | 13800.00 | 4168.00 | 12504.00 | 12504.00 | M/S NEW SAHARA ELECTRICALS
9.20 | 65 mm Dia | 2.00 | Set |  | 5400.00 | 10800.00 | 6500.00 | 13000.00 | 4624.00 | 9248.00 | 9248.00 | M/S NEW SAHARA ELECTRICALS
10.00 | Supply & Fixing of "B "class 65 mm Dia GI pipe with suitable size flange , Socket, union, nut bolts , waterproof gasket, etc. complete as required. . | 200.00 | Mtr. |  | 1450.00 | 290000.00 | 1475.00 | 295000.00 | 1273.00 | 254600.00 | 254600.00 | M/S NEW SAHARA ELECTRICALS
11.00 | Supply of 3 core 4sqmm. size of 1.1kv grade copper conductor submersible cable PVC insulated & PVC sheathed (As per IS:7098:1988 part 1 with up to date amendments) complete as required | 600.00 | Mtr. |  | 240.00 | 144000.00 | 170.00 | 102000.00 | 195.00 | 117000.00 | 102000.00 | Awasthi Electric Works
12.00 | Supply of 10 mm wire rope for submersible pump set complete as required. Make : Garware | 1000.00 | Mtr. |  | 120.00 | 120000.00 | 50.00 | 50000.00 | 94.00 | 94000.00 | 50000.00 | Awasthi Electric Works
13.00 | Supply of 3.5 core, 50 Sqmm, Aluminium cable of 1.1kv grade multicore Aluminium conductor XLPE insulated PVC sheathed armoured cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications | 1500.00 | Mtr. |  | 650.00 | 975000.00 | 355.00 | 532500.00 | 546.00 | 819000.00 | 532500.00 | Awasthi Electric Works
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required.
14.10 | Above 35 sq. mm and upto 95 Sq mm | 1200.00 | Mtr. |  | 15.00 | 18000.00 | 40.00 | 48000.00 | 12.00 | 14400.00 | 14400.00 | M/S NEW SAHARA ELECTRICALS
15.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
15.10 | Above 35 sq. mm and upto 95 sq. mm | 100.00 | Mtr. |  | 30.00 | 3000.00 | 30.00 | 3000.00 | 28.00 | 2800.00 | 2800.00 | M/S NEW SAHARA ELECTRICALS
16.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required
16.10 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 100.00 | Mtr. |  | 70.00 | 7000.00 | 150.00 | 15000.00 | 76.00 | 7600.00 | 7000.00 | MASTER ELECTRIC STORE
17.00 | Supply & laying of 63 mm (OD)/ 51 mm (ID) (nominal) dia, PN8 HDPE pipe as per IS 14930 Through Trenchless Technology by drilling the bore of suitable dia directly in ground up to the depth of 3 meters from the ground level including necessary joining coupling, splicing rtc complete as required 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1200.00 | Mtr. |  | 890.00 | 1068000.00 | 1100.00 | 1320000.00 | 707.00 | 848400.00 | 848400.00 | M/S NEW SAHARA ELECTRICALS
18.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
18.10 | 3½ X 50 sq. mm (32mm) | 10.00 | Each |  | 286.00 | 2860.00 | 450.00 | 4500.00 | 225.00 | 2250.00 | 2250.00 | M/S NEW SAHARA ELECTRICALS
19.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 5.00 | Set |  | 4000.00 | 20000.00 | 8200.00 | 41000.00 | 2970.00 | 14850.00 | 14850.00 | M/S NEW SAHARA ELECTRICALS
20.00 | Supplying and laying 6 SWG G.I. wire at 0.50 meter below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 50.00 | Mtr. |  | 40.00 | 2000.00 | 25.00 | 1250.00 | 32.00 | 1600.00 | 1250.00 | Awasthi Electric Works
21.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | 50.00 | Each |  | 120.00 | 6000.00 | 230.00 | 11500.00 | 97.00 | 4850.00 | 4850.00 | M/S NEW SAHARA ELECTRICALS
22.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required | 40.00 | Each |  | 440.00 | 17600.00 | 650.00 | 26000.00 | 353.00 | 14120.00 | 14120.00 | M/S NEW SAHARA ELECTRICALS
23.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required | 50.00 | Each |  | 150.00 | 7500.00 | 270.00 | 13500.00 | 151.00 | 7550.00 | 7500.00 | MASTER ELECTRIC STORE
| Total in Figures |  |  |  |  | 3614760.00 |  | 3393500.00 |  | 2932633.00
Lowest Amount Quoted BY: M/S NEW SAHARA ELECTRICALS(2932633.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction development of 05nos of borewell and water bank at Srinagar International Airport SHProvision of submersible motor pump sets cabling etc Tender ID: 2022_AAI_114396_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S NEW SAHARA ELECTRICALS | 2932633.00 | L1
| 2 | Awasthi Electric Works | 3393500.00 | L2
| 3 | MASTER ELECTRIC STORE | 3614760.00 | L3