## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 06-Jun-2022 04:08 PM Tender Title: Construction of ASR MSSR Building at DBAI Airport Nagpur. SH- SITC of Elevator. Tender ID: 2022_AAI_114403_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Elect), AAI, Nagpur
Name of Work :- Construction of ASR-MSSR Building at DBAI Airport, Nagpur. SH: SITC of Elevator.
Contract No: Ref:- AAI/NGP/E-E/2022-23/02/MSSR-Lift/NIT-01 Date: 09.05.2022 (Tender ID: 2022_AAI_114403_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Escon elevators Pvt Ltd(GSTN-27AAACE0977F1ZQ) |  | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: DSITC of 08 Passenger Elevator
1.10 | Design, Fabrication, Supply, Installation, Testing & Commissioning of Electric Traction Type fully automatic Gearless and Machine Room Less (MRL) Passenger Elevator at ASR-MSSR Building, Nagpur Airport with AC variable voltage & variable frequency drive unit suitable for operation on 415V, 3 Phase, 50 Hz AC supply, having minimum speed of 1.0 metre per second, stainless steel car enclosure, power operated side opening type stainless steel car & landing doors, electromagnetic brake system, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell & LED emergency light, intercom suitable for hook up to AAI's EPABX, infrared ray sensing door protection for full door height, reverse phase relay on controller, fire man's switch at ground floor, digital car position indicator in car & at all floors with up / down direction, LED light fixtures, ventilation fan, landing sill, pit ladder etc. complete with all accessories serving different floors in the lift shaft of size 2000 mm (W) X 2000 mm (D) along with Automatic Rescue Device (ARD) complete with dry maintenance free sealed batteries as required, Manual Rescue Device (MRD), minor civil works etc., as per relevant IS / International standards and detailed specifications enclosed and as under:-
1.20 | a) Capacity- 08 Passengers (544 kg)
1.30 | b) Travel Height: 10.8 Metres approx.
1.40 | c) Stops & openings (All Stops & Opening in the same side) : 03 Stops (G, 1st & 3rd level) and 04 Openings (G, 1st, 2nd & 3rd level with dummy landing at 2nd level)
1.50 | d) Operation- Microprocessor based Simplex Collective Control. Separate Landing Push Button Box for all landings (except 2nd level) with scrolling indicator.
1.60 | e) One-hour fire rated landing doors. | 1.00 | Job | 1097034.00 | 1200000.00 | 1200000.00 | 1190000.00 | 1190000.00 | 1190000.00 | OMEGA ELEVATORS
2.00 | SH-II : All-Inclusive Comprehensive Maintenance Contract
2.10 | Annual All-Inclusive Comprehensive Maintenance Contract for Elevator as per SH-I/Item-1 installed in ASR-MSSR Building, Nagpur Airport i/c carrying out monthly servicing and complete maintenance of all components as per OEM standards by providing trained service engineer with all tools and plant i/c attending all breakdown repairs and carrying out renewal of lift license, complete as per instructions of Engineer-in-Charge as required (After completion One Year of Defects Liability Period).
2.20 | 1st Year After completion of DLP | 1.00 | Job/ Year | 54813.00 | 44000.00 | 44000.00 | 47600.00 | 47600.00 | 44000.00 | Escon elevators Pvt Ltd
2.30 | 2nd Year After completion of DLP | 1.00 | Job/ Year | 59198.00 | 46000.00 | 46000.00 | 50000.00 | 50000.00 | 46000.00 | Escon elevators Pvt Ltd
2.40 | 3rd Year After completion of DLP | 1.00 | Job/ Year | 63933.00 | 48000.00 | 48000.00 | 52500.00 | 52500.00 | 48000.00 | Escon elevators Pvt Ltd
2.50 | 4th Year After completion of DLP | 1.00 | Job/ Year | 69048.00 | 51000.00 | 51000.00 | 57750.00 | 57750.00 | 51000.00 | Escon elevators Pvt Ltd
2.60 | 5th Year After completion of DLP | 1.00 | Job/ Year | 74572.00 | 53000.00 | 53000.00 | 63500.00 | 63500.00 | 53000.00 | Escon elevators Pvt Ltd
| Total in Figures |  |  |  |  | 1442000.00 |  | 1461350.00
Lowest Amount Quoted BY: Escon elevators Pvt Ltd(1442000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ASR MSSR Building at DBAI Airport Nagpur. SH- SITC of Elevator. Tender ID: 2022_AAI_114403_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Escon elevators Pvt Ltd | 1442000.00 | L1
| 2 | OMEGA ELEVATORS | 1461350.00 | L2