## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 20-Jun-2022 05:14 PM Tender Title: R and M Electrical Installation at NSCBI Airport, Kolkata. Tender ID: 2022_AAI_114822_1
Tender Inviting Authority: AGM (E-E)
Name of Work: R & M Electrical Installation at NSCBI Airport, Kolkata. SH: Supply of misc. Electrical Spares.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | SHREE NURSING TIMBER AND ELECTRIC STORES(GSTN-19AAQFS7594F1ZC) |  | T K MAZUMDER(GSTN-19AADFT2150K1Z3) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | ENTERPRISE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 18W to 20W LED T8 tubelight with one sided connection, ballast as complete as required. | 1000.00 | Each |  | 189.00 | 189000.00 | 174.00 | 174000.00 | 366.85 | 366850.00 | 258.00 | 258000.00 | 206.04 | 206040.00 | 292.00 | 292000.00 | 1045.00 | 1045000.00 | 225.00 | 225000.00 | 174000.00 | Bafna Electric Corp
2.00 | 18-20 W T5 LED tubelight with one sided connection, ballast etc as complete as required. | 1000.00 | Each |  | 189.00 | 189000.00 | 345.00 | 345000.00 | 366.85 | 366850.00 | 431.00 | 431000.00 | 369.66 | 369660.00 | 425.00 | 425000.00 | 446.00 | 446000.00 | 225.00 | 225000.00 | 189000.00 | Industrial Traders
3.00 | T8 tubeholder suitable for single fitting. | 2000.00 | Each |  | 106.00 | 212000.00 | 18.00 | 36000.00 | 57.50 | 115000.00 | 9.00 | 18000.00 | 14.54 | 29080.00 | 15.00 | 30000.00 | 4.00 | 8000.00 | 8.75 | 17500.00 | 8000.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | T5 tube holder suitable for single fitting. | 2000.00 | Each |  | 106.00 | 212000.00 | 12.00 | 24000.00 | 57.50 | 115000.00 | 7.00 | 14000.00 | 14.54 | 29080.00 | 13.00 | 26000.00 | 5.00 | 10000.00 | 18.75 | 37500.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | 3W Bed side lamp of suitable size (Black). Make: Philips. Model No. 48042/30/30 (or any other AAI approved make suitable for the existing fixture, dimesion & colour). | 30.00 | Each |  | 1520.00 | 45600.00 | 1100.00 | 33000.00 | 115.00 | 3450.00 | 1317.00 | 39510.00 | 1454.40 | 43632.00 | 1823.00 | 54690.00 | 1626.00 | 48780.00 | 1370.35 | 41110.50 | 3450.00 | EASTERN POWER ENGINEERING
6.00 | 10W LED 2ft tube fittings, ballast etc. as complete set. | 1000.00 | Each |  | 189.00 | 189000.00 | 212.00 | 212000.00 | 207.00 | 207000.00 | 224.00 | 224000.00 | 199.98 | 199980.00 | 213.00 | 213000.00 | 257.00 | 257000.00 | 326.78 | 326780.00 | 189000.00 | Industrial Traders
7.00 | LED Indicator lamp suitable for LT panel (Red). | 200.00 | Each |  | 71.00 | 14200.00 | 107.00 | 21400.00 | 80.50 | 16100.00 | 85.00 | 17000.00 | 84.84 | 16968.00 | 96.00 | 19200.00 | 132.00 | 26400.00 | 31.25 | 6250.00 | 6250.00 | ENTERPRISE
8.00 | LED Indicator lamp suitable for LT panel (Yellow). | 50.00 | Each |  | 71.00 | 3550.00 | 107.00 | 5350.00 | 80.50 | 4025.00 | 85.00 | 4250.00 | 84.84 | 4242.00 | 96.00 | 4800.00 | 132.00 | 6600.00 | 31.25 | 1562.50 | 1562.50 | ENTERPRISE
9.00 | LED Indicator lamp suitable for LT panel (Blue). | 50.00 | Each |  | 106.00 | 5300.00 | 185.00 | 9250.00 | 80.50 | 4025.00 | 147.00 | 7350.00 | 84.84 | 4242.00 | 165.00 | 8250.00 | 132.00 | 6600.00 | 31.25 | 1562.50 | 1562.50 | ENTERPRISE
10.00 | LED Indicator lamp suitable for LT panel (Green). | 200.00 | Each |  | 71.00 | 14200.00 | 107.00 | 21400.00 | 80.50 | 16100.00 | 85.00 | 17000.00 | 84.84 | 16968.00 | 96.00 | 19200.00 | 132.00 | 26400.00 | 31.25 | 6250.00 | 6250.00 | ENTERPRISE
11.00 | E14 4W LED candle lamp with CCT 2500K to 4000K suitable for existing Chandelier. | 200.00 | Each |  | 94.00 | 18800.00 | 175.00 | 35000.00 | 1725.00 | 345000.00 | 134.00 | 26800.00 | 193.92 | 38784.00 | 134.00 | 26800.00 | 385.00 | 77000.00 | 207.40 | 41480.00 | 18800.00 | Industrial Traders
12.00 | 30W LED Tack Light fixture with ballast with CCT 4000K etc as complete set. | 20.00 | Each |  | 2360.00 | 47200.00 | 4050.00 | 81000.00 | 1380.00 | 27600.00 | 2853.00 | 57060.00 | 2545.20 | 50904.00 | 2066.00 | 41320.00 | 2290.00 | 45800.00 | 4284.15 | 85683.00 | 27600.00 | EASTERN POWER ENGINEERING
13.00 | Track system for 30W LED track light. | 20.00 | Meter |  | 708.00 | 14160.00 | 800.00 | 16000.00 | 1150.00 | 23000.00 | 882.00 | 17640.00 | 545.40 | 10908.00 | 729.00 | 14580.00 | 715.00 | 14300.00 | 846.75 | 16935.00 | 10908.00 | T K MAZUMDER
14.00 | Door Calling Bell wireless type, includes battery etc. as complete set. | 150.00 | Each |  | 590.00 | 88500.00 | 565.00 | 84750.00 | 977.50 | 146625.00 | 571.00 | 85650.00 | 528.43 | 79264.50 | 635.00 | 95250.00 | 495.00 | 74250.00 | 540.00 | 81000.00 | 74250.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Metal Exhaust Fan 450mm sweep include motor, blade etc as complete set. | 20.00 | Each |  | 4130.00 | 82600.00 | 4030.00 | 80600.00 | 5980.00 | 119600.00 | 4032.00 | 80640.00 | 4848.00 | 96960.00 | 4436.00 | 88720.00 | 4125.00 | 82500.00 | 5820.00 | 116400.00 | 80600.00 | Bafna Electric Corp
16.00 | Ceilling Fan 1200mm sweep include motor, blade etc as complete set. | 20.00 | Each |  | 1357.00 | 27140.00 | 1450.00 | 29000.00 | 1610.00 | 32200.00 | 1400.00 | 28000.00 | 2490.66 | 49813.20 | 1398.00 | 27960.00 | 1375.00 | 27500.00 | 1800.00 | 36000.00 | 27140.00 | Industrial Traders
17.00 | 16A one way modular switch (1M) (white). Make: Honeywell (MK Wraparound Plus). Item code: W26411A (or any other AAI approved make suitable for the existing fixture & dimesion). | 500.00 | Each |  | 100.00 | 50000.00 | 102.00 | 51000.00 | 74.75 | 37375.00 | 96.00 | 48000.00 | 117.78 | 58890.00 | 110.00 | 55000.00 | 112.00 | 56000.00 | 90.43 | 45215.00 | 37375.00 | EASTERN POWER ENGINEERING
18.00 | 6A 2/3 pin modular Universal socket (2M) (white). Make: Honeywell (MK Wraparound Plus). Item code. W26420 (or any other AAI approved make suitable for the existing fixture & dimesion). | 200.00 | Each |  | 97.00 | 19400.00 | 97.00 | 19400.00 | 51.75 | 10350.00 | 94.00 | 18800.00 | 112.57 | 22514.00 | 105.00 | 21000.00 | 107.00 | 21400.00 | 88.13 | 17626.00 | 10350.00 | EASTERN POWER ENGINEERING
19.00 | 6/16A combined socket (3M) (white). Make: Honeywell (MK Wraparound Plus). Item code. W26424 (or any other AAI approved make suitable for the existing fixture & dimesion). | 400.00 | Each |  | 161.00 | 64400.00 | 161.00 | 64400.00 | 92.00 | 36800.00 | 152.00 | 60800.00 | 186.57 | 74628.00 | 174.00 | 69600.00 | 177.00 | 70800.00 | 144.58 | 57832.00 | 36800.00 | EASTERN POWER ENGINEERING
20.00 | 1/3 modular flush mounted PVC box (white). Make: Honeywell (MK Wraparound Plus). Item code: 26173 (or any other AAI approved make suitable for the existing fixture & dimesion). | 100.00 | Each |  | 64.00 | 6400.00 | 71.00 | 7100.00 | 17.25 | 1725.00 | 66.00 | 6600.00 | 72.96 | 7296.00 | 73.00 | 7300.00 | 79.00 | 7900.00 | 69.30 | 6930.00 | 1725.00 | EASTERN POWER ENGINEERING
21.00 | 4/5 modular flush mounted PVC box (white). Make: Honeywell (MK Wraparound Plus). Item code: 26175 (or any other AAI approved makesuitable for the existing fixture & dimesion). | 500.00 | Each |  | 85.00 | 42500.00 | 91.00 | 45500.00 | 80.50 | 40250.00 | 94.00 | 47000.00 | 93.80 | 46900.00 | 88.00 | 44000.00 | 117.00 | 58500.00 | 78.54 | 39270.00 | 39270.00 | ENTERPRISE
22.00 | 4/5 modular flush mounted GI box. Make: Honeywell (MK Wraparound Plus). Item code: 200004 (or any other AAI approved makesuitable for the existing fixture & dimesion). | 100.00 | Each |  | 98.00 | 9800.00 | 92.00 | 9200.00 | 126.50 | 12650.00 | 66.00 | 6600.00 | 79.21 | 7921.00 | 80.00 | 8000.00 | 80.00 | 8000.00 | 63.36 | 6336.00 | 6336.00 | ENTERPRISE
23.00 | 8 modular surface mounted PVC box (white). Make: Honeywell (MK Wraparound Plus). Item code: 37178WHI (or any other AAI approved makesuitable for the existing fixture & dimesion). | 150.00 | Each |  | 168.00 | 25200.00 | 160.00 | 24000.00 | 74.75 | 11212.50 | 123.00 | 18450.00 | 151.13 | 22669.50 | 138.00 | 20700.00 | 143.00 | 21450.00 | 114.84 | 17226.00 | 11212.50 | EASTERN POWER ENGINEERING
24.00 | 3 modular PVC front plate (white). Make: Honeywell (MK Wraparound Plus). Item code: S26003 (or any other AAI approved makesuitable for the existing fixture & dimesion). | 200.00 | Each |  | 79.00 | 15800.00 | 80.00 | 16000.00 | 74.75 | 14950.00 | 76.00 | 15200.00 | 91.72 | 18344.00 | 86.00 | 17200.00 | 87.00 | 17400.00 | 62.70 | 12540.00 | 12540.00 | ENTERPRISE
25.00 | 4 modular PVC front plate (White). Make: Honeywell (MK Wraparound Plus). Item code: S26004 (or any other AAI approved makesuitable for the existing fixture & dimesion). | 500.00 | Each |  | 89.00 | 44500.00 | 90.00 | 45000.00 | 74.75 | 37375.00 | 84.00 | 42000.00 | 103.18 | 51590.00 | 96.00 | 48000.00 | 98.00 | 49000.00 | 67.32 | 33660.00 | 33660.00 | ENTERPRISE
26.00 | 5 modular PVC front plate (White). Make: Honeywell (MK Wraparound Plus). Item code: S26005 (or any other AAI approved makesuitable for the existing fixture & dimesion). | 100.00 | Each |  | 100.00 | 10000.00 | 105.00 | 10500.00 | 86.25 | 8625.00 | 98.00 | 9800.00 | 116.73 | 11673.00 | 109.00 | 10900.00 | 111.00 | 11100.00 | 87.12 | 8712.00 | 8625.00 | EASTERN POWER ENGINEERING
27.00 | 6 modular PVC front plate (White). Make: Honeywell (MK Wraparound Plus). Item code: S26006 (or any other AAI approved makesuitable for the existing fixture & dimesion). | 50.00 | Each |  | 126.00 | 6300.00 | 125.00 | 6250.00 | 92.00 | 4600.00 | 122.00 | 6100.00 | 145.92 | 7296.00 | 136.00 | 6800.00 | 139.00 | 6950.00 | 107.58 | 5379.00 | 4600.00 | EASTERN POWER ENGINEERING
28.00 | 8 modular PVC front plate (White). Make: Honeywell (MK Wraparound Plus). Item code: S26008 (or any other AAI approved makesuitable for the existing fixture & dimesion). | 100.00 | Each |  | 168.00 | 16800.00 | 170.00 | 17000.00 | 103.50 | 10350.00 | 159.00 | 15900.00 | 194.91 | 19491.00 | 182.00 | 18200.00 | 185.00 | 18500.00 | 137.28 | 13728.00 | 10350.00 | EASTERN POWER ENGINEERING
29.00 | MCB SP 32A pole Breaking Capacity 10kA C characteristics. Make: Siemens (or any other AAI approved make suitable for the existing fixture & dimension). | 100.00 | Each |  | 125.00 | 12500.00 | 100.00 | 10000.00 | 154.10 | 15410.00 | 117.00 | 11700.00 | 136.95 | 13695.00 | 127.00 | 12700.00 | 146.00 | 14600.00 | 170.88 | 17088.00 | 10000.00 | Bafna Electric Corp
30.00 | MCB DP 10A Breaking Capacity 10kA C characteristics. Make: Siemens (or any other AAI approved make suitable for the existing fixture & dimension). | 50.00 | Each |  | 422.00 | 21100.00 | 355.00 | 17750.00 | 492.20 | 24610.00 | 376.00 | 18800.00 | 450.86 | 22543.00 | 446.00 | 22300.00 | 471.00 | 23550.00 | 549.12 | 27456.00 | 17750.00 | Bafna Electric Corp
31.00 | MCCB 4 pole 32A Breaking Capacity 50kA. Make: Havells (or any other AAI approved make suitable for the existing fixture & dimension). | 4.00 | Each |  | 5416.00 | 21664.00 | 7960.00 | 31840.00 | 11109.00 | 44436.00 | 7106.00 | 28424.00 | 7269.81 | 29079.24 | 7010.00 | 28040.00 | 6979.00 | 27916.00 | 9352.80 | 37411.20 | 21664.00 | Industrial Traders
32.00 | MCCB 4 pole 63A Breaking Capacity 50kA. Make: Havells (or any other AAI approved make suitable for the existing fixture & dimension). | 4.00 | Each |  | 5416.00 | 21664.00 | 7960.00 | 31840.00 | 10838.75 | 43355.00 | 7106.00 | 28424.00 | 7269.81 | 29079.24 | 7010.00 | 28040.00 | 6979.00 | 27916.00 | 9099.00 | 36396.00 | 21664.00 | Industrial Traders
33.00 | MCCB 4 pole 125A Breaking Capacity 50kA. Make: Havells (or any other AAI approved make suitable for the existing fixture & dimension). | 4.00 | Each |  | 6923.00 | 27692.00 | 11150.00 | 44600.00 | 16209.25 | 64837.00 | 10589.00 | 42356.00 | 10178.37 | 40713.48 | 9814.00 | 39256.00 | 9771.00 | 39084.00 | 13338.00 | 53352.00 | 27692.00 | Industrial Traders
34.00 | MCCB 4 pole 160A Breaking Capacity 50kA. Make: Havells (or any other AAI approved make suitable for the existing fixture & dimension). | 4.00 | Each |  | 8386.00 | 33544.00 | 13480.00 | 53920.00 | 18877.25 | 75509.00 | 12674.00 | 50696.00 | 12311.73 | 49246.92 | 11871.00 | 47484.00 | 11819.00 | 47276.00 | 13645.80 | 54583.20 | 33544.00 | Industrial Traders
35.00 | MCCB 4 pole C 160A 18KA Breaking capacity. Make: ABB (or any other AAI approved make suitable for the existing fixture & dimension). | 5.00 | Each |  | 5408.00 | 27040.00 | 8010.00 | 40050.00 | 7423.25 | 37116.25 | 8499.00 | 42495.00 | 10346.23 | 51731.15 | 7034.00 | 35170.00 | 7800.00 | 39000.00 | 7624.80 | 38124.00 | 27040.00 | Industrial Traders
36.00 | MCCB 4 pole C 125A 10KA Breaking capacity. Make: ABB (or any other AAI approved make suitable for the existing fixture & dimension). | 5.00 | Each |  | 3153.00 | 15765.00 | 6363.00 | 31815.00 | 3151.00 | 15755.00 | 6698.00 | 33490.00 | 7547.73 | 37738.65 | 2921.00 | 14605.00 | 3189.00 | 15945.00 | 3196.80 | 15984.00 | 14605.00 | Yash Energy Pvt. Ltd
37.00 | Contactor for capacitor panel 3Pole ABB make contactor. Make: ABB. Model A185-30 (or any other AAI approved make suitable for the existing fixture & dimension). | 3.00 | Each |  | 22095.00 | 66285.00 | 17710.00 | 53130.00 | 20424.00 | 61272.00 | 18641.00 | 55923.00 | 22189.78 | 66569.34 | 20426.00 | 61278.00 | 19682.00 | 59046.00 | 18103.50 | 54310.50 | 53130.00 | Bafna Electric Corp
38.00 | Contactor for capacitor panel 3Pole ABB make contactor. Model AF300-30 (or any other AAI approved make suitable for the existing fixture & dimension). | 3.00 | Each |  | 34812.00 | 104436.00 | 27900.00 | 83700.00 | 30015.00 | 90045.00 | 29371.00 | 88113.00 | 38140.18 | 114420.54 | 32182.00 | 96546.00 | 36058.00 | 108174.00 | 27108.00 | 81324.00 | 81324.00 | ENTERPRISE
39.00 | Contactor for capacitor panel 3Pole ABB make contactor. Model A63-30 (or any other AAI approved make suitable for the existing fixture & dimension). | 3.00 | Each |  | 6722.00 | 20166.00 | 4820.00 | 14460.00 | 5660.30 | 16980.90 | 5672.00 | 17016.00 | 7365.08 | 22095.24 | 6215.00 | 18645.00 | 5988.00 | 17964.00 | 6573.72 | 19721.16 | 14460.00 | Bafna Electric Corp
40.00 | Power Contactor 4 Pole 32A (Model No. MCX 03). Make: L&T (or any other AAI approved make suitable for the existing fixture & dimension). | 3.00 | Each |  | 903.00 | 2709.00 | 860.00 | 2580.00 | 1006.25 | 3018.75 | 828.00 | 2484.00 | 865.36 | 2596.08 | 883.00 | 2649.00 | 912.00 | 2736.00 | 887.40 | 2662.20 | 2484.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
41.00 | Power Contactor 4 Pole 63A (Model No. MCX 12). Make: L&T (or any other AAI approved make suitable for the existing fixture & dimension). | 2.00 | Each |  | 3260.00 | 6520.00 | 3100.00 | 6200.00 | 3340.75 | 6681.50 | 2991.00 | 5982.00 | 3125.50 | 6251.00 | 3401.00 | 6802.00 | 3293.00 | 6586.00 | 3205.08 | 6410.16 | 5982.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
42.00 | Power Contactor 4 Pole 100A (Model No. MCX 22). Make: L&T (or any other AAI approved make suitable for the existing fixture & dimension). | 2.00 | Each |  | 7207.00 | 14414.00 | 6850.00 | 13700.00 | 7222.00 | 14444.00 | 6613.00 | 13226.00 | 6909.36 | 13818.72 | 6916.00 | 13832.00 | 7279.00 | 14558.00 | 7085.28 | 14170.56 | 13226.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
43.00 | Power Contactor 4 Pole 160A (Model No. MCX 32). Make: L&T (or any other AAI approved make suitable for the existing fixture & dimension). | 2.00 | Each |  | 14061.50 | 28123.00 | 13400.00 | 26800.00 | 14829.25 | 29658.50 | 12924.00 | 25848.00 | 13503.13 | 27006.26 | 13163.00 | 26326.00 | 15319.00 | 30638.00 | 13846.92 | 27693.84 | 25848.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
44.00 | 1.5 sq.mm. PVC insulated FRLS single core unsheathed bright annealed copper conductor cable for Voltage upto 1100 Volts conforming to IS 694 1990. Colour (Phase colour 1000 mtr., Black 1000 mtr., Green 1000 mtr.) | 3000.00 | Meter |  | 16.25 | 48750.00 | 15.00 | 45000.00 | 23.00 | 69000.00 | 15.00 | 45000.00 | 15.62 | 46860.00 | 20.00 | 60000.00 | 16.00 | 48000.00 | 18.40 | 55200.00 | 45000.00 | Bafna Electric Corp, SHREE NURSING TIMBER AND ELECTRIC STORES
45.00 | 2.5 sq.mm. PVC insulated FRLS single core unsheathed bright annealed copper conductor cable for Voltage upto 1100 Volts conforming to IS 694 1990. Colour (Phase colour 2000 mtr., Black 2000 mtr., Green 2000 mtr.) | 6000.00 | Meter |  | 26.25 | 157500.00 | 24.00 | 144000.00 | 35.65 | 213900.00 | 25.00 | 150000.00 | 25.85 | 155100.00 | 32.00 | 192000.00 | 28.00 | 168000.00 | 28.75 | 172500.00 | 144000.00 | Bafna Electric Corp
46.00 | 6 sq.mm. PVC insulated FRLS single core unsheathed bright annealed copper conductor cable for Voltage upto 1100 Volts conforming to IS 694 1990. Colour (Phase colour 1000 mtr., Black 1000 mtr., Green 1000 mtr.) | 3000.00 | Meter |  | 58.25 | 174750.00 | 54.00 | 162000.00 | 73.60 | 220800.00 | 55.00 | 165000.00 | 58.85 | 176550.00 | 73.00 | 219000.00 | 61.00 | 183000.00 | 63.75 | 191250.00 | 162000.00 | Bafna Electric Corp
47.00 | 16 sq.mm. PVC insulated FRLS single core copper conductor cable for Voltage upto 1100 Volts conforming to IS 694 1990. Colour (Red 400 mtr., Yellow 200 mtr., Blue 200 mtr., Black 400 mtr., Green 400 mtr.) | 1600.00 | Meter |  | 162.00 | 259200.00 | 153.00 | 244800.00 | 212.75 | 340400.00 | 159.00 | 254400.00 | 171.01 | 273616.00 | 188.00 | 300800.00 | 175.00 | 280000.00 | 183.75 | 294000.00 | 244800.00 | Bafna Electric Corp
48.00 | 10 sq.mm. PVC insulated FRLS single core unsheathed bright annealed copper conductor cable for Voltage upto 1100 Volts conforming to IS 694 1990. Colour (Red 400mtr., Yellow 200 mtr., Blue 200 mtr., Black 400 mtr., Green 400 mtr.) | 1600.00 | Meter |  | 104.00 | 166400.00 | 100.00 | 160000.00 | 141.45 | 226320.00 | 94.00 | 150400.00 | 108.35 | 173360.00 | 123.00 | 196800.00 | 110.00 | 176000.00 | 118.75 | 190000.00 | 150400.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
49.00 | PVC insulated single core single strand 0.75 sqmm. Cu. flexible wire complying to IS 694 1990 suitable for tubelight connection. | 100.00 | Meter |  | 8.00 | 800.00 | 11.00 | 1100.00 | 12.65 | 1265.00 | 8.00 | 800.00 | 8.65 | 865.00 | 14.00 | 1400.00 | 12.00 | 1200.00 | 10.00 | 1000.00 | 800.00 | Industrial Traders, SHREE NURSING TIMBER AND ELECTRIC STORES
50.00 | 3.5 x 35 sqmm. PVC sheathed, XLPE insulated Armoured with Aluminium conductor power cables 650 / 1.1 KV grade confirming to IS : 7098 (Part-1) 1988 amended upto date. | 500.00 | Meter |  | 261.00 | 130500.00 | 214.00 | 107000.00 | 295.55 | 147775.00 | 259.00 | 129500.00 | 243.00 | 121500.00 | 260.00 | 130000.00 | 236.00 | 118000.00 | 243.75 | 121875.00 | 107000.00 | Bafna Electric Corp
51.00 | 3.5 x 120 sqmm. PVC sheathed, XLPE insulated Armoured with Aluminium conductor power cables 650 / 1.1 KV grade confirming to IS : 7098 (Part-1) 1988 amended upto date. | 500.00 | Meter |  | 721.00 | 360500.00 | 580.00 | 290000.00 | 818.80 | 409400.00 | 717.00 | 358500.00 | 672.15 | 336075.00 | 718.00 | 359000.00 | 653.00 | 326500.00 | 675.00 | 337500.00 | 290000.00 | Bafna Electric Corp
52.00 | 100 Amp TPN onload manual change over in sheet steel enclosure. | 5.00 | Each |  | 6250.00 | 31250.00 | 6620.00 | 33100.00 | 6959.80 | 34799.00 | 6444.00 | 32220.00 | 8484.00 | 42420.00 | 6790.00 | 33950.00 | 4813.00 | 24065.00 | 10339.39 | 51696.95 | 24065.00 | ABHISHEK INTEGRATIONS LIMITED
53.00 | 19 sq. mm PVC Straight conduit (white). | 300.00 | Meter |  | 33.00 | 9900.00 | 27.00 | 8100.00 | 63.25 | 18975.00 | 28.00 | 8400.00 | 28.00 | 8400.00 | 28.00 | 8400.00 | 28.00 | 8400.00 | 72.00 | 21600.00 | 8100.00 | Bafna Electric Corp
54.00 | 25 sq. mm PVC Straight conduit (white). | 300.00 | Meter |  | 39.00 | 11700.00 | 37.00 | 11100.00 | 86.25 | 25875.00 | 38.00 | 11400.00 | 37.62 | 11286.00 | 38.00 | 11400.00 | 39.00 | 11700.00 | 96.00 | 28800.00 | 11100.00 | Bafna Electric Corp
| Total in Figures |  |  |  |  | 3438222.00 |  | 3191685.00 |  | 4386325.40 |  | 3391747.00 |  | 3468354.06 |  | 3679893.00 |  | 4368984.00 |  | 3482576.27
Lowest Amount Quoted BY: Bafna Electric Corp(3191685.00)

## BOQ Summary
BOQ Summary Details Tender Title: R and M Electrical Installation at NSCBI Airport, Kolkata. Tender ID: 2022_AAI_114822_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bafna Electric Corp | 3191685.00 | L1
| 2 | SHREE NURSING TIMBER AND ELECTRIC STORES | 3391747.00 | L2
| 3 | Industrial Traders | 3438222.00 | L3
| 4 | T K MAZUMDER | 3468354.06 | L4
| 5 | ENTERPRISE | 3482576.27 | L5
| 6 | Yash Energy Pvt. Ltd | 3679893.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 4368984.00 | L7
| 8 | EASTERN POWER ENGINEERING | 4386325.40 | L8