## BoQ1
Government eProcurement System Created By: Jagir Singh Created Date/Time: 21-Jun-2022 03:15 AM Tender Title: Construction of Storage Hall and Primary Treatment Room for Fire Section at SGRDJI Airport, Amritsar. Tender ID: 2022_AAI_114832_1
Tender Inviting Authority: AGM (E-C)
Name of Work: Construction of Storage Hall and Primary Treatment Room for Fire Section at SGRDJI Airport, Amritsar.
Contract No: 2022_AAI_114832_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAVINDER KUMAR KAKKAR(GSTN-03ACXPK8290PIZL) |  | BJ CONSTRUCTION CO(GSTN-03AAKFB7199R1ZM) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. (All kinds of soil ) | 171.00 | Cum | 178.61 | 175.00 | 29925.00 | 510.00 | 87210.00 | 50.00 | 8550.00 | 8550.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 60.00 | Cum | 178.61 | 100.00 | 6000.00 | 250.00 | 15000.00 | 50.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 218.00 | Cum | 178.61 | 3700.00 | 806600.00 | 3240.00 | 706320.00 | 3500.00 | 763000.00 | 706320.00 | BJ CONSTRUCTION CO
4.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 138.00 | Cum | 178.61 | 4500.00 | 621000.00 | 5500.00 | 759000.00 | 5000.00 | 690000.00 | 621000.00 | RAVINDER KUMAR KAKKAR
5.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. (Thermo-Mechanically Treated bars of grade Fe-500D or more.) | 9966.00 | Kg | 178.61 | 75.00 | 747450.00 | 70.00 | 697620.00 | 70.00 | 697620.00 | 697620.00 | JCC ENGINEERS PRIVATE LIMITED, BJ CONSTRUCTION CO
6.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (Thermo-Mechanically Treated bars of grade Fe-500D or more.) | 25512.00 | Kg | 178.61 | 75.00 | 1913400.00 | 70.00 | 1785840.00 | 70.00 | 1785840.00 | 1785840.00 | JCC ENGINEERS PRIVATE LIMITED, BJ CONSTRUCTION CO
7.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : (Foundations, footings, bases of columns, etc. for mass concrete). | 300.00 | Sqm | 178.61 | 250.00 | 75000.00 | 200.00 | 60000.00 | 175.00 | 52500.00 | 52500.00 | JCC ENGINEERS PRIVATE LIMITED
8.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : (Lintels, beams, plinth beams, girders, bressumers and Cantilevers.) | 450.00 | Sqm | 178.61 | 300.00 | 135000.00 | 275.00 | 123750.00 | 225.00 | 101250.00 | 101250.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : (Suspended floors, roofs, landings, balconies and access platform). | 900.00 | Sqm | 178.61 | 300.00 | 270000.00 | 450.00 | 405000.00 | 225.00 | 202500.00 | 202500.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : (Columns, Pillars, Piers, Abutments, Posts and Struts). | 250.00 | Sqm | 178.61 | 300.00 | 75000.00 | 500.00 | 125000.00 | 225.00 | 56250.00 | 56250.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately). a) All works upto plinth level. | 66.00 | Cum | 178.61 | 4700.00 | 310200.00 | 5000.00 | 330000.00 | 5200.00 | 343200.00 | 310200.00 | RAVINDER KUMAR KAKKAR
12.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately). b) All works above plinth level upto floor V level. | 217.00 | Cum | 178.61 | 5700.00 | 1236900.00 | 5500.00 | 1193500.00 | 5300.00 | 1150100.00 | 1150100.00 | JCC ENGINEERS PRIVATE LIMITED
13.00 | Extra for providing richer mixes at all floor levels. Note:- Excess/less cement over the specified cement content used is payable /recoverable separately. a) Providing M-30 grade concrete instead of M-25 grade BMC/ RMC. (Note:- Cement content considered in M-30 is @ 340 kg/cum). | 283.00 | Cum | 178.61 | 200.00 | 56600.00 | 300.00 | 84900.00 | 80.00 | 22640.00 | 22640.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand). | 130.00 | Cum | 178.61 | 4800.00 | 624000.00 | 6000.00 | 780000.00 | 4500.00 | 585000.00 | 585000.00 | JCC ENGINEERS PRIVATE LIMITED
15.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III): 4 graded stone aggregate 12.5mm nominal size). | 15.00 | Sqm | 178.61 | 400.00 | 6000.00 | 1500.00 | 22500.00 | 250.00 | 3750.00 | 3750.00 | JCC ENGINEERS PRIVATE LIMITED
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 169.22 | Cum | 178.61 | 5000.00 | 846100.00 | 6500.00 | 1099930.00 | 4600.00 | 778412.00 | 778412.00 | JCC ENGINEERS PRIVATE LIMITED
17.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand). | 900.00 | Sqm | 178.61 | 200.00 | 180000.00 | 500.00 | 450000.00 | 170.00 | 153000.00 | 153000.00 | JCC ENGINEERS PRIVATE LIMITED
18.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand). | 900.00 | Sqm | 178.61 | 250.00 | 225000.00 | 450.00 | 405000.00 | 180.00 | 162000.00 | 162000.00 | JCC ENGINEERS PRIVATE LIMITED
19.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand). | 1544.42 | Sqm | 178.61 | 210.00 | 324328.20 | 500.00 | 772210.00 | 180.00 | 277995.60 | 277995.60 | JCC ENGINEERS PRIVATE LIMITED
20.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1800.00 | Sqm | 178.61 | 50.00 | 90000.00 | 100.00 | 180000.00 | 85.00 | 153000.00 | 90000.00 | RAVINDER KUMAR KAKKAR
21.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick. | 785.39 | Sqm | 178.61 | 1000.00 | 785390.00 | 1000.00 | 785390.00 | 850.00 | 667581.50 | 667581.50 | JCC ENGINEERS PRIVATE LIMITED
22.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 57.21 | Sqm | 178.61 | 1000.00 | 57210.00 | 1800.00 | 102978.00 | 900.00 | 51489.00 | 51489.00 | JCC ENGINEERS PRIVATE LIMITED
23.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). | 822.04 | Sqm | 178.61 | 90.00 | 73983.38 | 165.00 | 135636.19 | 90.00 | 73983.38 | 73983.38 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
24.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer. | 790.56 | Sqm | 178.61 | 50.00 | 39528.00 | 65.00 | 51386.40 | 35.00 | 27669.60 | 27669.60 | JCC ENGINEERS PRIVATE LIMITED
25.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 790.56 | Sqm | 178.61 | 80.00 | 63244.80 | 130.00 | 102772.80 | 90.00 | 71150.40 | 63244.80 | RAVINDER KUMAR KAKKAR
26.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer. | 627.50 | Sqm | 178.61 | 70.00 | 43925.00 | 155.00 | 97262.50 | 80.00 | 50200.00 | 43925.00 | RAVINDER KUMAR KAKKAR
27.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 30.00 | Sqm | 178.61 | 80.00 | 2400.00 | 500.00 | 15000.00 | 85.00 | 2550.00 | 2400.00 | RAVINDER KUMAR KAKKAR
28.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Kiln seasoned and chemically treated hollock wood. | .12 | Cum | 178.61 | 80000.00 | 9600.00 | 110000.00 | 13200.00 | 60000.00 | 7200.00 | 7200.00 | JCC ENGINEERS PRIVATE LIMITED
29.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 3.99 | Sqm | 178.61 | 1500.00 | 5985.00 | 4500.00 | 17955.00 | 1400.00 | 5586.00 | 5586.00 | JCC ENGINEERS PRIVATE LIMITED
30.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Galvanised M.S. Wire gauze with 0.63 mm dia wire and 1.4 mm aperture on both sides. | 7.56 | Sqm | 178.61 | 700.00 | 5292.00 | 1500.00 | 11340.00 | 550.00 | 4158.00 | 4158.00 | JCC ENGINEERS PRIVATE LIMITED
31.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 300.00 | kg | 178.61 | 100.00 | 30000.00 | 105.00 | 31500.00 | 70.00 | 21000.00 | 21000.00 | JCC ENGINEERS PRIVATE LIMITED
32.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level upto floor V level. a) Cement mortar 1:4 (1 cement : 4 coarse ). | 118.87 | Sqm | 178.61 | 700.00 | 83210.40 | 945.00 | 112334.04 | 750.00 | 89154.00 | 83210.40 | RAVINDER KUMAR KAKKAR
33.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. a) 20 mm nominal outer dia Pipes. | 80.00 | Mtr | 178.61 | 250.00 | 20000.00 | 305.00 | 24400.00 | 250.00 | 20000.00 | 20000.00 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
34.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 25 mm nominal outer dia Pipes. | 155.00 | Mtr | 178.61 | 270.00 | 41850.00 | 320.00 | 49600.00 | 250.00 | 38750.00 | 38750.00 | JCC ENGINEERS PRIVATE LIMITED
35.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 100 mm nominal inner dia Pipes. | 40.00 | Mtr | 178.61 | 2000.00 | 80000.00 | 2576.00 | 103040.00 | 1900.00 | 76000.00 | 76000.00 | JCC ENGINEERS PRIVATE LIMITED
36.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement :1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size),inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : 19.7.2 Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : 19.7.2.1 With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 2.00 | each | 178.61 | 12000.00 | 24000.00 | 23040.00 | 46080.00 | 19000.00 | 38000.00 | 24000.00 | RAVINDER KUMAR KAKKAR
37.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each | 178.61 | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 20500.00 | 20500.00 | 20000.00 | RAVINDER KUMAR KAKKAR
38.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : a) 45 cm length i) 15 mm nominal bore. | 9.00 | each | 178.61 | 80.00 | 720.00 | 84.00 | 756.00 | 40.00 | 360.00 | 360.00 | JCC ENGINEERS PRIVATE LIMITED
39.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 6.00 | each | 178.61 | 500.00 | 3000.00 | 415.00 | 2490.00 | 350.00 | 2100.00 | 2100.00 | JCC ENGINEERS PRIVATE LIMITED
40.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 as per direction of Engineer-in-charge. 15mm nominal bore. | 8.00 | each | 178.61 | 550.00 | 4400.00 | 534.00 | 4272.00 | 450.00 | 3600.00 | 3600.00 | JCC ENGINEERS PRIVATE LIMITED
41.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08%and conforming to IS: 15622, of approved make, in all colours and shades,laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand),jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm. | 50.75 | Sqm | 178.61 | 1300.00 | 65975.00 | 1600.00 | 81200.00 | 900.00 | 45675.00 | 45675.00 | JCC ENGINEERS PRIVATE LIMITED
42.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm,including pointing in white cement mixed with pigment of matching shade complete. | 160.00 | Sqm | 178.61 | 800.00 | 128000.00 | 1000.00 | 160000.00 | 900.00 | 144000.00 | 128000.00 | RAVINDER KUMAR KAKKAR
43.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS:7231, wih all fittings and fixtures complete , including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. Pan of size 580x440 mm with integral type of foot rests. | 2.00 | each | 178.61 | 5000.00 | 10000.00 | 5520.00 | 11040.00 | 4000.00 | 8000.00 | 8000.00 | JCC ENGINEERS PRIVATE LIMITED
44.00 | Providing and fixing toilet paper holder : a) C.P. brass | 6.00 | each | 178.61 | 500.00 | 3000.00 | 573.00 | 3438.00 | 450.00 | 2700.00 | 2700.00 | JCC ENGINEERS PRIVATE LIMITED
45.00 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting,of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres),including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 4.00 | each | 178.61 | 11000.00 | 44000.00 | 10000.00 | 40000.00 | 11300.00 | 45200.00 | 40000.00 | BJ CONSTRUCTION CO
46.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 6.00 | each | 178.61 | 4000.00 | 24000.00 | 4000.00 | 24000.00 | 3000.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
47.00 | Providing and fixing PTMT grating of approved quality and colour. Circular type 100 mm nominal dia | 15.00 | each | 178.61 | 30.00 | 450.00 | 38.00 | 570.00 | 25.00 | 375.00 | 375.00 | JCC ENGINEERS PRIVATE LIMITED
48.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 9.00 | each | 178.61 | 800.00 | 7200.00 | 889.00 | 8001.00 | 600.00 | 5400.00 | 5400.00 | JCC ENGINEERS PRIVATE LIMITED
49.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 1500x450 mm | 4.00 | each | 178.61 | 2000.00 | 8000.00 | 1785.00 | 7140.00 | 1300.00 | 5200.00 | 5200.00 | JCC ENGINEERS PRIVATE LIMITED
50.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 6.00 | each | 178.61 | 200.00 | 1200.00 | 265.00 | 1590.00 | 200.00 | 1200.00 | 1200.00 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
51.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 4.00 | each | 178.61 | 100.00 | 400.00 | 1000.00 | 4000.00 | 100.00 | 400.00 | 400.00 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
52.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern,with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS :2556, C.I. trap with outlet grating and other couplings in C.P. brass,including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern. | 3.00 | each | 178.61 | 7000.00 | 21000.00 | 9258.00 | 27774.00 | 6000.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
53.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | per litre | 178.61 | 7.00 | 14000.00 | 15.00 | 30000.00 | 4.50 | 9000.00 | 9000.00 | JCC ENGINEERS PRIVATE LIMITED
54.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 44.00 | metre | 178.61 | 250.00 | 11000.00 | 303.00 | 13332.00 | 200.00 | 8800.00 | 8800.00 | JCC ENGINEERS PRIVATE LIMITED
55.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler | 22.00 | each | 178.61 | 100.00 | 2200.00 | 119.00 | 2618.00 | 80.00 | 1760.00 | 1760.00 | JCC ENGINEERS PRIVATE LIMITED
56.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length,including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 33.00 | each | 178.61 | 150.00 | 4950.00 | 288.00 | 9504.00 | 190.00 | 6270.00 | 4950.00 | RAVINDER KUMAR KAKKAR
57.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° | 22.00 | each | 178.61 | 100.00 | 2200.00 | 130.00 | 2860.00 | 165.00 | 3630.00 | 2200.00 | RAVINDER KUMAR KAKKAR
58.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 3.00 | each | 178.61 | 1500.00 | 4500.00 | 3500.00 | 10500.00 | 1565.00 | 4695.00 | 4500.00 | RAVINDER KUMAR KAKKAR
59.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 601.93 | Sqm | 178.61 | 1200.00 | 722316.00 | 800.00 | 481544.00 | 1100.00 | 662123.00 | 481544.00 | BJ CONSTRUCTION CO
60.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion ii ) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 418.00 | Kg | 178.61 | 350.00 | 146300.00 | 422.00 | 176396.00 | 400.00 | 167200.00 | 146300.00 | RAVINDER KUMAR KAKKAR
61.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P.brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) ii) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 618.00 | Kg | 178.61 | 380.00 | 234840.00 | 540.00 | 333720.00 | 415.00 | 256470.00 | 234840.00 | RAVINDER KUMAR KAKKAR
62.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. a) Pre-laminated particle board with decorative lamination on both sides | 21.60 | Sqm | 178.61 | 800.00 | 17280.00 | 995.00 | 21492.00 | 800.00 | 17280.00 | 17280.00 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
63.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | 31.20 | Sqm | 178.61 | 1000.00 | 31200.00 | 1126.00 | 35131.20 | 850.00 | 26520.00 | 26520.00 | JCC ENGINEERS PRIVATE LIMITED
64.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 18.00 | each | 178.61 | 250.00 | 4500.00 | 235.00 | 4230.00 | 190.00 | 3420.00 | 3420.00 | JCC ENGINEERS PRIVATE LIMITED
65.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 108.00 | each | 178.61 | 70.00 | 7560.00 | 70.00 | 7560.00 | 65.00 | 7020.00 | 7020.00 | JCC ENGINEERS PRIVATE LIMITED
66.00 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : 150x10 mm | 28.00 | each | 178.61 | 50.00 | 1400.00 | 50.00 | 1400.00 | 45.00 | 1260.00 | 1260.00 | JCC ENGINEERS PRIVATE LIMITED
67.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 74.00 | each | 178.61 | 50.00 | 3700.00 | 50.00 | 3700.00 | 45.00 | 3330.00 | 3330.00 | JCC ENGINEERS PRIVATE LIMITED
68.00 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : 100 mm | 14.00 | each | 178.61 | 26.00 | 364.00 | 25.00 | 350.00 | 25.00 | 350.00 | 350.00 | JCC ENGINEERS PRIVATE LIMITED, BJ CONSTRUCTION CO
69.00 | Providing and fixing ISI marked M.S. pressed butt hinges bright finished with necessary screws etc. complete : 100x58x1.90 mm | 48.00 | each | 178.61 | 38.00 | 1824.00 | 38.00 | 1824.00 | 25.00 | 1200.00 | 1200.00 | JCC ENGINEERS PRIVATE LIMITED
70.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 125x75x4 mm | 122.00 | each | 178.61 | 135.00 | 16470.00 | 135.00 | 16470.00 | 115.00 | 14030.00 | 14030.00 | JCC ENGINEERS PRIVATE LIMITED
71.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 22.00 | each | 178.61 | 60.00 | 1320.00 | 60.00 | 1320.00 | 50.00 | 1100.00 | 1100.00 | JCC ENGINEERS PRIVATE LIMITED
72.00 | Providing and fixing aluminium casement stays, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc.complete. | 34.00 | each | 178.61 | 60.00 | 2040.00 | 60.00 | 2040.00 | 50.00 | 1700.00 | 1700.00 | JCC ENGINEERS PRIVATE LIMITED
73.00 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete. 200 mm weighing not less than 120 gms | 14.00 | each | 178.61 | 40.00 | 560.00 | 40.00 | 560.00 | 27.00 | 378.00 | 378.00 | JCC ENGINEERS PRIVATE LIMITED
74.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564,embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 19.00 | each | 178.61 | 800.00 | 15200.00 | 875.00 | 16625.00 | 550.00 | 10450.00 | 10450.00 | JCC ENGINEERS PRIVATE LIMITED
75.00 | CARRIAGE OF MATERIALS By Mechanical Transport including loading,unloading and stacking 2km | 100.00 | Per trip | 178.61 | 100.00 | 10000.00 | 800.00 | 80000.00 | 95.00 | 9500.00 | 9500.00 | JCC ENGINEERS PRIVATE LIMITED
76.00 | Preparation of detailed structural design and drawings of the proposed storage hall and primary treatment room and other services drawings and getting the same vetted from IIT , NIT Jalandhar or any reputed Government Engineering College and provide "Good for Construction" drawings for storage hall and primary treatment room including submission of drawings (05 Sets), design etc including a soft copy, inclusive of all payment to consultant and to Govt. Engineering College etc. as specified in the technical specification and direction & satisfaction of Engineering-In-Charge. [Note:- Soil test report shall be provided by AAI]. | 1.00 | Job | 178.61 | 150000.00 | 150000.00 | 185000.00 | 185000.00 | 150000.00 | 150000.00 | 150000.00 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
77.00 | SITC of 1.5 Ton Inverter Type Split A.C of minimum ISEER rating 4.50 as per latest BEE guidelines (equivalent to erstwhile BEE 5 Star rating), 100% Copper consisting of single room unit (evaporator unit) with cordless remote control, digital temperature display and one outdoor condensing unit comprising of sealed rotary/twin-rotary/BLDC type compressor suitable for stabilizer free operation at 230 V,50 Hz supply and non CFC refrigerant like R- 410A/R32 capable of performing a) cooling b) de-humidifying c) Air- Circulation d) filtering. Interconnection, pipelines/cables along with PVC pipe for protection, refrigerant copper tubes (approx 3 mtrs) along with PVC pipe for protection, insulation tubes, insulating tapes, first charge of refrigerant (if required), installation of outdoor & Indoor units in wall with supply of mounting bracket, painting, sealing, civil finishing etc., complete as required. Make- as per approved make list of AAI. (77.01) Supply | 10.00 | Each | 178.61 | 50000.00 | 500000.00 | 51400.00 | 514000.00 | 50000.00 | 500000.00 | 500000.00 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
77.02 | Installation, Testing & Commisioning | 10.00 | Each | 178.61 | 3590.00 | 35900.00 | 2500.00 | 25000.00 | 1500.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
78.00 | Supply of metal-based Automatic Voltage Stabilizer of 5 KVA capacity with high / low cut off complete as reqd. suitable for input voltage from 160 to 280 volt giving output 200-240 volt at 50 Hz A.C. Supply. | 10.00 | Each | 178.61 | 4800.00 | 48000.00 | 4860.00 | 48600.00 | 2500.00 | 25000.00 | 25000.00 | JCC ENGINEERS PRIVATE LIMITED
79.00 | Supply & fixing of suitable size Copper Refrigerant piping (Supply and return) with expanded polythene foam insulation tubing covering and protection with PVC pipe of suitable diameter for for 1.5 TR AC units. Measurement of 1 Mtr. Will include both supply & return Cu. Piping with insulation. (to be measured for lengths exceeding the cumulative length of 3 metres per AC which is already in scope of item 1 ). | 50.00 | meter | 178.61 | 900.00 | 45000.00 | 1125.00 | 56250.00 | 1235.00 | 61750.00 | 45000.00 | RAVINDER KUMAR KAKKAR
80.00 | Supply and fixing of following size 1.1 kv graded PVC insulated and FR PVC Round Sheathed, Copper Conductor (flexible) industrial cable (along with protection with PVC pipe of suitable diameter), conforming to IS 694with upto date amendments as required of approved make. a) 4 core x 2.5 Sq.mm (to be measured for lengths exceeding the cumulative length of 3 metres indoor-outdoor power cum control cable per AC which is already in scope of item 1). | 50.00 | meter | 178.61 | 200.00 | 10000.00 | 232.00 | 11600.00 | 235.00 | 11750.00 | 10000.00 | RAVINDER KUMAR KAKKAR
81.00 | Supply and fixing of 25mm dia PVC drain pipe from the respective units, clamping on different surface like wall/floor etc. i/c sealing the joints with making of openings as per site condition. (to be measured for lengths exceeding the cumulative length of 3 metres per AC which is already in scope of item 1 ). | 50.00 | meter | 178.61 | 150.00 | 7500.00 | 145.00 | 7250.00 | 150.00 | 7500.00 | 7250.00 | BJ CONSTRUCTION CO
82.00 | Supply and fixing (in wall or ground) of colour painted M.S. angle iron frame of approx. 35x35x5mm size and mounting of outdoor A.C. units on the stand complete as reqd. Size of the frame can vary as per size of the outdoor units. The contractor shall ensure that the supplied frames are of proper size for the supplied ACs i.e. the outdoor units fit properly in the supplied stand. | 10.00 | Each | 178.61 | 2500.00 | 25000.00 | 2600.00 | 26000.00 | 1500.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
83.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 178.61 | 1000.00 | 10000.00 | 1109.00 | 11090.00 | 1100.00 | 11000.00 | 10000.00 | RAVINDER KUMAR KAKKAR
84.00 | Supply of oil filled room heater suitable to operate on 230 volt,50 hz AC supply (similar to Model- Havells OFR 9Fin 2400 watt.) | 5.00 | Each | 178.61 | 5000.00 | 25000.00 | 6005.00 | 30025.00 | 9350.00 | 46750.00 | 25000.00 | RAVINDER KUMAR KAKKAR
85.00 | Supply of insect killer light fitting complete with insect killer lamps and accessories suitable to operate on 230 volt,50 hz AC supply (similar to Hygiene 30 watt slim )Insect killer. | 10.00 | Each | 178.61 | 1500.00 | 15000.00 | 1615.00 | 16150.00 | 1100.00 | 11000.00 | 11000.00 | JCC ENGINEERS PRIVATE LIMITED
86.00 | Supply of of 2x2 surface mounted LED luminaire suitable for high level of durability with high impact resistant, easy to install and ingress protection, come equipped with moulded engineering housing completed with 34 watt LED holders complete with all accessories (similar to make Catalouge LED/Havells pluto Flat Panel(Surface) Model PLUTOSURFACE2X2PLS34WLED840S or similar.) | 60.00 | Each | 178.61 | 3500.00 | 210000.00 | 4065.00 | 243900.00 | 3500.00 | 210000.00 | 210000.00 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
87.00 | Supply of LED outdoor light luminaire having capacity 70 watt as per Technical Specifcations attached in tender including all associated accessories, connections, inter-connections etc. complete as required at site. | 6.00 | meter | 178.61 | 5000.00 | 30000.00 | 6062.00 | 36372.00 | 3000.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
88.00 | Installation, testing and commissioning of pre-wired, LED fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required. | 66.00 | Each | 178.61 | 150.00 | 9900.00 | 155.00 | 10230.00 | 500.00 | 33000.00 | 9900.00 | RAVINDER KUMAR KAKKAR
89.00 | SITC of high velocity Air Curtain of following size suitable for effective air through of 02 mtrs. and velocity 8/9 mtr./sec at maximum noise level 60-65 decibels and having casing(shell) of robust construction, elegent look with superior quality powder-coated finish, impeller with forwarded curved blades to minimise the air cutting noise vibration free operation, easy mounting arrangement with a flat frame which can be fixed on the wall by suitable coach screws, adjustable louvers to streamline air delivery, coupled with sturdy motors for the continuous duty operation . (Make: Almonard, Model: AHV-Silent or equivalent as per AAI approved make).Size: 4 feet long. | 4.00 | Each | 178.61 | 25000.00 | 100000.00 | 25110.00 | 100440.00 | 30000.00 | 120000.00 | 100000.00 | RAVINDER KUMAR KAKKAR
90.00 | Supply of wall mounted fan of sweep 400mm,plastic body,1300 rpm speed,minimum air delivery 75 cmm,aerodynamically designed PP blades,superior technology for enhanced air thrust,unique pivot arrangement for tiltinh suitable for 230 volt,50 hz AC supply as per AAI approved make. | 30.00 | Each | 178.61 | 1800.00 | 54000.00 | 1910.00 | 57300.00 | 3300.00 | 99000.00 | 54000.00 | RAVINDER KUMAR KAKKAR
91.00 | Supply of 1200 mm sweep BEE Five Star rated ceiling fan of following sweep dia with copper wound with double ball bearings, ISI marked, complete with fan blades, capacitor, down rod, split pin, reel but without regulator complete as required. Note:- Colour and Speed of the fan shall be as approved by EIC. | 10.00 | Each | 178.61 | 750.00 | 7500.00 | 745.00 | 7450.00 | 2200.00 | 22000.00 | 7450.00 | BJ CONSTRUCTION CO
92.00 | Supply of single phase 950 RPM (nominal), Heavy Duty Exhaust fan of 300 mm with Louver and shutter / Wire mesh Guard etc. complete as required. | 14.00 | Each | 178.61 | 1500.00 | 21000.00 | 1710.00 | 23940.00 | 2000.00 | 28000.00 | 21000.00 | RAVINDER KUMAR KAKKAR
93.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 10.00 | Each | 178.61 | 150.00 | 1500.00 | 160.00 | 1600.00 | 2500.00 | 25000.00 | 1500.00 | RAVINDER KUMAR KAKKAR
94.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 14.00 | Each | 178.61 | 350.00 | 4900.00 | 340.00 | 4760.00 | 150.00 | 2100.00 | 2100.00 | JCC ENGINEERS PRIVATE LIMITED
95.00 | SITC of 150/150 Ltrs self contained drinking fully stainless steel body water cooler with Refrigerent suitable for operation on 230 V, 50Hz AC supply having 150 Ltrs water cooling capacity and 150 Ltrs storage capacity as per AAI approved make. | 1.00 | Each | 178.61 | 40000.00 | 40000.00 | 41381.00 | 41381.00 | 45000.00 | 45000.00 | 40000.00 | RAVINDER KUMAR KAKKAR
96.00 | SITC of RO system of 25ltr./hr. complete with water purification by RO,UF & TDS control with fully automatic operation with auto on and auto off facility of ABS construction with its all accessories complete as required at site as per AAI approved make. | 1.00 | Each | 178.61 | 1200.00 | 1200.00 | 1434.75 | 1434.75 | 12000.00 | 12000.00 | 1200.00 | RAVINDER KUMAR KAKKAR
97.00 | SITC of 25 litters, 2kW storage type, vertical Geyser, with overheat cut off, multiple safety system, safety release valve, having copper element suitable to operate on 220 Voltc, 50 Hz, Single Phase A.C. | 2.00 | Each | 178.61 | 4500.00 | 9000.00 | 5018.00 | 10036.00 | 8000.00 | 16000.00 | 9000.00 | RAVINDER KUMAR KAKKAR
98.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. Group C | 120.00 | Point | 178.61 | 1000.00 | 120000.00 | 1090.00 | 130800.00 | 455.00 | 54600.00 | 54600.00 | JCC ENGINEERS PRIVATE LIMITED
99.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 50.00 | Point | 178.61 | 700.00 | 35000.00 | 695.00 | 34750.00 | 455.00 | 22750.00 | 22750.00 | JCC ENGINEERS PRIVATE LIMITED
100.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (100.01) 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 130.00 | metre | 178.61 | 180.00 | 23400.00 | 190.00 | 24700.00 | 70.00 | 9100.00 | 9100.00 | JCC ENGINEERS PRIVATE LIMITED
100.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 130.00 | metre | 178.61 | 200.00 | 26000.00 | 245.00 | 31850.00 | 120.00 | 15600.00 | 15600.00 | JCC ENGINEERS PRIVATE LIMITED
100.03 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 200.00 | metre | 178.61 | 200.00 | 40000.00 | 235.00 | 47000.00 | 180.00 | 36000.00 | 36000.00 | JCC ENGINEERS PRIVATE LIMITED
101.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (101.01) 5/6 amps switch | 20.00 | Each | 178.61 | 70.00 | 1400.00 | 75.00 | 1500.00 | 50.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
101.02 | 3 pin 5/6 amp socket outlet | 20.00 | Each | 178.61 | 100.00 | 2000.00 | 100.00 | 2000.00 | 90.00 | 1800.00 | 1800.00 | JCC ENGINEERS PRIVATE LIMITED
101.03 | 15/16 amp switch | 60.00 | Each | 178.61 | 100.00 | 6000.00 | 121.00 | 7260.00 | 150.00 | 9000.00 | 6000.00 | RAVINDER KUMAR KAKKAR
101.04 | 6 pin 15/16 amp socket outlet | 60.00 | Each | 178.61 | 150.00 | 9000.00 | 160.00 | 9600.00 | 120.00 | 7200.00 | 7200.00 | JCC ENGINEERS PRIVATE LIMITED
102.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. (102.01) 3 Module (100mmX75mm) | 60.00 | Each | 178.61 | 200.00 | 12000.00 | 245.00 | 14700.00 | 50.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
102.02 | 6 Module (200mmX75mm) | 20.00 | Each | 178.61 | 240.00 | 4800.00 | 288.00 | 5760.00 | 70.00 | 1400.00 | 1400.00 | JCC ENGINEERS PRIVATE LIMITED
103.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 12), Double door. | 3.00 | Each | 178.61 | 2500.00 | 7500.00 | 288.00 | 864.00 | 1500.00 | 4500.00 | 864.00 | BJ CONSTRUCTION CO
104.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Single pole. | 36.00 | meter | 178.61 | 150.00 | 5400.00 | 169.00 | 6084.00 | 150.00 | 5400.00 | 5400.00 | RAVINDER KUMAR KAKKAR, JCC ENGINEERS PRIVATE LIMITED
105.00 | Supplying and fixing four pole 63 amps rating, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 3.00 | meter | 178.61 | 600.00 | 1800.00 | 745.00 | 2235.00 | 1300.00 | 3900.00 | 1800.00 | RAVINDER KUMAR KAKKAR
106.00 | Supply of following sizes of 1.1 KV grade multi-core aluminium conductor XLPE/PVC insulated and PVC sheathed armoured power cable conforming to IS 7098 (Part-1) with upto date amendments as required.3.5 x 70 sq.mm | 300.00 | meter | 178.61 | 750.00 | 225000.00 | 836.00 | 250800.00 | 675.00 | 202500.00 | 202500.00 | JCC ENGINEERS PRIVATE LIMITED
107.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.Above 35 sq. mm and upto 95 sq. mm | 36.00 | meter | 178.61 | 80.00 | 2880.00 | 95.00 | 3420.00 | 50.00 | 1800.00 | 1800.00 | JCC ENGINEERS PRIVATE LIMITED
108.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.Above 35 sq. mm and upto 95 sq. mm | 100.00 | meter | 178.61 | 35.00 | 3500.00 | 45.00 | 4500.00 | 50.00 | 5000.00 | 3500.00 | RAVINDER KUMAR KAKKAR
109.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3.5 X 70 sq. mm | 6.00 | meter | 178.61 | 300.00 | 1800.00 | 348.00 | 2088.00 | 700.00 | 4200.00 | 1800.00 | RAVINDER KUMAR KAKKAR
110.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 3.00 | Each | 178.61 | 3500.00 | 10500.00 | 4696.00 | 14088.00 | 4500.00 | 13500.00 | 10500.00 | RAVINDER KUMAR KAKKAR
111.00 | Supplying and laying 6 SWG G.I. wire at 0.50 meter below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 50.00 | meter | 178.61 | 45.00 | 2250.00 | 49.00 | 2450.00 | 40.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
112.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 100.00 | meter | 178.61 | 45.00 | 4500.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 4500.00 | RAVINDER KUMAR KAKKAR
113.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long,G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc. complete as required. | 3.00 | Each | 178.61 | 300.00 | 900.00 | 407.00 | 1221.00 | 400.00 | 1200.00 | 900.00 | RAVINDER KUMAR KAKKAR
114.00 | Jointing copper / G.I. tape (with another copper/ G I tape, base of the finial or any other metallic object) by riveting / nut bolting/ sweating and soldering etc as required. | 3.00 | Each | 178.61 | 85.00 | 255.00 | 86.00 | 258.00 | 100.00 | 300.00 | 255.00 | RAVINDER KUMAR KAKKAR
115.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or on surface of wall for lightning conductor complete as required.(For horizontal run). | 50.00 | meter | 178.61 | 80.00 | 4000.00 | 97.00 | 4850.00 | 100.00 | 5000.00 | 4000.00 | RAVINDER KUMAR KAKKAR
116.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For vertical run). | 50.00 | meter | 178.61 | 120.00 | 6000.00 | 140.00 | 7000.00 | 150.00 | 7500.00 | 6000.00 | RAVINDER KUMAR KAKKAR
117.00 | Supply of 120 mm dia (OD-120 mm & ID-103 mm nominal) of DWC HDPE Pipe including all accessories complete as required. | 200.00 | meter | 178.61 | 180.00 | 36000.00 | 191.00 | 38200.00 | 170.00 | 34000.00 | 34000.00 | JCC ENGINEERS PRIVATE LIMITED
118.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal). | 100.00 | meter | 178.61 | 180.00 | 18000.00 | 190.00 | 19000.00 | 125.00 | 12500.00 | 12500.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 13511475.78 |  | 15588888.88 |  | 12726875.47
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(12726875.47)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Storage Hall and Primary Treatment Room for Fire Section at SGRDJI Airport, Amritsar. Tender ID: 2022_AAI_114832_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED | 12726875.47 | L1
| 2 | RAVINDER KUMAR KAKKAR | 13511475.78 | L2
| 3 | BJ CONSTRUCTION CO | 15588888.88 | L3