## BoQ1
Government eProcurement System Created By: NARENDRA P Created Date/Time: 01-Jun-2022 04:34 PM Tender Title: RM of Power supply and DG set at Mysuru Airport. SH Relay testing and calibration, overhauling of transformer, oil filteration , servicing of HT panels etc Tender ID: 2022_AAI_114838_1
Tender Inviting Authority: Asst. General Manager (Engg-E), AAI, HAL Airport, Bengaluru
Name of Work: R&M of Power supply and DG set at Mysuru Airport. SH: Relay testing & calibration, overhauling of transformer, oil filteration , servicing of HT panels etc.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | ARK POWER SOLUTIONS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Testing/Calibration of Protection Relays by secondary injection method with suitable testing kit with Govt approved laboratory/test centre including submission of report of calibration to AAI. Incomer side-1 of HT panel: Over Current & Earth Fault Relay MCI6A Dual rated relay, make - L&T 51/50 RYBN - O/C and E/F Relay | 1.00 | Job | 8541.00 | 1999.00 | 1999.00 | 1200.00 | 1200.00 | 1200.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
2.00 | Under Voltage Relay-27RY ,make - EASUN REYROLLE,MDDA - code - 07467 Sl. No. - HR0905203 Rating Voltage-24V, DC,TEB-2, code - 07467 Sl. No. - HR0905206 Rating Voltage-110V, AC | 1.00 | Job | 995468.00 | 999.00 | 999.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.00 | Under Voltage Relay-27YB - Make - EASUN REYROLLE,MDDA - Code - 07467 Sl. No. - HR0905203 Rating Voltage-24V, DC,TEB-2, code - 07467 Sl. No. - HR0905206 Rating Voltage-110V, AC | 1.00 | Job | 8541.00 | 999.00 | 999.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
4.00 | Incomer side-2 of HT panel: Over Current & Earth Fault Relay MCI6A Dual rated relay, make - L&T 51/50 RYBN - O/C and E/F Relay | 1.00 | Job | 995468.00 | 1999.00 | 1999.00 | 1200.00 | 1200.00 | 1200.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
5.00 | Under Voltage Relay-27RY ,make - EASUN REYROLLE,MDDA - code - 07467 Sl. No. - HR0905205 Rating Voltage-24V, DC,TEB-2, code - 07467 Sl. No. - HR0905205 Rating Voltage-110V, AC | 1.00 | Job | 8541.00 | 1999.00 | 1999.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
6.00 | Under Voltage Relay-27YB - Make - EASUN REYROLLE,MDDA - Code - 07467 Sl. No. - HR0905204 Rating Voltage-24V, DC,TEB-2, code - 07467 Sl. No. - HR0905204 Rating Voltage-110V, AC | 1.00 | Job | 995468.00 | 1999.00 | 1999.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
7.00 | Bus Coupler of HT panel: AUX Relay for Under voltage for incoming-1 ,27X1A/27X1B - make - EASUN REYROLLE B33X3 - code - 08083, Sl. No. HR0905275, Rating voltage - 24V, DC | 1.00 | Job | 8541.00 | 599.00 | 599.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
8.00 | AUX Relay for Under voltage for incoming-2, 27X2A/27X2B make - EASUN REYROLLE B33X3 - code - 08083, Sl. No. HR0905276, Rating voltage - 24V, DC | 1.00 | Job | 995468.00 | 600.00 | 600.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
9.00 | Timer Relay for Display start make - EASUN REYROLLE MDDA/B12 - code - 03206 Sl. No. - HR0905191 Rating voltage - 24V, DC | 1.00 | Job | 8541.00 | 999.00 | 999.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
10.00 | Outgoing side-1 of HT panel: Over Current & Earth Fault Relay MC16A Dual Rated Relay, make - L& T 51/50 RYBN - O/C and E/F Relay | 1.00 | Job | 995468.00 | 1999.00 | 1999.00 | 1200.00 | 1200.00 | 1200.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
11.00 | AUX Relay ,49X1 49X2 49X3 make - EASUN REXROLLE B33X3, Code - 03677, Sl. No. HR0833358 Rating voltage - 24V, DC. | 1.00 | Job | 8541.00 | 599.00 | 599.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
12.00 | AUX Relay, 63X1 63X2 63X3 - make - EASUn REXROLLE, Sl. No. HR0835835 Rating Voltage - 24V, DC. | 1.00 | Job | 995468.00 | 599.00 | 599.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
13.00 | Outgoing side-2 of HT panel: Over Current & Earth Fault Relay MC16A Dual Rated Relay, make - L& T 51/50 RYBN - O/C and E/F Relay | 1.00 | Job | 8541.00 | 1999.00 | 1999.00 | 1200.00 | 1200.00 | 1200.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
14.00 | AUX Relay ,49X1 49X2 49X3 make - EASUN REXROLLE B33X3, Code - 03677, Sl. No. HR0835072 Rating voltage - 24V, DC. | 1.00 | Job | 995468.00 | 599.00 | 599.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
15.00 | AUX Relay, 63X1 63X2 63X3 - make - EASUN REXROLLE, Sl. No. HR0835834 Rating Voltage - 24V, DC. | 1.00 | Job | 8541.00 | 599.00 | 599.00 | 450.00 | 450.00 | 450.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
16.00 | AMF panels (03 nos) for DG sets : Reverse power relay,Make :L&T ,model no.MRP11 | 3.00 | Job | 995468.00 | 4999.00 | 14997.00 | 850.00 | 2550.00 | 2550.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
17.00 | Tripping Relay,Make :L&T ,model no.LL1410 | 3.00 | Job | 8541.00 | 599.00 | 1797.00 | 350.00 | 1050.00 | 1050.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
18.00 | Servicing of VCB 11KV( make:Kirloskar electric) ,50 Hz,800Amp Type- CM 500, Sl. No. 0902VH100, Rated Voltage - 11KV, Normal Current - 800A, Breaking Capacity - 18.4 KA, Operating Coil Voltage - 24V, DC, including cleaning of CTs,PTs , Busbar,applying lubricants,adjustments and testing etc complete as required and as per manufacturers guidelines. | 5.00 | Job | 995468.00 | 19999.00 | 99995.00 | 3500.00 | 17500.00 | 17500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
19.00 | Servicing/Overhauling of ACBs(make siemens/ABB of various capacities by deploying Authorised Service Personnel of manufacturer/Service Dealer/Specialised Agencies experienced in servicing of ACBs including cleaning of ACBs, opening the same, inspection, servicing, cleaning of contact surfaces, arc chutes, overhauling of operating mechanism, lubrication of moving parts, checking of UV coils, Trip circuits, checking of control circuits, testing and commissioning etc as required. 3WT,800A ACB | 3.00 | Job | 8541.00 | 4999.00 | 14997.00 | 3000.00 | 9000.00 | 9000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
20.00 | 3WT,1000A ACB | 5.00 | Job | 995468.00 | 4999.00 | 24995.00 | 3000.00 | 15000.00 | 15000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
21.00 | 3WT,1600A ACB | 15.00 | Job | 8541.00 | 7499.00 | 112485.00 | 3000.00 | 45000.00 | 45000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
22.00 | Filtration and determination of electric strength of transformer insulation oil of 11KV/415V transformer of 1000KVA capacity with not less than two circulation of oil and testing of oil after filtration so as to achieve a break down value of not less than 60 KV for a minute as per IS:1866/IS:6792-1972 with upto date amendments ,including replacement of breather, hiring and transporting charges for filtration equipment, test kit etc. as required. ( Transformer -1) | 950.00 | litres | 995468.00 | 4.99 | 4740.50 | 5.00 | 4750.00 | 4740.50 | CHENNAI ENGINEERING SERVICES
23.00 | Supply of Transformer Oil conforming to IS:335 to be supplied in non-returnable barrel | 100.00 | litres | 8541.00 | 199.00 | 19900.00 | 150.00 | 15000.00 | 15000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
24.00 | Painting of following transformers with one coat of polyurethene paint of approved shade, quality and brand i/c scrapping and cleaning, painting with one coat primer and providing putty wherever required, markings etc. as required. 1000 KVA Transformer 1 | 1.00 | Job | 995468.00 | 4999.00 | 4999.00 | 10000.00 | 10000.00 | 4999.00 | CHENNAI ENGINEERING SERVICES
25.00 | Overhauling of Transformer -2 with complete replacement of all gaskets,oil seal,breather and opening of top cover,tighten of core coil assembly,drain of oil and top up of oil,testing of transformer and painting of transformer-2, with Polyurethene paint shade dark grey etc complete as required. | 1.00 | Job | 995468.00 | 24999.00 | 24999.00 | 47000.00 | 47000.00 | 24999.00 | CHENNAI ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 342490.50 |  | 176600.00
Lowest Amount Quoted BY: ARK POWER SOLUTIONS PRIVATE LIMITED(176600.00)

## BOQ Summary
BOQ Summary Details Tender Title: RM of Power supply and DG set at Mysuru Airport. SH Relay testing and calibration, overhauling of transformer, oil filteration , servicing of HT panels etc Tender ID: 2022_AAI_114838_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ARK POWER SOLUTIONS PRIVATE LIMITED | 176600.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 342490.50 | L2