## BoQ1
Government eProcurement System Created By: Mansing Mane Created Date/Time: 10-Jun-2022 11:44 AM Tender Title: Provision of Elevator at New Terminal Building and New ATC Tower and AICMC at Kolhapur Airport. Tender ID: 2022_AAI_115187_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR
Name of Work: Extension of Runway with blast pad, RESA, Taxiway, Apron, GSE area, Isolation bay, New Domestic Terminal Building and miscellaneous works at Kolhapur Airport. SH: Provision of Elevator for Terminal Building and ATC Tower cum Technical block cum Fire station & Annual Comprehensive Maintenance Contract at Kolhapur Airport, Kolhapur.
Contract No: 2022_AAI_115187_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | thyssenkrupp Elevator India Pvt.Ltd.(GSTN-24AABCT6921F1ZK) |  | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9) |  | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing and commissioning of machine roomless elevator of capacity 408 kg / 6 passengers, suitable for operation on 415 volt, 3 phase, 50 Hz, AC supply, operating between Ground floor and 1st floor, 2 stops 2 openings, approx 6.5 mtr. travel, having speed 1.0 to 1.25 mtr/sec, gearless motor, VVVF drive, electromagnetic break system, center opening sliding doors with stainless steel door and frame, automatic rescue device, announcing system, all safety devices, simplex in operation, operating panel with luminous braille buttons, overload warning indicator, battery operated alarm bell, LED emergency light, intercom facility, fireman's control switch at ground floor, digital car position indicator in car and at all floors with UP/DOWN direction, LED light fixture, ventilating fan including stainless steel car enclosure and statutory approvals from lift inspector for operation of lift etc. complete as required. | 1.00 | Each |  | 1474011.00 | 1474011.00 | 1082000.00 | 1082000.00 | 1005000.00 | 1005000.00 | 1005000.00 | Johnson Lifts Pvt Ltd
2.00 | Supply, installation, testing and commissioning of machine roomless elevator of capacity 544 kg / 8 passengers, suitable for operation on 415 volt, 3 phase, 50 Hz, AC supply, operating between Ground floor to 3rd floor, 4 stops 4 openings, approx 11.00 mtr. travel, having speed 1.0 to 1.25 mtr/sec, gearless motor, VVVF drive, electromagnetic break system, center opening sliding doors with stainless steel door and frame, automatic rescue device, announcing system, all safety devices, simplex in operation, operating panel with luminous braille buttons, overload warning indicator, battery operated alarm bell, LED emergency light, intercom facility, fireman's control switch at ground floor, digital car position indicator in car and at all floors with UP/DOWN direction, LED light fixture, ventilating fan including stainless steel car enclosure and statutory approvals from lift inspector for operation of lift etc. complete as required. | 2.00 | Each |  | 1694824.00 | 3389648.00 | 1188000.00 | 2376000.00 | 1156000.00 | 2312000.00 | 2312000.00 | Johnson Lifts Pvt Ltd
3.00 | All inclusive comprehensive maintenance contract for elevator having capacity 408 Kg / 6 passenger comprising Control panel, VVVF Drive, Gearless motors, Sheave, Main ropes, Governor Ropes, Brake shoe liners,Transformers / rectifiers, Travelling cable, Brake magnet, Door drive motor rewinding or replacement, UPS, Battery unit, Automatic Rescue Device, Drive Dhaft, Display unit, Alarm Bell, Infrared ray sensing door protection device, replacement / repairing of all electrical & mechanical equipment including cleaning of doors and attending break down calls on 24x7 hours basis.
3.10 | All inclusive comprehensive maintenance contract of Lift for 1st year after DLP. Esclation 6.25 % on SITC amount. | 1.00 | Year |  | 92126.00 | 92126.00 | 67625.00 | 67625.00 | 62813.00 | 62813.00 | 62813.00 | Johnson Lifts Pvt Ltd
3.20 | All inclusive comprehensive maintenance contract of Lift for 2nd year. Esclation 5.50 % on AICMC of First Year amount. | 1.00 | Year |  | 97193.00 | 97193.00 | 71344.00 | 71344.00 | 66268.00 | 66268.00 | 66268.00 | Johnson Lifts Pvt Ltd
3.30 | All inclusive comprehensive maintenance contract of Lift for 3rd year. Esclation 5.50 % on AICMC of Second Year amount. | 1.00 | Year |  | 102539.00 | 102539.00 | 75268.00 | 75268.00 | 69913.00 | 69913.00 | 69913.00 | Johnson Lifts Pvt Ltd
3.40 | All inclusive comprehensive maintenance contract of Lift for 4th year. Esclation 6.00 % on AICMC of Third Year amount. | 1.00 | Year |  | 108691.00 | 108691.00 | 79784.00 | 79784.00 | 74108.00 | 74108.00 | 74108.00 | Johnson Lifts Pvt Ltd
3.50 | All inclusive comprehensive maintenance contract of Lift for 5th year. Esclation 6.00 % on AICMC of Fourth Year amount. | 1.00 | Year |  | 115212.00 | 115212.00 | 84571.00 | 84571.00 | 78554.00 | 78554.00 | 78554.00 | Johnson Lifts Pvt Ltd
4.00 | All inclusive comprehensive maintenance contract for elevator having capacity 544 Kg / 8 passenger comprising Control panel, VVVF Drive, Gearless motors, Sheave, Main ropes, Governor Ropes, Brake shoe liners,Transformers / rectifiers, Travelling cable, Brake magnet, Door drive motor rewinding or replacement, UPS, Battery unit, Automatic Rescue Device, Drive Dhaft, Display unit, Alarm Bell, Infrared ray sensing door protection device, replacement / repairing of all electrical & mechanical equipment including cleaning of doors and attending break down calls on 24x7 hours basis.
4.10 | All inclusive comprehensive maintenance contract of Lift for 1st year after DLP. Esclation 6.21 % on SITC amount. | 2.00 | Year |  | 105249.00 | 210498.00 | 73775.00 | 147550.00 | 71788.00 | 143576.00 | 143576.00 | Johnson Lifts Pvt Ltd
4.20 | All inclusive comprehensive maintenance contract of Lift for 2nd year. Esclation 5.50 % on AICMC of First Year amount. | 2.00 | Year |  | 111038.00 | 222076.00 | 77833.00 | 155666.00 | 75736.00 | 151472.00 | 151472.00 | Johnson Lifts Pvt Ltd
4.30 | All inclusive comprehensive maintenance contract of Lift for 3rd year. Esclation 5.50 % on AICMC of Second Year amount. | 2.00 | Year |  | 117145.00 | 234290.00 | 82114.00 | 164228.00 | 79901.00 | 159802.00 | 159802.00 | Johnson Lifts Pvt Ltd
4.40 | All inclusive comprehensive maintenance contract of Lift for 4th year. Esclation 6.00 % on AICMC of Third Year amount. | 2.00 | Year |  | 124174.00 | 248348.00 | 87041.00 | 174082.00 | 84695.00 | 169390.00 | 169390.00 | Johnson Lifts Pvt Ltd
4.50 | All inclusive comprehensive maintenance contract of Lift for 5th year. Esclation 6.00 % on AICMC of Fourth Year amount. | 2.00 | Year |  | 131624.00 | 263248.00 | 92263.00 | 184526.00 | 89777.00 | 179554.00 | 179554.00 | Johnson Lifts Pvt Ltd
| Total in Figures |  |  |  |  | 6557880.00 |  | 4662644.00 |  | 4472450.00
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(4472450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Elevator at New Terminal Building and New ATC Tower and AICMC at Kolhapur Airport. Tender ID: 2022_AAI_115187_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd | 4472450.00 | L1
| 2 | OMEGA ELEVATORS | 4662644.00 | L2
| 3 | thyssenkrupp Elevator India Pvt.Ltd. | 6557880.00 | L3