## BoQ1
Government eProcurement System Created By: RAMESHWAR GAUTAM Created Date/Time: 11-Jul-2022 01:16 PM Tender Title: Comprehensive Maintenance and Operation of VRF Air-Conditioning system at RVST , CAT, Gwalior(M.P)(2022-24) Tender ID: 2022_AAI_115210_1
Tender Inviting Authority: AGM (Engg. Elect), RVST, CAT Gwalior Airport
Name of Work: Comprehensive Maintenance & Operation of VRF Air-Conditioning system at RVST , CAT, Gwalior(M.P)(2022-24)
Contract No: Tender ID No. 2022_AAI_115210_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLGA AIR TECHNOLOGIES INDIA(GSTN-23AFGPC9885C1ZC)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH- I , Variable Refrigerant Volume/Flow system All inclusive comprehensive maintenance contract & operation of variable Refrigerant flow module Type air conditioning system (complete Airport Building) of Blue Star make complete with inverter compressor (multiple twin) compressor suitable for 410+- 10%, of variable Refrigerant Flow(VRF)/VARIABLE Refrigerant Volume (VRV) type air conditioning system of following capacity modulation complete with individual remote controller & centralized controller, interconnected refrigerant piping, full charge of refrigerant gas R410a & oil, control & communication cabling etc. as per detail given in specification & having following items. (a) Outdoor Unit VRV /VRF type outdoor units equipped with highly multiple (at least twin) scroll compressors with full inverter type compressors (s), special heat exchanger, low noise condenser fan, auto check function for connection error, auto address setting and capacity as mentioned below. (i)60 HP Heat Pump Type (Cooling & Heating)=1 No (ii)40 HP Heat Pump Type (Cooling & Heating)=2 No (iii)12 HP Heat Pump Type (Cooling & Heating) =1 No (b)Indoor Units Each Indoor unit consisting of: Floor standing Package Type Indoor Units Connectable to VRV/VRF System having 48mm external Static pressure, address setting, multispeed fan & water lift-up mechanism insulation, pipe connections, fresh air intake, necessary galvanized steel supports, vibration isolation arrangements, corded remote etc. of following various capacities as per specifications.(total 08Nos. of different capacities) consisting of centrifugal fans, fan motor, DX cooling coil outer sing, filter, Central controller i/c remote etc. of different capacities as mentioned in the specifications. Make: Blue star (i)Ductable Type: Minimum 15.75 TR /6000 CFM minimum capacity=7 no (ii)Ductable Type : Minimum 10 TR /4000 CFM minimum capacity=1 No (c)Maintenance Electrical Panel consist of Inverter PCB in ODU. Outdoor unit as well as indoor units. (A)Ist Year | 12.00 | Months | 0.00 | 24067.00 | 288804.00 | 288804.00 | VOLGA AIR TECHNOLOGIES INDIA
2.00 | All inclusive comprehensive maintenance contract & operation of variable Refrigerant flow module Type air conditioning system (complete Airport Building) of Blue Star make complete with inverter compressor (multiple twin) compressor suitable for 410+- 10%, of variable Refrigerant Flow(VRF)/VARIABLE Refrigerant Volume (VRV) type air conditioning system of following capacity modulation complete with individual remote controller & centralized controller, interconnected refrigerant piping, full charge of refrigerant gas R410a & oil, control & communication cabling etc. as per detail given in specification & having following items. (a) Outdoor Unit VRV /VRF type outdoor units equipped with highly multiple (at least twin) scroll compressors with full inverter type compressors (s), special heat exchanger, low noise condenser fan, auto check function for connection error, auto address setting and capacity as mentioned below. (i)60 HP Heat Pump Type (Cooling & Heating)=1 No (ii)40 HP Heat Pump Type (Cooling & Heating)=2 No (iii)12 HP Heat Pump Type (Cooling & Heating) =1 No (b)Indoor Units Each Indoor unit consisting of: Floor standing Package Type Indoor Units Connectable to VRV/VRF System having 48mm external Static pressure, address setting, multispeed fan & water lift-up mechanism insulation, pipe connections, fresh air intake, necessary galvanized steel supports, vibration isolation arrangements, corded remote etc. of following various capacities as per specifications.(total 08Nos. of different capacities) consisting of centrifugal fans, fan motor, DX cooling coil outer sing, filter, Central controller i/c remote etc. of different capacities as mentioned in the specifications. Make: Blue star (i)Ductable Type: Minimum 15.75 TR /6000 CFM minimum capacity=7 no (ii)Ductable Type : Minimum 10 TR /4000 CFM minimum capacity=1 No (c)Maintenance Electrical Panel consist of Inverter PCB in ODU. Outdoor unit as well as indoor units. (B) IInd Year | 7.00 | Months | 0.00 | 25270.00 | 176890.00 | 176890.00 | VOLGA AIR TECHNOLOGIES INDIA
3.00 | SH-II: Operation of Variable Refrigerant Flow/Variable Refrigerent volume Modular Type Air-Conditioning System of BLUE STAR make units detailed in item No 1 Including maintenance of records / logbooks/ documents etc all days including Sunday and holidays as per Tender Specifications terms & conditions. | 19.00 | Months | 0.00 | 61875.00 | 1175625.00 | 1175625.00 | VOLGA AIR TECHNOLOGIES INDIA
| Total in Figures |  |  |  |  | 1641319.00
Lowest Amount Quoted BY: VOLGA AIR TECHNOLOGIES INDIA(1641319.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance and Operation of VRF Air-Conditioning system at RVST , CAT, Gwalior(M.P)(2022-24) Tender ID: 2022_AAI_115210_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLGA AIR TECHNOLOGIES INDIA | 1641319.00 | L1