## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 09-Jun-2022 12:01 PM Tender Title: AMC of Electrical Installation for 02 Years at NATS Complex Tender ID: 2022_AAI_115218_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : Annual Maintenance Contract of Electrical Installation for 02 years at NATS Complex, IGI Airport, New Delhi (2022-24).
Contract No/Tender ID : 2022_AAI_115218_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | SHIV ENTERPRISES(GSTN-07ABFFS0744K1Z1) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-1 : MANPOWER
2.00 | 1. Maintenance/operation of various Electrical & Mechanical installation including preventive and break down maintenance / repairs, attending complaints on all working days( 6 days in a week) i/c holidays etc. complete as required at NATS complex, IGI Airport with following manpower, as and when required as per site requirement.
2.01 | (a) Electrician/Operator (Skilled)-06 Nos. for Shift and General duties (Rate for one month) (As and when required to meet shortage of manpower) | 24.00 | Month | 100.00 | 146010.00 | 3504240.00 | 142453.00 | 3418872.00 | 140000.00 | 3360000.00 | 158000.00 | 3792000.00 | 131392.00 | 3153408.00 | 126236.00 | 3029664.00 | 3029664.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
2.02 | (b) Electrical attendant (Unskilled) - 04 Nos. for Shift and General duties. (Rate for one month) (As and when required to meet shortage of manpower) | 24.00 | Month | 10.00 | 73337.00 | 1760088.00 | 81835.00 | 1964040.00 | 76000.00 | 1824000.00 | 88180.00 | 2116320.00 | 72824.00 | 1747776.00 | 69118.00 | 1658832.00 | 1658832.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.00 | 2. Preparation and submission of various reports related to Operation & Maintenance (i/c standard/breakdown maintenacne) of various E&M Installations at NATS Complex as and when required (Highly Skilled manpower) . Computer and other infrastructure will be provided by AAI. (Rate for One month). | 24.00 | Month | 10.00 | 24516.00 | 588384.00 | 26675.00 | 640200.00 | 24600.00 | 590400.00 | 31171.00 | 748104.00 | 26000.00 | 624000.00 | 24776.00 | 594624.00 | 588384.00 | Sew Engineering Works Pvt Ltd
4.00 | SH-2 (Rewinding / Repair of Motors etc. )
5.00 | 1. Rewinding of Exhaust fans/ pedestal fan/wallmounted fan of following sizes with super enameled copper wire of suitable gauge & insulation grade i/c replacement of ball bearing, shaft etc. as reqd. Dismantling, transportation to workshop and back reinstallation, testing, commissioning, making connection, providing and fixing of necessary nut & bolts etc. (As & when required). (Old winding material will be retained by agency.)
5.01 | (a) 600 mm | 2.00 | Each | 10.00 | 1050.00 | 2100.00 | 275.00 | 550.00 | 500.00 | 1000.00 | 425.00 | 850.00 | 700.00 | 1400.00 | 400.00 | 800.00 | 550.00 | SRS ENGINEERS
5.02 | (b) 450 mm | 2.00 | Each | 10.00 | 800.00 | 1600.00 | 200.00 | 400.00 | 400.00 | 800.00 | 425.00 | 850.00 | 650.00 | 1300.00 | 400.00 | 800.00 | 400.00 | SRS ENGINEERS
5.03 | (c) 380 / 400 mm | 4.00 | Each | 10.00 | 700.00 | 2800.00 | 200.00 | 800.00 | 350.00 | 1400.00 | 425.00 | 1700.00 | 400.00 | 1600.00 | 400.00 | 1600.00 | 800.00 | SRS ENGINEERS
5.04 | (d) 300 mm | 2.00 | Each | 10.00 | 550.00 | 1100.00 | 200.00 | 400.00 | 300.00 | 600.00 | 425.00 | 850.00 | 300.00 | 600.00 | 400.00 | 800.00 | 400.00 | SRS ENGINEERS
5.05 | (e) 250 mm | 2.00 | Each | 10.00 | 500.00 | 1000.00 | 200.00 | 400.00 | 300.00 | 600.00 | 425.00 | 850.00 | 300.00 | 600.00 | 400.00 | 800.00 | 400.00 | SRS ENGINEERS
6.00 | 2. Rewinding of ceiling fans of 1200/1400 mm with super enamelled copper wire of suitable gauge & insulation grade i/c replacement of ball bearing, shaft etc. as reqd. Dismantling, transportation to workshop & back and re-installation i/c connection, testing & commissioning (as & when required ). (Old winding material will be retained by agency). | 5.00 | Each | 10.00 | 450.00 | 2250.00 | 175.00 | 875.00 | 580.00 | 2900.00 | 425.00 | 2125.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 875.00 | SRS ENGINEERS
7.00 | 3. Rewinding of different models and make 3 phase induction motors of centrifugal and monoblock pump/submersible pump motors of following capacities as & when required with copper conductor of suitable gauge and insulation grading i/c dismantling, transportation, from the site to workshop and back, re- installation etc. complete as required. (Old winding material will be retained by agency.)
7.01 | A. Monoblock Pump Motor
7.02 | (i) 3 HP | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 1350.00 | 5400.00 | 3500.00 | 14000.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 1000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.03 | (ii) 5 HP | 4.00 | Each | 10.00 | 3500.00 | 14000.00 | 1600.00 | 6400.00 | 5500.00 | 22000.00 | 3500.00 | 14000.00 | 6000.00 | 24000.00 | 1000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.04 | B. Submersible Pump Motor
7.05 | (i) 3 HP | 3.00 | Each | 10.00 | 4200.00 | 12600.00 | 2100.00 | 6300.00 | 5000.00 | 15000.00 | 3750.00 | 11250.00 | 4000.00 | 12000.00 | 1000.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.06 | (ii) 5 HP | 5.00 | Each | 10.00 | 5200.00 | 26000.00 | 2250.00 | 11250.00 | 4000.00 | 20000.00 | 4000.00 | 20000.00 | 5000.00 | 25000.00 | 1000.00 | 5000.00 | 5000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
8.00 | 4. Repairing of 3-phase monoblock / submersible pump by replacement of defective bronze bushes,bearings, impeller, water seal, gasket, shaft, impeller etc. complete as required (As & when required) of capacity (Old dismantle material will retain by agency).
8.01 | (a) 3 HP | 4.00 | Each | 10.00 | 2800.00 | 11200.00 | 1900.00 | 7600.00 | 5000.00 | 20000.00 | 3750.00 | 15000.00 | 4000.00 | 16000.00 | 1200.00 | 4800.00 | 4800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
8.02 | (b) 5 HP | 8.00 | Each | 10.00 | 3200.00 | 25600.00 | 2100.00 | 16800.00 | 4000.00 | 32000.00 | 4000.00 | 32000.00 | 6000.00 | 48000.00 | 1200.00 | 9600.00 | 9600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
9.00 | 5(a). Labour charges on lifting of all existing size submersible pump motor set ( Bore well pump set ) from the existing bore of upto 250 feet deep as & when required along with pipe lines, cable , wire rope etc. and re-installation of the same after rectification of the defect (Spare parts charges of repairing for rectification of pump/motor will be paid separately). | 4.00 | Each | 10.00 | 7500.00 | 30000.00 | 4750.00 | 19000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 8000.00 | 32000.00 | 4000.00 | 16000.00 | 10000.00 | SHIV ENTERPRISES
10.00 | 5(b). Labour charges on lifting of all existing size submersible pump motor set from the existing sump of upto 25 feet deep as & when required along with pipe lines, cable etc. and re-installation of the same after rectification of the defect (Spare parts charges of repairing for rectification of pump/motor will be paid separately). | 4.00 | Each | 10.00 | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 1400.00 | 5600.00 | 3000.00 | 12000.00 | 8000.00 | 32000.00 | 4000.00 | 16000.00 | 5600.00 | SHIV ENTERPRISES
11.00 | 6. Dehydration and filteration of transformer oil at NATS Bldg. complete i/c hiring charges of filteration machine, labour, drums etc. complete with submission of oil testing for acidity report. (The quanty includes 2 Nos. dehydration for 2 Nos. transformers for the year 2018-19 and 2019-20) | 7000.00 | Ltr. | 10.00 | 17.00 | 119000.00 | 2.50 | 17500.00 | 12.00 | 84000.00 | 9.00 | 63000.00 | 10.00 | 70000.00 | 6.00 | 42000.00 | 17500.00 | SRS ENGINEERS
12.00 | 7. Dismantaling and Removing of existing SFU of various capacities from the different existing panel and supply & fixing of following capacities MCCBs /MCBs for the existing panel i/c required modification, cutting, rubber gasket and fabrication required, work din rail to install new MCCB/MCB including end termination, interconnection and all associated works complete as & when required.
12.01 | (a) MCCB, 100 Amp (10 KA), 4P. | 4.00 | Job | 10.00 | 12500.00 | 50000.00 | 979.00 | 3916.00 | 12500.00 | 50000.00 | 1500.00 | 6000.00 | 12000.00 | 48000.00 | 8000.00 | 32000.00 | 3916.00 | SRS ENGINEERS
12.02 | (b) MCCB 125Amp (25KA), 4P. | 4.00 | Job | 10.00 | 7388.00 | 29552.00 | 2384.00 | 9536.00 | 18000.00 | 72000.00 | 1750.00 | 7000.00 | 12000.00 | 48000.00 | 8000.00 | 32000.00 | 7000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
13.00 | 8. Painting of Street Light pole with suitable approved make paint two coat and numbering upto satisfaction of EIC | 160.00 | Each | 10.00 | 300.00 | 48000.00 | 350.00 | 56000.00 | 600.00 | 96000.00 | 160.00 | 25600.00 | 350.00 | 56000.00 | 200.00 | 32000.00 | 25600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
14.00 | 9. Repairing of earth pit with plaster as per direction o EIC. | 40.00 | Each | 10.00 | 500.00 | 20000.00 | 275.00 | 11000.00 | 400.00 | 16000.00 | 400.00 | 16000.00 | 500.00 | 20000.00 | 300.00 | 12000.00 | 11000.00 | SRS ENGINEERS
15.00 | 10. Supply and fixing CI/MS cover plate for earth pit hinged with locking arrangement upto satisfaction of EIC. | 15.00 | Each | 10.00 | 800.00 | 12000.00 | 300.00 | 4500.00 | 400.00 | 6000.00 | 400.00 | 6000.00 | 480.00 | 7200.00 | 500.00 | 7500.00 | 4500.00 | SRS ENGINEERS
16.00 | SH-3 : - Supply of Spares/Accessories
17.00 | Supply of following electrical spares/items suitable for single phase 50 Hz A.C. supply complete as given below :
18.00 | 1. Lamps for Flourescent Tube Light for general lighting services.
18.01 | (a) 36 Watt ( T 8 FTL) | 50.00 | Each | 10.00 | 40.00 | 2000.00 | 17.00 | 850.00 | 48.00 | 2400.00 | 45.00 | 2250.00 | 60.00 | 3000.00 | 45.00 | 2250.00 | 850.00 | SRS ENGINEERS
18.02 | (b) 28 Watt ( T 5 FTL) | 12.00 | Each | 10.00 | 90.00 | 1080.00 | 38.00 | 456.00 | 130.00 | 1560.00 | 100.00 | 1200.00 | 70.00 | 840.00 | 80.00 | 960.00 | 456.00 | SRS ENGINEERS
18.03 | (c) 14 watt T-5 HE 6500K | 12.00 | Each | 10.00 | 90.00 | 1080.00 | 38.00 | 456.00 | 125.00 | 1500.00 | 100.00 | 1200.00 | 70.00 | 840.00 | 80.00 | 960.00 | 456.00 | SRS ENGINEERS
18.04 | (d) 18W / 20 W (2 Feet). | 40.00 | Each | 10.00 | 40.00 | 1600.00 | 17.00 | 680.00 | 42.00 | 1680.00 | 45.00 | 1800.00 | 200.00 | 8000.00 | 75.00 | 3000.00 | 680.00 | SRS ENGINEERS
19.00 | 2. CFL lamps of following ratings :
19.01 | (a) 36 watt (FP-L-36 Watt), 4 Pins. | 50.00 | Each | 10.00 | 120.00 | 6000.00 | 50.00 | 2500.00 | 125.00 | 6250.00 | 100.00 | 5000.00 | 250.00 | 12500.00 | 114.00 | 5700.00 | 2500.00 | SRS ENGINEERS
19.02 | (b) 18 Watt CFL (2 Pins ). | 50.00 | Each | 10.00 | 110.00 | 5500.00 | 38.00 | 1900.00 | 120.00 | 6000.00 | 90.00 | 4500.00 | 200.00 | 10000.00 | 114.00 | 5700.00 | 1900.00 | SRS ENGINEERS
20.00 | 3. Supply of 18-20 watt LED T8 tube with minimum light 1650Lm with prior approval of EIC. | 200.00 | Each | 10.00 | 180.00 | 36000.00 | 275.00 | 55000.00 | 340.00 | 68000.00 | 550.00 | 110000.00 | 350.00 | 70000.00 | 475.00 | 95000.00 | 36000.00 | Sew Engineering Works Pvt Ltd
21.00 | 4. Supply of industrial first Aid Kit Make : ST JOHNs First Aid Kits Pvt. Ltd. Or equivalent as per direction of EIC. | 2.00 | Each | 10.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 750.00 | 1500.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 500.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | 5. Supply of 50 W 12V Electronic Transformer suitable for Halogen Lamp Make : Phillips ETK 50 | 5.00 | Each | 10.00 | 344.00 | 1720.00 | 275.00 | 1375.00 | 420.00 | 2100.00 | 150.00 | 750.00 | 550.00 | 2750.00 | 100.00 | 500.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
23.00 | 6. Supply of starter suitable for Fluorescent tube light/CFL of following ratings :
23.01 | (a) Universal starter for 18 Watt, 110 V. | 20.00 | Each | 10.00 | 29.00 | 580.00 | 4.00 | 80.00 | 20.00 | 400.00 | 25.00 | 500.00 | 20.00 | 400.00 | 10.00 | 200.00 | 80.00 | SRS ENGINEERS
24.00 | 7. Supply of Electronic Ballast for following CFL / FTL fittings :
24.01 | (a) 1x18 watt CFL | 20.00 | Each | 10.00 | 144.00 | 2880.00 | 43.00 | 860.00 | 140.00 | 2800.00 | 100.00 | 2000.00 | 350.00 | 7000.00 | 110.00 | 2200.00 | 860.00 | SRS ENGINEERS
25.00 | 8. Supply of PVC insulated, PVC round sheathed, unarmoured copper conductor flexible cable, 1.1 KV grade confirming to IS : 694 with upto date amendments as reqd.
25.01 | (a) 3x1.5 sqmm Rate per Mtr | 100.00 | Meter | 10.00 | 82.00 | 8200.00 | 26.00 | 2600.00 | 60.00 | 6000.00 | 45.00 | 4500.00 | 70.00 | 7000.00 | 52.00 | 5200.00 | 2600.00 | SRS ENGINEERS
25.02 | (b) 3x4 sqmm | 100.00 | Meter | 10.00 | 183.00 | 18300.00 | 64.00 | 6400.00 | 145.00 | 14500.00 | 115.00 | 11500.00 | 120.00 | 12000.00 | 155.00 | 15500.00 | 6400.00 | SRS ENGINEERS
25.03 | (c) 3x6 sqmm | 100.00 | Meter | 10.00 | 262.00 | 26200.00 | 96.00 | 9600.00 | 210.00 | 21000.00 | 130.00 | 13000.00 | 160.00 | 16000.00 | 200.00 | 20000.00 | 9600.00 | SRS ENGINEERS
25.04 | (d) 3x10 sqmm | 100.00 | Meter | 10.00 | 443.00 | 44300.00 | 158.00 | 15800.00 | 350.00 | 35000.00 | 150.00 | 15000.00 | 220.00 | 22000.00 | 340.00 | 34000.00 | 15000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.05 | (e) 4x6 sqmm | 100.00 | Meter | 10.00 | 334.00 | 33400.00 | 123.00 | 12300.00 | 270.00 | 27000.00 | 180.00 | 18000.00 | 250.00 | 25000.00 | 290.00 | 29000.00 | 12300.00 | SRS ENGINEERS
25.06 | (f) 4x10 sqmm | 100.00 | Meter | 10.00 | 523.00 | 52300.00 | 211.00 | 21100.00 | 450.00 | 45000.00 | 250.00 | 25000.00 | 350.00 | 35000.00 | 420.00 | 42000.00 | 21100.00 | SRS ENGINEERS
26.00 | 9. Supply of single core copper conductor flexible PVC insulated industrial grade cable, 1.1 KV grade confirming to IS : 694 with upto date amendments as reqd.
26.01 | (a) 0.75 sqmm (HR-FR) | 300.00 | Meter | 10.00 | 9.00 | 2700.00 | 4.50 | 1350.00 | 9.00 | 2700.00 | 7.00 | 2100.00 | 15.00 | 4500.00 | 8.00 | 2400.00 | 1350.00 | SRS ENGINEERS
26.02 | (b) 1.5 sqmm (FR-LSH) | 180.00 | Meter | 10.00 | 17.00 | 3060.00 | 8.50 | 1530.00 | 20.00 | 3600.00 | 15.00 | 2700.00 | 18.00 | 3240.00 | 15.00 | 2700.00 | 1530.00 | SRS ENGINEERS
26.03 | (c) 4 sqmm (FR-LSH) | 180.00 | Meter | 10.00 | 43.00 | 7740.00 | 19.00 | 3420.00 | 44.00 | 7920.00 | 28.00 | 5040.00 | 35.00 | 6300.00 | 38.00 | 6840.00 | 3420.00 | SRS ENGINEERS
26.04 | (d) 10 sqmm (FR) | 100.00 | Meter | 10.00 | 109.00 | 10900.00 | 51.00 | 5100.00 | 110.00 | 11000.00 | 85.00 | 8500.00 | 67.00 | 6700.00 | 90.00 | 9000.00 | 5100.00 | SRS ENGINEERS
27.00 | 10. Supply of 150 watt Metal halide double ended quartz tube lamp, MH -6000K | 10.00 | Each | 10.00 | 518.00 | 5180.00 | 150.00 | 1500.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 1200.00 | 12000.00 | 100.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
28.00 | 11. Supply of self adhesive PVC electrical insulation tape (ISI Marked). | 300.00 | Each | 10.00 | 10.00 | 3000.00 | 5.00 | 1500.00 | 14.00 | 4200.00 | 10.00 | 3000.00 | 20.00 | 6000.00 | 10.00 | 3000.00 | 1500.00 | SRS ENGINEERS
29.00 | 12. Supply of distilled water suitable for charging of heavy duty batteries used for DG sets. | 200.00 | Ltr. | 10.00 | 20.00 | 4000.00 | 6.00 | 1200.00 | 10.00 | 2000.00 | 40.00 | 8000.00 | 25.00 | 5000.00 | 4.00 | 800.00 | 800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
30.00 | 13. Supply of Power strip / extension board of 16 Amp. ratings, 3 Nos. socket and 3 No. switch indicating lamps, 3 pin moulded type plug top, 3 core PVC wire suitable for computer etc. | 20.00 | Each | 10.00 | 350.00 | 7000.00 | 225.00 | 4500.00 | 700.00 | 14000.00 | 300.00 | 6000.00 | 350.00 | 7000.00 | 400.00 | 8000.00 | 4500.00 | SRS ENGINEERS
31.00 | 14. Supply of Old cotton dhoties suitable for cleaning of panels etc. | 50.00 | KG | 10.00 | 15.00 | 750.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 40.00 | 2000.00 | 150.00 | 7500.00 | 40.00 | 2000.00 | 750.00 | Sew Engineering Works Pvt Ltd
32.00 | 15. Supply of Socket & Switch combined, 10/20 Amp, with box, 2 hole. | 100.00 | Each | 10.00 | 140.00 | 14000.00 | 57.00 | 5700.00 | 140.00 | 14000.00 | 125.00 | 12500.00 | 150.00 | 15000.00 | 400.00 | 40000.00 | 5700.00 | SRS ENGINEERS
33.00 | 16. Supply of 3 pin Plug top, of the following sizes :
33.01 | (a) 6 Amp | 50.00 | Each | 10.00 | 50.00 | 2500.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 35.00 | 1750.00 | 35.00 | 1750.00 | 40.00 | 2000.00 | 1000.00 | SRS ENGINEERS
33.02 | (b) 16 Amp | 50.00 | Each | 10.00 | 70.00 | 3500.00 | 27.00 | 1350.00 | 70.00 | 3500.00 | 60.00 | 3000.00 | 90.00 | 4500.00 | 50.00 | 2500.00 | 1350.00 | SRS ENGINEERS
34.00 | 17. Supply of HRC fuse link of following ratings 80 KA breaking capacity 415 Volt suitable for existing panel switchgear. Make : L & T or equivalent
34.01 | (a) 2 Amp round type | 20.00 | Each | 10.00 | 83.00 | 1660.00 | 16.50 | 330.00 | 12.00 | 240.00 | 40.00 | 800.00 | 25.00 | 500.00 | 40.00 | 800.00 | 240.00 | SHIV ENTERPRISES
34.02 | (b) 6 Amp offset | 20.00 | Each | 10.00 | 55.00 | 1100.00 | 16.50 | 330.00 | 80.00 | 1600.00 | 40.00 | 800.00 | 25.00 | 500.00 | 50.00 | 1000.00 | 330.00 | SRS ENGINEERS
34.03 | (c) 32 Amp (A1) | 20.00 | Each | 10.00 | 155.00 | 3100.00 | 33.00 | 660.00 | 140.00 | 2800.00 | 78.00 | 1560.00 | 35.00 | 700.00 | 70.00 | 1400.00 | 660.00 | SRS ENGINEERS
34.04 | (d) 63 Amp (A1L) | 20.00 | Each | 10.00 | 250.00 | 5000.00 | 42.00 | 840.00 | 178.00 | 3560.00 | 78.00 | 1560.00 | 120.00 | 2400.00 | 100.00 | 2000.00 | 840.00 | SRS ENGINEERS
34.05 | (e) 125 Amp | 10.00 | Each | 10.00 | 312.00 | 3120.00 | 107.00 | 1070.00 | 225.00 | 2250.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 1070.00 | SRS ENGINEERS
34.06 | (f) 250 Amp (slim knife type) | 10.00 | Each | 10.00 | 1140.00 | 11400.00 | 266.00 | 2660.00 | 400.00 | 4000.00 | 425.00 | 4250.00 | 600.00 | 6000.00 | 300.00 | 3000.00 | 2660.00 | SRS ENGINEERS
35.00 | 18. Supply of 2.25 MFD capacitor suitable for fan. | 50.00 | Each | 10.00 | 35.00 | 1750.00 | 11.00 | 550.00 | 30.00 | 1500.00 | 27.00 | 1350.00 | 40.00 | 2000.00 | 40.00 | 2000.00 | 550.00 | SRS ENGINEERS
36.00 | 19. Supply of RCCB, 4 Pole suitable for 415V, 50Hz, 40 Amp Capacity, 300 mAmp | 2.00 | Each | 10.00 | 5579.00 | 11158.00 | 923.00 | 1846.00 | 2200.00 | 4400.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 1846.00 | SRS ENGINEERS
37.00 | 20. Supply of MCB, TP, 25 Amp, (Breaking Capacity 10KA, C Series). | 10.00 | Each | 10.00 | 645.00 | 6450.00 | 301.00 | 3010.00 | 625.00 | 6250.00 | 900.00 | 9000.00 | 900.00 | 9000.00 | 700.00 | 7000.00 | 3010.00 | SRS ENGINEERS
38.00 | 21. Supply of MCB, TP, 32 Amp, (Breaking Capacity 10KA, C Series). | 10.00 | Each | 10.00 | 645.00 | 6450.00 | 301.00 | 3010.00 | 625.00 | 6250.00 | 1000.00 | 10000.00 | 900.00 | 9000.00 | 900.00 | 9000.00 | 3010.00 | SRS ENGINEERS
39.00 | 22. Supply of MCB, TP 63 Amp (breaking capacity 10KA, C- serires). | 10.00 | Each | 10.00 | 1024.00 | 10240.00 | 465.00 | 4650.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 950.00 | 9500.00 | 900.00 | 9000.00 | 4650.00 | SRS ENGINEERS
40.00 | 23. Supply of following types MCB/MCCBs suitable for installation:
40.01 | (a) MCB, 63 Amp, 4 Pole, (Breaking Capacity 10 KA, 'C' series), Make : Havells or Equivalent. | 10.00 | Each | 10.00 | 1271.00 | 12710.00 | 574.00 | 5740.00 | 1350.00 | 13500.00 | 1800.00 | 18000.00 | 1200.00 | 12000.00 | 700.00 | 7000.00 | 5740.00 | SRS ENGINEERS
40.02 | (b) MCB 100 Amp, , 4-pole , (Breaking Capacity 10 KA, 'C' series, high ratings). | 4.00 | Each | 10.00 | 10572.00 | 42288.00 | 2479.00 | 9916.00 | 6500.00 | 26000.00 | 6500.00 | 26000.00 | 2200.00 | 8800.00 | 700.00 | 2800.00 | 2800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
41.00 | 24. Supply of MCCB, 4 Pole, 125 Amp (25 KA breaking capacity) suitable to existing switchgears. | 4.00 | Each | 10.00 | 7388.00 | 29552.00 | 2384.00 | 9536.00 | 5200.00 | 20800.00 | 5000.00 | 20000.00 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 9536.00 | SRS ENGINEERS
42.00 | 25. Supply of MCCB, 4 Pole, 100 Amp (10 KA breaking capacity), Cat No : IHLGSF01000, Makes : Havells, or Equivalent suitable to existing switchgears. | 4.00 | Each | 10.00 | 10572.00 | 42288.00 | 820.00 | 3280.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 9000.00 | 36000.00 | 5000.00 | 20000.00 | 3280.00 | SRS ENGINEERS
43.00 | 26. Supply of LED Type Indicator for R,Y,B Phase, for Red, Blue, Yellow colour and green suitable for 240 Volt AC. as per sample, Make : L&T or equivalent.
43.01 | (a) Red, Yellow , Green and Blue | 50.00 | Each | 10.00 | 125.00 | 6250.00 | 52.00 | 2600.00 | 145.00 | 7250.00 | 150.00 | 7500.00 | 120.00 | 6000.00 | 70.00 | 3500.00 | 2600.00 | SRS ENGINEERS
44.00 | 27. Supply of LED Type Indicator lamp complete with accessories suitable for 110 DC Volt. Suitable for existing panel Make : L&T or equivalent. | 50.00 | Each | 10.00 | 115.00 | 5750.00 | 52.00 | 2600.00 | 190.00 | 9500.00 | 160.00 | 8000.00 | 120.00 | 6000.00 | 60.00 | 3000.00 | 2600.00 | SRS ENGINEERS
45.00 | 28. Supplying of Direct On Line Starter for upto 7.5 HP, 415 V, 50 Hz, 3 Phase in sheet steel enclosure, etc. (Model : MK1, Make : L& T or Equivalent). | 2.00 | Each | 10.00 | 9951.00 | 19902.00 | 899.00 | 1798.00 | 2400.00 | 4800.00 | 1750.00 | 3500.00 | 9000.00 | 18000.00 | 4000.00 | 8000.00 | 1798.00 | SRS ENGINEERS
46.00 | 29. Supply of Direct On Line -Submersible pump Starter for 5/6 HP, 415 V, 50 Hz, 3 Phase in sheet steel enclosure alongwith ammeter, voltmeter and indicators etc. ( Make : L& T or Equivalent). | 2.00 | Each | 10.00 | 3570.00 | 7140.00 | 2690.00 | 5380.00 | 2200.00 | 4400.00 | 4000.00 | 8000.00 | 9500.00 | 19000.00 | 4000.00 | 8000.00 | 4400.00 | SHIV ENTERPRISES
47.00 | 30. Supply of 3 phase, 4 wire static watt hour (energy) meter. (Make - L&T make model no. EM301 or equivelent) | 10.00 | Each | 10.00 | 978.00 | 9780.00 | 1910.00 | 19100.00 | 3000.00 | 30000.00 | 3000.00 | 30000.00 | 3500.00 | 35000.00 | 2000.00 | 20000.00 | 9780.00 | Sew Engineering Works Pvt Ltd
48.00 | 31. Supply of following type DBs
48.01 | (a) SPN 12 way DB with doubledoor, busbar, neutral links, earth bar, etc complete (metal body) | 4.00 | Each | 10.00 | 1693.00 | 6772.00 | 621.00 | 2484.00 | 1300.00 | 5200.00 | 1500.00 | 6000.00 | 6000.00 | 24000.00 | 3000.00 | 12000.00 | 2484.00 | SRS ENGINEERS
48.02 | (b) TP&N, 4 way, Vertical DB double door type fitted with Bus Bars, Neutral links, earth bars etc complete suitable for MCCB as incomer as required. | 2.00 | Each | 10.00 | 2800.00 | 5600.00 | 3055.00 | 6110.00 | 6200.00 | 12400.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 4000.00 | 8000.00 | 5600.00 | Sew Engineering Works Pvt Ltd
49.00 | 32. Supply of following box, cover plates, casing & caping, switch &socket as and when required.
49.01 | (a) 6A, One way switch (Piano type) | 2.00 | Each | 10.00 | 18.00 | 36.00 | 6.00 | 12.00 | 17.00 | 34.00 | 15.00 | 30.00 | 20.00 | 40.00 | 14.00 | 28.00 | 12.00 | SRS ENGINEERS
49.02 | (b) 6A, 5 Pin Socket (Piano type) | 6.00 | Each | 10.00 | 35.00 | 210.00 | 12.00 | 72.00 | 25.00 | 150.00 | 25.00 | 150.00 | 35.00 | 210.00 | 30.00 | 180.00 | 72.00 | SRS ENGINEERS
49.03 | (c) 20A, One way switch (Piano type) | 2.00 | Each | 10.00 | 35.00 | 70.00 | 25.00 | 50.00 | 70.00 | 140.00 | 60.00 | 120.00 | 120.00 | 240.00 | 20.00 | 40.00 | 40.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
49.04 | (d) 20A, 6 Pin Socket with shutter (Piano type) | 2.00 | Each | 10.00 | 35.00 | 70.00 | 30.00 | 60.00 | 72.00 | 144.00 | 60.00 | 120.00 | 150.00 | 300.00 | 35.00 | 70.00 | 60.00 | SRS ENGINEERS
49.05 | (e) 10A, One way switch (modular type) | 40.00 | Each | 10.00 | 40.00 | 1600.00 | 17.00 | 680.00 | 20.00 | 800.00 | 50.00 | 2000.00 | 70.00 | 2800.00 | 55.00 | 2200.00 | 680.00 | SRS ENGINEERS
49.06 | (f) 10A, Uni D Socket with shutter(modular type) | 40.00 | Each | 10.00 | 100.00 | 4000.00 | 34.00 | 1360.00 | 55.00 | 2200.00 | 75.00 | 3000.00 | 90.00 | 3600.00 | 130.00 | 5200.00 | 1360.00 | SRS ENGINEERS
49.07 | (g) 20A, One way switch (modular type) | 10.00 | Each | 10.00 | 110.00 | 1100.00 | 35.00 | 350.00 | 60.00 | 600.00 | 75.00 | 750.00 | 120.00 | 1200.00 | 50.00 | 500.00 | 350.00 | SRS ENGINEERS
49.08 | (h) 20A, 6 Pin socket with shutter (modular type) | 10.00 | Each | 10.00 | 150.00 | 1500.00 | 62.00 | 620.00 | 90.00 | 900.00 | 125.00 | 1250.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 620.00 | SRS ENGINEERS
49.09 | (i) 6 Module base and cover plate | 40.00 | Each | 10.00 | 140.00 | 5600.00 | 52.00 | 2080.00 | 72.00 | 2880.00 | 100.00 | 4000.00 | 50.00 | 2000.00 | 70.00 | 2800.00 | 2000.00 | Manish Electricals
49.10 | (j) 6 Module plastic box | 40.00 | Each | 10.00 | 50.00 | 2000.00 | 41.00 | 1640.00 | 60.00 | 2400.00 | 75.00 | 3000.00 | 30.00 | 1200.00 | 30.00 | 1200.00 | 1200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Manish Electricals
49.11 | (k) 25 X 16 mm casing & caping (ISI Marked) | 100.00 | Meter | 10.00 | 60.00 | 6000.00 | 1060.00 | 106000.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 90.00 | 9000.00 | 20.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
50.00 | 33. Supply of 70 watt open construction HPSV/MH Ballast | 40.00 | Each | 10.00 | 828.00 | 33120.00 | 625.00 | 25000.00 | 720.00 | 28800.00 | 600.00 | 24000.00 | 1280.00 | 51200.00 | 200.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
51.00 | 34. Supplying of MCB, Single Pole, 'C' Series, 6-32 Amp, 10 KA.
51.01 | (a) 10 Amp | 24.00 | Each | 10.00 | 139.00 | 3336.00 | 58.00 | 1392.00 | 110.00 | 2640.00 | 150.00 | 3600.00 | 180.00 | 4320.00 | 100.00 | 2400.00 | 1392.00 | SRS ENGINEERS
51.02 | (b) 16 Amp | 24.00 | Each | 10.00 | 139.00 | 3336.00 | 58.00 | 1392.00 | 110.00 | 2640.00 | 150.00 | 3600.00 | 180.00 | 4320.00 | 100.00 | 2400.00 | 1392.00 | SRS ENGINEERS
51.03 | (c) 20 Amp | 24.00 | Each | 10.00 | 139.00 | 3336.00 | 58.00 | 1392.00 | 110.00 | 2640.00 | 150.00 | 3600.00 | 210.00 | 5040.00 | 100.00 | 2400.00 | 1392.00 | SRS ENGINEERS
51.04 | (d) 32 Amp | 24.00 | Each | 10.00 | 139.00 | 3336.00 | 58.00 | 1392.00 | 110.00 | 2640.00 | 150.00 | 3600.00 | 210.00 | 5040.00 | 100.00 | 2400.00 | 1392.00 | SRS ENGINEERS
52.00 | 35. Supply of 200 Ltr. Non-metallic barrel suitable for transportation of diesel/oil with prior approval of EIC. | 12.00 | Each | 10.00 | 800.00 | 9600.00 | 750.00 | 9000.00 | 1200.00 | 14400.00 | 1000.00 | 12000.00 | 900.00 | 10800.00 | 400.00 | 4800.00 | 4800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
53.00 | 36. Supply of XLPE insulated and PVC sheathed , stranded Al. conductor, armoured cable of 1.1 KV grade, conforming to IS : 7098 (part-I) with upto date ammendment etc. as and when required
53.01 | (a) 3x1/2x25 sqmm | 200.00 | Meter | 10.00 | 146.00 | 29200.00 | 58.00 | 11600.00 | 155.00 | 31000.00 | 160.00 | 32000.00 | 270.00 | 54000.00 | 180.00 | 36000.00 | 11600.00 | SRS ENGINEERS
53.02 | (b) 3x1/2x50 sqmm | 100.00 | Meter | 10.00 | 223.00 | 22300.00 | 136.00 | 13600.00 | 225.00 | 22500.00 | 200.00 | 20000.00 | 325.00 | 32500.00 | 250.00 | 25000.00 | 13600.00 | SRS ENGINEERS
54.00 | 37. Supply of Handle assembly suitable for 125/250A SFUs | 4.00 | Each | 10.00 | 970.00 | 3880.00 | 424.00 | 1696.00 | 1300.00 | 5200.00 | 225.00 | 900.00 | 9000.00 | 36000.00 | 2500.00 | 10000.00 | 900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
55.00 | 38. Supply of Handle assembly suitable for 32/63/100 A SFUs | 4.00 | Each | 10.00 | 515.00 | 2060.00 | 398.00 | 1592.00 | 1200.00 | 4800.00 | 300.00 | 1200.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 1200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
56.00 | 39. Supply of Pole mounted Junction Box for road/street lighting suitable for 3 phase and neutral based lighting system for industrial applications complete along with bus bar clamps,insulating pads, nut bolts, clip etc as required. Make : Sintex model noGS JB 2520 (250 X 200 X 150mm) | 25.00 | Each | 10.00 | 650.00 | 16250.00 | 213.00 | 5325.00 | 500.00 | 12500.00 | 2250.00 | 56250.00 | 900.00 | 22500.00 | 1000.00 | 25000.00 | 5325.00 | SRS ENGINEERS
57.00 | SH-4 (CPWD DSR ITEMS) Miscellaneous Electrical works. Execution of works as per CPWD schedule of work and specification for amount of Rs. 5,00,000/- as and when reqd.
57.01 | Schedule of works 2018. (Note : 1. The rate has been considered as per the DSR 2018 Rates after deducting indirect taxes from the DSR rates. (Refer clause 1(d), page SCC-01, Special Condition of Contract of Tender Document) 2. Agency will quote % above/below in "Rate Column" and accordingly will derive amount in ''Amount Column" against Rs. 5,00,000/-(After deducting indirect taxes) | 1.00 | Job | 10.00 | 450000.00 | 450000.00 | 125000.00 | 125000.00 | 250000.00 | 250000.00 | 400000.00 | 400000.00 | 375000.00 | 375000.00 | 400000.00 | 400000.00 | 125000.00 | SRS ENGINEERS
| Total in Figures |  |  |  |  | 7444384.00 |  | 6775151.00 |  | 7141618.00 |  | 7977779.00 |  | 7205414.00 |  | 6550348.00
Lowest Amount Quoted BY: CIS GLOBAL INFRATECH PRIVATE LIMITED(6550348.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of Electrical Installation for 02 Years at NATS Complex Tender ID: 2022_AAI_115218_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 6550348.00 | L1
| 2 | SRS ENGINEERS | 6775151.00 | L2
| 3 | SHIV ENTERPRISES | 7141618.00 | L3
| 4 | Manish Electricals | 7205414.00 | L4
| 5 | Sew Engineering Works Pvt Ltd | 7444384.00 | L5
| 6 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 7977779.00 | L6