## BoQ1
Government eProcurement System Created By: MANTRIMAYUM CHINGLENSANA SINGH Created Date/Time: 30-Jun-2022 05:25 PM Tender Title: AMC OF SOLAR POWERED OBSTRUCTION LIGHTING SYSTEM INSTALLED ON FIVE HILL TOPS SURROUNDING IMPHAL AIRPORT 2022-23 AND 2023-24. Tender ID: 2022_AAI_115506_1
Tender Inviting Authority: Asstt. General Manager (Engineering-Electrical), AAI, Imphal Airport.
Name of Work: AMC OF SOLAR POWERED OBSTRUCTION LIGHTING SYSTEM INSTALLED ON FIVE HILL TOPS SURROUNDING IMPHAL AIRPORT 2022-23 & 2023-24
Contract No: 2022_AAI_115506_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S TH ROMESH SINGH(GSTN-14BMBPS7319Q2ZF)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: MAINTENANCE
1.01 | Annual maintenace of Solar Powered Obstruction Lighting System (SPOL) installed at five hill tops, surrounding Imphal Airport namely Nongmaiching Hill, Chingfu Hill, Heibok Hill, Maring Phunal and Langjing Hill including minor repairs, replacement of minor components and any other required components associated, like latice tower, foundation, earthing system and carry out preventive maintenance as per attache schedule to keep the system operational for night landing at Imphal Airport.
1.02 | a) For First Year | 12.00 | Month |  | 27000.00 | 324000.00 | 324000.00 | M/S TH ROMESH SINGH
1.03 | b) For Second Year | 12.00 | Month |  | 28300.00 | 339600.00 | 339600.00 | M/S TH ROMESH SINGH
2.00 | SH-II: SUPPLY OF SPARES
2.10 | Supply of maintenance free battery 12 volts, 75 AH, Make: EXIDE/ AMCO/ PRESTOLITE/ AMARON/ GENPRO/ STANDARD FURUKAWA/ LUCAS/ HBL NIFE with buy back arrangement. | 12.00 | Nos |  | 6500.00 | 78000.00 | 78000.00 | M/S TH ROMESH SINGH
2.20 | Supply of heavy duty Solar Charge Controller suitable for 148 WP Solar Module (4 Nos 74 WP Solar PV Module, 2 Nos parallel and 2 Nos series mode) for charging 24 V 150 AH battery bank (12 V, 75 AH - 4 Nos) with over charge, under charge, low bat, Sc protection with indicators and consisting of dawn to dusk control for operating Aviation Obstruction Warning Light of medium intensity, 10 No. 24 V & 2 x 11 W street light of reputed make as per list. | 10.00 | Nos |  | 2500.00 | 25000.00 | 25000.00 | M/S TH ROMESH SINGH
2.30 | Supply of Solar Photo Voltaic module (SPV) rating PM-75 WP, VOC-21 V, Sec-4.78 A, Vm-17 V, Im-4.35 A system voltage - 650 V max preferably size of 1.18 Mx. 53 M Make-Tata Power/ Vikram Solar/ Waree /B.P/ Maharashi/ Solar twch/ BEL/ luminous or equivalent | 6.00 | Nos |  | 4000.00 | 24000.00 | 24000.00 | M/S TH ROMESH SINGH
| Total in Figures |  |  |  |  | 790600.00
Lowest Amount Quoted BY: M/S TH ROMESH SINGH(790600.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC OF SOLAR POWERED OBSTRUCTION LIGHTING SYSTEM INSTALLED ON FIVE HILL TOPS SURROUNDING IMPHAL AIRPORT 2022-23 AND 2023-24. Tender ID: 2022_AAI_115506_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S TH ROMESH SINGH | 790600.00 | L1