## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 18-Jul-2022 05:10 PM Tender Title: Replacement of conventional lights of Apron High Mast and faulty lights of Terminal Building with LED lights at Srinagar Airport. Tender ID: 2022_AAI_115570_1
Tender Inviting Authority: AGM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: Replacement of conventional lights of Apron High Mast and faulty lights of Terminal Building with LED lights at Srinagar Airport.
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Instapower Ltd(GSTN-05AAACI9712L1ZG) |  | MASTER ELECTRIC STORE(GSTN-07AAHPB6825H1ZU) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Mir Electrical Store(GSTN-NA) |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA) |  | M/s ESCON ELECTRICALS(GSTN-NA) |  | Variant Infratech Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 300 W (±10%) with high power LED's as light source die-cast aluminium non integral IP66 (cool day white light 5700 K to 6500 K) flood Light, Suitable for High Mast application, including control gear box complete as required. | 107.00 | Job |  | 18000.00 | 1926000.00 | 13325.00 | 1425775.00 | 12380.00 | 1324660.00 | 13930.00 | 1490510.00 | 15500.00 | 1658500.00 | 13750.00 | 1471250.00 | 22657.00 | 2424299.00 | 13575.00 | 1452525.00 | 25900.00 | 2771300.00 | 9550.00 | 1021850.00 | 1021850.00 | Variant Infratech Private Limited
2.00 | Supply of following rating high efficacy and low power consumption LED High Bay Light (5700K to 6500K) with powder coated pressure die-cast aluminum housing having aluminium heat sink fins for efficient heat dissipation, minimum IP 54 protection, weatherproof gasket and control gear compartments, integral electronic driver, in built electronic driver (SMPS based constant current supply) suspended mounting arrangements, 120 degree beam angle etc complete as required of following rating.
2.01 | 200 Watt LED | 53.00 | Job |  | 11000.00 | 583000.00 | 7566.00 | 400998.00 | 7690.00 | 407570.00 | 9520.00 | 504560.00 | 12500.00 | 662500.00 | 8900.00 | 471700.00 | 12278.00 | 650734.00 | 9000.00 | 477000.00 | 8882.00 | 470746.00 | 6050.00 | 320650.00 | 320650.00 | Variant Infratech Private Limited
2.02 | 150 Watt LED | 48.00 | Job |  | 10000.00 | 480000.00 | 5928.00 | 284544.00 | 6450.00 | 309600.00 | 7770.00 | 372960.00 | 11500.00 | 552000.00 | 7500.00 | 360000.00 | 9066.00 | 435168.00 | 7040.00 | 337920.00 | 7633.00 | 366384.00 | 4850.00 | 232800.00 | 232800.00 | Variant Infratech Private Limited
2.03 | 100 Watt LED | 81.00 | Job |  | 8000.00 | 648000.00 | 3900.00 | 315900.00 | 4400.00 | 356400.00 | 6090.00 | 493290.00 | 8500.00 | 688500.00 | 5100.00 | 413100.00 | 7838.00 | 634878.00 | 4575.00 | 370575.00 | 6245.00 | 505845.00 | 3500.00 | 283500.00 | 283500.00 | Variant Infratech Private Limited
3.00 | Supply of surface/ wall mounted, Inverter type LED Batten with Opal Diffuser, IP20, Inbuilt Battery back-up (minimum 30 Mins at battery back-up) of following ratings with extruded aluminum housing.
3.01 | 18/ 20 Watt | 50.00 | Each |  | 4500.00 | 225000.00 | 540.00 | 27000.00 | 1400.00 | 70000.00 | 1470.00 | 73500.00 | 380.00 | 19000.00 | 8200.00 | 410000.00 | 1000.00 | 50000.00 | 1800.00 | 90000.00 | 1500.00 | 75000.00 | 5310.00 | 265500.00 | 19000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
3.02 | 8/ 10 Watt | 20.00 | Each |  | 4000.00 | 80000.00 | 355.00 | 7100.00 | 1200.00 | 24000.00 | 1260.00 | 25200.00 | 330.00 | 6600.00 | 7150.00 | 143000.00 | 865.00 | 17300.00 | 1500.00 | 30000.00 | 1300.00 | 26000.00 | 5250.00 | 105000.00 | 6600.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
4.00 | Supply of Inverter LED 2x2 Panel, 36 watt (± 10%), CRCA powder coated, IP20, with Battery back-up (minimum 30 Mins at battery back-up) & functioning as per Product TDS, to be fixed in Gypsum Board false ceiling with clamp. | 66.00 | Each |  | 8450.00 | 557700.00 | 6240.00 | 411840.00 | 5780.00 | 381480.00 | 6440.00 | 425040.00 | 2400.00 | 158400.00 | 12800.00 | 844800.00 | 4536.00 | 299376.00 | 12000.00 | 792000.00 | 5000.00 | 330000.00 | 9124.10 | 602190.60 | 158400.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
5.00 | Installation, Testing & Commissioning of 300 watt LED High mast Luminaire on existing high mast tower including making modification if required for installation of LED light fitting complete as required . | 95.00 | Job |  | 250.00 | 23750.00 | 1950.00 | 185250.00 | 200.00 | 19000.00 | 70.00 | 6650.00 | 550.00 | 52250.00 | 1400.00 | 133000.00 | 365.00 | 34675.00 | 300.00 | 28500.00 | 500.00 | 47500.00 | 402.50 | 38237.50 | 6650.00 | RVD INFRA SOLUTION PVT.LTD.
6.00 | Installation, Testing & Commissioning of highway Luminaire complete with all accessories directly on ceiling of Terminal building including making modification if required for installation of LED light fitting including dismanteling of existing light fittings and handedover/ shifting to AAI store. | 166.00 | Job |  | 450.00 | 74700.00 | 1950.00 | 323700.00 | 200.00 | 33200.00 | 70.00 | 11620.00 | 550.00 | 91300.00 | 1000.00 | 166000.00 | 593.00 | 98438.00 | 300.00 | 49800.00 | 400.00 | 66400.00 | 690.00 | 114540.00 | 11620.00 | RVD INFRA SOLUTION PVT.LTD.
7.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 136.00 | Job |  | 150.00 | 20400.00 | 325.00 | 44200.00 | 120.00 | 16320.00 | 70.00 | 9520.00 | 350.00 | 47600.00 | 350.00 | 47600.00 | 137.00 | 18632.00 | 325.00 | 44200.00 | 300.00 | 40800.00 | 6900.00 | 938400.00 | 9520.00 | RVD INFRA SOLUTION PVT.LTD.
8.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
8.01 | Group C | 20.00 | Each |  | 2950.00 | 59000.00 | 2164.00 | 43280.00 | 700.00 | 14000.00 | 1400.00 | 28000.00 | 1050.00 | 21000.00 | 1350.00 | 27000.00 | 622.00 | 12440.00 | 900.00 | 18000.00 | 1500.00 | 30000.00 | 9200.00 | 184000.00 | 12440.00 | Mir Electrical Store
9.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
9.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 100.00 | Each |  | 250.00 | 25000.00 | 5200.00 | 520000.00 | 130.00 | 13000.00 | 70.00 | 7000.00 | 750.00 | 75000.00 | 150.00 | 15000.00 | 101.00 | 10100.00 | 145.00 | 14500.00 | 130.00 | 13000.00 | 52.00 | 5200.00 | 5200.00 | Variant Infratech Private Limited
9.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Each |  | 350.00 | 35000.00 | 5850.00 | 585000.00 | 150.00 | 15000.00 | 126.00 | 12600.00 | 550.00 | 55000.00 | 200.00 | 20000.00 | 99.00 | 9900.00 | 165.00 | 16500.00 | 175.00 | 17500.00 | 90.00 | 9000.00 | 9000.00 | Variant Infratech Private Limited
10.00 | Dismanteling of existing HPSV flood light fittings and handed over/ shifting the same to AAI store or as per instruction of EIC etc. as required at site. | 90.00 | Job |  | 50.00 | 4500.00 | 1430.00 | 128700.00 | 10.00 | 900.00 | 28.00 | 2520.00 | 150.00 | 13500.00 | 150.00 | 13500.00 | 135.00 | 12150.00 | 100.00 | 9000.00 | 100.00 | 9000.00 | 580.00 | 52200.00 | 900.00 | MASTER ELECTRIC STORE
11.00 | Dismanteling of existing LED Fittings (36/ 20/ 18/ 10/ 8 Watt) installed in terminal building and handed over/ shifting the same to AAI store or as per instruction of EIC etc. as required at site. | 136.00 | Each |  | 50.00 | 6800.00 | 455.00 | 61880.00 | 10.00 | 1360.00 | 28.00 | 3808.00 | 200.00 | 27200.00 | 100.00 | 13600.00 | 97.00 | 13192.00 | 150.00 | 20400.00 | 50.00 | 6800.00 | 580.00 | 78880.00 | 1360.00 | MASTER ELECTRIC STORE
| Total in Figures |  |  |  |  | 4748850.00 |  | 4765167.00 |  | 2986490.00 |  | 3466778.00 |  | 4128350.00 |  | 4549550.00 |  | 4721282.00 |  | 3750920.00 |  | 4776275.00 |  | 4251948.10
Lowest Amount Quoted BY: MASTER ELECTRIC STORE(2986490.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of conventional lights of Apron High Mast and faulty lights of Terminal Building with LED lights at Srinagar Airport. Tender ID: 2022_AAI_115570_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MASTER ELECTRIC STORE | 2986490.00 | L1
| 2 | RVD INFRA SOLUTION PVT.LTD. | 3466778.00 | L2
| 3 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 3750920.00 | L3
| 4 | Metropolitan Infrabuild Development And Services Pvt Ltd | 4128350.00 | L4
| 5 | Variant Infratech Private Limited | 4251948.10 | L5
| 6 | Awasthi Electric Works | 4549550.00 | L6
| 7 | Mir Electrical Store | 4721282.00 | L7
| 8 | jaydeep agency corporation | 4748850.00 | L8
| 9 | Instapower Ltd | 4765167.00 | L9
| 10 | M/s ESCON ELECTRICALS | 4776275.00 | L10