## BoQ1
Government eProcurement System Created By: PRAKASH WAKPAIJAN Created Date/Time: 09-Jun-2022 11:29 AM Tender Title: Provision of RFID based Boom barrier and traffic signal Tender ID: 2022_AAI_115669_1
Tender Inviting Authority: Asst.General Manager (Engg-Elect) - I, Project Electrical Division, Chennai Airport Project, Chennai.
Name of Work: Modernization of Chennai Airport Phase - II, Chennai - Construction of Road in front of Terminal Building - SH: Providing of RFID Based Boom Barrier System and Traffic Light signal at Chennai Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing and Commissioning of outdoor type RFID based '"Electrically opertated electro mechanical boom barrier" the following length OEM supplied aluminium Boom along with Red reflecting strip, Built LED flashing lights, Control panel / Unit housed in weather proof enclosure, Push button control facility for Stand along operation and provision of integration with external access control systes if any, safty boom sensor / DIR photocell pair, release key & leaver arrangement for manual operation, safety & protection accessories, wired remote control / Push Button command switches etc. suitable for operation on 220 - 240 V, 50Hz power supply, Opening / Closing time shall not be more than 6 sec complete etc as required.
2.00 | Boom Length = 3 Mtr | 14.00 | Nos |  | 99999.00 | 1399986.00 | 1399986.00 | DElite System Engineering (India) Pvt. Ltd.
3.00 | Boom Length = 4.5 Mtr | 3.00 | Nos |  | 99999.00 | 299997.00 | 299997.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | All inclusive comprehensive maintenance contract after DLP of 17 Nos complete boom barrier system as here under provided under this contract including all spares, consumables and manpower required for trouble shooting, routine, preventive and breakdown maintenance etc. As required as per good engineering practice, recommendation of the respectivemanufacturer and instructions of engineer - in - charge for maintaining the systems in acceptable functional, operational and servicable state.
5.00 | 1st Year after DLP | 1.00 | Year |  | 140000.00 | 140000.00 | 140000.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | 2nd Year | 1.00 | Year |  | 140000.00 | 140000.00 | 140000.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | 3rd Year | 1.00 | Year |  | 140000.00 | 140000.00 | 140000.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | 4th Year | 1.00 | Year |  | 140000.00 | 140000.00 | 140000.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | 5th Year | 1.00 | Year |  | 200000.00 | 200000.00 | 200000.00 | DElite System Engineering (India) Pvt. Ltd.
10.00 | Supply, Installation, Testing and Commissioning of 3 KVA Online UPS in redundant configuration with SMF batteries for minimum 20 minutes of battery backup, 32 Amps Double pole MCB with DB for change over and complete as per the specification and preferred makes etc as required. | 5.00 | Nos |  | 69999.00 | 349995.00 | 349995.00 | DElite System Engineering (India) Pvt. Ltd.
11.00 | Providing & fixing of outdoor type enclosure, IP 42 protection, suitable for 3 KVA Online UPS with SMF batteries etc as required. | 5.00 | Nos |  | 5000.00 | 25000.00 | 25000.00 | DElite System Engineering (India) Pvt. Ltd.
12.00 | All inclusive comprehensive maintenance Contract of 5 Nos 3 KVA online UPS after DLP as provided above including all spares, consumables and manpower required for trouble shooting, routine, preventive and breakdown maintenance etc. As required as per good engineering practice, recommendation of the respective manufacturer and instructions of engineer - in - charge for maintaining the systems in acceptable functional, operational and servicable state.
13.00 | 1st Year after DLP | 1.00 | Year |  | 20000.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
14.00 | 2nd Year | 1.00 | Year |  | 20000.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
15.00 | 3rd Year | 1.00 | Year |  | 20000.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
16.00 | 4th Year | 1.00 | Year |  | 20000.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
17.00 | 5th Year | 1.00 | Year |  | 20000.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
18.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disopal of dismantled materials and Providing, laying and fixing of 50mm dia G.I. pipe (medium class) in 30 cm deep in ground complete with G.I. fittings and re-filling etc as required | 500.00 | Mtrs |  | 1200.00 | 600000.00 | 600000.00 | DElite System Engineering (India) Pvt. Ltd.
19.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set upto plith level etc including form work upto etc as required. | 30.00 | CUM |  | 7999.00 | 239970.00 | 239970.00 | DElite System Engineering (India) Pvt. Ltd.
20.00 | Design, Supply, Installation, Testing & commissioning of outdoor type, double door Sub feeder pillar, fabricated out of 2.0 mm steel sheet duly powder coated, dust and Vermin proof for the following incoming, out going, Indication lamps, procelaing connector danger notice plate etc as required including connection of cables i/c supply and installation of brick foundation with plaster for the feeder pillar including providing and fixing of MS support for panel base size of 75 x 40 x 6 MM 'C' Channel including Cutting, Grinding, welding etc. as required. a). Incomer - 63A FP/25KA MCCB - 01 No b).Out Going 1 - 12 Way SPN DB Double door with 20 Amps Double pole MCB - 06 Nos c). Out Going 2 for UPS - 12 Way SPN DB Double door with 20 Amps Double pole MCB - 06 Nos | 5.00 | Nos |  | 89000.00 | 445000.00 | 445000.00 | DElite System Engineering (India) Pvt. Ltd.
21.00 | Supply of 3.5 core × 25 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 800.00 | Mtrs |  | 269.00 | 215200.00 | 215200.00 | DElite System Engineering (India) Pvt. Ltd.
22.00 | Supply and Fixing Supply and Fixing of FRLS PVC insulated copper conductor Three core cable and 2.5 sq.mm. FRLS PVC insulated copper conductor in existing surface / recessed steel conduit including dismantling as required 3 core X 2.5 sq. mm. | 800.00 | Mtrs |  | 159.00 | 127200.00 | 127200.00 | DElite System Engineering (India) Pvt. Ltd.
23.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 500.00 | Mtrs |  | 279.00 | 139500.00 | 139500.00 | DElite System Engineering (India) Pvt. Ltd.
24.00 | Wiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate suitable PVC box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group A | 70.00 | Points |  | 999.00 | 69930.00 | 69930.00 | DElite System Engineering (India) Pvt. Ltd.
25.00 | Supplying and fixing of 6 modules, PVC box alongwith modular base & cover plate for modular switches and Socket in recess etc. as required. | 40.00 | Nos |  | 599.00 | 23960.00 | 23960.00 | DElite System Engineering (India) Pvt. Ltd.
26.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 10 A switch outlet | 80.00 | Nos |  | 99.00 | 7920.00 | 7920.00 | DElite System Engineering (India) Pvt. Ltd.
27.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 6 /16 A socket outlet | 80.00 | Nos |  | 199.00 | 15920.00 | 15920.00 | DElite System Engineering (India) Pvt. Ltd.
28.00 | Supply of Medium bay LED Luminaire with system wattage 70 W, IP65 and system lumen 7000lm. The luminaire efficiency shall be >100lm. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintennance. CRI should be greater than 70, housing should be CRCA Sheet of thickness of 0.5-0.6 mm thick. The diffuser shall be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor >0.9 of the inout voltage tolerance shall be 120-270 volt AC complete in all recpect including LED and other accessories as required. (Philips make Model No. BVP141 LED70 CW FG GR PSU or equvalent) | 25.00 | Nos |  | 3799.00 | 94975.00 | 94975.00 | DElite System Engineering (India) Pvt. Ltd.
29.00 | Supply of Indoor Type LED Luminaire with system wattage 15 W and system lumen 1350 lm, of size not les s than ø 200 mm x 68.5 mm. The luminaire efficiency shall be >140lm. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintennance. CRI should be greater than 80, housing should be CRCA Sheet of thickness of 0.5-0.6 mm thick with IP20 rating. The SMPS Based constant current supply electronic driver should be in built with life of 50000 hrs power factor >0.9 of the inout voltage tolerance shall be 140-270 volt AC as per IS 15885 Part 2 / Sec 13 complete in all recpect including LED and other accessories as required (Havells make Model No. INTEGRA NEO SURFACE DLS 15W LED 830S or equvalient) . | 17.00 | Nos |  | 1999.00 | 33983.00 | 33983.00 | DElite System Engineering (India) Pvt. Ltd.
30.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface / recessed conduit / submain wiring / cable as required. | 1000.00 | Mtrs |  | 30.00 | 30000.00 | 30000.00 | DElite System Engineering (India) Pvt. Ltd.
31.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. (63 mm dia (OD-63 mm & ID-51 mm nominal) | 500.00 | Mtrs |  | 199.00 | 99500.00 | 99500.00 | DElite System Engineering (India) Pvt. Ltd.
32.00 | Supply of "RED" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 18.00 | Nos |  | 2500.00 | 45000.00 | 45000.00 | DElite System Engineering (India) Pvt. Ltd.
33.00 | Supply of "YELLOW" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 18.00 | Nos |  | 2500.00 | 45000.00 | 45000.00 | DElite System Engineering (India) Pvt. Ltd.
34.00 | Supply of "GREEN STRAIGHT" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 16.00 | Nos |  | 2500.00 | 40000.00 | 40000.00 | DElite System Engineering (India) Pvt. Ltd.
35.00 | Supply of "GREEN RIGHT" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 10.00 | Nos |  | 2500.00 | 25000.00 | 25000.00 | DElite System Engineering (India) Pvt. Ltd.
36.00 | Supply of "GREEN LEFT" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 2.00 | Nos |  | 2500.00 | 5000.00 | 5000.00 | DElite System Engineering (India) Pvt. Ltd.
37.00 | Supply of "GREEN LEFT "U"" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 7.00 | Nos |  | 2500.00 | 17500.00 | 17500.00 | DElite System Engineering (India) Pvt. Ltd.
38.00 | Supply of "GREEN RIGHT "U"" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 15.00 | Nos |  | 2500.00 | 37500.00 | 37500.00 | DElite System Engineering (India) Pvt. Ltd.
39.00 | Supply of "PEDESTRIAN RED" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 6.00 | Nos |  | 2500.00 | 15000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
40.00 | Supply of "PEDESTRIAN GREEN" 300 mm dia traffic signal lamp heads hosed in polycorbonate body having high intensity complete as required. | 6.00 | Nos |  | 2500.00 | 15000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
41.00 | Installation testing and commissioning of the above traffic signal lamp heads complete as required. | 115.00 | Nos |  | 100.00 | 11500.00 | 11500.00 | DElite System Engineering (India) Pvt. Ltd.
42.00 | Supply of 2 1/2 digit count down timer with red and green colour display height 220mm 3 or 2 lines of red and green leds with pole mountable, weather proof, dust and splash proof possivated and powder coated MS 20 Kg cabinet with sun viser, facia should be made up of 2 mm clear arcylic sheet etc as required (Size of 360mm(L) x 80mm(W) x 345mm (H)) | 17.00 | Nos |  | 6999.00 | 118983.00 | 118983.00 | DElite System Engineering (India) Pvt. Ltd.
43.00 | Supply of Microprocessor based automatic/manual traffic controller with police control panel of Pole mounting type complete as required. | 1.00 | Job |  | 59999.00 | 59999.00 | 59999.00 | DElite System Engineering (India) Pvt. Ltd.
44.00 | Installation testing and commissioning of the above Microprocessor based automatic/manual traffic controller complete as required. | 1.00 | Job |  | 9000.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
45.00 | Supplying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1000.00 | Mtrs |  | 99.00 | 99000.00 | 99000.00 | DElite System Engineering (India) Pvt. Ltd.
46.00 | Laying of 63mm dia high density polyethlene (HDPE) heavy duty pipe capable of with standing pressure of minimum 5 kg/sqcm through duct made by horizontal drilling in ground (75 cm below ground level) without opening the trench in all type of soil including deploying the HDD machine, mud mixing system , earth movers, etc., complete as per direction of Engineer - in - charge. | 500.00 | Mtrs |  | 1699.00 | 849500.00 | 849500.00 | DElite System Engineering (India) Pvt. Ltd.
47.00 | Supply , Fabrication and Erection of Cantilever 100 mm M.S pole of following 9 Meter [6 Mtr height + 3 length hang ] in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. | 6.00 | Each |  | 22999.00 | 137994.00 | 137994.00 | DElite System Engineering (India) Pvt. Ltd.
48.00 | Supply , Fabrication and Erection of 100mm M.S pole of following 6 Meter in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. | 3.00 | Each |  | 12999.00 | 38997.00 | 38997.00 | DElite System Engineering (India) Pvt. Ltd.
49.00 | Supply of Copper conductor 1.1 KV grade 4 Core x 4 Sq. mm armoured XLPE insulated cable as per IS 7098 (Part-I) 1988 ammended upto date in the existing HDPE Pipe complete as reqired. | 150.00 | Mtrs |  | 300.00 | 45000.00 | 45000.00 | DElite System Engineering (India) Pvt. Ltd.
50.00 | Supply of Copper conductor 1.1 KV grade 16 Core x 1.5 Sq. mm armoured XLPE insulated cable as per IS 7098 (Part-I) 1988 ammended upto date in the existing HDPE Pipe complete as reqiredSupply of 16 core X 1.5mm2 Cable in Existing HDPE Pipe | 300.00 | Mtrs |  | 699.00 | 209700.00 | 209700.00 | DElite System Engineering (India) Pvt. Ltd.
51.00 | Supply of Copper conductor 1.1 KV grade 12 Core x 1.5 Sq. mm armoured XLPE insulated cable as per IS 7098 (Part-I) 1988 ammended upto date in the existing HDPE Pipe complete as reqiredSupply of 16 core X 1.5mm2 Cable in Existing HDPE Pipe | 450.00 | Mtrs |  | 699.00 | 314550.00 | 314550.00 | DElite System Engineering (India) Pvt. Ltd.
52.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of size Upto 35 sq. mm in the existing RCC/ HUME/ METAL/HDPE pipe as required. | 900.00 | Mtrs |  | 20.00 | 18000.00 | 18000.00 | DElite System Engineering (India) Pvt. Ltd.
53.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size of upto 35 sq.mm direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. | 500.00 | Mtrs |  | 300.00 | 150000.00 | 150000.00 | DElite System Engineering (India) Pvt. Ltd.
54.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size of 4C X 4 sq. mm (17mm) PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 8.00 | Job |  | 400.00 | 3200.00 | 3200.00 | DElite System Engineering (India) Pvt. Ltd.
55.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size of 16C x 1.5 sqmm (23mm) PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 12.00 | Job |  | 300.00 | 3600.00 | 3600.00 | DElite System Engineering (India) Pvt. Ltd.
56.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size of 12C X 1.5 sq. mm (21mm) PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 16.00 | Job |  | 350.00 | 5600.00 | 5600.00 | DElite System Engineering (India) Pvt. Ltd.
57.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 25 sq. mm (28mm) | 14.00 | Job |  | 400.00 | 5600.00 | 5600.00 | DElite System Engineering (India) Pvt. Ltd.
58.00 | Supply and Fixing of (300 x 315 x 214) size of SMC Box in the existing pole including providing and fixing of suitable clamps | 13.00 | Nos |  | 999.00 | 12987.00 | 12987.00 | DElite System Engineering (India) Pvt. Ltd.
59.00 | Supply, Installation testing and commissioning of long cord manual interface controller having relays and signal voltage booster circuit chips with suitable enclosure and necessary mounting clamps for the existing traffic signal lights as complete as required. | 2.00 | Nos |  | 999.00 | 1998.00 | 1998.00 | DElite System Engineering (India) Pvt. Ltd.
60.00 | Charges for programmer for programming the signal direction in the microprosser control unit with the help of traffic police etc as required | 4.00 | Nos |  | 1999.00 | 7996.00 | 7996.00 | DElite System Engineering (India) Pvt. Ltd.
61.00 | Supply of SMPS 24 Volt output and operating at 230 Volts 50 Hz Ac supply etc as required | 1.00 | No |  | 1200.00 | 1200.00 | 1200.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 7427440.00
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(7427440.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of RFID based Boom barrier and traffic signal Tender ID: 2022_AAI_115669_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. | 7427440.00 | L1