## BoQ1
Government eProcurement System Created By: Ravindra singh Mehrok Created Date/Time: 14-Jun-2022 01:19 PM Tender Title: Installation of Digital Current Weather Indication System (DCWIS) at Vadodara Airport. SH Electrical Works Tender ID: 2022_AAI_115774_1
Tender Inviting Authority: Asst.Gen. Manager(E-E), AAI, CA, Vadodara
Name of Work: - Installation of Digital Current Weather Indication System (DCWIS) at Vadodara Airport. SH: Electrical Works.
Contract No: AAI / BO / E-E / NIT- 02 / DCWIS / 2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Taral Electricals(GSTN-24ACMPR0280M1Z9) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | ANUKOM ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing and commissioning of dust, damp and vermin proof cubicle, double door outdoor panel, IP-54 protection with sloped top canony suitable size , suitable for operation on 415 ±10% volts, 50 Hz AC 3 phase 4 wire supply system fabricated out of CRCA sheet steel of 2.0 mm thick for frame work and 2.0 mm thick for doors/ covers, 3mm thick for gland plates i/c a seperate compartment having free air flow arrangement and insect trap mesh to accomodate one number upto 2.0 KVA, single phase UPS, complete with danger plates, 04 nos 03 feet long 40mm x40mm x 5mm angle iron legs for grouting etc. as required with following accessories. INCOMER :- 20 Amps MCB, 4P, 'C'- Curve -1 No OUTGOING :- i) 6 Amps. C- curve SP MCB- 3 No. ii) 10 Amps. C- curve SP MCB- 1 No iii) 5A Piano type switch and Socket Set - 05 No with suitable GI Box, hylum sheet as required. | 1.00 | job |  | 70000.00 | 70000.00 | 46550.00 | 46550.00 | 110000.00 | 110000.00 | 68060.00 | 68060.00 | 46000.00 | 46000.00 | 46000.00 | ANUKOM ENTERPRISES
2.00 | Supply of 3.5 core x 35 sq.mm XLPE insulated & PVC sheathed armoured Aluminium power cable of 1.1 KV grade confirming to IS : 7098 (Part-I) 1988 with upto date ammendement as req. | 2000.00 | Meter |  | 210.00 | 420000.00 | 210.00 | 420000.00 | 225.00 | 450000.00 | 220.00 | 440000.00 | 280.00 | 560000.00 | 420000.00 | Techno Electricals, Taral Electricals
3.00 | Supply of 12 core 1.5 sqmm copper conductor (flexible) cable , PVC insulated and FR pvc sheathed , 1100 volts confirming to IS 694 with upto date ammendment. | 50.00 | Meter |  | 280.00 | 14000.00 | 201.00 | 10050.00 | 250.00 | 12500.00 | 224.00 | 11200.00 | 178.00 | 8900.00 | 8900.00 | ANUKOM ENTERPRISES
4.00 | Providing, laying and fixing 65mm dia G.I. pipe (medium class) in ground/ hard rock/ road complete with G.I. fittings including trenching (upto 75 cm deep) and re-filling and making the same. etc as required. | 30.00 | Meter |  | 850.00 | 25500.00 | 1000.00 | 30000.00 | 975.00 | 29250.00 | 1107.00 | 33210.00 | 1325.00 | 39750.00 | 25500.00 | Techno Electricals
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade upto 35 sq. mm size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | 1930.00 | Meter |  | 250.00 | 482500.00 | 270.00 | 521100.00 | 255.00 | 492150.00 | 300.00 | 579000.00 | 293.00 | 565490.00 | 482500.00 | Techno Electricals
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade upto 35 sq. mm size in the existing RCC/ HUME/ METAL/HDPE Pipe/ Closed cable Trench etc. as required. | 60.00 | Meter |  | 25.00 | 1500.00 | 17.00 | 1020.00 | 40.00 | 2400.00 | 30.00 | 1800.00 | 81.00 | 4860.00 | 1020.00 | Taral Electricals
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade upto 35 sq. mm size in the existing masonry open duct as required. | 10.00 | Meter |  | 25.00 | 250.00 | 17.00 | 170.00 | 25.00 | 250.00 | 40.00 | 400.00 | 82.00 | 820.00 | 170.00 | Taral Electricals
8.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 50.00 | Meter |  | 30.00 | 1500.00 | 46.00 | 2300.00 | 125.00 | 6250.00 | 40.00 | 2000.00 | 122.00 | 6100.00 | 1500.00 | Techno Electricals
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3½ X 35 sq. mm (32 mm) size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade as required. | 2.00 | Set |  | 200.00 | 400.00 | 206.00 | 412.00 | 450.00 | 900.00 | 286.00 | 572.00 | 1405.00 | 2810.00 | 400.00 | Techno Electricals
10.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 15.00 | Each |  | 250.00 | 3750.00 | 374.00 | 5610.00 | 650.00 | 9750.00 | 495.00 | 7425.00 | 1800.00 | 27000.00 | 3750.00 | Techno Electricals
11.00 | Supply, Installation, Testing and Commissioning of 1.5 KVA, single phase UPS system with input voltage 150 - 280 volt and out put pure sine wave 230 volt , 50 Hz. The UPS should provided to withstand 15 minutes battery backup on full load with suitable rating sealed maintenance free battery i/c connections complete etc. as required.(UPS shall be installed in LT panel mentioned at Item no.01) | 1.00 | Each |  | 32500.00 | 32500.00 | 48300.00 | 48300.00 | 35000.00 | 35000.00 | 19800.00 | 19800.00 | 31000.00 | 31000.00 | 19800.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Earthing with G. I. pipe 4.5 m long x 40 mm dia. (Drilling of 300 mm dia, 4.5 Mtr deep by using Borewell machine) including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. including charcoal or coke and salt complete as required. | 2.00 | Set |  | 5000.00 | 10000.00 | 8250.00 | 16500.00 | 7000.00 | 14000.00 | 9350.00 | 18700.00 | 6500.00 | 13000.00 | 10000.00 | Techno Electricals
13.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 12.00 | Meter |  | 185.00 | 2220.00 | 208.00 | 2496.00 | 225.00 | 2700.00 | 198.00 | 2376.00 | 700.00 | 8400.00 | 2220.00 | Techno Electricals
14.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connections etc. as required. | 6.00 | Each |  | 250.00 | 1500.00 | 368.00 | 2208.00 | 800.00 | 4800.00 | 715.00 | 4290.00 | 500.00 | 3000.00 | 1500.00 | Techno Electricals
15.00 | Wiring for light /Power plug with 2 x 4 sqmm FRLS PVC insulated copper conductor single core cable in surface /recessed medium class PVC conduit along with 1 No. 4sqmm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 40.00 | Meter |  | 350.00 | 14000.00 | 225.00 | 9000.00 | 225.00 | 9000.00 | 250.00 | 10000.00 | 750.00 | 30000.00 | 9000.00 | Taral Electricals, Awasthi Electric Works
16.00 | Wiring for light /Power plug with 4 x 4 sqmm FRLS PVC insulated copper conductor single core cable in surface /recessed medium class PVC conduit along with 2 No. 4 sqmm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 30.00 | Meter |  | 285.00 | 8550.00 | 393.00 | 11790.00 | 265.00 | 7950.00 | 380.00 | 11400.00 | 800.00 | 24000.00 | 7950.00 | Awasthi Electric Works
17.00 | Supply and fixing of 3 phase, 10-60 A, class 1.0 DIN mounted type Energy Meter suitable for 3 Phase, 415 volt including conection etc. complete etc. as required. | 1.00 | Each |  | 1500.00 | 1500.00 | 2075.00 | 2075.00 | 6000.00 | 6000.00 | 5038.00 | 5038.00 | 15502.00 | 15502.00 | 1500.00 | Techno Electricals
18.00 | Supply and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. A) 3.5C x 35 sqmm | 3.00 | Set |  | 2200.00 | 6600.00 | 1650.00 | 4950.00 | 2000.00 | 6000.00 | 935.00 | 2805.00 | 1272.00 | 3816.00 | 2805.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 1096270.00 |  | 1134531.00 |  | 1198900.00 |  | 1218076.00 |  | 1390448.00
Lowest Amount Quoted BY: Techno Electricals(1096270.00)

## BOQ Summary
BOQ Summary Details Tender Title: Installation of Digital Current Weather Indication System (DCWIS) at Vadodara Airport. SH Electrical Works Tender ID: 2022_AAI_115774_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 1096270.00 | L1
| 2 | Taral Electricals | 1134531.00 | L2
| 3 | Awasthi Electric Works | 1198900.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 1218076.00 | L4
| 5 | ANUKOM ENTERPRISES | 1390448.00 | L5