## BoQ1
Government eProcurement System Created By: Srinarayan Thakur Created Date/Time: 28-Jun-2022 11:40 AM Tender Title: Repair of drain and associated work at INA Colony, New Tender ID: 2022_AAI_115796_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Repair of drain and associated work at INA Colony, New Delhi.
Contract No: Tender ID: 2022_AAI_115796_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SIROHI CONSTRUCTION CO(GSTN-07AXOPS3749P1ZD) |  | kailash chawla(GSTN-07ADYPC8838P1ZG) |  | ESS KAY CONSTRUCTIONS(GSTN-07AABFE6199D1ZF) |  | BASU DEV ROUT SANITATION / BASU DEV ROUT(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 7668.00 | kg |  | 10.00 | 76680.00 | 1.50 | 11502.00 | 3.00 | 23004.00 | 2.00 | 15336.00 | 11502.00 | kailash chawla
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 94.00 | cum |  | 500.00 | 47000.00 | 500.00 | 47000.00 | 500.00 | 47000.00 | 500.00 | 47000.00 | 47000.00 | BASU DEV ROUT SANITATION / BASU DEV ROUT, SIROHI CONSTRUCTION CO, kailash chawla, ESS KAY CONSTRUCTIONS
3.00 | Removing mortar from bricks and cleaning bricks including stacking within a lead of 50 m (stacks of cleaned bricks shall be measured): From brick work in cement mortar | 11.75 | 1000 nos. |  | 2000.00 | 23500.00 | 1500.00 | 17625.00 | 1000.00 | 11750.00 | 2.00 | 23.50 | 23.50 | BASU DEV ROUT SANITATION / BASU DEV ROUT
4.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 18.00 | cum |  | 600.00 | 10800.00 | 500.00 | 9000.00 | 900.00 | 16200.00 | 1000.00 | 18000.00 | 9000.00 | kailash chawla
5.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | 4.00 | cum |  | 800.00 | 3200.00 | 200.00 | 800.00 | 1500.00 | 6000.00 | 400.00 | 1600.00 | 800.00 | kailash chawla
6.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 578.00 | cum |  | 120.00 | 69360.00 | 150.00 | 86700.00 | 210.00 | 121380.00 | 160.00 | 92480.00 | 69360.00 | SIROHI CONSTRUCTION CO
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 135.00 | cum |  | 4000.00 | 540000.00 | 4000.00 | 540000.00 | 4500.00 | 607500.00 | 4800.00 | 648000.00 | 540000.00 | SIROHI CONSTRUCTION CO, kailash chawla
8.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 201.00 | cum |  | 4800.00 | 964800.00 | 4500.00 | 904500.00 | 4800.00 | 964800.00 | 5400.00 | 1085400.00 | 904500.00 | kailash chawla
9.00 | Brick work with old bricks in foundation and plinth in: (Bricks shall be supplied by AAI free of cost) Cement mortar 1:4 (1 cement : 4 coarse sand) | 23.50 | cum |  | 3000.00 | 70500.00 | 1800.00 | 42300.00 | 3200.00 | 75200.00 | 3000.00 | 70500.00 | 42300.00 | kailash chawla
10.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | 20.00 | cum |  | 4500.00 | 90000.00 | 5500.00 | 110000.00 | 6500.00 | 130000.00 | 6600.00 | 132000.00 | 90000.00 | SIROHI CONSTRUCTION CO
11.00 | Cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement. 12 mm cement plaster | 984.00 | sqm |  | 300.00 | 295200.00 | 250.00 | 246000.00 | 320.00 | 314880.00 | 250.00 | 246000.00 | 246000.00 | BASU DEV ROUT SANITATION / BASU DEV ROUT, kailash chawla
12.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 358.00 | sqm |  | 100.00 | 35800.00 | 20.00 | 7160.00 | 60.00 | 21480.00 | 30.00 | 10740.00 | 7160.00 | kailash chawla
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1728.00 | kg |  | 70.00 | 120960.00 | 84.00 | 145152.00 | 80.00 | 138240.00 | 75.00 | 129600.00 | 120960.00 | SIROHI CONSTRUCTION CO
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 49.00 | sqm |  | 300.00 | 14700.00 | 150.00 | 7350.00 | 180.00 | 8820.00 | 400.00 | 19600.00 | 7350.00 | kailash chawla
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 130.00 | sqm |  | 400.00 | 52000.00 | 300.00 | 39000.00 | 430.00 | 55900.00 | 600.00 | 78000.00 | 39000.00 | kailash chawla
16.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 14.40 | cum |  | 6000.00 | 86400.00 | 6000.00 | 86400.00 | 7000.00 | 100800.00 | 7500.00 | 108000.00 | 86400.00 | SIROHI CONSTRUCTION CO, kailash chawla
17.00 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mmthick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 853.00 | sqm |  | 575.00 | 490475.00 | 550.00 | 469150.00 | 500.00 | 426500.00 | 740.00 | 631220.00 | 426500.00 | ESS KAY CONSTRUCTIONS
18.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin- charge. (Old CC paver blocks shall be supplied by the department free of cost). | 358.00 | sqm |  | 100.00 | 35800.00 | 150.00 | 53700.00 | 150.00 | 53700.00 | 230.00 | 82340.00 | 35800.00 | SIROHI CONSTRUCTION CO
19.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 450 mm dia RCC pipes. | 10.00 | metre |  | 2000.00 | 20000.00 | 1500.00 | 15000.00 | 900.00 | 9000.00 | 1800.00 | 18000.00 | 9000.00 | ESS KAY CONSTRUCTIONS
20.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | 35.00 | metre |  | 390.00 | 13650.00 | 375.00 | 13125.00 | 550.00 | 19250.00 | 400.00 | 14000.00 | 13125.00 | kailash chawla
21.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 20.00 | cum |  | 200.00 | 4000.00 | 80.00 | 1600.00 | 50.00 | 1000.00 | 100.00 | 2000.00 | 1000.00 | ESS KAY CONSTRUCTIONS
22.00 | Steel work welded in built up sections/ framed work,with old angle/bars, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works( steel Angle/bars shall be provided by AAI free of cost) | 6877.00 | kg |  | 35.00 | 240695.00 | 23.00 | 158171.00 | 15.00 | 103155.00 | 25.00 | 171925.00 | 103155.00 | ESS KAY CONSTRUCTIONS
23.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 4899.00 | kg |  | 100.00 | 489900.00 | 105.00 | 514395.00 | 105.00 | 514395.00 | 95.00 | 465405.00 | 465405.00 | BASU DEV ROUT SANITATION / BASU DEV ROUT
24.00 | Providing and applying tack coat using hot straight run bitumen of grade VG - 10, including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing road surface as per specifications : On bituminous surface @ 0.50 Kg / sqm | 1694.00 | sqm |  | 40.00 | 67760.00 | 38.00 | 64372.00 | 40.00 | 67760.00 | 25.00 | 42350.00 | 42350.00 | BASU DEV ROUT SANITATION / BASU DEV ROUT
25.00 | Providing and laying hot mix wearing course of asphaltic concrete for Roads using crushed stone aggregates of quality, size and grading as specified with addition of processed waste plastic as per specification by weight of bitumen as specified and viscosity grade bitumen, in proportions as per approved job mix formula, laid to specified levels grade and chamber as per specification, drawings and as directed by the Engineer-in-charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified value of compaction, strength and surface accuracy complete. (VG bitumen grade VG -30 content shall be taken as 105 kg per cum of mix supplied in Bulk produced by Govt. Refineries) and weight of processed waste plastic 9kg/cum by weigth. | 68.00 | cum |  | 12000.00 | 816000.00 | 12000.00 | 816000.00 | 11500.00 | 782000.00 | 8500.00 | 578000.00 | 578000.00 | BASU DEV ROUT SANITATION / BASU DEV ROUT
26.00 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineer-in- charge. | 1343.00 | each |  | 750.00 | 1007250.00 | 400.00 | 537200.00 | 680.00 | 913240.00 | 690.00 | 926670.00 | 537200.00 | kailash chawla
27.00 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS : 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. New work (Two or more coats) | 170.00 | sqm |  | 200.00 | 34000.00 | 200.00 | 34000.00 | 180.00 | 30600.00 | 150.00 | 25500.00 | 25500.00 | BASU DEV ROUT SANITATION / BASU DEV ROUT
28.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 767.00 | kg |  | 20.00 | -15340.00 | 45.00 | -34515.00 | 10.00 | -7670.00 | 20.00 | -15340.00 | -34515.00 | kailash chawla
29.00 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete as per directions of Engineer-in-charge. Note - item to be applicable in urban areas having directions for restricted hours for movement/ plying of load carrying motor vehicle of 3.5 cum or more. | 92.50 | cum |  | 550.00 | 50875.00 | 250.00 | 23125.00 | 500.00 | 46250.00 | 350.00 | 32375.00 | 23125.00 | kailash chawla
| Total in Figures |  |  |  |  | 5755965.00 |  | 4965812.00 |  | 5602134.00 |  | 5676724.50
Lowest Amount Quoted BY: kailash chawla(4965812.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair of drain and associated work at INA Colony, New Tender ID: 2022_AAI_115796_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | kailash chawla | 4965812.00 | L1
| 2 | ESS KAY CONSTRUCTIONS | 5602134.00 | L2
| 3 | BASU DEV ROUT SANITATION / BASU DEV ROUT | 5676724.50 | L3
| 4 | SIROHI CONSTRUCTION CO | 5755965.00 | L4