## BoQ1
Government eProcurement System Created By: SUJATHA R Created Date/Time: 29-Jun-2022 03:35 PM Tender Title: Providing addressable fire alarm system at MSSR Porur, Southern Region, Chennai Airport Tender ID: 2022_AAI_115873_1
Tender Inviting Authority: Asst. General Manager (Engg-Electrical), AAI, RHQ SR, Chennai Airport, Chennai - 600027
Name of Work: Providing addressable fire alarm system at MSSR Porur, Southern Region, Chennai Airport.
Contract No: 2022_AAI_115873_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | RPN Systems And Solutions(GSTN-33AMEPL3915B1ZM) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | SITC of UL Listed Intelligent Microprocessor Based Addressable Fire Alarm networkable control Panel with 2 Loops of each loop accessing at least 125 Detectors and 125 Devices having own micro controller, memory, communication module, fire device loop interface cards for intelligent initiation and indication, battery backup [12/24 Volts/As per OEM Recommendations Sealed Lead Acid Battery sufficient for 24 Hrs] with Batterry Charger, Keypad Operation Facility, LCD Unit to indicate Fire/Fault Signal of individual unit, Facility to AC Switching Off, operation of Fire Hooter, Provison to connect to PCs and external printers, Programming of software with modbus and bacnet protocol etc., as required. | 1.00 | Set | Item No.1 | 184990.00 | 218288.00 | 150000.00 | 177000.00 | 150000.00 | DElite System Engineering (India) Pvt. Ltd. | 177000.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | SITC of Repeater Panel with Piezo sounder LCD alpha numeraic character display with accept reset buttons, connected with field devices through Main Fire Alarm Panel including all necessary accessories, etc. as required. | 2.00 | Job | Item No.2 | 68000.00 | 80240.00 | 112000.00 | 132160.00 | 68000.00 | RPN Systems And Solutions | 80240.00 | RPN Systems And Solutions
3.00 | SITC of UL Listed Intellegent Addressable type Optical Smoke cum Heat Detector complete with all accessories like base, base box etc., to be installed under/above false ceiling - roof/concealed space etc., including interconnecting with loop cable complete as required. | 39.00 | Job | Item No.3 | 107250.00 | 126555.00 | 81900.00 | 96642.00 | 81900.00 | DElite System Engineering (India) Pvt. Ltd. | 96642.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | SITC of UL Listed Intellegent Addressable type Optical Heat Detector complete with all accessories like base, base box etc., to be installed under/above false ceiling - roof/concealed space etc., including interconnecting with loop cable complete as required. | 5.00 | Job | Item No.4 | 13250.00 | 15635.00 | 10500.00 | 12390.00 | 10500.00 | DElite System Engineering (India) Pvt. Ltd. | 12390.00 | DElite System Engineering (India) Pvt. Ltd.
5.00 | Supply and fixing of UL Listed Addressable Hooter cum Strobe complete with address switch including base plate, box, necessary accessories etc., as required. | 5.00 | Job | Item No.5 | 12500.00 | 14750.00 | 10500.00 | 12390.00 | 10500.00 | DElite System Engineering (India) Pvt. Ltd. | 12390.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | SITC of UL Listed Addressable type Manual Call Point (Pull Station Type) complete with Input Module, Push Botton, enclosed in box with provision for cable or conduit coupling, painted as required. | 5.00 | Job | Item No.6 | 13250.00 | 15635.00 | 10500.00 | 12390.00 | 10500.00 | DElite System Engineering (India) Pvt. Ltd. | 12390.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | SITC of UL Listed Intelligent addressable Control Module suitable for Single output activation complete with termination etc., as required. | 5.00 | Job | Item No.7 | 12500.00 | 14750.00 | 10500.00 | 12390.00 | 10500.00 | DElite System Engineering (India) Pvt. Ltd. | 12390.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | SITC of UL Listed Intelligent addressable Hooter Control Module suitable for Single output activation complete with termination etc. as required. | 5.00 | Job | Item No.8 | 12500.00 | 14750.00 | 10500.00 | 12390.00 | 10500.00 | DElite System Engineering (India) Pvt. Ltd. | 12390.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | SITC of UL Listed Addressable Loop/Fault Isolator with base with termination etc. as required. | 3.00 | Job | Item No.9 | 7500.00 | 8850.00 | 6300.00 | 7434.00 | 6300.00 | DElite System Engineering (India) Pvt. Ltd. | 7434.00 | DElite System Engineering (India) Pvt. Ltd.
10.00 | SITC of UL Listed Response Indicators for getting fire indications of detectors installed above false ceiling/below false flooring area as required. | 17.00 | Job | Item No.10 | 2550.00 | 3009.00 | 8500.00 | 10030.00 | 2550.00 | RPN Systems And Solutions | 3009.00 | RPN Systems And Solutions
11.00 | Dismantling of the exisitng Fire Alarm Panels, Detectors, Manual Call Points, Hooters, Cables, etc and handing over to AAI stores as required. | 1.00 | Job | Item No.11 | 2000.00 | 2360.00 | 25000.00 | 29500.00 | 2000.00 | RPN Systems And Solutions | 2360.00 | RPN Systems And Solutions
12.00 | Providing & fixing of First Aid Box as approved by St. John Ambulance Brigade/ Indian Red Cross conforming to IS 2217-1963 as required | 2.00 | Each | Item No.12 | 15000.00 | 17700.00 | 7000.00 | 8260.00 | 7000.00 | DElite System Engineering (India) Pvt. Ltd. | 8260.00 | DElite System Engineering (India) Pvt. Ltd.
13.00 | Supplying & laying of 2Cx1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath complete as required | 1020.00 | RM | Item No.13 | 79560.00 | 93881.00 | 100980.00 | 119156.00 | 79560.00 | RPN Systems And Solutions | 93881.00 | RPN Systems And Solutions
14.00 | Supplying and laying of "B" Class G.I pipe of following dia, i/c excavation of bituminous/ concrete road/ pavement, excavation of Soil to maximum depth of 1.2 Mtrs from ground refilling the Soil and with CC of ratio 1:3:6 on top for 0.15 Mtrs after laying Pipe and plastering, making good the same etc., as required. 80mm dia | 12.00 | RM | Item No.14 | 18000.00 | 21240.00 | 20388.00 | 24058.00 | 18000.00 | RPN Systems And Solutions | 21240.00 | RPN Systems And Solutions
| Total in Figures |  |  |  | 548850.00 | 647643.00 | 564568.00 | 666190.00

## BOQ Summary
BOQ Summary Details Tender Title: Providing addressable fire alarm system at MSSR Porur, Southern Region, Chennai Airport Tender ID: 2022_AAI_115873_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RPN Systems And Solutions | 647643.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 666190.00 | L2