## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 17-Jun-2022 03:40 PM Tender Title: Replacement of PAPI at Birsi Airport, Gondia Tender ID: 2022_AAI_115991_1
Tender Inviting Authority: Asst.Gneral Manager(Engg-Elect)
Name of Work: Replacement of PAPI at Birsi Airport Gondia.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | N L Neema(GSTN-23AAQPN1495C1ZP)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supply of PAPI Suitable for 6.6 Amps series current system complete with 3 No. 200 Watts 6.6 amps halogen lamps assembly, halogen lamps, holder/pins, adjustment legs with breakable couplings, filters, spreader assembly, secondary leads of length 5.0 mtrs with plugs and dust proof housing with air filter etc., complete with all accessories ready for installation and confirm to particular specifications enclosed. | 8.00 | Job |  | 137940.00 | 1103520.00 | 125000.00 | 1000000.00 | 118000.00 | 944000.00 | 123125.00 | 985000.00 | 128000.00 | 1024000.00 | 944000.00 | Techno Electricals
1.02 | Installation, testing & commissioning of PAPI by assembling various parts/ accessories such as light fixtures, lamps, isolating transformers, cables on the existing foundation, levelling if required, alignement of light beams, calibration, connections, precommissioning tests etc as per recommendation of OEMs etc as per particular specification enclosed. | 8.00 | Job |  | 6600.00 | 52800.00 | 5000.00 | 40000.00 | 17000.00 | 136000.00 | 15000.00 | 120000.00 | 7500.00 | 60000.00 | 40000.00 | M/s LEESHA ELECTRICALS
1.03 | Supply of Check Stick with 8 nos. Base and required Tool Kit etc complete as required. | 1.00 | Job |  | 43560.00 | 43560.00 | 80000.00 | 80000.00 | 75000.00 | 75000.00 | 105000.00 | 105000.00 | 82000.00 | 82000.00 | 43560.00 | Vardhman Airport Solutions Pvt Ltd
1.04 | Supply of 200 W, 6.6 A PAPI Halogen Lamps. | 20.00 | Each |  | 1234.00 | 24680.00 | 435.00 | 8700.00 | 500.00 | 10000.00 | 400.00 | 8000.00 | 450.00 | 9000.00 | 8000.00 | Manish Electricals
1.05 | Supply of Red Glass filter (Filters and Spreader set for PAPI). | 10.00 | Each |  | 4386.00 | 43860.00 | 3200.00 | 32000.00 | 3500.00 | 35000.00 | 3900.00 | 39000.00 | 4400.00 | 44000.00 | 32000.00 | M/s LEESHA ELECTRICALS
1.06 | Supply of Breakable coupling, rear and front (set of 4 legs). | 2.00 | Set |  | 12243.00 | 24486.00 | 11000.00 | 22000.00 | 4000.00 | 8000.00 | 9800.00 | 19600.00 | 15500.00 | 31000.00 | 8000.00 | Techno Electricals
1.07 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 4.00 | Cum |  | 7920.00 | 31680.00 | 5100.00 | 20400.00 | 6500.00 | 26000.00 | 9000.00 | 36000.00 | 5500.00 | 22000.00 | 20400.00 | M/s LEESHA ELECTRICALS
1.08 | Dismantling of PAPI unit inlcuding legs, base plate, electrical connections , transporting the unit to store and handing over to the Engineer-Incharge etc complete as required . | 8.00 | Job |  | 1320.00 | 10560.00 | 1000.00 | 8000.00 | 500.00 | 4000.00 | 3000.00 | 24000.00 | 750.00 | 6000.00 | 4000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 1335146.00 |  | 1211100.00 |  | 1238000.00 |  | 1336600.00 |  | 1278000.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(1211100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of PAPI at Birsi Airport, Gondia Tender ID: 2022_AAI_115991_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 1211100.00 | L1
| 2 | Techno Electricals | 1238000.00 | L2
| 3 | N L Neema | 1278000.00 | L3
| 4 | Vardhman Airport Solutions Pvt Ltd | 1335146.00 | L4
| 5 | Manish Electricals | 1336600.00 | L5