## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 14-Jun-2022 03:53 PM Tender Title: ARMO of Jalgaon Airport for Year 2022-24. SH - Operation and Maintenance of EandM Installations Tender ID: 2022_AAI_116007_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect), AAI, Nagpur
Name of Work :- ARMO of Jalgaon Airport for Year 2022-24. SH: - Operation & Maintenance of E&M Installations
Contract No: AAI/NGP/E-E/Jal/2022-23/01/Jal-AMC/NIT-01 Date: 18.05.2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance
1.01 | Annual Operation and Maintenance of E&M Installations & Fire Alarm System in shifts on all working days i/c Sundays and holidays involving operation, preventive / routine / breakdown maintenance, attending complaints, repairs with proper tools & plants, documentation etc. as per the contract terms and conditions and directions of Engineer-in-charge. Total manpower to be provided: (a) 03 Nos. Wireman - Skilled (b) 03 Nos. DG Operator - Semi-Skilled (c) 02 Nos. Helper- Unskilled | 24.00 | Month | 146185.00 | 140000.00 | 3360000.00 | 146886.00 | 3525264.00 | 132000.00 | 3168000.00 | 150000.00 | 3600000.00 | 164350.00 | 3944400.00 | 131486.00 | 3155664.00 | 132456.00 | 3178944.00 | 220000.00 | 5280000.00 | 3155664.00 | Vardhman Airport Solutions Pvt Ltd
1.02 | Deployment of Document Assistant cum Computer Operator (Highly Skilled) with adequate knowledge of software such as MS Office / Data Entry / Inventory Management / SAP Entry i/c DTP works on all days except on Sundays etc. as required. | 24.00 | Month | 24712.00 | 23000.00 | 552000.00 | 24911.00 | 597864.00 | 26500.00 | 636000.00 | 2000.00 | 48000.00 | 25710.00 | 617040.00 | 23714.00 | 569136.00 | 22359.00 | 536616.00 | 28000.00 | 672000.00 | 48000.00 | M/s LEESHA ELECTRICALS
1.03 | Deployment of following manpower at site for carrying out various operation and maintenance works to meet the actual site requirements as and when required.
1.03 | Electrician (Skilled) | 5.00 | Day | 726.00 | 700.00 | 3500.00 | 878.00 | 4390.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 700.00 | 3500.00 | 700.00 | 3500.00 | 625.00 | 3125.00 | 806.00 | 4030.00 | 2500.00 | CENTRE TAP ENGINEERING
1.03 | Helper (Un-Skilled) | 10.00 | Day | 660.00 | 600.00 | 6000.00 | 603.00 | 6030.00 | 300.00 | 3000.00 | 580.00 | 5800.00 | 500.00 | 5000.00 | 496.00 | 4960.00 | 568.53 | 5685.30 | 663.00 | 6630.00 | 3000.00 | CENTRE TAP ENGINEERING
2.00 | Minor Repairs & Maintenance Works
2.01 | Filtration of transformer insulating oil of 630 KVA Transformer (Oil tank capacity - 417 Litres) & 400 KVA Transformer (Oil tank capacity - 518 Litres) including de-hydration, testing of transformer oil (as per IS 1866-2017), testing & commissioning of transformers i/c testing of buchholz relay, WTI & OTI as per relevant IS code & submission of test reports etc. complete as required. (Total Oil Quantity - 935 litres). | 2.00 | Job | 6795.00 | 12500.00 | 25000.00 | 24500.00 | 49000.00 | 10000.00 | 20000.00 | 11200.00 | 22400.00 | 11220.00 | 22440.00 | 5880.00 | 11760.00 | 6545.00 | 13090.00 | 10000.00 | 20000.00 | 11760.00 | Vardhman Airport Solutions Pvt Ltd
2.02 | Supply of Insulating oil confirming to relevant IS Code (IS 335) and topping up in the existing transformers as required. | 60.00 | Litres | 131.00 | 100.00 | 6000.00 | 125.00 | 7500.00 | 100.00 | 6000.00 | 90.00 | 5400.00 | 150.00 | 9000.00 | 105.00 | 6300.00 | 120.00 | 7200.00 | 130.00 | 7800.00 | 5400.00 | M/s LEESHA ELECTRICALS
2.03 | Complete rewinding of the motor of following capacity monoblock submersible pump including lowering & lifting from open well, transportation, loading, unloading charges etc. complete as required.
2.03 | 7.5 HP | 1.00 | Job | 5749.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 7000.00 | 7000.00 | 100.00 | 100.00 | 6000.00 | 6000.00 | 8400.00 | 8400.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 100.00 | M/s LEESHA ELECTRICALS
2.03 | 3.0 HP | 1.00 | Job | 4181.00 | 2000.00 | 2000.00 | 2760.00 | 2760.00 | 3000.00 | 3000.00 | 100.00 | 100.00 | 4000.00 | 4000.00 | 3920.00 | 3920.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 100.00 | M/s LEESHA ELECTRICALS
2.04 | Complete rewinding of the motor of following capacity monoblock pump including transportation, loading, unloading charges etc. complete as required.
2.04 | 5.0 HP | 1.00 | Job | 4390.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 5000.00 | 5000.00 | 100.00 | 100.00 | 4000.00 | 4000.00 | 4480.00 | 4480.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 100.00 | M/s LEESHA ELECTRICALS
2.04 | 2.0 HP | 1.00 | Job | 2718.00 | 1500.00 | 1500.00 | 2760.00 | 2760.00 | 2000.00 | 2000.00 | 100.00 | 100.00 | 3000.00 | 3000.00 | 2800.00 | 2800.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 100.00 | M/s LEESHA ELECTRICALS
3.00 | Servicing of VCBs/ACBs & Calibration and Testing
3.01 | Calibration and testing of all numerical relays and all auxiliary relays provided in 4 VCB, 11 kV HT panel by secondary injection test as required through the firm having valid calibration certificates and submission of test reports as required. | 2.00 | Job | 24043.00 | 3900.00 | 7800.00 | 16000.00 | 32000.00 | 3000.00 | 6000.00 | 4490.00 | 8980.00 | 4000.00 | 8000.00 | 13440.00 | 26880.00 | 26500.00 | 53000.00 | 5000.00 | 10000.00 | 6000.00 | CENTRE TAP ENGINEERING
3.02 | Servicing, testing & commissioning of 630 Amps, 11 kV VCB (Make: Megawin & Kirloskar) installed at power house and submission of service reports etc. complete as required. | 8.00 | Job | 14519.00 | 750.00 | 6000.00 | 3500.00 | 28000.00 | 3000.00 | 24000.00 | 4900.00 | 39200.00 | 5000.00 | 40000.00 | 4480.00 | 35840.00 | 10500.00 | 84000.00 | 10000.00 | 80000.00 | 6000.00 | M/s BHARAT ELECTRIC, NAGPUR
3.03 | Servicing, testing & commissioning of 1000 Amps, L&T make OMEGA U-Power ACB from OEM authorized service dealer including testing of microprocessor based relay unit and submission of service report etc. complete as required. | 6.00 | Job | 5773.00 | 1000.00 | 6000.00 | 2000.00 | 12000.00 | 4000.00 | 24000.00 | 2500.00 | 15000.00 | 4000.00 | 24000.00 | 2800.00 | 16800.00 | 3500.00 | 21000.00 | 4500.00 | 27000.00 | 6000.00 | M/s BHARAT ELECTRIC, NAGPUR
3.04 | Calibration and minor repairing/servicing of Clinometer (PAPI angle checking instrument) with replacement of bubbles if required including transportation charges from Jalgaon Airport site to OEM site along with submission of test report of calibration from OEM complete as required. | 2.00 | Job | 20907.00 | 7500.00 | 15000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 4900.00 | 9800.00 | 5000.00 | 10000.00 | 16800.00 | 33600.00 | 17770.00 | 35540.00 | 10000.00 | 20000.00 | 4000.00 | Sew Engineering Works Pvt Ltd, CENTRE TAP ENGINEERING
3.05 | Calibration and minor repairing/servicing of 150 Kg capacity electronic weighing machine along with submission of test report of calibration from legal metrology department complete as required. | 4.00 | Job | 5749.00 | 1500.00 | 6000.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 3900.00 | 15600.00 | 5000.00 | 20000.00 | 1500.00 | 6000.00 | 4886.00 | 19544.00 | 2000.00 | 8000.00 | 6000.00 | M/s BHARAT ELECTRIC, NAGPUR, Vardhman Airport Solutions Pvt Ltd
3.06 | Calibration and minor repairing/servicing of 5 Kg CI weight along with submission of test report of calibration from legal metrology department complete as required. | 2.00 | Job | 3659.00 | 250.00 | 500.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 1300.00 | 2600.00 | 1500.00 | 3000.00 | 280.00 | 560.00 | 3110.00 | 6220.00 | 500.00 | 1000.00 | 500.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | Supply of Spares
4.01 | Supply of 200 W 6.6A Halogen lamps with PK-30d base with, male connector. (Cat No. 64382 OSRAM or Equivalent) as required. | 60.00 | Job | 1151.00 | 750.00 | 45000.00 | 805.00 | 48300.00 | 500.00 | 30000.00 | 850.00 | 51000.00 | 600.00 | 36000.00 | 882.00 | 52920.00 | 971.25 | 58275.00 | 1300.00 | 78000.00 | 30000.00 | CENTRE TAP ENGINEERING
4.02 | Supply of 105 W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type light fixtures (Cat No. 64339A of Osram or Equivalent) as required. | 5.00 | Job | 1352.00 | 500.00 | 2500.00 | 985.00 | 4925.00 | 500.00 | 2500.00 | 950.00 | 4750.00 | 500.00 | 2500.00 | 976.00 | 4880.00 | 892.50 | 4462.50 | 1500.00 | 7500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR, CENTRE TAP ENGINEERING, PREMIER ENGINEERING TECHNICS PVT. LTD.
4.03 | Supply of Self adhesive HT rubber tape having water proof, moisture proof, corrosion and chemical resistive features, withstand 22KV/mm suitable for 5kV grade AFL cables. Size 25mm x 0.76mm x 9.1 M. (Stanvac Ply safe #W963) | 8.00 | Job | 785.00 | 500.00 | 4000.00 | 1494.00 | 11952.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 1500.00 | 12000.00 | 504.00 | 4032.00 | 450.00 | 3600.00 | 700.00 | 5600.00 | 3600.00 | ABHISHEK INTEGRATIONS LIMITED
4.04 | Supply of Relay Module card Suitable for NASU make CCR's | 7.00 | Job | 5756.00 | 3600.00 | 25200.00 | 8050.00 | 56350.00 | 5000.00 | 35000.00 | 4000.00 | 28000.00 | 4000.00 | 28000.00 | 6115.00 | 42805.00 | 7000.00 | 49000.00 | 8000.00 | 56000.00 | 25200.00 | M/s BHARAT ELECTRIC, NAGPUR
4.05 | Supply of Thyristor suitable for 30 KW NASU CCR | 1.00 | Job | 10465.00 | 10000.00 | 10000.00 | 17250.00 | 17250.00 | 9000.00 | 9000.00 | 2500.00 | 2500.00 | 7500.00 | 7500.00 | 3234.00 | 3234.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 2500.00 | M/s LEESHA ELECTRICALS
4.06 | Supply of Thyristor suitable for 7.5 KW NASU CCR | 1.00 | Job | 9942.00 | 7500.00 | 7500.00 | 12650.00 | 12650.00 | 5000.00 | 5000.00 | 1200.00 | 1200.00 | 4000.00 | 4000.00 | 1564.00 | 1564.00 | 11000.00 | 11000.00 | 10000.00 | 10000.00 | 1200.00 | M/s LEESHA ELECTRICALS
4.07 | Supply of Thyristor suitable for 4 KW NASU CCR | 1.00 | Job | 6802.00 | 5000.00 | 5000.00 | 9200.00 | 9200.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 1164.00 | 1164.00 | 8000.00 | 8000.00 | 10000.00 | 10000.00 | 1000.00 | M/s LEESHA ELECTRICALS
4.08 | Supply of Analog time switch Suitable for 3 Phase output in feeder pillars / Lighting DBs for automatic switching On & OFF of street lights at sun set & sun rise or twilight (Auto ON, Auto OFF) with manual override facility with 12/24 hour dial complete as required. (Model FM1/QT J648B1 or Equivalent) | 5.00 | Job | 1882.00 | 1000.00 | 5000.00 | 2530.00 | 12650.00 | 2000.00 | 10000.00 | 1490.00 | 7450.00 | 2500.00 | 12500.00 | 1394.00 | 6970.00 | 1340.00 | 6700.00 | 6000.00 | 30000.00 | 5000.00 | M/s BHARAT ELECTRIC, NAGPUR
5.00 | EXECUTION OF WORKS AS PER CPWD DSR 2018 (E&M) AND SPECIFICATIONS AS AND WHEN REQUIRED.
5.01 | CPWD DSR (E&M) 2018 - Chapter 01 to 10 & 14 The rate shall be quoted for this item as per examples given below- • Please refer clause 46 of SCC page No. 155 before quoting rates for this item. • If bidder wants to quote the rates at par with rates of DSR-2018 (E & M), then bidder has to quote 1.00 in the rate column. • If bidder wants to quote the rates 10% above the rates of DSR-2018 (E & M), then bidder has to quote 1.10 in the rate column. • If bidder wants to quote the rates 10% below the rates of DSR-2018 (E & M), then bidder has to quote 0.90 in the rate column. | 75000.00 | % | 1.20 | .60 | 45000.00 | .90 | 67500.00 | 1.00 | 75000.00 | 1.00 | 75000.00 | .80 | 60000.00 | .25 | 18750.00 | .90 | 67500.00 | 1.00 | 75000.00 | 18750.00 | Vardhman Airport Solutions Pvt Ltd
| Total in Figures |  |  |  |  | 4152000.00 |  | 4550345.00 |  | 4100000.00 |  | 3951080.00 |  | 4889880.00 |  | 4026919.00 |  | 4195501.80 |  | 6436560.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(3951080.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Jalgaon Airport for Year 2022-24. SH - Operation and Maintenance of EandM Installations Tender ID: 2022_AAI_116007_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 3951080.00 | L1
| 2 | Vardhman Airport Solutions Pvt Ltd | 4026919.00 | L2
| 3 | CENTRE TAP ENGINEERING | 4100000.00 | L3
| 4 | M/s BHARAT ELECTRIC, NAGPUR | 4152000.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 4195501.80 | L5
| 6 | Sew Engineering Works Pvt Ltd | 4550345.00 | L6
| 7 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 4889880.00 | L7
| 8 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 6436560.00 | L8