## BoQ1
Government eProcurement System Created By: RAGHU RAMA REDDY DODDA Created Date/Time: 27-Jun-2022 04:09 PM Tender Title: FMC for Repair and Maintenance of Internal and External Electrical Installations at AAI (Metro) Residential Colony, Operational Office and Other Ancillary Buildings at Chennai International Airport(2022-2024) Tender ID: 2022_AAI_116300_1
Tender Inviting Authority: Jt.General Manager (Engg-Elect)-II
Name of Work: FMC for Repair & Maintenance of Internal & External Electrical Installations at AAI (Metro) Residential Colony, Operational Office & Other Ancillary Buildings at Chennai International Airport (2022-2024).
Contract No: AAI/CHE/AMED-IX/FMC/2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I FMC for Internal and External Electrical installations
1.01 | FMC for all Internal and External Electrical installations at AAI (IAD) Residential Colony i/c Community hall& school, Ancillary buildings i/c Admin Office, Intake substation, Central Substations, Dog Kennels, All Power Houses, WTP, NEW WTP, STP, CCR Hall, CISF Barracks at Pazhavanthangal, Fire Stations, MT Sections (Old & New), Ceremonial Lounge and All Pump Houses,S2 Police station etc., to ensure satisfactory serviceability through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of connected LT feeders to the buildings switch rooms etc., repair/replacement of circuit wiring, switches, lamps, chokes, fixtures etc. (Required replacement of materials shall be issued by AAI free of cost) i/c providing consumable material like cotton waste, oil, grease, etc., & other sundry material required for cleaning at site etc. as required, including ensuring 100 % serviceability of External and Internal Electrical installations, preventive maintenance, routine maintenance; breakdown maintenance; etc., i/c maintenance of records / data entries and documentation including effective supervision etc. ,on all days including Sundays and holidays. | 24.00 | Months |  | 788409.00 | 18921816.00 | 781500.00 | 18756000.00 | 830800.00 | 19939200.00 | 873390.00 | 20961360.00 | 813589.00 | 19526136.00 | 794465.00 | 19067160.00 | 18756000.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | SH:II Painting, Repainting, Rewinding & Miscellaneous
3.00 | Re-painting of L.T. panels, chequered plate, electrical installations etc. with approved quality enamel paint of required colour in two coats with spray gun i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 25.00 | Sq.mtr |  | 350.00 | 8750.00 | 150.00 | 3750.00 | 90.00 | 2250.00 | 300.00 | 7500.00 | 110.00 | 2750.00 | 120.00 | 3000.00 | 2250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
4.00 | Rewinding of following fans as per original characteristics with super enamelled copper wire and `E' class insulation material, replacement of the worn out bearing etc. as required i/c dismantling, making arrangement for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required).
4.01 | Exhaust fan ( 300mm/450mm Sweep) | 10.00 | Each |  | 550.00 | 5500.00 | 550.00 | 5500.00 | 495.00 | 4950.00 | 600.00 | 6000.00 | 350.00 | 3500.00 | 999.00 | 9990.00 | 3500.00 | ABHISHEK INTEGRATIONS LIMITED
4.02 | Ceiling fan (1050mm /1200mm Sweep) | 50.00 | Each |  | 500.00 | 25000.00 | 550.00 | 27500.00 | 405.00 | 20250.00 | 400.00 | 20000.00 | 350.00 | 17500.00 | 999.00 | 49950.00 | 17500.00 | ABHISHEK INTEGRATIONS LIMITED
4.03 | Wall mounted fan/pedestal fan (300mm/450sweep) | 10.00 | Each |  | 550.00 | 5500.00 | 900.00 | 9000.00 | 540.00 | 5400.00 | 600.00 | 6000.00 | 450.00 | 4500.00 | 1200.00 | 12000.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
4.04 | Air Circulator (450mm/600mm Sweep) | 5.00 | Each |  | 700.00 | 3500.00 | 900.00 | 4500.00 | 495.00 | 2475.00 | 1200.00 | 6000.00 | 500.00 | 2500.00 | 1499.00 | 7495.00 | 2475.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.00 | Lettering with one coat of approved shade of synthetic enamel paint in following size s on different places in English or Tamil etc. as reqd.
5.01 | 1" size (one word / name including special characters & digits) | 100.00 | Nos |  | 10.00 | 1000.00 | 50.00 | 5000.00 | 14.00 | 1400.00 | 20.00 | 2000.00 | 5.00 | 500.00 | 99.00 | 9900.00 | 500.00 | ABHISHEK INTEGRATIONS LIMITED
5.02 | 2" size (one word / name including special characters & digits) | 100.00 | Nos |  | 18.00 | 1800.00 | 80.00 | 8000.00 | 18.00 | 1800.00 | 25.00 | 2500.00 | 10.00 | 1000.00 | 99.00 | 9900.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Re-painting of cable tray of all sizes (upto 600 mm wide) i/c supports etc. with good quality of paint in one or more coats including scraping, cleaning etc. of outer surface only complete as per site condition and direction of EIC. | 20.00 | Mtr |  | 200.00 | 4000.00 | 150.00 | 3000.00 | 45.00 | 900.00 | 50.00 | 1000.00 | 300.00 | 6000.00 | 99.00 | 1980.00 | 900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.00 | Rates for extra mandays for providing services as and when required basis
7.01 | Skilled (Electrician/ Mason/ Cable Jointer) | 10.00 | days |  | 898.00 | 8980.00 | 900.00 | 9000.00 | 735.00 | 7350.00 | 900.00 | 9000.00 | 817.00 | 8170.00 | 799.00 | 7990.00 | 7350.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.02 | Helper | 10.00 | days |  | 843.00 | 8430.00 | 820.00 | 8200.00 | 690.00 | 6900.00 | 650.00 | 6500.00 | 766.00 | 7660.00 | 799.00 | 7990.00 | 6500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
8.00 | Dismantling of existing LT Cubical panel i/c electrical wiring, cables, switch gears, measuring instrument etc. , as required at site and transporting to AAI stores. | 3.00 | Nos |  | 20000.00 | 60000.00 | 4000.00 | 12000.00 | 900.00 | 2700.00 | 1500.00 | 4500.00 | 2500.00 | 7500.00 | 1999.00 | 5997.00 | 2700.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.00 | Providing Labour and Hire Charges for deploying Excavator (JCB) i/c Operator for tracing the cable faults, excavation and refilling of Cable trench after work etc., as required. | 20.00 | Hrs |  | 850.00 | 17000.00 | 1500.00 | 30000.00 | 765.00 | 15300.00 | 950.00 | 19000.00 | 1500.00 | 30000.00 | 1100.00 | 22000.00 | 15300.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
10.00 | Providing Labour and Hire Charges for deploying Gas Cutting MACHINE i/c Cutter, Gases in Cylinder etc., for cutting of Chequered Plates, MS Angles as required. | 10.00 | Hrs |  | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 765.00 | 7650.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 1199.00 | 11990.00 | 7650.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
11.00 | Providing labour and hire charges for deploying Crane (upto 10 Ton) i/c operator for lifting/ Shifting of Equipments/ Cable Drums, etc., as required. | 10.00 | Hrs |  | 1300.00 | 13000.00 | 2500.00 | 25000.00 | 765.00 | 7650.00 | 2000.00 | 20000.00 | 2500.00 | 25000.00 | 1100.00 | 11000.00 | 7650.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.00 | Locating the Cable fault on LT feeder cables laid directly in ground/ duct/ pipe including providing Cable Fault Tracer (Rental) etc., as required.
12.01 | LT CABLES [ONLY IN CASE OF EMERGENCY] | 1.00 | Job |  | 30000.00 | 30000.00 | 28000.00 | 28000.00 | 13500.00 | 13500.00 | 22000.00 | 22000.00 | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 13500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
13.00 | Cleaning of cable trenches by lifting the cables, supporting the cables, removing waste materials I/c malba, debris etc., and transporting and dumping the same to waste dumping yard etc. as required. | 40.00 | Mtr |  | 400.00 | 16000.00 | 300.00 | 12000.00 | 45.00 | 1800.00 | 50.00 | 2000.00 | 50.00 | 2000.00 | 120.00 | 4800.00 | 1800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
14.00 | Cleaning of bus ducts I/c removing of covers, checking of bus bars, bus supports, tightening of busses and supports and re-fixing of covers, testing, commissioning etc., as required. | 20.00 | Mtr |  | 750.00 | 15000.00 | 300.00 | 6000.00 | 45.00 | 900.00 | 50.00 | 1000.00 | 100.00 | 2000.00 | 120.00 | 2400.00 | 900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
15.00 | Retrievel of one number PVC/XLPE insulated and PVC sheathed power cable of 1.1KV grade of size upto 120 Sqmm from the existing RCC/ HUME/ STONEWARE/ METAL/ GI PIPES/ Duct/ TRAY/ TERRACE etc., as required. | 50.00 | Mtr |  | 400.00 | 20000.00 | 100.00 | 5000.00 | 18.00 | 900.00 | 70.00 | 3500.00 | 80.00 | 4000.00 | 99.00 | 4950.00 | 900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
16.00 | Supply and Installation of maintenance free copper bonded single rod earthing system inclusive of earthing rod size dia 17.2 mm length 3000mm, copper bonded earth terminal with ultra safe ground enhancement material ( Min 25Kg) and construction of Earth pit chamber and CI Cover for earth pit chamber etc. as required. | 3.00 | Job |  | 25000.00 | 75000.00 | 8000.00 | 24000.00 | 5400.00 | 16200.00 | 20000.00 | 60000.00 | 20000.00 | 60000.00 | 7000.00 | 21000.00 | 16200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
17.00 | Replacement light fittings / fans with the following including supply of light fitting/fans and connections with 1.5 Sq.mm. PVC insulated copper conductor cable as required:
17.01 | Linear general purpose LED light fitting aluminium housing( Crompton CCS-100-20-65-HL2-DP-NWH OR EQUIVALENT model of Wipro/Bajaj/Philips/Havells) on wall/ceiling/suspension chain | 50.00 | Nos |  | 900.00 | 45000.00 | 380.00 | 19000.00 | 765.00 | 38250.00 | 850.00 | 42500.00 | 316.00 | 15800.00 | 399.00 | 19950.00 | 15800.00 | ABHISHEK INTEGRATIONS LIMITED
17.02 | Heavy duty Exhaust fan 300mm,900rpm in the existing opening ( Make:Usha 300mm Aero clean plus or equivalent) | 20.00 | Nos |  | 1600.00 | 32000.00 | 2425.00 | 48500.00 | 2115.00 | 42300.00 | 4000.00 | 80000.00 | 2659.00 | 53180.00 | 2999.00 | 59980.00 | 32000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
17.03 | Heavy duty Exhaust fan 450mm in the existing opening ( Make:Usha 450mm Turbo Heavy Duty or equivalent) | 30.00 | Nos |  | 3400.00 | 102000.00 | 3600.00 | 108000.00 | 4149.00 | 124470.00 | 2400.00 | 72000.00 | 4013.00 | 120390.00 | 4999.00 | 149970.00 | 72000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
17.04 | Ceiling fan 1200 mm sweep ( Make: Usha Technix Plus or equivalent approved make) | 30.00 | Nos |  | 2000.00 | 60000.00 | 1785.00 | 53550.00 | 2070.00 | 62100.00 | 1900.00 | 57000.00 | 1338.00 | 40140.00 | 1999.00 | 59970.00 | 40140.00 | ABHISHEK INTEGRATIONS LIMITED
17.05 | Ceiling fan 1050 mm sweep ( Make:Usha Striker or equivalent approved make) | 10.00 | Nos |  | 2450.00 | 24500.00 | 1400.00 | 14000.00 | 1350.00 | 13500.00 | 1700.00 | 17000.00 | 1124.00 | 11240.00 | 1999.00 | 19990.00 | 11240.00 | ABHISHEK INTEGRATIONS LIMITED
17.06 | Air circulators Wall type 450 mm sweep ( Make : Usha 450mm Dominaire or equivalent approved make) | 5.00 | Nos |  | 6400.00 | 32000.00 | 4400.00 | 22000.00 | 6813.00 | 34065.00 | 4000.00 | 20000.00 | 2140.00 | 10700.00 | 7100.00 | 35500.00 | 10700.00 | ABHISHEK INTEGRATIONS LIMITED
17.07 | 80W LED Flood Light ( make:Crompton LCNP-80-CDL/60-M) or equivalent model of Wipro/Bajaj/Philips/Havells) | 20.00 | Nos |  | 6200.00 | 124000.00 | 3200.00 | 64000.00 | 2700.00 | 54000.00 | 5500.00 | 110000.00 | 3371.00 | 67420.00 | 9999.00 | 199980.00 | 54000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
17.08 | LED Downlighter 1500 lumens, minimum 100lm/Watt ( Crompton CDR-205-15-57-SL-NWH or Equivalent model of Wipro/Bajaj/Philips/Havells) | 5.00 | Nos |  | 1600.00 | 8000.00 | 570.00 | 2850.00 | 1620.00 | 8100.00 | 1550.00 | 7750.00 | 653.00 | 3265.00 | 2000.00 | 10000.00 | 2850.00 | LAKSHMI ELECTRICAL ENTERPRISES
17.09 | 400mm pedestal fan( make: Usha 400mm Mist Air ICY or Equivalent approved make) | 20.00 | Nos |  | 3150.00 | 63000.00 | 2150.00 | 43000.00 | 2429.00 | 48580.00 | 2800.00 | 56000.00 | 2247.00 | 44940.00 | 2999.00 | 59980.00 | 43000.00 | LAKSHMI ELECTRICAL ENTERPRISES
17.10 | 400mm Wallmount fan( make: Usha 400mm Mist Air ICY or Equivalent approved make) | 40.00 | Nos |  | 2600.00 | 104000.00 | 1750.00 | 70000.00 | 2088.00 | 83520.00 | 2200.00 | 88000.00 | 2140.00 | 85600.00 | 2400.00 | 96000.00 | 70000.00 | LAKSHMI ELECTRICAL ENTERPRISES
18.00 | SH:III SUPPLY OF SPARE PARTS FOR MAINTENANCE & REPAIR WORKS
19.00 | Supply of LED Bulb; shape GLS; 09 watts;minimum 95lm/watt, 220-240 volts; B22(Pin type), 6500K, Make Havells LHLDEUEBML8R009 or equivalent model of Wipro/Bajaj/Philips/Crompton) | 200.00 | Nos |  | 105.00 | 21000.00 | 70.00 | 14000.00 | 135.00 | 27000.00 | 150.00 | 30000.00 | 75.00 | 15000.00 | 99.00 | 19800.00 | 14000.00 | LAKSHMI ELECTRICAL ENTERPRISES
20.00 | Supply of LED Bulb;shape GLS; 15 watts; 220-240 volts; B22(Pin type), 6500K, Make Havells LHLDEREEMK8X015 or equivalent model of Wipro/Bajaj/Philips/Crompton) | 100.00 | Nos |  | 200.00 | 20000.00 | 160.00 | 16000.00 | 178.00 | 17800.00 | 200.00 | 20000.00 | 107.00 | 10700.00 | 99.00 | 9900.00 | 9900.00 | DElite System Engineering (India) Pvt. Ltd.
21.00 | Supply of 2.5 MFD Capacitor for Fan operated on single phase, 230 V, complete as required. | 500.00 | Nos |  | 40.00 | 20000.00 | 35.00 | 17500.00 | 32.00 | 16000.00 | 30.00 | 15000.00 | 27.00 | 13500.00 | 40.00 | 20000.00 | 13500.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Supplying of PVC Cassing & Capping as and when required.
22.01 | 20 X 12mm | 200.00 | Mtr |  | 42.00 | 8400.00 | 30.00 | 6000.00 | 18.00 | 3600.00 | 50.00 | 10000.00 | 73.00 | 14600.00 | 69.00 | 13800.00 | 3600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
22.02 | 25 X 16 mm | 100.00 | Mtr |  | 45.00 | 4500.00 | 35.00 | 3500.00 | 27.00 | 2700.00 | 60.00 | 6000.00 | 83.00 | 8300.00 | 69.00 | 6900.00 | 2700.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
22.03 | 4" x 2" inch for AC Refrigerant Piping | 50.00 | Mtr |  | 250.00 | 12500.00 | 100.00 | 5000.00 | 36.00 | 1800.00 | 100.00 | 5000.00 | 54.00 | 2700.00 | 120.00 | 6000.00 | 1800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
23.00 | Supply of Instant Electric water Geyser of minimum 3 litres storage capacity, wattage : 3000 W with all standard accessories etc. (Havells instanio 3L or equivalent) | 3.00 | Nos |  | 3500.00 | 10500.00 | 2860.00 | 8580.00 | 3236.00 | 9708.00 | 4000.00 | 12000.00 | 3745.00 | 11235.00 | 4999.00 | 14997.00 | 8580.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.00 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required. [AS AND WHEN REQUIRED BASIS ONLY]
24.01 | 3 X 10 sq. mm | 50.00 | Mtr |  | 150.00 | 7500.00 | 126.00 | 6300.00 | 130.00 | 6500.00 | 433.00 | 21650.00 | 105.00 | 5250.00 | 148.00 | 7400.00 | 5250.00 | ABHISHEK INTEGRATIONS LIMITED
24.02 | 3 X 16 sq. mm | 50.00 | Mtr |  | 160.00 | 8000.00 | 130.00 | 6500.00 | 143.00 | 7150.00 | 626.00 | 31300.00 | 113.00 | 5650.00 | 153.00 | 7650.00 | 5650.00 | ABHISHEK INTEGRATIONS LIMITED
24.03 | 4 X 10 sq. mm | 50.00 | Mtr |  | 165.00 | 8250.00 | 136.00 | 6800.00 | 150.00 | 7500.00 | 555.00 | 27750.00 | 143.00 | 7150.00 | 160.00 | 8000.00 | 6800.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.04 | 4 X 16 sq. mm | 50.00 | Mtr |  | 190.00 | 9500.00 | 161.00 | 8050.00 | 252.00 | 12600.00 | 821.00 | 41050.00 | 154.00 | 7700.00 | 189.00 | 9450.00 | 7700.00 | ABHISHEK INTEGRATIONS LIMITED
24.05 | 4 X 25 sq. mm | 50.00 | Mtr |  | 250.00 | 12500.00 | 210.00 | 10500.00 | 230.00 | 11500.00 | 1268.00 | 63400.00 | 207.00 | 10350.00 | 247.00 | 12350.00 | 10350.00 | ABHISHEK INTEGRATIONS LIMITED
24.06 | 3½ X 35 sq. mm | 50.00 | Mtr |  | 300.00 | 15000.00 | 243.00 | 12150.00 | 265.00 | 13250.00 | 1560.00 | 78000.00 | 237.00 | 11850.00 | 286.00 | 14300.00 | 11850.00 | ABHISHEK INTEGRATIONS LIMITED
24.07 | 3½ X 95 sq. mm | 10.00 | Mtr |  | 700.00 | 7000.00 | 540.00 | 5400.00 | 590.00 | 5900.00 | 4360.00 | 43600.00 | 624.00 | 6240.00 | 635.00 | 6350.00 | 5400.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.08 | 3½ X 120 sq. mm | 10.00 | Mtr |  | 950.00 | 9500.00 | 672.00 | 6720.00 | 710.00 | 7100.00 | 5500.00 | 55000.00 | 685.00 | 6850.00 | 789.00 | 7890.00 | 6720.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.00 | Supply of Copper Conductor, FR PVC insulated, PVC sheathed, un-armoured power cable of 1.1 KV grade of following Sizes conforming to IS 694 as amended upto date as required. [AS AND WHEN REQUIRED BASIS ONLY]
25.01 | 3c x 1.5sq.mm | 500.00 | Mtr |  | 120.00 | 60000.00 | 55.00 | 27500.00 | 88.00 | 44000.00 | 57.00 | 28500.00 | 55.00 | 27500.00 | 79.00 | 39500.00 | 27500.00 | LAKSHMI ELECTRICAL ENTERPRISES, ABHISHEK INTEGRATIONS LIMITED
25.02 | 3c x 2.5sq.mm | 500.00 | Mtr |  | 180.00 | 90000.00 | 85.00 | 42500.00 | 104.00 | 52000.00 | 92.00 | 46000.00 | 91.00 | 45500.00 | 109.00 | 54500.00 | 42500.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.03 | 3c x 4sq.mm | 200.00 | Mtr |  | 270.00 | 54000.00 | 131.00 | 26200.00 | 150.00 | 30000.00 | 159.00 | 31800.00 | 136.00 | 27200.00 | 159.00 | 31800.00 | 26200.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.04 | 4c x 4 sq.mm | 100.00 | Mtr |  | 340.00 | 34000.00 | 173.00 | 17300.00 | 197.00 | 19700.00 | 193.00 | 19300.00 | 180.00 | 18000.00 | 199.00 | 19900.00 | 17300.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.05 | 3c x6 sq.mm | 50.00 | Mtr |  | 360.00 | 18000.00 | 193.00 | 9650.00 | 240.00 | 12000.00 | 217.00 | 10850.00 | 204.00 | 10200.00 | 229.00 | 11450.00 | 9650.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.06 | 1c x70sqmm(for earthing) | 150.00 | Mtr |  | 650.00 | 97500.00 | 675.00 | 101250.00 | 850.00 | 127500.00 | 765.00 | 114750.00 | 704.00 | 105600.00 | 809.00 | 121350.00 | 97500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
26.00 | Supply of Single core flexible copper conductor Flame Retardent Low Smoke (FRLS) insulated wires, 1100 Volts confirming to IS:694 of following sizes:
26.01 | 1.0 sq.mm single core copper cable | 100.00 | Mtr |  | 12.50 | 1250.00 | 12.00 | 1200.00 | 13.00 | 1300.00 | 12.00 | 1200.00 | 15.00 | 1500.00 | 30.00 | 3000.00 | 1200.00 | LAKSHMI ELECTRICAL ENTERPRISES, CIS GLOBAL INFRATECH PRIVATE LIMITED
26.02 | 1.5 sq.mm single core copper cable | 500.00 | Mtr |  | 25.00 | 12500.00 | 16.00 | 8000.00 | 18.00 | 9000.00 | 17.00 | 8500.00 | 19.00 | 9500.00 | 40.00 | 20000.00 | 8000.00 | LAKSHMI ELECTRICAL ENTERPRISES
26.03 | 2.5 sq.mm single core copper cable | 400.00 | Mtr |  | 40.00 | 16000.00 | 26.00 | 10400.00 | 29.00 | 11600.00 | 27.00 | 10800.00 | 31.00 | 12400.00 | 45.00 | 18000.00 | 10400.00 | LAKSHMI ELECTRICAL ENTERPRISES
26.04 | 4 sq.mm single core copper cable | 300.00 | Mtr |  | 65.00 | 19500.00 | 40.00 | 12000.00 | 44.00 | 13200.00 | 40.00 | 12000.00 | 45.00 | 13500.00 | 60.00 | 18000.00 | 12000.00 | LAKSHMI ELECTRICAL ENTERPRISES, CIS GLOBAL INFRATECH PRIVATE LIMITED
26.05 | 6 sq.mm single core copper cable | 50.00 | Mtr |  | 85.00 | 4250.00 | 59.00 | 2950.00 | 65.00 | 3250.00 | 62.00 | 3100.00 | 69.00 | 3450.00 | 70.00 | 3500.00 | 2950.00 | LAKSHMI ELECTRICAL ENTERPRISES
27.00 | Supply of Copper Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required.
27.01 | 3c x 2.5sq.mm | 100.00 | Mtr |  | 185.00 | 18500.00 | 138.00 | 13800.00 | 140.00 | 14000.00 | 145.00 | 14500.00 | 125.00 | 12500.00 | 139.00 | 13900.00 | 12500.00 | ABHISHEK INTEGRATIONS LIMITED
27.02 | 3c x 4sq.mm | 100.00 | Mtr |  | 245.00 | 24500.00 | 190.00 | 19000.00 | 190.00 | 19000.00 | 197.00 | 19700.00 | 172.00 | 17200.00 | 192.00 | 19200.00 | 17200.00 | ABHISHEK INTEGRATIONS LIMITED
27.03 | 5c x 4 sq.mm | 50.00 | Mtr |  | 400.00 | 20000.00 | 308.00 | 15400.00 | 310.00 | 15500.00 | 300.00 | 15000.00 | 297.00 | 14850.00 | 309.00 | 15450.00 | 14850.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Supplying following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
28.01 | 40A DP | 5.00 | Nos |  | 750.00 | 3750.00 | 690.00 | 3450.00 | 800.00 | 4000.00 | 750.00 | 3750.00 | 431.00 | 2155.00 | 499.00 | 2495.00 | 2155.00 | ABHISHEK INTEGRATIONS LIMITED
28.02 | 63A DP | 5.00 | Nos |  | 850.00 | 4250.00 | 770.00 | 3850.00 | 800.00 | 4000.00 | 850.00 | 4250.00 | 588.00 | 2940.00 | 709.00 | 3545.00 | 2940.00 | ABHISHEK INTEGRATIONS LIMITED
28.03 | 40A TP | 5.00 | Nos |  | 1150.00 | 5750.00 | 1100.00 | 5500.00 | 1200.00 | 6000.00 | 1050.00 | 5250.00 | 630.00 | 3150.00 | 1200.00 | 6000.00 | 3150.00 | ABHISHEK INTEGRATIONS LIMITED
28.04 | 40A FP | 5.00 | Nos |  | 1800.00 | 9000.00 | 1480.00 | 7400.00 | 1440.00 | 7200.00 | 1450.00 | 7250.00 | 1103.00 | 5515.00 | 1450.00 | 7250.00 | 5515.00 | ABHISHEK INTEGRATIONS LIMITED
28.05 | 63A FP | 5.00 | Nos |  | 1970.00 | 9850.00 | 1550.00 | 7750.00 | 1440.00 | 7200.00 | 1650.00 | 8250.00 | 1103.00 | 5515.00 | 1450.00 | 7250.00 | 5515.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Supply of following rating and breaking capacity and pole MCCB with micro processor LSI release and Adjustable overload current setting,complies with IEC 60947-2,Direct mounting arrangement for extended rotary handle etc. as required.
29.01 | 4P 100A 25kA | 2.00 | Nos |  | 8000.00 | 16000.00 | 6560.00 | 13120.00 | 3900.00 | 7800.00 | 11500.00 | 23000.00 | 5198.00 | 10396.00 | 7999.00 | 15998.00 | 7800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
29.02 | 4P 160A 25kA | 1.00 | Nos |  | 14500.00 | 14500.00 | 8200.00 | 8200.00 | 8200.00 | 8200.00 | 14500.00 | 14500.00 | 8348.00 | 8348.00 | 9999.00 | 9999.00 | 8200.00 | LAKSHMI ELECTRICAL ENTERPRISES, PREMIER ENGINEERING TECHNICS PVT. LTD.
29.03 | 4P 250A 25kA | 1.00 | Nos |  | 28500.00 | 28500.00 | 11500.00 | 11500.00 | 11400.00 | 11400.00 | 26500.00 | 26500.00 | 14648.00 | 14648.00 | 21000.00 | 21000.00 | 11400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
30.00 | Supply of following Modular switches, Modular sockets, PVC boxes, Modular base & cover plates etc. as required.
30.01 | Supply of 10A Modular Switch, Anchor Roma make code No.21011 or equivalent. | 150.00 | Nos |  | 30.00 | 4500.00 | 50.00 | 7500.00 | 40.00 | 6000.00 | 75.00 | 11250.00 | 34.00 | 5100.00 | 70.00 | 10500.00 | 4500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
30.02 | Supply of 20A Modular Switch, Anchor Roma make code No.21066 or equivalent. | 100.00 | Nos |  | 90.00 | 9000.00 | 90.00 | 9000.00 | 99.00 | 9900.00 | 100.00 | 10000.00 | 84.00 | 8400.00 | 99.00 | 9900.00 | 8400.00 | ABHISHEK INTEGRATIONS LIMITED
30.03 | Supply of 10A Modular Socket, Anchor Roma make code No.30373 or equivalent. | 100.00 | Nos |  | 80.00 | 8000.00 | 90.00 | 9000.00 | 93.00 | 9300.00 | 100.00 | 10000.00 | 82.00 | 8200.00 | 120.00 | 12000.00 | 8000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
30.04 | Supply of 25A & 10A Modular Twin Socket, Anchor Roma make code No.34374 or equivalent. | 100.00 | Nos |  | 130.00 | 13000.00 | 140.00 | 14000.00 | 155.00 | 15500.00 | 300.00 | 30000.00 | 138.00 | 13800.00 | 199.00 | 19900.00 | 13000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
30.05 | Dummy plate, Anchor Roma make code No.21598 or equivalent. | 50.00 | Nos |  | 20.00 | 1000.00 | 25.00 | 1250.00 | 20.00 | 1000.00 | 40.00 | 2000.00 | 18.00 | 900.00 | 40.00 | 2000.00 | 900.00 | ABHISHEK INTEGRATIONS LIMITED
30.06 | 1 or 2 Module PVC box, Anchor Roma make code No.21281or equivalent. | 50.00 | Nos |  | 35.00 | 1750.00 | 40.00 | 2000.00 | 40.00 | 2000.00 | 30.00 | 1500.00 | 34.00 | 1700.00 | 70.00 | 3500.00 | 1500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
30.07 | 3 Module PVC box ,Anchor Roma make code No.20449 or equivalent. | 100.00 | Nos |  | 45.00 | 4500.00 | 70.00 | 7000.00 | 48.00 | 4800.00 | 50.00 | 5000.00 | 42.00 | 4200.00 | 79.00 | 7900.00 | 4200.00 | ABHISHEK INTEGRATIONS LIMITED
30.08 | 4 Module PVC box, Anchor Roma make code No.21292 or equivalent. | 100.00 | Nos |  | 52.00 | 5200.00 | 72.00 | 7200.00 | 54.00 | 5400.00 | 60.00 | 6000.00 | 47.00 | 4700.00 | 89.00 | 8900.00 | 4700.00 | ABHISHEK INTEGRATIONS LIMITED
30.09 | 6 Module PVC box,Anchor Roma make code No.30511 or equivalent. | 250.00 | Nos |  | 65.00 | 16250.00 | 80.00 | 20000.00 | 67.00 | 16750.00 | 65.00 | 16250.00 | 60.00 | 15000.00 | 109.00 | 27250.00 | 15000.00 | ABHISHEK INTEGRATIONS LIMITED
30.10 | 9 Module PVC box,Anchor Roma make code No.30704 or equivalent. | 250.00 | Nos |  | 89.00 | 22250.00 | 90.00 | 22500.00 | 94.00 | 23500.00 | 100.00 | 25000.00 | 83.00 | 20750.00 | 259.00 | 64750.00 | 20750.00 | ABHISHEK INTEGRATIONS LIMITED
30.11 | Supply of 1 or 2 Module base & cover plate , Anchor Roma make or equivalent. for modular boxes. | 50.00 | Nos |  | 60.00 | 3000.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 80.00 | 4000.00 | 43.00 | 2150.00 | 60.00 | 3000.00 | 2150.00 | ABHISHEK INTEGRATIONS LIMITED
30.12 | Supply of 3 Module base & cover plate , Anchor Roma make code No.21372 WH or equivalent. for modular boxes. | 100.00 | Nos |  | 70.00 | 7000.00 | 140.00 | 14000.00 | 60.00 | 6000.00 | 100.00 | 10000.00 | 50.00 | 5000.00 | 99.00 | 9900.00 | 5000.00 | ABHISHEK INTEGRATIONS LIMITED
30.13 | Supply of 4 Module base & cover plate ,Anchor Roma make code No.21339 WH or equivalent. for modular boxes. | 100.00 | Nos |  | 85.00 | 8500.00 | 160.00 | 16000.00 | 67.00 | 6700.00 | 130.00 | 13000.00 | 57.00 | 5700.00 | 99.00 | 9900.00 | 5700.00 | ABHISHEK INTEGRATIONS LIMITED
30.14 | Supply of 6 Module base & cover plate , Anchor Roma make code No.21340 WH or equivalent. for modular boxes. | 250.00 | Nos |  | 120.00 | 30000.00 | 160.00 | 40000.00 | 100.00 | 25000.00 | 150.00 | 37500.00 | 89.00 | 22250.00 | 140.00 | 35000.00 | 22250.00 | ABHISHEK INTEGRATIONS LIMITED
30.15 | Supply of 8/9 Module base & cover plate , Anchor Roma make code No.21431 or equivalent. for modular boxes. | 250.00 | Nos |  | 135.00 | 33750.00 | 180.00 | 45000.00 | 190.00 | 47500.00 | 250.00 | 62500.00 | 108.00 | 27000.00 | 220.00 | 55000.00 | 27000.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | SH: IV CMC & Lift License Items
32.00 | Obtaining Lift license from lift licensing authority i.e govt of tamilnadu by applying three months prior to the date of expiry of the license as required and as per the direction of Engineer-in-Charge. | 1.00 | Job |  | 7000.00 | 7000.00 | 8500.00 | 8500.00 | 1350.00 | 1350.00 | 50000.00 | 50000.00 | 15000.00 | 15000.00 | 9000.00 | 9000.00 | 1350.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
33.00 | All inclusive Comprehensive maintenance contract charges for 10KVA 3ph-3ph Numeric make UPS system installed at Ceremonial lounge etc. complete as required. | 12.00 | Months |  | 10000.00 | 120000.00 | 5000.00 | 60000.00 | 900.00 | 10800.00 | 1000.00 | 12000.00 | 4000.00 | 48000.00 | 2000.00 | 24000.00 | 10800.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
34.00 | SH: V DSR E&M 2018 ITEMS
35.00 | Execution of works as per CPWD Delhi Schedule of Rate (E&M) 2018 as and when required for a fixed amount for 1 st year and 2 nd year as mentioned below. (Note: Rate shall be quoted for 1 st year and 2 nd year in the Indian Rupees only for a fixed amount of Rs.10,00,000/- as clarified below and as per techo-commerical specification P.No TCS -15 of tender document. For Example: If desired to quote 5% above on DSR-2018 rates, the rate column shall be filled as Rs.Rs.10,50,000/- If desired to quote 5% below on DSR-2018 rates, the rate column shall be filled as Rs.9,50,000/-
35.01 | For 1st year - For a fixed amount of Rs.10,00,000/- on CPWD Delhi Schedule of Rate (E&M) 2018 | 1.00 | As Per DSR-2018 |  | 950000.00 | 950000.00 | 780000.00 | 780000.00 | 810000.00 | 810000.00 | 1000000.00 | 1000000.00 | 1000000.00 | 1000000.00 | 900000.00 | 900000.00 | 780000.00 | LAKSHMI ELECTRICAL ENTERPRISES
35.02 | For 2nd year - For a fixed amount of Rs.10,00,000/- on CPWD Delhi Schedule of Rate (E&M) 2018 | 1.00 | As Per DSR-2018 |  | 950000.00 | 950000.00 | 780000.00 | 780000.00 | 810000.00 | 810000.00 | 1000000.00 | 1000000.00 | 1000000.00 | 1000000.00 | 950000.00 | 950000.00 | 780000.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 22780226.00 |  | 21793220.00 |  | 22960318.00 |  | 24914610.00 |  | 22914883.00 |  | 22813086.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(21793220.00)

## BOQ Summary
BOQ Summary Details Tender Title: FMC for Repair and Maintenance of Internal and External Electrical Installations at AAI (Metro) Residential Colony, Operational Office and Other Ancillary Buildings at Chennai International Airport(2022-2024) Tender ID: 2022_AAI_116300_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 21793220.00 | L1
| 2 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 22780226.00 | L2
| 3 | DElite System Engineering (India) Pvt. Ltd. | 22813086.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 22914883.00 | L4
| 5 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 22960318.00 | L5
| 6 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 24914610.00 | L6