## BoQ1
Government eProcurement System Created By: Sudhir Jagdale Created Date/Time: 29-Jun-2022 04:46 PM Tender Title: Construction of New DVOR at Imphal International Airport - Balance Civil and Electrical works during 2022-23 Tender ID: 2022_AAI_116317_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Construction of New DVOR at Imphal International Airport (Balance Civil & Electrical works during 2022-23)
Contract No: 2022_AAI_116317_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PANKAJ KUMAR DAS(GSTN-18AGJPD7590D1ZB) |  | Thokchom Okendro Singh(GSTN-14CFSPS8987M1Z1) |  | M/S M Boudhajit Singh(GSTN-14AFIPM9841A1ZL) |  | G. Kakhangai Kabui(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Filling of earth excavated with help of hydraulic excavator of 0.90 cum bucket capacity within airport area, cutting and loading in tippers, transporting the excavated earth to the area around DVOR Hard Stand including all leads and lifts, breaking clods, levelling, fine dressing in accordance with requirements of lines, grades and cross sections, rolling with power road roller etc. complete as directed by Engineer-in-charge - all kinds of soil (Payment will be made for filling quantity only as per calculations) | 3522.00 | Cum | 100.00 | 165.00 | 581130.00 | 130.00 | 457860.00 | 150.00 | 528300.00 | 332.34 | 1170501.48 | 457860.00 | Thokchom Okendro Singh
2.00 | Construction of Subgrade embankment with Moorum brought out from approved quarry out side the airport premises. The complete operation will include spreading the Moorum with dozer, dressing, levelling, providing camber, grading with motor grader and consolidating with vibratory roller 8-10 tonne capacity including making good the undulation etc. as per technical specifications and drawings complete and directions of Engineer-in-Charge - (Cost includes all leads, lifts, taxes, royalty and operations) | 10158.00 | Cum | 100.00 | 2100.00 | 21331800.00 | 1610.00 | 16354380.00 | 1500.00 | 15237000.00 | 640.11 | 6502237.38 | 6502237.38 | G. Kakhangai Kabui
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth, lead upto 50m and lift upto 1.5m, as directed by Engineer-incharge - All kinds of soil | 5.00 | Cum | 10.00 | 250.00 | 1250.00 | 285.00 | 1425.00 | 290.00 | 1450.00 | 289.24 | 1446.20 | 1250.00 | PANKAJ KUMAR DAS
4.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. - All kinds of soil | 6.00 | Cum | 10.00 | 310.00 | 1860.00 | 380.00 | 2280.00 | 400.00 | 2400.00 | 401.29 | 2407.74 | 1860.00 | PANKAJ KUMAR DAS
5.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m - All kinds of soil - Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia. | 316.00 | metre | 10.00 | 560.00 | 176960.00 | 580.00 | 183280.00 | 410.00 | 129560.00 | 442.97 | 139978.52 | 129560.00 | M/S M Boudhajit Singh
6.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m | 7.00 | Cum | 10.00 | 320.00 | 2240.00 | 340.00 | 2380.00 | 340.00 | 2380.00 | 349.36 | 2445.52 | 2240.00 | PANKAJ KUMAR DAS
7.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials - All kinds of soil. | 1.00 | Cum | 10.00 | 265.00 | 265.00 | 145.00 | 145.00 | 145.00 | 145.00 | 169.16 | 169.16 | 145.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
8.00 | Supplying and filling in plinth with local sand under floors, including watering, ramming, consolidating and dressing complete. | 14.00 | Cum | 10.00 | 4500.00 | 63000.00 | 3000.00 | 42000.00 | 2900.00 | 40600.00 | 3106.37 | 43489.18 | 40600.00 | M/S M Boudhajit Singh
9.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth upto 30 cm measured at a height of 1 m above ground level and removal of rubbish upto a distance of 50 m outside the periphery of the area cleared. | 220.00 | Sqm | 10.00 | 35.00 | 7700.00 | 20.00 | 4400.00 | 20.00 | 4400.00 | 19.96 | 4391.20 | 4391.20 | G. Kakhangai Kabui
10.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level - 1:1.5:3 (1 cement : 1.5 coarse sand :3 graded stone aggregate 20 mm nominal size) | 1.00 | Cum | 10.00 | 12800.00 | 12800.00 | 10800.00 | 10800.00 | 11200.00 | 11200.00 | 11468.52 | 11468.52 | 10800.00 | Thokchom Okendro Singh
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level - 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 232.00 | Cum | 10.00 | 11800.00 | 2737600.00 | 10000.00 | 2320000.00 | 10400.00 | 2412800.00 | 10416.32 | 2416586.24 | 2320000.00 | Thokchom Okendro Singh
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level. - 1:3:6 (1 cement :3 coarse sand : 6 graded stone aggregate 40 mm nominal size) | 10.00 | Cum | 10.00 | 8600.00 | 86000.00 | 9500.00 | 95000.00 | 8800.00 | 88000.00 | 9743.92 | 97439.20 | 86000.00 | PANKAJ KUMAR DAS
13.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level - 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 376.00 | Cum | 10.00 | 8400.00 | 3158400.00 | 8750.00 | 3290000.00 | 8400.00 | 3158400.00 | 8883.47 | 3340184.72 | 3158400.00 | PANKAJ KUMAR DAS, M/S M Boudhajit Singh
14.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grade of concrete - All works upto plinth level : Concrete of M25 grade with minimum cement content of 330 kg /cum Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | 2.00 | cum. | 10.00 | 12850.00 | 25700.00 | 12000.00 | 24000.00 | 11850.00 | 23700.00 | 13358.22 | 26716.44 | 23700.00 | M/S M Boudhajit Singh
15.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grade of concrete - All works above plinth level upto floor V level : Concrete of M25 grade with minimum cement content of 330 kg /cum Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be pcement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement | 3.00 | cum. | 10.00 | 13700.00 | 41100.00 | 14428.00 | 43284.00 | 13100.00 | 39300.00 | 15590.60 | 46771.80 | 39300.00 | M/S M Boudhajit Singh
16.00 | Centering and shuttering including strutting propping etc. and removal of from for : Foundations, footings, bases of columns etc. for mass concrete. | 3.00 | sqm. | 100.00 | 410.00 | 1230.00 | 400.00 | 1200.00 | 400.00 | 1200.00 | 346.46 | 1039.38 | 1039.38 | G. Kakhangai Kabui
17.00 | Centering and shuttering including strutting propping etc. and removal of from for : Suspended floors, roofs, landings, balconies and access platform. | 14.00 | sqm. | 100.00 | 820.00 | 11480.00 | 800.00 | 11200.00 | 800.00 | 11200.00 | 842.95 | 11801.30 | 11200.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
18.00 | Centering and shuttering including strutting propping etc. and removal of from for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 23.00 | sqm. | 10.00 | 710.00 | 16330.00 | 750.00 | 17250.00 | 750.00 | 17250.00 | 671.45 | 15443.35 | 15443.35 | G. Kakhangai Kabui
19.00 | Centering and shuttering including strutting propping etc. and removal of from for : Columns, Pillars, Piers, Abutements, Posts and Struts. | 22.00 | sqm. | 10.00 | 830.00 | 18260.00 | 850.00 | 18700.00 | 850.00 | 18700.00 | 892.39 | 19632.58 | 18260.00 | PANKAJ KUMAR DAS
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 240.00 | kg | 10.00 | 120.00 | 28800.00 | 125.00 | 30000.00 | 125.00 | 30000.00 | 125.00 | 30000.00 | 28800.00 | PANKAJ KUMAR DAS
21.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 360.00 | kg | 10.00 | 120.00 | 43200.00 | 125.00 | 45000.00 | 125.00 | 45000.00 | 125.00 | 45000.00 | 43200.00 | PANKAJ KUMAR DAS
22.00 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections | 23.00 | metre | 10.00 | 110.00 | 2530.00 | 85.00 | 1955.00 | 85.00 | 1955.00 | 93.68 | 2154.64 | 1955.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
23.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 95.00 | cum. | 10.00 | 9500.00 | 902500.00 | 9321.00 | 885495.00 | 9200.00 | 874000.00 | 12674.00 | 1204030.00 | 874000.00 | M/S M Boudhajit Singh
24.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 8.00 | Cum | 10.00 | 11400.00 | 91200.00 | 11000.00 | 88000.00 | 10500.00 | 84000.00 | 12674.00 | 101392.00 | 84000.00 | M/S M Boudhajit Singh
25.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble Area of slab over 0.50 sqm | 1.00 | sqm | 10.00 | 3900.00 | 3900.00 | 3200.00 | 3200.00 | 3200.00 | 3200.00 | 4060.04 | 4060.04 | 3200.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
26.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1.00 | each | 10.00 | 1560.00 | 1560.00 | 1200.00 | 1200.00 | 1200.00 | 1200.00 | 1374.49 | 1374.49 | 1200.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
27.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately) - Kiln seasoned and chemically treated hollock wood | 1.00 | cum. | 10.00 | 98000.00 | 98000.00 | 105000.00 | 105000.00 | 99500.00 | 99500.00 | 114114.08 | 114114.08 | 98000.00 | PANKAJ KUMAR DAS
28.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 9.00 | Sqm | 10.00 | 3790.00 | 34110.00 | 4000.00 | 36000.00 | 4000.00 | 36000.00 | 4384.03 | 39456.27 | 34110.00 | PANKAJ KUMAR DAS
29.00 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | 9.00 | Sqm | 10.00 | 150.00 | 1350.00 | 130.00 | 1170.00 | 130.00 | 1170.00 | 175.24 | 1577.16 | 1170.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
30.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete - Fixed to openings /wooden frames with rawl plugs screws etc. | 120.00 | kg | 10.00 | 260.00 | 31200.00 | 280.00 | 33600.00 | 280.00 | 33600.00 | 343.37 | 41204.40 | 31200.00 | PANKAJ KUMAR DAS
31.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand: 6 graded stone aggregate 20mm nominal size). | 24.00 | each | 100.00 | 250.00 | 6000.00 | 200.00 | 4800.00 | 200.00 | 4800.00 | 285.02 | 6840.48 | 4800.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
32.00 | Providing and fixing bright finished brass 100 mm mortice latch with one dead bolt and a pair of lever handles of approved quality with necessary screws etc. complete. | 5.00 | each | 100.00 | 860.00 | 4300.00 | 900.00 | 4500.00 | 900.00 | 4500.00 | 942.15 | 4710.75 | 4300.00 | PANKAJ KUMAR DAS
33.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 7.00 | each | 10.00 | 1600.00 | 11200.00 | 1500.00 | 10500.00 | 1500.00 | 10500.00 | 1596.09 | 11172.63 | 10500.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
34.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 8.00 | each | 10.00 | 420.00 | 3360.00 | 380.00 | 3040.00 | 380.00 | 3040.00 | 409.00 | 3272.00 | 3040.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
35.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 8.00 | each | 10.00 | 210.00 | 1680.00 | 210.00 | 1680.00 | 210.00 | 1680.00 | 164.70 | 1317.60 | 1317.60 | G. Kakhangai Kabui
36.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 2.00 | each | 10.00 | 80.00 | 160.00 | 130.00 | 260.00 | 130.00 | 260.00 | 119.29 | 238.58 | 160.00 | PANKAJ KUMAR DAS
37.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 16.00 | each | 10.00 | 50.00 | 800.00 | 90.00 | 1440.00 | 90.00 | 1440.00 | 84.06 | 1344.96 | 800.00 | PANKAJ KUMAR DAS
38.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 75 mm | 4.00 | each | 10.00 | 30.00 | 120.00 | 85.00 | 340.00 | 85.00 | 340.00 | 73.01 | 292.04 | 120.00 | PANKAJ KUMAR DAS
39.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete - Twin rubber stopper | 7.00 | each | 10.00 | 81.00 | 567.00 | 79.00 | 553.00 | 79.00 | 553.00 | 98.69 | 690.83 | 553.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
40.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality - 1.5 mm thick | 103.00 | sqm | 10.00 | 910.50 | 93781.50 | 1100.00 | 113300.00 | 1100.00 | 113300.00 | 1340.41 | 138062.23 | 93781.50 | PANKAJ KUMAR DAS
41.00 | Providing and fixing Pre - laminated medium density fibre board exterior grade (Grade-I) IS:14587:1998 marked, to frame, backing or studding with screws etc. complete ( Frames, backing or studding to be paid separately) - Pre-laminated with decorative lamination on both side exterior Grade - I MDF Board 12 mm thick conforming to IS:14587 | 103.00 | sqm | 10.00 | 1200.00 | 123600.00 | 1450.00 | 149350.00 | 1425.00 | 146775.00 | 1407.85 | 145008.55 | 123600.00 | PANKAJ KUMAR DAS
42.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 7995.00 | kg | 10.00 | 135.00 | 1079325.00 | 125.00 | 999375.00 | 125.00 | 999375.00 | 136.87 | 1094275.65 | 999375.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
43.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 185.00 | kg | 10.00 | 135.00 | 24975.00 | 130.00 | 24050.00 | 146.00 | 27010.00 | 161.83 | 29938.55 | 24050.00 | Thokchom Okendro Singh
44.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 6.00 | sqm | 10.00 | 10800.00 | 64800.00 | 12400.00 | 74400.00 | 13000.00 | 78000.00 | 13790.60 | 82743.60 | 64800.00 | PANKAJ KUMAR DAS
45.00 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer - Using M.S. angles 40x40x6 mm for diagonal braces | 12.50 | sqm | 10.00 | 5950.00 | 74375.00 | 6700.00 | 83750.00 | 6700.00 | 83750.00 | 7043.06 | 88038.25 | 74375.00 | PANKAJ KUMAR DAS
46.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 61.00 | kg | 100.00 | 140.00 | 8540.00 | 130.00 | 7930.00 | 130.00 | 7930.00 | 133.37 | 8135.57 | 7930.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
47.00 | Providing and fixing bolts including nuts and washers complete. | 6.00 | kg | 100.00 | 165.00 | 990.00 | 195.00 | 1170.00 | 195.00 | 1170.00 | 204.31 | 1225.86 | 990.00 | PANKAJ KUMAR DAS
48.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 14.00 | sqm. | 10.00 | 1450.00 | 20300.00 | 1500.00 | 21000.00 | 1500.00 | 21000.00 | 1638.72 | 22942.08 | 20300.00 | PANKAJ KUMAR DAS
49.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 5.00 | sqm. | 10.00 | 1320.00 | 6600.00 | 1350.00 | 6750.00 | 1350.00 | 6750.00 | 1474.26 | 7371.30 | 6600.00 | PANKAJ KUMAR DAS
50.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete - Size of Tile 600x600 mm | 49.00 | sqm. | 10.00 | 1623.00 | 79527.00 | 2100.00 | 102900.00 | 2100.00 | 102900.00 | 2386.66 | 116946.34 | 79527.00 | PANKAJ KUMAR DAS
51.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion - Single socketed pipes - 110 mm diameter | 16.00 | metre | 10.00 | 475.00 | 7600.00 | 430.00 | 6880.00 | 430.00 | 6880.00 | 485.19 | 7763.04 | 6880.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
52.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion - Bend 87.5° - 110 mm bend | 4.00 | each | 10.00 | 196.00 | 784.00 | 187.00 | 748.00 | 187.00 | 748.00 | 206.53 | 826.12 | 748.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
53.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion - Shoe (Plain) - 110 mm Shoe | 4.00 | each | 10.00 | 149.00 | 596.00 | 163.00 | 652.00 | 163.00 | 652.00 | 181.00 | 724.00 | 596.00 | PANKAJ KUMAR DAS
54.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete - 110 mm | 16.00 | each | 10.00 | 390.00 | 6240.00 | 420.00 | 6720.00 | 420.00 | 6720.00 | 459.34 | 7349.44 | 6240.00 | PANKAJ KUMAR DAS
55.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 50.00 | sqm | 10.00 | 2150.00 | 107500.00 | 2450.00 | 122500.00 | 2450.00 | 122500.00 | 2623.01 | 131150.50 | 107500.00 | PANKAJ KUMAR DAS
56.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 189.00 | sqm. | 10.00 | 340.00 | 64260.00 | 420.00 | 79380.00 | 420.00 | 79380.00 | 439.22 | 83012.58 | 64260.00 | PANKAJ KUMAR DAS
57.00 | 15 mm cement plaster on rough side of single or half brick wall of mix : 1:6 (1 cement: 6 coarse sand) | 347.00 | sqm. | 10.00 | 395.00 | 137065.00 | 480.00 | 166560.00 | 480.00 | 166560.00 | 483.36 | 167725.92 | 137065.00 | PANKAJ KUMAR DAS
58.00 | 6 mm cement plaster of mix - 1:3 (1 cement : 3 coarse sand) | 100.00 | sqm. | 10.00 | 269.00 | 26900.00 | 370.00 | 37000.00 | 370.00 | 37000.00 | 361.61 | 36161.00 | 26900.00 | PANKAJ KUMAR DAS
59.00 | White washing with lime to give an even shade New work (three or more coats) | 55.00 | sqm. | 10.00 | 45.00 | 2475.00 | 45.00 | 2475.00 | 45.00 | 2475.00 | 45.41 | 2497.55 | 2475.00 | PANKAJ KUMAR DAS, Thokchom Okendro Singh, M/S M Boudhajit Singh
60.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/ 10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm). | 547.00 | Sqm | 10.00 | 230.00 | 125810.00 | 290.00 | 158630.00 | 230.00 | 125810.00 | 256.31 | 140201.57 | 125810.00 | PANKAJ KUMAR DAS, M/S M Boudhajit Singh
61.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 500.00 | sqm. | 100.00 | 290.00 | 145000.00 | 300.00 | 150000.00 | 270.00 | 135000.00 | 281.76 | 140880.00 | 135000.00 | M/S M Boudhajit Singh
62.00 | Varnishing with varnish of approved brand and manufacture : Two or more coats of glue sizing with copal varnish over an under coat of flatting varnish | 25.00 | sqm. | 100.00 | 280.00 | 7000.00 | 275.00 | 6875.00 | 275.00 | 6875.00 | 290.11 | 7252.75 | 6875.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
63.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres. | 936.00 | Sqm | 10.00 | 250.00 | 234000.00 | 240.00 | 224640.00 | 240.00 | 224640.00 | 249.31 | 233354.16 | 224640.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
64.00 | Cement Concrete 1:2:4 (1 cement : 2coarse sand : 4 graded stone aggregate 40mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 187.00 | Cum | 10.00 | 9800.00 | 1832600.00 | 10500.00 | 1963500.00 | 10100.00 | 1888700.00 | 10880.51 | 2034655.37 | 1832600.00 | PANKAJ KUMAR DAS
65.00 | Providing and laying in position bitumen hot sealing compound for expansion joints etc: Using grade 'A' sealing compound. | 271.00 | per cm depth per cm width per m length | 10.00 | 15.00 | 4065.00 | 15.00 | 4065.00 | 15.00 | 4065.00 | 5.24 | 1420.04 | 1420.04 | G. Kakhangai Kabui
66.00 | Providing and laying at or near ground level factory made kerb stone of M25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 57.00 | Cum | 10.00 | 11600.00 | 661200.00 | 13800.00 | 786600.00 | 12600.00 | 718200.00 | 13322.43 | 759378.51 | 661200.00 | PANKAJ KUMAR DAS
67.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge.Made of G.I. wire of dia 4 mm | 1776.00 | sqm | 10.00 | 950.00 | 1687200.00 | 1650.00 | 2930400.00 | 1400.00 | 2486400.00 | 1267.96 | 2251896.96 | 1687200.00 | PANKAJ KUMAR DAS
68.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge.With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 153.00 | cum | 10.00 | 2590.00 | 396270.00 | 3800.00 | 581400.00 | 2700.00 | 413100.00 | 4194.68 | 641786.04 | 396270.00 | PANKAJ KUMAR DAS
69.00 | Providing and laying matt finished vitrified tile of size 300x300x9.8mm having water absorption less than 0.5% and conforming to IS: 15622 of approved make in all colours and shades in outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | 3.50 | sqm. | 10.00 | 1560.00 | 5460.00 | 1700.00 | 5950.00 | 1700.00 | 5950.00 | 2011.69 | 7040.92 | 5460.00 | PANKAJ KUMAR DAS
70.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | 143.00 | metre | 10.00 | 620.00 | 88660.00 | 800.00 | 114400.00 | 800.00 | 114400.00 | 735.78 | 105216.54 | 88660.00 | PANKAJ KUMAR DAS
71.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge - 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 110.00 | sqm | 10.00 | 1365.00 | 150150.00 | 1400.00 | 154000.00 | 1800.00 | 198000.00 | 1515.76 | 166733.60 | 150150.00 | PANKAJ KUMAR DAS
72.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I.brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required - W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | each | 10.00 | 9200.00 | 9200.00 | 9600.00 | 9600.00 | 7500.00 | 7500.00 | 10632.62 | 10632.62 | 7500.00 | M/S M Boudhajit Singh
73.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required - Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 1.00 | each | 10.00 | 11900.00 | 11900.00 | 12500.00 | 12500.00 | 12500.00 | 12500.00 | 14888.22 | 14888.22 | 11900.00 | PANKAJ KUMAR DAS
74.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 1.00 | each | 10.00 | 3455.00 | 3455.00 | 3200.00 | 3200.00 | 3200.00 | 3200.00 | 4911.05 | 4911.05 | 3200.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
75.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board 610x510 mm bowl depth 200 mm | 1.00 | each | 10.00 | 5985.00 | 5985.00 | 4800.00 | 4800.00 | 4800.00 | 4800.00 | 5776.06 | 5776.06 | 4800.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
76.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 15.00 | metre | 100.00 | 2195.00 | 32925.00 | 1450.00 | 21750.00 | 1450.00 | 21750.00 | 1603.56 | 24053.40 | 21750.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
77.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : 100 mm dia pipe | 5.00 | each | 100.00 | 194.00 | 970.00 | 240.00 | 1200.00 | 240.00 | 1200.00 | 236.11 | 1180.55 | 970.00 | PANKAJ KUMAR DAS
78.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia Sand cast iron S&S as per IS - 1729 | 5.00 | each | 10.00 | 870.00 | 4350.00 | 780.00 | 3900.00 | 780.00 | 3900.00 | 734.26 | 3671.30 | 3671.30 | G. Kakhangai Kabui
79.00 | Providing and fixing plain bend of required degree. 100 mm dia - Sand cast iron S&S as per IS - 1729 | 5.00 | each | 10.00 | 675.00 | 3375.00 | 620.00 | 3100.00 | 620.00 | 3100.00 | 606.54 | 3032.70 | 3032.70 | G. Kakhangai Kabui
80.00 | Providing and fixing collar : 100 mm dia - Sand cast iron S&S as per IS - 1729 | 5.00 | each | 10.00 | 610.00 | 3050.00 | 510.00 | 2550.00 | 510.00 | 2550.00 | 581.02 | 2905.10 | 2550.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
81.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 10.00 | each | 10.00 | 869.00 | 8690.00 | 650.00 | 6500.00 | 650.00 | 6500.00 | 765.76 | 7657.60 | 6500.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
82.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 3989 | 3.00 | each | 10.00 | 1835.00 | 5505.00 | 1950.00 | 5850.00 | 1950.00 | 5850.00 | 2405.74 | 7217.22 | 5505.00 | PANKAJ KUMAR DAS
83.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. - Concealed work, including cutting chases and making good the walls etc. 15 mm nominal outer dia Pipes | 5.00 | metre | 10.00 | 711.00 | 3555.00 | 580.00 | 2900.00 | 580.00 | 2900.00 | 651.56 | 3257.80 | 2900.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
84.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes | 5.00 | metre | 10.00 | 695.00 | 3475.00 | 740.00 | 3700.00 | 740.00 | 3700.00 | 760.50 | 3802.50 | 3475.00 | PANKAJ KUMAR DAS
85.00 | Providing and fixing uplasticised PVC connection pipe with brass unions - 45 cm length 15 mm nominal bore | 3.00 | each | 10.00 | 167.00 | 501.00 | 140.00 | 420.00 | 140.00 | 420.00 | 132.01 | 396.03 | 396.03 | G. Kakhangai Kabui
86.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | 1000.00 | per litre | 10.00 | 20.00 | 20000.00 | 12.00 | 12000.00 | 12.00 | 12000.00 | 14.00 | 14000.00 | 12000.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
87.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 - 15 mm nominal bore | 1.00 | each | 10.00 | 498.00 | 498.00 | 654.00 | 654.00 | 654.00 | 654.00 | 666.35 | 666.35 | 498.00 | PANKAJ KUMAR DAS
88.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 1.00 | each | 10.00 | 915.00 | 915.00 | 955.00 | 955.00 | 955.00 | 955.00 | 878.53 | 878.53 | 878.53 | G. Kakhangai Kabui
89.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15 mm nominal bore 15 mm nominal bore | 4.00 | each | 10.00 | 716.00 | 2864.00 | 740.00 | 2960.00 | 740.00 | 2960.00 | 846.16 | 3384.64 | 2864.00 | PANKAJ KUMAR DAS
90.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 100.00 | metre | 10.00 | 986.00 | 98600.00 | 1300.00 | 130000.00 | 1500.00 | 150000.00 | 1373.65 | 137365.00 | 98600.00 | PANKAJ KUMAR DAS
91.00 | Providing and fixing in position precast R.C.C. manhole cover and frame of required shape and approved quality - L D- 2.5 - Rectangular shape 600x450mm internal dimension. | 2.00 | Each | 100.00 | 1890.00 | 3780.00 | 1750.00 | 3500.00 | 1750.00 | 3500.00 | 1073.60 | 2147.20 | 2147.20 | G. Kakhangai Kabui
92.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 50.00 | kg | 100.00 | 620.00 | 31000.00 | 635.00 | 31750.00 | 635.00 | 31750.00 | 725.76 | 36288.00 | 31000.00 | PANKAJ KUMAR DAS
93.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 32.00 | kg | 10.00 | 746.00 | 23872.00 | 810.00 | 25920.00 | 810.00 | 25920.00 | 868.98 | 27807.36 | 23872.00 | PANKAJ KUMAR DAS
94.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge - Pre-laminated particle board with decorative lamination on both sides. | 19.00 | Sqm | 10.00 | 1490.00 | 28310.00 | 1350.00 | 25650.00 | 1350.00 | 25650.00 | 1665.12 | 31637.28 | 25650.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
95.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge -With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 15.00 | sqm. | 10.00 | 1867.00 | 28005.00 | 1760.00 | 26400.00 | 1760.00 | 26400.00 | 2061.95 | 30929.25 | 26400.00 | Thokchom Okendro Singh, M/S M Boudhajit Singh
96.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 70.00 | sqm | 10.00 | 2110.00 | 147700.00 | 2800.00 | 196000.00 | 1750.00 | 122500.00 | 2224.34 | 155703.80 | 122500.00 | M/S M Boudhajit Singh
97.00 | Supplying and fixing following way, three pole and neutral, MCB distribution board, 415 volts,'C' Curve on surface/ recess, complete with tinned copper busbars, neutral link, earth bar, din bar, detachable gland plate,cable end box interconnections, phosphatized and powder painted including earthing etc.as required (but without MCB/RCCB/Isolator). 8 way (4 + 24),Prewired Vertical double door, vertical type. | 1.00 | Each | 10.00 | 15000.00 | 15000.00 | 15800.00 | 15800.00 | 13900.00 | 13900.00 | 7317.98 | 7317.98 | 7317.98 | G. Kakhangai Kabui
98.00 | Supplying and fixing following way, three pole and neutral, MCB distribution board, 415 volts,'C' Curve on surface/ recess, complete with tinned copper busbars, neutral link, earth bar, din bar, detachable gland plate,cable end box interconnections, phosphatized and powder painted including earthing etc.as required (but without MCB/RCCB/Isolator). 4 way (4 + 12), Prewired Vertical double door, vertical type. | 1.00 | Each | 10.00 | 12000.00 | 12000.00 | 13100.00 | 13100.00 | 11200.00 | 11200.00 | 4879.71 | 4879.71 | 4879.71 | G. Kakhangai Kabui
99.00 | Supplying and fixing 63 Amps C Series FP MCB rating, 415 volts, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | 1.00 | Each | 10.00 | 250.00 | 250.00 | 280.00 | 280.00 | 220.00 | 220.00 | 4416.87 | 4416.87 | 220.00 | M/S M Boudhajit Singh
100.00 | Supplying and fixing of following rating, 240/415 volts, 'C' curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. 32 Amps TP MCB | 2.00 | Each | 10.00 | 400.00 | 800.00 | 510.00 | 1020.00 | 385.00 | 770.00 | 1313.77 | 2627.54 | 770.00 | M/S M Boudhajit Singh
101.00 | Supplying and fixing of following rating, 240/415 volts, 'C' curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. 32 A TPN MCB | 1.00 | Each | 10.00 | 410.00 | 410.00 | 530.00 | 530.00 | 390.00 | 390.00 | 1736.85 | 1736.85 | 390.00 | M/S M Boudhajit Singh
102.00 | Supplying and fixing of following rating, 240/415 volts, 'C' curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. 6 to 32 Amps SP MCB | 27.00 | Each | 10.00 | 250.00 | 6750.00 | 230.00 | 6210.00 | 180.00 | 4860.00 | 316.51 | 8545.77 | 4860.00 | M/S M Boudhajit Singh
103.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required. Group C | 28.00 | Point | 10.00 | 650.00 | 18200.00 | 645.00 | 18060.00 | 615.00 | 17220.00 | 1891.13 | 52951.64 | 17220.00 | M/S M Boudhajit Singh
104.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 300.00 | Meter | 10.00 | 350.00 | 105000.00 | 380.00 | 114000.00 | 300.00 | 90000.00 | 421.49 | 126447.00 | 90000.00 | M/S M Boudhajit Singh
105.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 10.00 | Each | 10.00 | 380.00 | 3800.00 | 450.00 | 4500.00 | 350.00 | 3500.00 | 637.80 | 6378.00 | 3500.00 | M/S M Boudhajit Singh
106.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRLSont on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 11.00 | Each | 100.00 | 460.00 | 5060.00 | 610.00 | 6710.00 | 425.00 | 4675.00 | 787.30 | 8660.30 | 4675.00 | M/S M Boudhajit Singh
107.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 x 2.5 + 1 X 2.5 sq. mm earth wire | 110.00 | Meter | 100.00 | 300.00 | 33000.00 | 325.00 | 35750.00 | 310.00 | 34100.00 | 364.23 | 40065.30 | 33000.00 | PANKAJ KUMAR DAS
108.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 4 x 2.5 + 2 X 2.5 sq. mm earth wire | 15.00 | Meter | 10.00 | 430.00 | 6450.00 | 475.00 | 7125.00 | 480.00 | 7200.00 | 539.19 | 8087.85 | 6450.00 | PANKAJ KUMAR DAS
109.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface / recess including painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as required.( For Telephone system). 20mm | 50.00 | Meter | 10.00 | 850.00 | 42500.00 | 1020.00 | 51000.00 | 740.00 | 37000.00 | 232.22 | 11611.00 | 11611.00 | G. Kakhangai Kabui
110.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone socket outlet | 4.00 | Each | 10.00 | 156.00 | 624.00 | 185.00 | 740.00 | 180.00 | 720.00 | 189.27 | 757.08 | 624.00 | PANKAJ KUMAR DAS
111.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 1 or 2 Module (75mmX75mm) | 4.00 | Each | 10.00 | 550.00 | 2200.00 | 610.00 | 2440.00 | 510.00 | 2040.00 | 386.50 | 1546.00 | 1546.00 | G. Kakhangai Kabui
112.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 4.00 | Each | 10.00 | 600.00 | 2400.00 | 810.00 | 3240.00 | 720.00 | 2880.00 | 50.90 | 203.60 | 203.60 | G. Kakhangai Kabui
113.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 7.00 | Each | 10.00 | 2560.00 | 17920.00 | 2800.00 | 19600.00 | 2350.00 | 16450.00 | 1959.52 | 13716.64 | 13716.64 | G. Kakhangai Kabui
114.00 | Supply of surface /recess mounting type 20 W, 2'x2' LED type Luminaire fitted with white colour LED suitable to operate 230V, 50Hz AC supply | 14.00 | Each | 10.00 | 150.00 | 2100.00 | 190.00 | 2660.00 | 170.00 | 2380.00 | 6207.80 | 86909.20 | 2100.00 | PANKAJ KUMAR DAS
115.00 | Supply of outdoor type street light 30W, LED Luminaire fitted with white colour LED suitable to operate 230V, 50Hz AC supply. | 6.00 | Each | 10.00 | 260.00 | 1560.00 | 240.00 | 1440.00 | 245.00 | 1470.00 | 3398.94 | 20393.64 | 1440.00 | Thokchom Okendro Singh
116.00 | Supply of 1200 mm sweep five star rated ceiling fan, with double ball bearing, standard down rod and other standard accessories etc without regulator suitable for operation on 230 V 50 Hz AC supply. | 3.00 | Each | 10.00 | 2500.00 | 7500.00 | 3050.00 | 9150.00 | 2630.00 | 7890.00 | 3204.90 | 9614.70 | 7500.00 | PANKAJ KUMAR DAS
117.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required | 3.00 | Each | 10.00 | 250.00 | 750.00 | 215.00 | 645.00 | 190.00 | 570.00 | 411.94 | 1235.82 | 570.00 | M/S M Boudhajit Singh
118.00 | Supply of 300 mm dia, single phase 240 Volts exhaust fan complete with all accessories such as, motor, blade, louvers, capacitor etc. including all accessories as required. | 3.00 | Each | 10.00 | 1800.00 | 5400.00 | 2000.00 | 6000.00 | 2000.00 | 6000.00 | 5172.00 | 15516.00 | 5400.00 | PANKAJ KUMAR DAS
119.00 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 16.00 | Each | 10.00 | 165.00 | 2640.00 | 145.00 | 2320.00 | 185.00 | 2960.00 | 125.65 | 2010.40 | 2010.40 | G. Kakhangai Kabui
120.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 3.00 | Each | 10.00 | 460.00 | 1380.00 | 520.00 | 1560.00 | 500.00 | 1500.00 | 265.62 | 796.86 | 796.86 | G. Kakhangai Kabui
121.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.Upto 450 mm sweep | 3.00 | Each | 10.00 | 530.00 | 1590.00 | 580.00 | 1740.00 | 640.00 | 1920.00 | 533.29 | 1599.87 | 1590.00 | PANKAJ KUMAR DAS
122.00 | Installation, testing and commissioning of outdoor type street light 30W, LED Luminaire i/c interconnection complete as required. | 6.00 | Each | 100.00 | 2650.00 | 15900.00 | 2800.00 | 16800.00 | 2800.00 | 16800.00 | 147.82 | 886.92 | 886.92 | G. Kakhangai Kabui
123.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Each | 100.00 | 3500.00 | 7000.00 | 2400.00 | 4800.00 | 3410.00 | 6820.00 | 12584.19 | 25168.38 | 4800.00 | Thokchom Okendro Singh
124.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 20.00 | Meter | 10.00 | 95.00 | 1900.00 | 85.00 | 1700.00 | 110.00 | 2200.00 | 205.83 | 4116.60 | 1700.00 | Thokchom Okendro Singh
125.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 60.00 | Meter | 10.00 | 85.00 | 5100.00 | 80.00 | 4800.00 | 120.00 | 7200.00 | 52.39 | 3143.40 | 3143.40 | G. Kakhangai Kabui
126.00 | Supply of following size of 1.1kv grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part - I) with upto date amendments. 4 core, 25 Sq.mm (equipment DB incomer) | 20.00 | Meter | 10.00 | 1865.00 | 37300.00 | 1600.00 | 32000.00 | 1560.00 | 31200.00 | 344.30 | 6886.00 | 6886.00 | G. Kakhangai Kabui
127.00 | Supply of following size of 1.1kv grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part - I) with upto date amendments. 4 core, 16 Sq.mm (Light ) | 20.00 | Meter | 10.00 | 950.00 | 19000.00 | 825.00 | 16500.00 | 870.00 | 17400.00 | 252.61 | 5052.20 | 5052.20 | G. Kakhangai Kabui
128.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 30.00 | Meter | 10.00 | 750.00 | 22500.00 | 795.00 | 23850.00 | 685.00 | 20550.00 | 41.17 | 1235.10 | 1235.10 | G. Kakhangai Kabui
129.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 core, 25 Sq.mm. AL Cable | 2.00 | Sets | 10.00 | 3650.00 | 7300.00 | 3400.00 | 6800.00 | 3500.00 | 7000.00 | 381.72 | 763.44 | 763.44 | G. Kakhangai Kabui
130.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 core, 16 Sq.mm. AL cable | 2.00 | Sets | 10.00 | 3900.00 | 7800.00 | 3620.00 | 7240.00 | 4100.00 | 8200.00 | 381.72 | 763.44 | 763.44 | G. Kakhangai Kabui
131.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 3.00 | Each | 10.00 | 1230.00 | 3690.00 | 1400.00 | 4200.00 | 1450.00 | 4350.00 | 14.97 | 44.91 | 44.91 | G. Kakhangai Kabui
132.00 | Supply of Surface mounting 1 x 20W 4 feet LED Batten confirming to relevent IS specification with upto date ammendments | 2.00 | Each | 10.00 | 360.00 | 720.00 | 410.00 | 820.00 | 320.00 | 640.00 | 2385.78 | 4771.56 | 640.00 | M/S M Boudhajit Singh
133.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 20.00 | Meter | 10.00 | 2400.00 | 48000.00 | 2150.00 | 43000.00 | 2450.00 | 49000.00 | 1356.71 | 27134.20 | 27134.20 | G. Kakhangai Kabui
134.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 10.00 | Meter | 10.00 | 435.00 | 4350.00 | 525.00 | 5250.00 | 400.00 | 4000.00 | 327.65 | 3276.50 | 3276.50 | G. Kakhangai Kabui
135.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. 300 mm width X 50 mm depth X 1.6 mm thickness | 10.00 | metre | 10.00 | 1700.00 | 17000.00 | 2300.00 | 23000.00 | 1400.00 | 14000.00 | 2724.56 | 27245.60 | 14000.00 | M/S M Boudhajit Singh
136.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 10.00 | Metre | 10.00 | 580.00 | 5800.00 | 680.00 | 6800.00 | 680.00 | 6800.00 | 559.86 | 5598.60 | 5598.60 | G. Kakhangai Kabui
| Total in Figures |  |  |  |  | 37790414.50 |  | 34285606.00 |  | 32246872.00 |  | 25218409.48
Lowest Amount Quoted BY: G. Kakhangai Kabui(25218409.48)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New DVOR at Imphal International Airport - Balance Civil and Electrical works during 2022-23 Tender ID: 2022_AAI_116317_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | G. Kakhangai Kabui | 25218409.48 | L1
| 2 | M/S M Boudhajit Singh | 32246872.00 | L2
| 3 | Thokchom Okendro Singh | 34285606.00 | L3
| 4 | PANKAJ KUMAR DAS | 37790414.50 | L4