## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 15-Jul-2022 05:02 PM Tender Title: Provision of walkway, washroom and creation of waiting hall for Arival passenger in car park area at Civil Airport Jammu. SH Electrical works Tender ID: 2022_AAI_116452_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: Provision of walkway, washroom and creation of waiting hall for Arival passenger in car park area at Civil Airport Jammu. [SH: Electrical works]
Tender ID:2022_AAI_ 116452
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH(I): SITC of light fixtures etc.,
1.01 | Supply, Installation, Testing & Commissioning of 60 W LED asymmetrical flood light/down light luminaires (Make:bajaj BJFL 60W LED OR equivalent) with high pressure die cast housing having IP 66 protection, suitable to operate on 230 V 50 Hz AC supply , to be installed under the tensile fabric canopy, including electronic driver of same make as of LED, complete as required on site.The luminaire is designed to meet its specifications on performance & lifetime at a desigen ambient temperature of 45 degree and operating temperature range 0-50 C. A specially designed heat management system to ensure luminous efficacy ≥110 (Lumen/w) for the system and ensure lumen depriciation upto 30% over 50k burning hours., CRI ≥70, should have inbuilt Surge protection ≥4 KV, IP66 rating complete as per specifications . (05 years guarantee shall be provided for complete fittings I/c controller/driver by manufacture in favour of AAI.) | 8.00 | Each | 5404.00 | 3380.00 | 27040.00 | 4000.00 | 32000.00 | 4500.00 | 36000.00 | 27040.00 | M/s LEESHA ELECTRICALS
1.02 | Supply, Installation, Testing & Commissioning of 30 W LED flood light/down light luminaires (Make:bajaj BJFL 30W LED OR equivalent)with high pressure die cast housing having IP 66 protection, suitable to operate on 230 V 50 Hz AC supply , to be installed under the tensile fabric canopy, including electronic driver of same make as of LED, complete as required on site. The luminaire is designed to meet its specifications on performance & lifetime at a desigen ambient temperature of 45 degree and operating temperature range 0-50 C. A specially designed heat management system to ensure luminous efficacy ≥110 (Lumen/w) for the system and ensure lumen depriciation upto 30% over 50k burning hours., CRI ≥70,should have inbuilt Surge protection ≥4 KV,IP66 rating complete as per specifications. (05 years guarantee shall be provided for complete fittings I/c controller/driver by manufacture in favour of AAI.) | 34.00 | Each | 2793.00 | 1625.00 | 55250.00 | 2000.00 | 68000.00 | 2500.00 | 85000.00 | 55250.00 | M/s LEESHA ELECTRICALS
1.03 | Supply, Installation, Testing & Commissioning of 80 W LED higbay luminaires (Make: bajaj BGHB 80W LED OR equivalent ) with hanging/ceiling mounted arrengement, high pressure die cast housing having IP 66 protection, suitable to operate on 230 V 50 Hz AC supply, including electronic driver of same make as of LED, lenses, mounting bracket, nut/bolt etc complete as per tender specification and approved make & model. The luminaire is designed to meet its specifications on performance & lifetime at a desigen ambient temperature of 45 degree and operating temperature range 0-50 C. A specially designed heat management system to ensure luminous efficacy ≥110 (Lumen/w) for the system and ensure lumen depriciation upto 30% over 50k burning hours., CRI ≥70,should have inbuilt Surge protection ≥4 KV, IP66 rating complete as per specifications. (05 years guarantee shall be provided for complete fittings I/c controller by manufacture in favour of AAI.) | 8.00 | Each | 10191.00 | 5200.00 | 41600.00 | 5500.00 | 44000.00 | 8000.00 | 64000.00 | 41600.00 | M/s LEESHA ELECTRICALS
1.04 | Supply, Installation, Testing & Commissioning of 25 W LED Post Top (Make:bajaj BGCLN 25W LED OR equivalent ) with inbuilt electronic driver (same make as of LED) made in cast aluminium spigot housing with decorative polycarbonate diffuser and IP65 protection, suitable to operate on 230 V 50 Hz AC supply ,to be mounted on 1.0 meter powder coated (same color as of post top) Galvanised GI pole in combination of 60mm and 80 mm dia cross section,6mm thick base plate is welded to pole with 4 nos. mounting holes, necessary opening at the bottom of the pole for connection to wall mounted junction box (including loop in loop out terminal, glands & locknut) including civil works required for mounting, including nuts, foundation bolts etc. The luminaire is designed to meet its specifications on performance & lifetime at a desigen ambient temperature of 45 degree and operating temperature range 0-50 C. A specially designed heat management system to ensure luminous efficacy ≥70 (Lumen/w) for the system and ensure lumen depriciation upto 30% over 50k burning hours., CRI ≥70,IP66 rating, complete as per specifications. (05years guarantee shall be provided for complete fittings I/c controller/driver by manufacture/dealer in favour of AAI.) complete as required on site. | 35.00 | Each | 6274.00 | 4200.00 | 147000.00 | 4000.00 | 140000.00 | 5000.00 | 175000.00 | 140000.00 | Anil Kumar Sharma
1.05 | Supply of 36W, 6000K wall mounted LED batten with polycarbonate housing and integrated electronic drive complete as required (Model no.: Havells LHEXACP71N1W036 similar from list of Approved Make). | 28.00 | Each | 1010.00 | 700.00 | 19600.00 | 800.00 | 22400.00 | 1000.00 | 28000.00 | 19600.00 | M/s LEESHA ELECTRICALS
1.06 | Supply of following types fan suitable for 240V, 50Hz, 1-Φ, AC supply of following sizes: a) Heavy Duty Exhaust fan with Sweep 300 mm, 3-blade. (Make: Havells Turbo Force SP or similar from list of Approved Make) | 3.00 | Each | 1564.00 | 1500.00 | 4500.00 | 2000.00 | 6000.00 | 2000.00 | 6000.00 | 4500.00 | M/s LEESHA ELECTRICALS
1.07 | b) Heavy Duty Aircirculator wall fan with Sweep 450 mm. (Make: Havells Turbo Force or similar from list of Approved Make) | 8.00 | Each | 6845.00 | 5000.00 | 40000.00 | 7000.00 | 56000.00 | 7000.00 | 56000.00 | 40000.00 | M/s LEESHA ELECTRICALS
2.00 | SH(II): Supply and laying of cable, PVC conduit, HDPE pipe etc.,
2.01 | Supply of following sizes of Copper Conductor PVC insulated, PVC round sheated, Bright Annealed Bare Copper Conductor Heavy Duty Industrial Cables for Voltage Grade 1100 Volts as per IS: 694:1990 and as per specification as required. a) 4C X 4 Sqmm Cu Un- Armoured | 600.00 | Mtr | 272.00 | 195.00 | 117000.00 | 240.00 | 144000.00 | 275.00 | 165000.00 | 117000.00 | M/s LEESHA ELECTRICALS
2.02 | Supply of following sizes of Aluminium Conductor XLPE insulated PVC innersheathed, 1.1 KV grade power cables conforming to IS 7098 (Part-I) 1988 and as per specification as required. a) 4C X 25 Sqmm AL Armoured | 100.00 | Mtr | 331.00 | 200.00 | 20000.00 | 310.00 | 31000.00 | 335.00 | 33500.00 | 20000.00 | M/s LEESHA ELECTRICALS
2.03 | SITC of following type PVC junction boxes inclusive of connectors, terminals, glands etc complete as required (Make; Hensel DM9045 or equivalent). a) 3 way | 60.00 | Each | 364.00 | 250.00 | 15000.00 | 400.00 | 24000.00 | 350.00 | 21000.00 | 15000.00 | M/s LEESHA ELECTRICALS
2.04 | b) 4 way | 20.00 | Each | 364.00 | 260.00 | 5200.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 5200.00 | M/s LEESHA ELECTRICALS
2.05 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. a) up to 35 sqmm. | 300.00 | Mtr | 34.00 | 10.00 | 3000.00 | 35.00 | 10500.00 | 40.00 | 12000.00 | 3000.00 | M/s LEESHA ELECTRICALS
2.06 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on surface as required. a) upto 35 sq. mm (clamped with 1mm thick saddle). | 50.00 | Mtr | 43.00 | 25.00 | 1250.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 1250.00 | M/s LEESHA ELECTRICALS
2.07 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. a) Above 35 sq. mm and up to 95 sqmm. | 400.00 | Mtr | 52.00 | 20.00 | 8000.00 | 40.00 | 16000.00 | 50.00 | 20000.00 | 8000.00 | M/s LEESHA ELECTRICALS
2.08 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on surface as required. a) Above 35 sq. mm and up to 95 sqmm. (clamped with 25x3mm MS flat clamp). | 50.00 | Mtr | 114.00 | 45.00 | 2250.00 | 80.00 | 4000.00 | 115.00 | 5750.00 | 2250.00 | M/s LEESHA ELECTRICALS
2.09 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on surface as required. a) Upto 35 sq. mm (clamped with SS tie) | 50.00 | Mtr | 263.00 | 90.00 | 4500.00 | 180.00 | 9000.00 | 270.00 | 13500.00 | 4500.00 | M/s LEESHA ELECTRICALS
2.10 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. a) 4C X 25 Sqmm | 4.00 | Set | 275.00 | 190.00 | 760.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 760.00 | M/s LEESHA ELECTRICALS
2.11 | b) 3.5C X 50 Sqmm | 2.00 | Set | 361.00 | 245.00 | 490.00 | 400.00 | 800.00 | 400.00 | 800.00 | 490.00 | M/s LEESHA ELECTRICALS
2.12 | Provinding and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes joining of pipes & fittinggs with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge for cable laying on the surface of canopy structures. a) 25 mm | 350.00 | Mtr | 359.00 | 290.00 | 101500.00 | 250.00 | 87500.00 | 370.00 | 129500.00 | 87500.00 | Anil Kumar Sharma
2.13 | Supplying and making end termination with brass compression gland and Copper lugs for following size of PVC insulated and PVC sheathed/ XLPE Copper conductor cable of 1.1 kV grade as required. a) 4C X 4 Sqmm | 4.00 | Set | 241.00 | 190.00 | 760.00 | 300.00 | 1200.00 | 250.00 | 1000.00 | 760.00 | M/s LEESHA ELECTRICALS
2.14 | Supplying and making end termination with out brass compression gland but with Copper lugs for following size of PVC insulated and PVC sheathed/ XLPE Copper conductor cable of 1.1 kV grade as required. a) 4C X 4 Sqmm | 80.00 | Set | 56.00 | 50.00 | 4000.00 | 80.00 | 6400.00 | 60.00 | 4800.00 | 4000.00 | M/s LEESHA ELECTRICALS
2.15 | Supplying and laying of following size HDPE PN-10 pipe ISI marked along with all accessories like socket, bend, couplers, Tee etc. conforming to IS-4984 complete with fitting and cutting, jointing etc., along with accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as complete required. a) 40 mm dia | 50.00 | Mtr | 283.00 | 175.00 | 8750.00 | 300.00 | 15000.00 | 275.00 | 13750.00 | 8750.00 | M/s LEESHA ELECTRICALS
2.16 | Supply of 6 Sq. mm 3 core of Aluminium conductor, armoured, XLPE / PVC insulated and PVC sheathed power cable for working voltage up to and including 1100 volts conforming to IS-7098 (Part-I) 1988 with up to date amendents complete as required. | 100.00 | Mtr | 185.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 190.00 | 19000.00 | 10000.00 | M/s LEESHA ELECTRICALS
3.00 | SH(III): Internal and external wiring
3.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq. mm FRLS PVC insulated copper conductor single core in surface/ recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (a) Group C | 30.00 | Each | 1306.00 | 950.00 | 28500.00 | 1100.00 | 33000.00 | 1200.00 | 36000.00 | 28500.00 | M/s LEESHA ELECTRICALS
3.02 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed Steel conduit as required. a) 2 x 2.5.sq. mm+1 x 2.5 sq.mm earth wire | 100.00 | Mtr | 252.00 | 225.00 | 22500.00 | 180.00 | 18000.00 | 250.00 | 25000.00 | 18000.00 | Anil Kumar Sharma
3.03 | b) 2 x 4.0 sq. mm+1 x 4 sq.mm earth wire | 150.00 | Mtr | 289.00 | 250.00 | 37500.00 | 220.00 | 33000.00 | 300.00 | 45000.00 | 33000.00 | Anil Kumar Sharma
3.04 | c) 2 x 6.0 sq. mm+1 x 6 sq.mm earth wire | 100.00 | Mtr | 391.00 | 300.00 | 30000.00 | 300.00 | 30000.00 | 400.00 | 40000.00 | 30000.00 | M/s LEESHA ELECTRICALS, Anil Kumar Sharma
3.05 | Supplying and fixing following size modules, GI box alongwith modular base & cover plate for modular swtiches in recess etc. as required. a) 3 module (100mm x 75mm) | 17.00 | Each | 293.00 | 160.00 | 2720.00 | 200.00 | 3400.00 | 300.00 | 5100.00 | 2720.00 | M/s LEESHA ELECTRICALS
3.06 | b) 4 module (125mm x 75mm) | 1.00 | Each | 315.00 | 185.00 | 185.00 | 250.00 | 250.00 | 300.00 | 300.00 | 185.00 | M/s LEESHA ELECTRICALS
3.07 | c) 6 module (200mm x 75mm) | 4.00 | Each | 366.00 | 230.00 | 920.00 | 300.00 | 1200.00 | 380.00 | 1520.00 | 920.00 | M/s LEESHA ELECTRICALS
3.08 | c) 12 module (200mm x 150mm) | 2.00 | Each | 477.00 | 350.00 | 700.00 | 350.00 | 700.00 | 500.00 | 1000.00 | 700.00 | M/s LEESHA ELECTRICALS, Anil Kumar Sharma
3.09 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. a) 5/6 A switch | 7.00 | Each | 93.00 | 25.00 | 175.00 | 50.00 | 350.00 | 100.00 | 700.00 | 175.00 | M/s LEESHA ELECTRICALS
3.10 | b) 3 pin 5/6A socket outlet | 7.00 | Each | 122.00 | 35.00 | 245.00 | 100.00 | 700.00 | 100.00 | 700.00 | 245.00 | M/s LEESHA ELECTRICALS
3.11 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 15.00 | Each | 35.00 | 20.00 | 300.00 | 20.00 | 300.00 | 30.00 | 450.00 | 300.00 | M/s LEESHA ELECTRICALS, Anil Kumar Sharma
3.12 | Supplying and fixing suitable size GI box wih modular plate and cover in front on suface or in recess including providing and fixing 6 pin 5/6A & 15/16A modular socket outlet and 15/16A modular switch, Connections etc. as required. | 17.00 | Each | 544.00 | 380.00 | 6460.00 | 450.00 | 7650.00 | 600.00 | 10200.00 | 6460.00 | M/s LEESHA ELECTRICALS
3.13 | Supplying and fixing 3 pin, 5A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 35.00 | Each | 71.00 | 35.00 | 1225.00 | 40.00 | 1400.00 | 75.00 | 2625.00 | 1225.00 | M/s LEESHA ELECTRICALS
3.14 | Installation of exhaust fan in the existing opening including making good the damaged, connection, testing, commissioning etc. as required. a) Upto 450 mm sweep. | 3.00 | Each | 399.00 | 150.00 | 450.00 | 400.00 | 1200.00 | 400.00 | 1200.00 | 450.00 | M/s LEESHA ELECTRICALS
3.15 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 3.00 | Each | 185.00 | 150.00 | 450.00 | 200.00 | 600.00 | 200.00 | 600.00 | 450.00 | M/s LEESHA ELECTRICALS
3.16 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet with 2 pole and earth, metal enclosed plug top alongwith 20A, "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 1353.00 | 550.00 | 2200.00 | 1000.00 | 4000.00 | 1300.00 | 5200.00 | 2200.00 | M/s LEESHA ELECTRICALS
3.17 | Supplying and fixing following ways, horizontal type three pole and neutral,, sheet steel, MCB distribution board, 415V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required (But without MCB/RCCB/Isolator) a) 6 way (4+18), Double door | 1.00 | Each | 4056.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 4000.00 | M/s LEESHA ELECTRICALS, Anil Kumar Sharma
3.18 | b) 8 way (4+24), Double door | 1.00 | Each | 5054.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 5500.00 | 5500.00 | 5000.00 | M/s LEESHA ELECTRICALS, Anil Kumar Sharma
3.19 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA "C" curve, minimature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with conneciton, testing and commissioning etc. as required. a) Single pole | 20.00 | Each | 219.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 2000.00 | M/s LEESHA ELECTRICALS
3.20 | b) Single pole with neutral | 7.00 | Each | 598.00 | 300.00 | 2100.00 | 450.00 | 3150.00 | 100.00 | 700.00 | 700.00 | JCC ENGINEERS PRIVATE LIMITED
3.21 | c) Triple pole with neutral | 4.00 | Each | 1199.00 | 700.00 | 2800.00 | 1000.00 | 4000.00 | 1150.00 | 4600.00 | 2800.00 | M/s LEESHA ELECTRICALS
3.22 | Supply and fixing follwing rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) 40 A | 1.00 | Each | 914.00 | 450.00 | 450.00 | 800.00 | 800.00 | 1000.00 | 1000.00 | 450.00 | M/s LEESHA ELECTRICALS
3.23 | b) 63 A | 1.00 | Each | 922.00 | 500.00 | 500.00 | 850.00 | 850.00 | 1000.00 | 1000.00 | 500.00 | M/s LEESHA ELECTRICALS
3.24 | SITC of Outdoor Type double door LT panel, dust, vermin, weather proof, cubical panel board of suitable size angle frame mountable, fabricated from 14 Swg CRCA sheet duly rust inhibited with powder coated complete with earthing, cable entry from bottom side, removeable cable end gland plate. Rubber Gasket hinged compartment door, connection with almunium lugs/ strips with cable shelves, busbar interconnection with suitable size of strips and mounting on MS angle frame including control wiring to accommodate having IP 65 Protection and having with following accessories and as per approved drawings complete as required as per EIC. 1) 200 Amp, 4 Strip aluminium busbar chamber with DMC/ SMC supporting insulators and MS shrouding - 1 set. 2) FP MCCB- 150A, 35KA - (Incoming) 1 No. 3) FP MCCB- 63A, 25KA - (outgoing)-1 No. 4) FP MCB- 40A, C Curve 10KA - (outgoing)-2 No. 5) DP MCB- 40A, C Curve 10KA - (outgoing)-3 No. 6) SP MCB- 16A, C Curve 10KA - (outgoing)-4 No. 7) 0-500V, 3 phase voltmeter meter, 8) 0-250Amp Ammeter along with CTs 250/5 Amp for RYB Phase. 9) R,Y,B Pilot indicating lamps (Cluster LED type)-one set for incommer. 10) Suitable blank compartment for installing energy meter -2 no | 1.00 | Job | 101505.00 | 90000.00 | 90000.00 | 60000.00 | 60000.00 | 140305.00 | 140305.00 | 60000.00 | Anil Kumar Sharma
3.25 | Supplying and fixing following dia G.I. pipe (medium class) for fixing of light fixture including bending, cutting, welding the pipe to the required shape with base plate ( upto 0.5 metre long ) and making arrangenet to fix on top of boundary wall complete as required. a) 50 mm dia. G.I. pipe (Pole arm) | 40.00 | Job | 1086.00 | 950.00 | 38000.00 | 1200.00 | 48000.00 | 950.00 | 38000.00 | 38000.00 | M/s LEESHA ELECTRICALS, JCC ENGINEERS PRIVATE LIMITED
4.00 | SH(IV): SITC of Water cooler, Water purifier (RO) Desert cooler, Hand dryer
4.01 | Supply of Air cooler of 100% Injection moulded virgin plastic body, UV Protected, polypropelene Minimum 5mm thickness consists of fan motor 230V, 1- phase, 3-speed, 100% copper winding, 950 RPM, 500Watt/0.67 HP, Fan Blade 30 inch Aluminium Die cast, Axial fan type with Air Flow capacity of 18000 CMH/ 10000CFM and cooling area 2500 Sq Ft alongwith minimum 120 Ltr. water tank capacity and adjustable front grill & back pad cover should be 100% plastic in single pcs with lockable castor wheels ,auto cut off for water pump,Callous Honey Comb pad Min. size 1100x1150x100mm ( KAPSUN make ,Product code : AK12GC, ANTARCTICA) complete as required at site with 3 year unconditional on site warranty . | 5.00 | Each | 63000.00 | 52000.00 | 260000.00 | 65000.00 | 325000.00 | 75000.00 | 375000.00 | 260000.00 | M/s LEESHA ELECTRICALS
4.02 | S.I.T.C. of self contained drinking water cooler of 150/ 150 FSS liters storage and 150 liters cooling capacity with stainless steel body confirming to IS 1475/78 with upto date amendment suitable for operation on 230Volts +/- 10% 50 Hz. Single phase A.C. supply as required. (Make- USHA/BLUE STAR/VOLTAS) | 1.00 | Each | 57500.00 | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 55000.00 | 55000.00 | 50000.00 | M/s LEESHA ELECTRICALS, Anil Kumar Sharma
4.03 | SITC of Reverse Osmosis Water Purifier System of capacity 50 LPH (250 Ltrs/day) with High purifying capacity, Purification by RO followed by UV with TDS controller to maintain natural minerals in water, with all accessories such as RO membrane, sediment filter, Pressure boosting pump, activated carbon filter, solenoid valves & electronic control, high pressure switch and low pressure switch etc. suitable for working voltage on 230 V +/- 10% 50 Hz. single phase AC dissolved impurities like rust, heavy metals, salts & chemical , Fully automatic operation including all accessories/ attachment/sensors/connecting pipes etc as required. | 2.00 | Each | 45000.00 | 35000.00 | 70000.00 | 40000.00 | 80000.00 | 44500.00 | 89000.00 | 70000.00 | M/s LEESHA ELECTRICALS
4.04 | SITC of STAINLESS STEEL Hand Dryer made up of steel body-Brush Type Motor cum heater assembly for hot air blowing sensor for auto operation, Auto timer protection, Low Noise suitable for 220v 50Hz AC supply for Hand Drying Applications complete as required as per EIC ( Make: Euronics or equivalant) | 3.00 | Each | 13134.00 | 12000.00 | 36000.00 | 13000.00 | 39000.00 | 12500.00 | 37500.00 | 36000.00 | M/s LEESHA ELECTRICALS
5.00 | SH(V): Earthing works
5.01 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Set | 5830.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 8000.00 | M/s LEESHA ELECTRICALS
5.02 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 200.00 | Mtr | 41.00 | 24.78 | 4956.00 | 30.00 | 6000.00 | 30.00 | 6000.00 | 4956.00 | M/s LEESHA ELECTRICALS
| Total in Figures |  |  |  |  | 1345786.00 |  | 1525550.00 |  | 1850000.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(1345786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of walkway, washroom and creation of waiting hall for Arival passenger in car park area at Civil Airport Jammu. SH Electrical works Tender ID: 2022_AAI_116452_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 1345786.00 | L1
| 2 | Anil Kumar Sharma | 1525550.00 | L2
| 3 | JCC ENGINEERS PRIVATE LIMITED | 1850000.00 | L3