## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 23-Jun-2022 11:00 AM Tender Title: Comprehensive Maintenance of VRF Air-Conditioning System at ATC Tower, Split AC Units, Water Coolers and Water purifiers Make Eureka Forbes Limited at Birsi Airport, Gondia for the year 2022-24 Tender ID: 2022_AAI_116507_1
Tender Inviting Authority: Asst.General Manager(Engg-Elect),AAI,Birsi Airport Gondia
Name of Work: Comprehensive Maintenance of VRF Air-Conditioning System, Split AC units, water coolers and Water purifiers at Birsi Airport, Gondia for the year 2022-24.
Contract No: 2022_AAI_116507_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Tirupati Balaji Refrigeration and Electricals(GSTN-20AAFCT7915H1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | V Save Electronics Pvt Ltd(GSTN-09AADCV5572A1ZD) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Periodical maintenance of Split type room Air conditioner Units (Excluding compressor) of 1.5 Ton capacity ,1Ø, 230 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables,refrigerant Gas and spares etc., complete as requiredand and as per Tender specification.
1.01 | 1st year | 25.00 | One Unit Per Year |  | 3000.00 | 75000.00 | 3000.00 | 75000.00 | 2000.00 | 50000.00 | 1900.00 | 47500.00 | 3000.00 | 75000.00 | 47500.00 | M K ENTERPRISES
1.02 | 2nd year | 25.00 | One Unit Per Year |  | 3200.00 | 80000.00 | 3500.00 | 87500.00 | 2000.00 | 50000.00 | 1900.00 | 47500.00 | 4000.00 | 100000.00 | 47500.00 | M K ENTERPRISES
2.00 | Comprehensive Periodical maintenance of Split type room Air conditioner Units (Including compressor) of 1.5 Ton capacity ,1Ø, 230 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables,refrigerant Gas and spares etc., complete as requiredand and as per Tender specification.
2.01 | 1st year | 26.00 | One Unit Per Year |  | 4000.00 | 104000.00 | 5500.00 | 143000.00 | 2000.00 | 52000.00 | 2800.00 | 72800.00 | 3500.00 | 91000.00 | 52000.00 | V Save Electronics Pvt Ltd
2.02 | 2nd year | 26.00 | One Unit Per Year |  | 4100.00 | 106600.00 | 6000.00 | 156000.00 | 2000.00 | 52000.00 | 2800.00 | 72800.00 | 4500.00 | 117000.00 | 52000.00 | V Save Electronics Pvt Ltd
3.00 | Comprehensive Periodical maintenance of Split type room Air conditioner Units (Excluding compressor) of 2 Ton capacity ,1Ø, 230 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables,refrigerant Gas and spares etc., complete as requiredand and as per Tender specification.
3.01 | 1st year | 2.00 | One Unit Per Year |  | 3400.00 | 6800.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 4000.00 | V Save Electronics Pvt Ltd, M K ENTERPRISES
3.02 | 2nd year | 2.00 | One Unit Per Year |  | 3600.00 | 7200.00 | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 4000.00 | V Save Electronics Pvt Ltd, M K ENTERPRISES
4.00 | Comprehensive Periodical maintenance of Split type room Air conditioner Units (Including compressor) of 2 Ton capacity ,1Ø, 230 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables,refrigerant Gas and spares etc., complete as requiredand and as per Tender specification.
4.01 | 1st year | 3.00 | One Unit Per Year |  | 4400.00 | 13200.00 | 6500.00 | 19500.00 | 2000.00 | 6000.00 | 3500.00 | 10500.00 | 4000.00 | 12000.00 | 6000.00 | V Save Electronics Pvt Ltd
4.02 | 2nd year | 3.00 | One Unit Per Year |  | 4800.00 | 14400.00 | 7000.00 | 21000.00 | 2000.00 | 6000.00 | 3500.00 | 10500.00 | 5000.00 | 15000.00 | 6000.00 | V Save Electronics Pvt Ltd
5.00 | Comprehensive Periodical maintenance of Split type room Air conditioner Units (Including compressor) of 3.0 Ton capacity ,3Ø, 415 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables,refrigerant Gas and spares etc as requiredand and as per Tender specification.
5.01 | 1st year | 2.00 | One Unit Per Year |  | 5500.00 | 11000.00 | 9000.00 | 18000.00 | 2700.00 | 5400.00 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 5400.00 | V Save Electronics Pvt Ltd
5.02 | 2nd year | 2.00 | One Unit Per Year |  | 6000.00 | 12000.00 | 9500.00 | 19000.00 | 2700.00 | 5400.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 5400.00 | V Save Electronics Pvt Ltd
6.00 | Comprehensive Periodical maintenance of Floor Mounted type Air conditioner Units (Including compressor) of 4.0 Ton capacity ,3Ø, 415 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables,refrigerant Gas and spares etc., complete as requiredand and as per Tender specification.
6.01 | 1st year | 42.00 | One Unit Per Year |  | 5400.00 | 226800.00 | 11000.00 | 462000.00 | 3000.00 | 126000.00 | 3800.00 | 159600.00 | 6000.00 | 252000.00 | 126000.00 | V Save Electronics Pvt Ltd
6.02 | 2nd year | 42.00 | One Unit Per Year |  | 5900.00 | 247800.00 | 12000.00 | 504000.00 | 3000.00 | 126000.00 | 3700.00 | 155400.00 | 7000.00 | 294000.00 | 126000.00 | V Save Electronics Pvt Ltd
7.00 | Comprehensive Maintenance Contract of Cassette type split Air conditioners (including compressor) of 4 ton capacity, 3Ø, 415 V, 50 Hz of different makes and capacities including stabilizer (If any) installed at different location including providing all necessary consumables, refrigerant Gas and spares etc., complete as requiredand and as per Tender specification.
7.01 | 1st year | 8.00 | One Unit Per Year |  | 6400.00 | 51200.00 | 13000.00 | 104000.00 | 4500.00 | 36000.00 | 4000.00 | 32000.00 | 8000.00 | 64000.00 | 32000.00 | M K ENTERPRISES
7.02 | 2nd year | 8.00 | One Unit Per Year |  | 6800.00 | 54400.00 | 14000.00 | 112000.00 | 4500.00 | 36000.00 | 4000.00 | 32000.00 | 10000.00 | 80000.00 | 32000.00 | M K ENTERPRISES
8.00 | Comprehensive Periodical maintenance of Multi Split type room Air conditioner Units (Including compressor) of 2 x 1.5 Ton capacity ,1Ø, 230 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables,refrigerant Gas and spares etc as requiredand and as per Tender specification.
8.01 | 1st year | 4.00 | One Unit Per Year |  | 4800.00 | 19200.00 | 6000.00 | 24000.00 | 3500.00 | 14000.00 | 3600.00 | 14400.00 | 8000.00 | 32000.00 | 14000.00 | V Save Electronics Pvt Ltd
8.02 | 2nd year | 4.00 | One Unit Per Year |  | 5200.00 | 20800.00 | 7000.00 | 28000.00 | 3500.00 | 14000.00 | 3600.00 | 14400.00 | 10000.00 | 40000.00 | 14000.00 | V Save Electronics Pvt Ltd
9.00 | Comprehensive Periodical maintenance of Water cooler Units (Including compressor) of 40/80 ltr capacity,1Ø, 230 V, 50 Hz, of different makes including stabilizer(if any) installed at different locations including providing all necessary consumable,refrigerant Gas and spares etc as requiredand and as per Tender specification.
9.01 | 1st year | 9.00 | One Unit Per Year |  | 6500.00 | 58500.00 | 5000.00 | 45000.00 | 3000.00 | 27000.00 | 2000.00 | 18000.00 | 6000.00 | 54000.00 | 18000.00 | M K ENTERPRISES
9.02 | 2nd year | 9.00 | One Unit Per Year |  | 6800.00 | 61200.00 | 5000.00 | 45000.00 | 3000.00 | 27000.00 | 2000.00 | 18000.00 | 7000.00 | 63000.00 | 18000.00 | M K ENTERPRISES
10.00 | Comprehensive Maintenance of VRF system (Make - Blue Star- Year of installation 2009) comprising of following i/c its indoor units allied accessories such as refrigerant piping, fresh air units i/c software etc. complete. on all working days i/c National holidays and Sundays for repairs and maintenances (attending complaint, preventive/ routine /breakdown maintenance) documentation etc as per the special terms and conditions in addition to general terms and conditions of the contract asrequiredand and as per Tender specification.Outdoor Out Door : 42 HP - 3 33 HP - 1 12 HP - 1 Indoor 1.5 TR - 21 2.0 TR - 3 2.5 TR - 30 Indoor Ductable Unit 5.0 TR - 1 3.0 TR - 1 Fresh Air Unit 1690 CFM - 3
10.01 | 1st Year | 1.00 | One Unit Per Year |  | 310000.00 | 310000.00 | 75000.00 | 75000.00 | 740000.00 | 740000.00 | 350386.00 | 350386.00 | 150000.00 | 150000.00 | 75000.00 | Manish Electricals
10.02 | 2nd year | 1.00 | One Unit Per Year |  | 332500.00 | 332500.00 | 90000.00 | 90000.00 | 740000.00 | 740000.00 | 380000.00 | 380000.00 | 200000.00 | 200000.00 | 90000.00 | Manish Electricals
11.00 | Comprehensive maintenance contract of Water Purifier (Make: EUREKA FORBES LIMITED, MODEL AG200) any number of breakdown visits, including carring out preventive maintenance such as cleaning replaced of carbon block, filter candle, power card repairing/replacement of defective parts, ensuring servicing/satisfactory working condition of the system as per terms & conditions covered under this contract etc. complete as requiredand and as per Tender specification.
11.01 | 1st year | 8.00 | One Unit Per Year |  | 6500.00 | 52000.00 | 5000.00 | 40000.00 | 3000.00 | 24000.00 | 2700.00 | 21600.00 | 6000.00 | 48000.00 | 21600.00 | M K ENTERPRISES
11.02 | 2nd year | 8.00 | One Unit Per Year |  | 7000.00 | 56000.00 | 5000.00 | 40000.00 | 3000.00 | 24000.00 | 2800.00 | 22400.00 | 7000.00 | 56000.00 | 22400.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 1920600.00 |  | 2125000.00 |  | 2168800.00 |  | 1503786.00 |  | 1780000.00
Lowest Amount Quoted BY: M K ENTERPRISES(1503786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance of VRF Air-Conditioning System at ATC Tower, Split AC Units, Water Coolers and Water purifiers Make Eureka Forbes Limited at Birsi Airport, Gondia for the year 2022-24 Tender ID: 2022_AAI_116507_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 1503786.00 | L1
| 2 | Ganga Enterprises | 1780000.00 | L2
| 3 | Tirupati Balaji Refrigeration and Electricals | 1920600.00 | L3
| 4 | Manish Electricals | 2125000.00 | L4
| 5 | V Save Electronics Pvt Ltd | 2168800.00 | L5