## BoQ1
Government eProcurement System Created By: Jagannath singh Deshmukh Created Date/Time: 24-Jun-2022 11:25 AM Tender Title: Comprehensive Maintenance Contract of Air-conditioners, Water Coolers, Centralized R.O. System and Operation of Centralized R.O. System at C.A. Rajkot for 2 years (Year 2022-24). Tender ID: 2022_AAI_116790_1
Tender Inviting Authority: SM (E E), AAI, CA Rajkot.
Name of Work: Comprehensive Maintenance Contract of Air-conditioners, Water Coolers, Centralized R.O. System and Operation of Centralized R.O. System at C.A. Rajkot for 2 years (Year 2022-24).
Contract No: AAI/RAJ/SM(E-E)/NIT-05/22-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive maintenance of 1.5 ton split type A/C for one month as per the special condition attached. (No. of AC 25 X 24 months = 600) | 600.00 | Each |  | 240.00 | 144000.00 | 250.00 | 150000.00 | 250.00 | 150000.00 | 144000.00 | Rudraksha Enterprise
2.00 | Comprehensive maintenance of 1.5 ton split type A/C for one month as per the special condition attached [Compressor under warranty]. [(No. of AC 43 X 24 months + 12 X 14 months = 1200) | 1200.00 | Each |  | 120.00 | 144000.00 | 150.00 | 180000.00 | 200.00 | 240000.00 | 144000.00 | Rudraksha Enterprise
3.00 | Comprehensive maintenance of 2 ton split type A/C for one month as per special condition attached. (No. of AC 21 X 24 months = 504) | 504.00 | Each |  | 200.00 | 100800.00 | 350.00 | 176400.00 | 350.00 | 176400.00 | 100800.00 | Rudraksha Enterprise
4.00 | Comprehensive maintenance of 2 ton split type A/C for one month as per special condition attached [Compressor under warranty]. (No. of AC 9 X 24 months + 17 X 14 Months = 454) | 454.00 | Each |  | 150.00 | 68100.00 | 300.00 | 136200.00 | 300.00 | 136200.00 | 68100.00 | Rudraksha Enterprise
5.00 | Comprehensive maintenance of 3 ton 3 phase tower type A/C for one month as per special condition attached. (No. of AC 1 X 24 months = 24) | 24.00 | Each |  | 180.00 | 4320.00 | 450.00 | 10800.00 | 600.00 | 14400.00 | 4320.00 | Rudraksha Enterprise
6.00 | Comprehensive maintenance of 3 ton 3 phase cassette type A/C for one month as per special condition attached. (No. of AC 3 X 24 months = 72) | 72.00 | Each |  | 180.00 | 12960.00 | 450.00 | 32400.00 | 600.00 | 43200.00 | 12960.00 | Rudraksha Enterprise
7.00 | Comprehensive maintenance of 4 ton 3 phase tower type A/C for one month as per special condition attached. (No. of AC 9 X 24 months = 216) | 216.00 | Each |  | 390.00 | 84240.00 | 500.00 | 108000.00 | 700.00 | 151200.00 | 84240.00 | Rudraksha Enterprise
8.00 | Comprehensive maintenance of 4 ton 3 phase cassette type A/C for one month as per special condition attached. (No. of AC 20 X 24 months = 480) | 480.00 | Each |  | 390.00 | 187200.00 | 550.00 | 264000.00 | 700.00 | 336000.00 | 187200.00 | Rudraksha Enterprise
9.00 | Comprehensive maintenance of 4 ton 3 phase cassette type A/C for one month as per special condition attached [Compressor under warranty]. (No. of AC 4 X 14 months = 56) | 56.00 | Each |  | 250.00 | 14000.00 | 450.00 | 25200.00 | 700.00 | 39200.00 | 14000.00 | Rudraksha Enterprise
10.00 | Comprehensive maintenance of Water Coolers of various capacities / make for one month as per the special condition attached. (No. of WC 5 X 24 months = 120) | 120.00 | Each |  | 800.00 | 96000.00 | 250.00 | 30000.00 | 400.00 | 48000.00 | 30000.00 | CENTRE TAP ENGINEERING
11.00 | Comprehensive Maintenance of 190 Ltr Direct cool, refrigerator. including consumable items and all spare parts etc. complete as required. (No. of Refrigerator 1 X 24 months = 24) | 24.00 | Each |  | 200.00 | 4800.00 | 1000.00 | 24000.00 | 250.00 | 6000.00 | 4800.00 | Rudraksha Enterprise
12.00 | Comprehensive Maintenance of 50 Ltr Direct cool, refrigerator. including consumable items and all spare parts etc. complete as required. (No. of Refrigerator 3 X 24 months = 72) | 72.00 | Each |  | 200.00 | 14400.00 | 500.00 | 36000.00 | 200.00 | 14400.00 | 14400.00 | Rudraksha Enterprise, Ganga Enterprises
13.00 | Comprehensive Maintenance of 687 Ltr refrigerator. including consumable items and all spare parts etc. complete as required [Compressor under warranty]. (No. of Refrigerator 1 X 17 months = 17) | 17.00 | Each |  | 250.00 | 4250.00 | 1500.00 | 25500.00 | 600.00 | 10200.00 | 4250.00 | Rudraksha Enterprise
14.00 | Comprehensive Maintenance of 200 LPH capacity centralized R.O. Plant complete with all accessories including consumable and all spare parts but excluding the R.O. membrane. Complaints and breakdown should be attended on priority. (No. of RO Plant 2 X 24 months = 48) | 48.00 | Each |  | 2600.00 | 124800.00 | 6000.00 | 288000.00 | 1200.00 | 57600.00 | 57600.00 | Ganga Enterprises
15.00 | Comprehensive maintenance of storage type water cooler with inbuilt RO of capacity of 40 Ltr/hr with rotary compressor & having 80 Ltr storage capacity with all accessories including consumable and all spare parts etc. complete as required. (No. of Water Cooler 2 X 24 months = 48) | 48.00 | Each |  | 4300.00 | 206400.00 | 1000.00 | 48000.00 | 400.00 | 19200.00 | 19200.00 | Ganga Enterprises
16.00 | Comprehensive maintenance of 25 LPH R.O. unit including consumable items and all spare parts i/c. membrane etc. complete as required. (No. of RO 5 X 24 months = 120) | 120.00 | Each |  | 700.00 | 84000.00 | 1000.00 | 120000.00 | 300.00 | 36000.00 | 36000.00 | Ganga Enterprises
17.00 | Comprehensive maintenance of 14 LPH R.O. unit including consumable items and all spare parts i/c. membrane etc. complete as required. (No. of RO 2 X 24 months = 48) | 48.00 | Each |  | 340.00 | 16320.00 | 800.00 | 38400.00 | 250.00 | 12000.00 | 12000.00 | Ganga Enterprises
18.00 | Comprehensive maintenance of recessed bi level, touchless, infrared sensor based drinking water fountain tap including consumable items and all spare parts etc. complete as required. (No. of Drinking Water Fountain 4 X 24 months = 96) | 96.00 | Each |  | 1600.00 | 153600.00 | 500.00 | 48000.00 | 350.00 | 33600.00 | 33600.00 | Ganga Enterprises
19.00 | Comprehensive maintenance of In-wall bottle filler with UV-C, touchless with infrared sensor, online chiller including consumable items and all spare parts etc. complete as required. (No. of Online Chiller 2 X 24 months = 48) | 48.00 | Each |  | 1000.00 | 48000.00 | 1000.00 | 48000.00 | 300.00 | 14400.00 | 14400.00 | Ganga Enterprises
20.00 | Installation, Testing, Commissioning of split type AC of 1.5 / 2.0 TR. capacity including all necessary connections, gas charging (as per requirement) and making interconnection wiring between indoor & outdoor units etc. complete as per the instructions of engineer in charge. | 10.00 | Each |  | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 2500.00 | 25000.00 | 20000.00 | Rudraksha Enterprise, CENTRE TAP ENGINEERING
21.00 | Dismantling of 1.5 / 2.0 TR A/C including all necessary connections, wiring between indoor and outdoor units and hand over to AAI store etc. complete as per the instructions of engineer in charge. | 10.00 | Each |  | 500.00 | 5000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 5000.00 | Rudraksha Enterprise
22.00 | Providing & fixing extra refrigerant copper piping with Nitrile rubber insulation and copper cabling (2.5 sq.mm.) between indoor and outdoor units of split-type AC units (Upto 2 TR) etc. as required. | 30.00 | Mtr |  | 900.00 | 27000.00 | 500.00 | 15000.00 | 1000.00 | 30000.00 | 15000.00 | CENTRE TAP ENGINEERING
23.00 | Providing & fixing extra refrigerant copper piping with Nitrile rubber insulation and copper cabling for power (2.5 sq.mm.) and communication (1.5sq.mm) between indoor and outdoor units of tower / casette AC units (Upto 4 TR) etc. as required. | 30.00 | Mtr |  | 1000.00 | 30000.00 | 1500.00 | 45000.00 | 100.00 | 3000.00 | 3000.00 | Ganga Enterprises
24.00 | Supply and fixing of RO membrane compatible for 200 LPH capacity centralized RO plant. | 8.00 | Each |  | 13000.00 | 104000.00 | 15000.00 | 120000.00 | 12000.00 | 96000.00 | 96000.00 | Ganga Enterprises
25.00 | Servicing i/c. replacing minor spare of air cooler, installed at different location as per direction of E.I.C. (No. of Air Cooler 44 X 2 visit = 88, as and when required.) | 88.00 | Each |  | 500.00 | 44000.00 | 350.00 | 30800.00 | 200.00 | 17600.00 | 17600.00 | Ganga Enterprises
26.00 | Supply and fixing of spares of air cooler (As and when required). a) Air cooler electric motor 1/8 HP | 30.00 | Each |  | 1800.00 | 54000.00 | 1000.00 | 30000.00 | 2500.00 | 75000.00 | 30000.00 | CENTRE TAP ENGINEERING
27.00 | Supply and fixing of spares of air cooler (As and when required). b) Air cooler pump medium | 30.00 | Each |  | 500.00 | 15000.00 | 800.00 | 24000.00 | 350.00 | 10500.00 | 10500.00 | Ganga Enterprises
28.00 | Supply and fixing of spares of air cooler (As and when required). c) Air cooler swing motor | 20.00 | Each |  | 250.00 | 5000.00 | 500.00 | 10000.00 | 350.00 | 7000.00 | 5000.00 | Rudraksha Enterprise
29.00 | Supply and fixing of spares of air cooler (As and when required). d) Air cooler fan 16" | 20.00 | Each |  | 800.00 | 16000.00 | 150.00 | 3000.00 | 300.00 | 6000.00 | 3000.00 | CENTRE TAP ENGINEERING
30.00 | Supply and fixing of spares of air cooler (As and when required). e) Air cooler outer net (3 set of one cooler) | 40.00 | Each |  | 900.00 | 36000.00 | 400.00 | 16000.00 | 250.00 | 10000.00 | 10000.00 | Ganga Enterprises
31.00 | Submission of water portability report (i/c. Chemical & Bacteriaological) from govt. lab / approved govt. lab of sample collected from the location as per instruction of E.I.C. Report to be submitted once in three month. | 8.00 | Each |  | 1200.00 | 9600.00 | 1500.00 | 12000.00 | 5000.00 | 40000.00 | 9600.00 | Rudraksha Enterprise
32.00 | Operation of 200 LPH R.O. plant on all days including Sundays days and holidays in two shift. | 24.00 | Months |  | 32000.00 | 768000.00 | 50000.00 | 1200000.00 | 65000.00 | 1560000.00 | 768000.00 | Rudraksha Enterprise
| Total in Figures |  |  |  |  | 2645790.00 |  | 3324700.00 |  | 3428100.00
Lowest Amount Quoted BY: Rudraksha Enterprise(2645790.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract of Air-conditioners, Water Coolers, Centralized R.O. System and Operation of Centralized R.O. System at C.A. Rajkot for 2 years (Year 2022-24). Tender ID: 2022_AAI_116790_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rudraksha Enterprise | 2645790.00 | L1
| 2 | CENTRE TAP ENGINEERING | 3324700.00 | L2
| 3 | Ganga Enterprises | 3428100.00 | L3