## BoQ1
Government eProcurement System Created By: EMANI SHESHA RATNAM Created Date/Time: 24-Jun-2022 03:54 PM Tender Title: Construction of Security Hut and barriers for double access entry of gate no 8 and 9 at rajahmundry airport SH Civil works Tender ID: 2022_AAI_117065_1
Tender Inviting Authority: Senior Manager (Engg-Civil), Airports Authority of India, Rajahmundry Airport.
Name of Work: Construction of Security Hut and Barriers for double access entry of gate no 8 & 9 at Rajahmundry Airport SH: Civil Works
Contract No: 2022_AAI_ 117065 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | SUMAN FABRICATORS AND CONTRACTORS(GSTN-30ALDPP2860M1Z2) |  | D.SRINIVAS(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.All kinds of soil. | 286.00 | Cum | Item 1 | 37180.00 | 37180.00 | 63492.00 | 63492.00 | 70070.00 | 70070.00 | 37180.00 | SUMAN FABRICATORS AND CONTRACTORS | 37180.00 | SUMAN FABRICATORS AND CONTRACTORS
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 21.00 | Cum | Item 2 | 104790.00 | 104790.00 | 114660.00 | 114660.00 | 121800.00 | 121800.00 | 104790.00 | SUMAN FABRICATORS AND CONTRACTORS | 104790.00 | SUMAN FABRICATORS AND CONTRACTORS
3.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 46.00 | Cum | Item 3 | 305900.00 | 305900.00 | 303600.00 | 303600.00 | 345000.00 | 345000.00 | 303600.00 | D.SRINIVAS | 303600.00 | D.SRINIVAS
4.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 54.00 | Cum | Item 4 | 467100.00 | 467100.00 | 372600.00 | 372600.00 | 405000.00 | 405000.00 | 372600.00 | D.SRINIVAS | 372600.00 | D.SRINIVAS
5.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | Cum | Item 5 | 90000.00 | 90000.00 | 72000.00 | 72000.00 | 90000.00 | 90000.00 | 72000.00 | D.SRINIVAS | 72000.00 | D.SRINIVAS
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size) | 14.00 | Cum | Item 6 | 67900.00 | 67900.00 | 68600.00 | 68600.00 | 78400.00 | 78400.00 | 67900.00 | SUMAN FABRICATORS AND CONTRACTORS | 67900.00 | SUMAN FABRICATORS AND CONTRACTORS
7.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 219.00 | Cum | Item 7 | 32850.00 | 32850.00 | 52560.00 | 52560.00 | 39420.00 | 39420.00 | 32850.00 | SUMAN FABRICATORS AND CONTRACTORS | 32850.00 | SUMAN FABRICATORS AND CONTRACTORS
8.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 40.00 | Cum | Item 8 | 78120.00 | 78120.00 | 38400.00 | 38400.00 | 72000.00 | 72000.00 | 38400.00 | D.SRINIVAS | 38400.00 | D.SRINIVAS
9.00 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand(zone-III) : 4 graded stone aggregate 20mm nominal size). | 26.00 | Sqm | Item 9 | 10400.00 | 10400.00 | 11700.00 | 11700.00 | 10920.00 | 10920.00 | 10400.00 | SUMAN FABRICATORS AND CONTRACTORS | 10400.00 | SUMAN FABRICATORS AND CONTRACTORS
10.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone - III) : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 71.00 | Sqm | Item 10 | 19525.00 | 19525.00 | 42600.00 | 42600.00 | 43310.00 | 43310.00 | 19525.00 | SUMAN FABRICATORS AND CONTRACTORS | 19525.00 | SUMAN FABRICATORS AND CONTRACTORS
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Foundations, footings, bases of columns, etc. for mass concrete | 201.00 | Sqm | Item 11 | 57285.00 | 57285.00 | 102510.00 | 102510.00 | 58290.00 | 58290.00 | 57285.00 | SUMAN FABRICATORS AND CONTRACTORS | 57285.00 | SUMAN FABRICATORS AND CONTRACTORS
12.00 | Centering and shuttering including strutting, propping etc. and removalof form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 158.00 | Sqm | Item 12 | 80580.00 | 80580.00 | 87690.00 | 87690.00 | 90060.00 | 90060.00 | 80580.00 | SUMAN FABRICATORS AND CONTRACTORS | 80580.00 | SUMAN FABRICATORS AND CONTRACTORS
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Columns, Pillars, Piers, Abutments, Posts and Struts | 70.00 | Sqm | Item 13 | 45500.00 | 45500.00 | 40950.00 | 40950.00 | 52500.00 | 52500.00 | 40950.00 | D.SRINIVAS | 40950.00 | D.SRINIVAS
14.00 | Centering and shuttering including strutting, propping etc. and removalof form for :Weather shade, Chajjas, corbels etc., including edges | 30.00 | Sqm | Item 14 | 20550.00 | 20550.00 | 17550.00 | 17550.00 | 18000.00 | 18000.00 | 17550.00 | D.SRINIVAS | 17550.00 | D.SRINIVAS
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Suspended floors, roofs, landings, balconies and access platform | 159.00 | Sqm | Item 15 | 119250.00 | 119250.00 | 93015.00 | 93015.00 | 111300.00 | 111300.00 | 93015.00 | D.SRINIVAS | 93015.00 | D.SRINIVAS
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 4134.00 | Kg | Item 16 | 347256.00 | 347256.00 | 434070.00 | 434070.00 | 372060.00 | 372060.00 | 347256.00 | SUMAN FABRICATORS AND CONTRACTORS | 347256.00 | SUMAN FABRICATORS AND CONTRACTORS
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5675.00 | Kg | Item 17 | 476700.00 | 476700.00 | 595875.00 | 595875.00 | 510750.00 | 510750.00 | 476700.00 | SUMAN FABRICATORS AND CONTRACTORS | 476700.00 | SUMAN FABRICATORS AND CONTRACTORS
18.00 | Brickwork with common burnt clay F.P.S (non modular ) bricks of class designation 3.5 in superstructure above plinth level upto floor V level in all shapes and sizes in : cement mortar 1:6 (1 cement: 6 coarse sand) | 99.00 | Cum | Item 18 | 751509.00 | 751509.00 | 656370.00 | 656370.00 | 594000.00 | 594000.00 | 594000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 594000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
19.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :Powder coated aluminium (minimum thickness of powder coating 50 micron) | 94.00 | Kg | Item 19 | 39762.00 | 39762.00 | 47940.00 | 47940.00 | 42300.00 | 42300.00 | 39762.00 | SUMAN FABRICATORS AND CONTRACTORS | 39762.00 | SUMAN FABRICATORS AND CONTRACTORS
20.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved makeconforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :Powder coated aluminium (minimum thickness of powder coating 50 micron) | 104.00 | kg | Item 20 | 53352.00 | 53352.00 | 53040.00 | 53040.00 | 46800.00 | 46800.00 | 46800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 46800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 32.00 | Sqm | Item 21 | 41504.00 | 41504.00 | 42240.00 | 42240.00 | 40000.00 | 40000.00 | 40000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 40000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge.Pre-laminated particle board with decorative lamination on both sides. | 5.00 | Sqm | Item 22 | 3750.00 | 3750.00 | 5250.00 | 5250.00 | 4750.00 | 4750.00 | 3750.00 | SUMAN FABRICATORS AND CONTRACTORS | 3750.00 | SUMAN FABRICATORS AND CONTRACTORS
23.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 457.00 | Sqm | Item 23 | 133901.00 | 133901.00 | 167262.00 | 167262.00 | 141670.00 | 141670.00 | 133901.00 | SUMAN FABRICATORS AND CONTRACTORS | 133901.00 | SUMAN FABRICATORS AND CONTRACTORS
24.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 781.00 | Sqm | Item 24 | 198374.00 | 198374.00 | 274131.00 | 274131.00 | 218680.00 | 218680.00 | 198374.00 | SUMAN FABRICATORS AND CONTRACTORS | 198374.00 | SUMAN FABRICATORS AND CONTRACTORS
25.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 328.00 | Sqm | Item 25 | 74784.00 | 74784.00 | 108240.00 | 108240.00 | 78720.00 | 78720.00 | 74784.00 | SUMAN FABRICATORS AND CONTRACTORS | 74784.00 | SUMAN FABRICATORS AND CONTRACTORS
26.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 500x500 mm | 132.00 | Sqm | Item 26 | 167376.00 | 167376.00 | 156420.00 | 156420.00 | 170280.00 | 170280.00 | 156420.00 | D.SRINIVAS | 156420.00 | D.SRINIVAS
27.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick fully Perforated Gypsum Board tile made from plasterboard having glass fibre conforming to IS: 2095 part I, of size 595x595 mm, having perforation of 9.7x9.7 mm at 19.4 mm c/c with center borders of 48 mm and the side borders of 30 mm, backed with non woven tissue on the back side, having an NRC (Noise Reduction Coefficient) of 0.79, with 50 mm resin bonded glass wool backing. | 132.00 | Sqm | Item 27 | 198660.00 | 198660.00 | 162360.00 | 162360.00 | 158400.00 | 158400.00 | 158400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 158400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
28.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 4.00 | Each | Item 28 | 1400.00 | 1400.00 | 4000.00 | 4000.00 | 2800.00 | 2800.00 | 1400.00 | SUMAN FABRICATORS AND CONTRACTORS | 1400.00 | SUMAN FABRICATORS AND CONTRACTORS
29.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :150x10 mm | 4.00 | Each | Item 29 | 620.00 | 620.00 | 400.00 | 400.00 | 300.00 | 300.00 | 300.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 300.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
30.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour.One coat | 785.00 | Sqm | Item 30 | 126777.50 | 126777.50 | 103620.00 | 103620.00 | 62800.00 | 62800.00 | 62800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 62800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
31.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 781.00 | Sqm | Item 31 | 128865.00 | 128865.00 | 103092.00 | 103092.00 | 128865.00 | 128865.00 | 103092.00 | D.SRINIVAS | 103092.00 | D.SRINIVAS
32.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content.With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 785.00 | Sqm | Item 32 | 44745.00 | 44745.00 | 96555.00 | 96555.00 | 51025.00 | 51025.00 | 44745.00 | SUMAN FABRICATORS AND CONTRACTORS | 44745.00 | SUMAN FABRICATORS AND CONTRACTORS
33.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 4.00 | Each | Item 33 | 9000.00 | 9000.00 | 420.00 | 420.00 | 3280.00 | 3280.00 | 420.00 | D.SRINIVAS | 420.00 | D.SRINIVAS
34.00 | Brickwork with common burnt clay F.P.S (non modular ) bricks of class designation 3.5 in foundation and plinth in all shapes and sizes in : cement mortar 1:6 (1 cement: 6 coarse sand) | 14.00 | Cum | Item 34 | 82600.00 | 82600.00 | 92820.00 | 92820.00 | 91000.00 | 91000.00 | 82600.00 | SUMAN FABRICATORS AND CONTRACTORS | 82600.00 | SUMAN FABRICATORS AND CONTRACTORS
35.00 | 12 mm thick plain cement mortar bands in cement mortar 1:4 (1cement : 4 fine sand):Raised Band | 432.00 | Cm per metre | Item 35 | 3067.20 | 3067.20 | 33696.00 | 33696.00 | 3456.00 | 3456.00 | 3067.20 | SUMAN FABRICATORS AND CONTRACTORS | 3067.20 | SUMAN FABRICATORS AND CONTRACTORS
36.00 | Structural steel work riveted, bolted or welded in built up sections, trussesand framed work, including cutting, hoisting, fixing in position andapplying a priming coat of approved steel primer all complete. | 525.00 | Kg | Item 36 | 49875.00 | 49875.00 | 64575.00 | 64575.00 | 44625.00 | 44625.00 | 44625.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 44625.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
37.00 | Painting with synthetic enamel paint of approved brand andmanufacture to give an even shade :Two or more coats on new work | 35.00 | Sqm | Item 37 | 2800.00 | 2800.00 | 5250.00 | 5250.00 | 4620.00 | 4620.00 | 2800.00 | SUMAN FABRICATORS AND CONTRACTORS | 2800.00 | SUMAN FABRICATORS AND CONTRACTORS
38.00 | Providing and fixing concertina coil fencing with punched tapeconcertina coil 600 mm dia 10 metre openable length ( total length90 m), having 50 nos rounds per 6 metre length, upto 3 m height ofwall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apartand with 9 horizontal R.B.T. reinforced barbed wire, stud tied withG.I. staples and G.I. clips to retain horizontal, including necessarybolts or G.I. barbed wire tied to angle iron, all complete as per directionof Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Springcore (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mmwith tape (0.52 mm thick) and weight 43.478 gm/ metre (cost ofM.S. angle, C.C. blocks shall be paid separately) | 98.00 | Metre | Item 38 | 31360.00 | 31360.00 | 32340.00 | 32340.00 | 29400.00 | 29400.00 | 29400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 29400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
39.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1166.00 | Kg | Item 39 | 145750.00 | 145750.00 | 132924.00 | 132924.00 | 169070.00 | 169070.00 | 132924.00 | D.SRINIVAS | 132924.00 | D.SRINIVAS
40.00 | Providing and fixing on wall face unplasticised Rigid PVC rain waterpipes conforming to IS : 13592 Type A, including jointing with sealring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.75 mm diameter | 20.00 | Metre | Item 40 | 7600.00 | 7600.00 | 8400.00 | 8400.00 | 4300.00 | 4300.00 | 4300.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 4300.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
41.00 | Providing and applying white cement based putty of average thickness1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 302.00 | Sqm | Item 41 | 34730.00 | 34730.00 | 34428.00 | 34428.00 | 15100.00 | 15100.00 | 15100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 15100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
42.00 | Providing and fixing in position pre-moulded joint filler in expansion joints. | 1371.00 | per cm depth per cm width per metre length | Item 42 | 10968.00 | 10968.00 | 20565.00 | 20565.00 | 34275.00 | 34275.00 | 10968.00 | SUMAN FABRICATORS AND CONTRACTORS | 10968.00 | SUMAN FABRICATORS AND CONTRACTORS
43.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 10.00 | Cum | Item 43 | 10730.00 | 10730.00 | 9600.00 | 9600.00 | 12250.00 | 12250.00 | 9600.00 | D.SRINIVAS | 9600.00 | D.SRINIVAS
44.00 | Demolishing brick work manually/ by mechanical means includingstacking of serviceable material and disposal of unserviceable materialwithin 50 metres lead as per direction of Engineer-in-charge.In cement mortar | 19.00 | Cum | Item 44 | 27911.00 | 27911.00 | 23370.00 | 23370.00 | 31350.00 | 31350.00 | 23370.00 | D.SRINIVAS | 23370.00 | D.SRINIVAS
45.00 | Dismantling steel work in single sections including dismemberingand stacking within 50 metres lead in:Channels, angles, tees and flats | 243.00 | Kg | Item 45 | 1093.50 | 1093.50 | 1458.00 | 1458.00 | 486.00 | 486.00 | 486.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 486.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
46.00 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | 9.00 | Kg | Item 46 | 40.50 | 40.50 | 540.00 | 540.00 | 270.00 | 270.00 | 40.50 | SUMAN FABRICATORS AND CONTRACTORS | 40.50 | SUMAN FABRICATORS AND CONTRACTORS
47.00 | Design of all works from foundation to finishing stage including but not limited to Soil testing detailed design of foundation work, structural design, design of roofing system, façade design etc on the basis of inputs provided by AAI, from a reputed structrual designer as approved by Enginnering-In-Charge. The structrual designer shall ensure that the structral drawing should matching with the architectural drawing, any discripencies between architectural drawing, structural drawing and service drawings etc shall be resolved and correspondening final drawings duly stamped "Good for construction" be issued. The structraul drawings shall got proof checked/vetted from the independent institutes either any Indian Institute of Technology or National Institute of Technology or Government Engineering College and agency shall submitte the design and drawings for final approval of AAI. This item includes all cost of Soil testing,structural design, proof checking/vetting of design etc. | 1.00 | Job | Item 47 | 75000.00 | 75000.00 | 6000.00 | 6000.00 | 70000.00 | 70000.00 | 6000.00 | D.SRINIVAS | 6000.00 | D.SRINIVAS
| Total in Figures |  |  |  | 4818790.70 | 4818790.70 | 4959178.00 | 4959178.00 | 4743752.00 | 4743752.00

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Security Hut and barriers for double access entry of gate no 8 and 9 at rajahmundry airport SH Civil works Tender ID: 2022_AAI_117065_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 4743752.00 | L1
| 2 | SUMAN FABRICATORS AND CONTRACTORS | 4818790.70 | L2
| 3 | D.SRINIVAS | 4959178.00 | L3