## BoQ1
Government eProcurement System Created By: RAGHU RAMA REDDY DODDA Created Date/Time: 11-Jul-2022 12:37 PM Tender Title: FMC of 4 X 100TR AC plant and ACMC for Window, Split, Cassette, Ductable Split Air Conditioner and Water Coolers at Chennai International Airport (2022-2024). Tender ID: 2022_AAI_117097_1
Tender Inviting Authority: AGM(E-E), AMED-IX.
Name of Work: FMC of 4 X 100TR AC plant and ACMC for Window, Split, Cassette, Ductable Split Air Conditioner & Water Coolers at Chennai International Airport ( 2022-2024).
Contract No: AAI/CHE/AMED-IX/FMC AC/2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Aqua Cool Co.Pvt Ltd(GSTN-27AAICA1835E1ZX) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | ETA ENGINEERING PVT LTD(GSTN-33AAACE0808P1ZQ) |  | M/s Cooltec(GSTN-33CZOPS9421C1Z6) |  | KELVIN FAHREN AIRTECH PVT. LTD.(GSTN-29AADCK2735L1Z8) |  | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED(GSTN-33AABCG0898A1Z0)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I FMC for 4X100 TR HVAC system in Admin Block
1.01 | FMC for 4X100 TR HVAC system in Amin Block to ensure satisfactory operations, day to day maintenance; ensuring serviceability for the details of installations and their associated electrical switch gears; including supervision; recording of all activates of HVAC and complying with Special conditions of contract, other clauses in the tender document;by providing manpower for 2 shifts on all working days i/c Holidays excepts Sundays. | 24.00 | Months |  | 240777.00 | 5778648.00 | 204000.00 | 4896000.00 | 279548.10 | 6709154.40 | 58000.00 | 1392000.00 | 236970.00 | 5687280.00 | 180000.00 | 4320000.00 | 1392000.00 | M/s Cooltec
2.00 | SH:II FMC & CMC for Air conditioners and Water coolers FMC with All inclusive Annual Comprehensive Maintenance Contract of following type Air- Conditioners & water coolers including all necessary spares, consumables, filters, compressors etc. carrying out preventive maintenance checks daily/ Monthly/Quarterly/ Half yearly /yearly , break down maintenance and Emergency call service etc. to keep the equipment in perfect working condition etc. and complying with Special conditions of contract, other clauses in the tender document;by providing manpower as required.
3.00 | Window type Air-conditioners of 1.5/2.0 TR capacity of different make.
3.10 | First Year | 10.00 | Each |  | 100.00 | 1000.00 | 1200.00 | 12000.00 | 1000.00 | 10000.00 | 4000.00 | 40000.00 | 1200.00 | 12000.00 | 1170.00 | 11700.00 | 1000.00 | Aqua Cool Co.Pvt Ltd
3.20 | Second Year | 10.00 | Each |  | 100.00 | 1000.00 | 1250.00 | 12500.00 | 1000.00 | 10000.00 | 4000.00 | 40000.00 | 1200.00 | 12000.00 | 1200.00 | 12000.00 | 1000.00 | Aqua Cool Co.Pvt Ltd
4.00 | Split type Air-conditioners of 1.0 TR capacity of different make
4.10 | First Year | 3.00 | Each |  | 100.00 | 300.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 3000.00 | 9000.00 | 1200.00 | 3600.00 | 990.00 | 2970.00 | 300.00 | Aqua Cool Co.Pvt Ltd
4.20 | Second Year | 3.00 | Each |  | 100.00 | 300.00 | 1550.00 | 4650.00 | 1000.00 | 3000.00 | 3500.00 | 10500.00 | 1200.00 | 3600.00 | 1050.00 | 3150.00 | 300.00 | Aqua Cool Co.Pvt Ltd
5.00 | Split type Air-conditioners of 1.5TR capacity of different make
5.10 | First Year | 151.00 | Each |  | 100.00 | 15100.00 | 1800.00 | 271800.00 | 800.00 | 120800.00 | 7000.00 | 1057000.00 | 1530.00 | 231030.00 | 1200.00 | 181200.00 | 15100.00 | Aqua Cool Co.Pvt Ltd
5.20 | Second Year | 160.00 | Each |  | 100.00 | 16000.00 | 1900.00 | 304000.00 | 800.00 | 128000.00 | 7200.00 | 1152000.00 | 1530.00 | 244800.00 | 1400.00 | 224000.00 | 16000.00 | Aqua Cool Co.Pvt Ltd
6.00 | Split type Air-conditioners of 1.5TR capacity Inverter type of different make
6.10 | First Year | 13.00 | Each |  | 100.00 | 1300.00 | 1200.00 | 15600.00 | 2000.00 | 26000.00 | 5000.00 | 65000.00 | 1530.00 | 19890.00 | 3950.00 | 51350.00 | 1300.00 | Aqua Cool Co.Pvt Ltd
6.20 | Second Year | 20.00 | Each |  | 100.00 | 2000.00 | 1250.00 | 25000.00 | 2000.00 | 40000.00 | 5200.00 | 104000.00 | 1530.00 | 30600.00 | 4150.00 | 83000.00 | 2000.00 | Aqua Cool Co.Pvt Ltd
7.00 | Split type Air-conditioners of 2.0 TR capacity of different make
7.10 | First Year | 38.00 | Each |  | 100.00 | 3800.00 | 1350.00 | 51300.00 | 1200.00 | 45600.00 | 6500.00 | 247000.00 | 1800.00 | 68400.00 | 1350.00 | 51300.00 | 3800.00 | Aqua Cool Co.Pvt Ltd
7.20 | Second Year | 40.00 | Each |  | 100.00 | 4000.00 | 1400.00 | 56000.00 | 1200.00 | 48000.00 | 7000.00 | 280000.00 | 1800.00 | 72000.00 | 1500.00 | 60000.00 | 4000.00 | Aqua Cool Co.Pvt Ltd
8.00 | Split type Air-conditioners of 2.0 TR capacity Inverter type of different make
8.10 | First Year | 10.00 | Each |  | 100.00 | 1000.00 | 1500.00 | 15000.00 | 2400.00 | 24000.00 | 8000.00 | 80000.00 | 1800.00 | 18000.00 | 4500.00 | 45000.00 | 1000.00 | Aqua Cool Co.Pvt Ltd
8.20 | Second Year | 16.00 | Each |  | 100.00 | 1600.00 | 1600.00 | 25600.00 | 2400.00 | 38400.00 | 8500.00 | 136000.00 | 1800.00 | 28800.00 | 5200.00 | 83200.00 | 1600.00 | Aqua Cool Co.Pvt Ltd
9.00 | High wall Split type Air-conditioners of 3.0 TR capacity of different make
9.10 | First Year | 20.00 | Each |  | 100.00 | 2000.00 | 2600.00 | 52000.00 | 1600.00 | 32000.00 | 8000.00 | 160000.00 | 2700.00 | 54000.00 | 2610.00 | 52200.00 | 2000.00 | Aqua Cool Co.Pvt Ltd
9.20 | Second Year | 20.00 | Each |  | 100.00 | 2000.00 | 2620.00 | 52400.00 | 1600.00 | 32000.00 | 8500.00 | 170000.00 | 2700.00 | 54000.00 | 3100.00 | 62000.00 | 2000.00 | Aqua Cool Co.Pvt Ltd
10.00 | Split type Vertical Air-conditioners of 3/4.0 TR capacity of different make
10.10 | First Year | 10.00 | Each |  | 100.00 | 1000.00 | 2700.00 | 27000.00 | 1600.00 | 16000.00 | 8500.00 | 85000.00 | 3000.00 | 30000.00 | 4510.00 | 45100.00 | 1000.00 | Aqua Cool Co.Pvt Ltd
10.20 | Second Year | 10.00 | Each |  | 100.00 | 1000.00 | 2800.00 | 28000.00 | 1600.00 | 16000.00 | 8500.00 | 85000.00 | 3000.00 | 30000.00 | 4900.00 | 49000.00 | 1000.00 | Aqua Cool Co.Pvt Ltd
11.00 | 3 Phase, 3.0/ 4.0 Ton Cassette type Air- Conditioners units of different make
11.10 | First Year | 4.00 | Each |  | 200.00 | 800.00 | 3500.00 | 14000.00 | 2000.00 | 8000.00 | 7500.00 | 30000.00 | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 800.00 | Aqua Cool Co.Pvt Ltd
11.20 | Second Year | 6.00 | Each |  | 200.00 | 1200.00 | 3600.00 | 21600.00 | 2000.00 | 12000.00 | 8000.00 | 48000.00 | 3000.00 | 18000.00 | 6000.00 | 36000.00 | 1200.00 | Aqua Cool Co.Pvt Ltd
12.00 | Ductable type Air- Conditioners of 6.0 TR Capacity
12.10 | First Year | 2.00 | Each |  | 300.00 | 600.00 | 5200.00 | 10400.00 | 4400.00 | 8800.00 | 15000.00 | 30000.00 | 5400.00 | 10800.00 | 6130.00 | 12260.00 | 600.00 | Aqua Cool Co.Pvt Ltd
12.20 | Second Year | 2.00 | Each |  | 300.00 | 600.00 | 5300.00 | 10600.00 | 4400.00 | 8800.00 | 16000.00 | 32000.00 | 5400.00 | 10800.00 | 6800.00 | 13600.00 | 600.00 | Aqua Cool Co.Pvt Ltd
13.00 | Ductable type Air- Conditioners of 9 TR Capacity
13.10 | First Year | 9.00 | Each |  | 300.00 | 2700.00 | 6200.00 | 55800.00 | 6500.00 | 58500.00 | 18000.00 | 162000.00 | 7200.00 | 64800.00 | 6300.00 | 56700.00 | 2700.00 | Aqua Cool Co.Pvt Ltd
13.20 | Second Year | 9.00 | Each |  | 300.00 | 2700.00 | 6300.00 | 56700.00 | 6500.00 | 58500.00 | 20000.00 | 180000.00 | 7200.00 | 64800.00 | 6900.00 | 62100.00 | 2700.00 | Aqua Cool Co.Pvt Ltd
14.00 | Ductable type Air- Conditioners of 16.5 TR Capacity
14.10 | First Year | 5.00 | Each |  | 300.00 | 1500.00 | 13000.00 | 65000.00 | 11600.00 | 58000.00 | 24000.00 | 120000.00 | 14400.00 | 72000.00 | 12600.00 | 63000.00 | 1500.00 | Aqua Cool Co.Pvt Ltd
14.20 | Second Year | 5.00 | Each |  | 300.00 | 1500.00 | 13500.00 | 67500.00 | 11600.00 | 58000.00 | 25000.00 | 125000.00 | 14400.00 | 72000.00 | 12600.00 | 63000.00 | 1500.00 | Aqua Cool Co.Pvt Ltd
15.00 | Comprehensive repair and maintenance of voltage stabilizer upto 5KVA capacity suitable for above split/window A/C units i/c dismantling repairing and refixing etc. as required at site.
15.10 | First Year | 200.00 | Each |  | 100.00 | 20000.00 | 200.00 | 40000.00 | 350.00 | 70000.00 | 25.00 | 5000.00 | 240.00 | 48000.00 | 200.00 | 40000.00 | 5000.00 | M/s Cooltec
15.20 | Second Year | 200.00 | Each |  | 100.00 | 20000.00 | 210.00 | 42000.00 | 350.00 | 70000.00 | 25.00 | 5000.00 | 240.00 | 48000.00 | 300.00 | 60000.00 | 5000.00 | M/s Cooltec
16.00 | Annual Comprehensive Maintenance Contract of Kelby/conway model storage tank capacity 80 Litres and RO Purification at upto 80 Litres per hour capacity water cooler including all necessary spares, consumables, filters (Carbon & Spun);Taps and compressor etc (except membrane) to keep the equipment in perfect working condition etc., as required.
16.10 | First Year | 37.00 | Each |  | 100.00 | 3700.00 | 900.00 | 33300.00 | 3500.00 | 129500.00 | 5000.00 | 185000.00 | 1200.00 | 44400.00 | 2000.00 | 74000.00 | 3700.00 | Aqua Cool Co.Pvt Ltd
16.20 | Second Year | 40.00 | Each |  | 100.00 | 4000.00 | 950.00 | 38000.00 | 3500.00 | 140000.00 | 5500.00 | 220000.00 | 1200.00 | 48000.00 | 2800.00 | 112000.00 | 4000.00 | Aqua Cool Co.Pvt Ltd
17.00 | Annual Comprehensive Maintenance Contract of Kelby Brook brand 125 NHC model for normal, hot & cold water cooler fitted with water purification of UV protection including all necessary spares consumables, filters (Carbon & Spun);Taps and compressor etc to keep the equipment in perfect working condition etc., as required.
17.10 | First Year | 3.00 | Each |  | 100.00 | 300.00 | 1200.00 | 3600.00 | 3500.00 | 10500.00 | 5500.00 | 16500.00 | 1200.00 | 3600.00 | 2000.00 | 6000.00 | 300.00 | Aqua Cool Co.Pvt Ltd
17.20 | Second Year | 3.00 | Each |  | 100.00 | 300.00 | 1250.00 | 3750.00 | 3500.00 | 10500.00 | 6000.00 | 18000.00 | 1200.00 | 3600.00 | 2800.00 | 8400.00 | 300.00 | Aqua Cool Co.Pvt Ltd
18.00 | Annual Comprehensive Maintenance Contract of Kelby/conway make 125 litres/ hour capacity / Voltas make Normal Water Cooler fitted with model for normal, hot & cold water cooler including all necessary spares, consumables, filters (Carbon & Spun);Taps and compressor etc(except membrane) to keep the equipment in perfect working condition etc., as required..
18.10 | First Year | 10.00 | Each |  | 100.00 | 1000.00 | 1150.00 | 11500.00 | 3500.00 | 35000.00 | 5800.00 | 58000.00 | 1200.00 | 12000.00 | 3000.00 | 30000.00 | 1000.00 | Aqua Cool Co.Pvt Ltd
18.20 | Second Year | 10.00 | Each |  | 100.00 | 1000.00 | 1160.00 | 11600.00 | 3500.00 | 35000.00 | 6000.00 | 60000.00 | 1200.00 | 12000.00 | 3400.00 | 34000.00 | 1000.00 | Aqua Cool Co.Pvt Ltd
19.00 | Annual Comprehensive Maintenance Contract of Zero B Eco chill water cooler 40-80-40 with inbuilt RO purification system with HRR & ESS Technology having two tap for cold and normal water with stainless steel body including all necessary spares, consumables, filters Taps and compressor etc to keep the equipment in perfect working condition etc., as required.
19.10 | First Year | 6.00 | Each |  | 100.00 | 600.00 | 1100.00 | 6600.00 | 4100.00 | 24600.00 | 9500.00 | 57000.00 | 1200.00 | 7200.00 | 3400.00 | 20400.00 | 600.00 | Aqua Cool Co.Pvt Ltd
19.20 | Second Year | 6.00 | Each |  | 100.00 | 600.00 | 1120.00 | 6720.00 | 4100.00 | 24600.00 | 9800.00 | 58800.00 | 1200.00 | 7200.00 | 3700.00 | 22200.00 | 600.00 | Aqua Cool Co.Pvt Ltd
20.00 | Annual Comprehensive Maintenance Contract of 7-10 LPH capacity RO+UV water purifier including all necessary spares, consumables, filters and RO membrane etc. to keep the equipment in perfect working condition etc., as required.( Make : Aqua guard/Faber/other makes)
20.10 | First Year | 2.00 | Each |  | 200.00 | 400.00 | 1100.00 | 2200.00 | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 1200.00 | 2400.00 | 4100.00 | 8200.00 | 400.00 | Aqua Cool Co.Pvt Ltd
20.20 | Second Year | 3.00 | Each |  | 200.00 | 600.00 | 1150.00 | 3450.00 | 8000.00 | 24000.00 | 10000.00 | 30000.00 | 1200.00 | 3600.00 | 4750.00 | 14250.00 | 600.00 | Aqua Cool Co.Pvt Ltd
21.00 | SH:III MISCELLANEOUS AC & WATER COOLER WORKS
22.00 | Supply of 80/100 GPD Membrane suitable for Kelby/ Conway make RO type water coolers etc., complete as required. | 250.00 | Each |  | 300.00 | 75000.00 | 1400.00 | 350000.00 | 200.00 | 50000.00 | 400.00 | 100000.00 | 540.00 | 135000.00 | 530.00 | 132500.00 | 50000.00 | ETA ENGINEERING PVT LTD
23.00 | Supply of 300 GPD Membrane suitable for Conway/Zero B make RO type water coolers etc., complete as required. | 250.00 | Each |  | 300.00 | 75000.00 | 1450.00 | 362500.00 | 200.00 | 50000.00 | 700.00 | 175000.00 | 1350.00 | 337500.00 | 710.00 | 177500.00 | 50000.00 | ETA ENGINEERING PVT LTD
24.00 | Installation, testing and commissioning of following type of AC units of any reputed make in the existing opening i/c fitting of indoor and outdoor unit at their respective locations, drilling holes in the wall using suitable hardwares, ceiling supporting arrangement, leak testing of entire system, charging refrigerant gas in the unit , making good the surface as per requirement of the site, providing of wooden frame ply board and necessary painting with matching colour etc.(if required)complete as required at site.
24.10 | Window AC upto 1.5/2 TR | 1.00 | Each |  | 201.77 | 201.77 | 150.00 | 150.00 | 800.00 | 800.00 | 300.00 | 300.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 150.00 | SNOWMEX ENGINEERS LIMITED
24.20 | Split AC upto 1.5/2 TR | 10.00 | Each |  | 200.00 | 2000.00 | 250.00 | 2500.00 | 1000.00 | 10000.00 | 350.00 | 3500.00 | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 2000.00 | Aqua Cool Co.Pvt Ltd
24.30 | Cassette AC upto 1.5/2/3/4 TR | 3.00 | Each |  | 300.00 | 900.00 | 450.00 | 1350.00 | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 6000.00 | 18000.00 | 900.00 | Aqua Cool Co.Pvt Ltd
24.40 | Tower AC upto 2/3/4 TR | 3.00 | Each |  | 300.00 | 900.00 | 550.00 | 1650.00 | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 6500.00 | 19500.00 | 900.00 | Aqua Cool Co.Pvt Ltd
25.00 | Dismantling of following type Air- Conditioners including In door & Out door units and all accessories etc, and shifting the same to AAI store complete as required.
25.10 | Window AC upto 1.5/2 TR | 2.00 | Each |  | 100.00 | 200.00 | 100.00 | 200.00 | 200.00 | 400.00 | 100.00 | 200.00 | 500.00 | 1000.00 | 750.00 | 1500.00 | 200.00 | Aqua Cool Co.Pvt Ltd, SNOWMEX ENGINEERS LIMITED, M/s Cooltec
25.20 | Split AC upto 1.5/2 TR | 10.00 | Each |  | 100.00 | 1000.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 100.00 | 1000.00 | 500.00 | 5000.00 | 750.00 | 7500.00 | 1000.00 | Aqua Cool Co.Pvt Ltd, M/s Cooltec
25.30 | Cassette AC upto 1.5/2/3/4 TR | 3.00 | Each |  | 100.00 | 300.00 | 200.00 | 600.00 | 800.00 | 2400.00 | 100.00 | 300.00 | 500.00 | 1500.00 | 1500.00 | 4500.00 | 300.00 | Aqua Cool Co.Pvt Ltd, M/s Cooltec
25.40 | Tower AC upto 2/3/4 TR | 3.00 | Each |  | 100.00 | 300.00 | 300.00 | 900.00 | 800.00 | 2400.00 | 100.00 | 300.00 | 500.00 | 1500.00 | 2000.00 | 6000.00 | 300.00 | Aqua Cool Co.Pvt Ltd, M/s Cooltec
26.00 | Supply of cordless remote different make 1.5/2.0 TR/3.0TR split type/window type/tower type/cassette A/C units as required. | 20.00 | Each |  | 500.00 | 10000.00 | 550.00 | 11000.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 1800.00 | 36000.00 | 2000.00 | M/s Cooltec
27.00 | Supply & installation of additional Refrigerant copper piping of suitable size b/w indoor and outdoor units, including protective external covering with 10mm thick closed cell Polyethylene foam insulation or nitrile rubber or PUF with all necessary supports,fittings,brazing, wrapping with plaster and leak proof arrangements as required and recommended by the OEM. Refrigerant copper piping: For 1TR: Suction Tube 1/2" & Liquid Tube 1/4" For 1.5TR: Suction Tube 1/2" & Liquid Tube 1/4" For 2TR: Suction Tube 5/8" & Liquid Tube 3/8" For 3TR: Suction Tube 3/4" & Liquid Tube 1/2" For 4TR: Suction Tube 3/4" & Liquid Tube 1/2".
27.10 | SITC of Suction Tube & Liquid Tube for 1TR & 1.5 TR AC | 50.00 | Mtr |  | 1300.00 | 65000.00 | 450.00 | 22500.00 | 250.00 | 12500.00 | 500.00 | 25000.00 | 700.00 | 35000.00 | 850.00 | 42500.00 | 12500.00 | ETA ENGINEERING PVT LTD
27.20 | SITC of Suction Tube & Liquid Tube for 2TR AC | 30.00 | Mtr |  | 1400.00 | 42000.00 | 455.00 | 13650.00 | 300.00 | 9000.00 | 650.00 | 19500.00 | 800.00 | 24000.00 | 850.00 | 25500.00 | 9000.00 | ETA ENGINEERING PVT LTD
27.30 | SITC of Suction Tube & Liquid Tube for 3TR & 4 TR AC | 25.00 | Mtr |  | 1400.00 | 35000.00 | 500.00 | 12500.00 | 400.00 | 10000.00 | 750.00 | 18750.00 | 850.00 | 21250.00 | 1200.00 | 30000.00 | 10000.00 | ETA ENGINEERING PVT LTD
28.00 | Supplying, of following thickness closed cell elastrometric nitrile rubber of class ‘O’ as per specifications and as required complete in all respect.
28.10 | 9 mm thick , 5/8' dia | 30.00 | Mtr |  | 350.00 | 10500.00 | 150.00 | 4500.00 | 30.00 | 900.00 | 60.00 | 1800.00 | 50.00 | 1500.00 | 180.00 | 5400.00 | 900.00 | ETA ENGINEERING PVT LTD
28.20 | 9 mm thick ,1/2' dia | 30.00 | Mtr |  | 350.00 | 10500.00 | 200.00 | 6000.00 | 30.00 | 900.00 | 50.00 | 1500.00 | 50.00 | 1500.00 | 150.00 | 4500.00 | 900.00 | ETA ENGINEERING PVT LTD
29.00 | Supply of standard outdoor wall bracket with vibration pad of suitable size for different capacity of AC's complete as reqd at site. Split AC upto 1.5/2 TR (Outdoor) | 10.00 | Each |  | 250.00 | 2500.00 | 1000.00 | 10000.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 600.00 | 6000.00 | 2500.00 | 25000.00 | 2000.00 | ETA ENGINEERING PVT LTD
30.00 | Supply of suitable size (not less than 25 mm) drain pipe medium duty with Insulation complete as required and as per satisfaction of EIC | 50.00 | Mtr |  | 150.00 | 7500.00 | 75.00 | 3750.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 250.00 | 12500.00 | 3750.00 | SNOWMEX ENGINEERS LIMITED
31.00 | Supply & Fixing of condenser copper coils of following capacity, dismantling of existing old Aluminium coils and shifted to AAI Store etc., complete as req.
31.10 | 1.5 TR | 6.00 | Each |  | 7500.00 | 45000.00 | 4500.00 | 27000.00 | 1800.00 | 10800.00 | 400.00 | 2400.00 | 4500.00 | 27000.00 | 4500.00 | 27000.00 | 2400.00 | M/s Cooltec
31.20 | 2.0TR | 4.00 | Each |  | 8500.00 | 34000.00 | 5110.00 | 20440.00 | 3000.00 | 12000.00 | 400.00 | 1600.00 | 5000.00 | 20000.00 | 5400.00 | 21600.00 | 1600.00 | M/s Cooltec
32.00 | Supply & fixing of 13mm thick class O closed cell Aflex GC cloth faced nitrile rubber dia 25mm with suitable rubber adhesive, finally finished coating poly shield.Inclusive of scaffolding and transportation charges. | 20.00 | Mtr |  | 350.00 | 7000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 675.00 | 13500.00 | 750.00 | 15000.00 | 500.00 | 10000.00 | 3000.00 | SNOWMEX ENGINEERS LIMITED, ETA ENGINEERING PVT LTD
33.00 | Supply, installation, testing and commissioning of following nominal size of chilled water piping of MS "C" class Heavy duty pipes with 50mm EPS insulation provided complete with all fittings and accessories like Bends, Tees, reducers, exp. Joints supports, clamps, etc complete as required and as per specification (For pipes of dia. up to 200 mm IS 1239 (1) & above, IS 3589)
33.10 | 150 mm dia | 15.00 | Mtr |  | 1800.00 | 27000.00 | 450.00 | 6750.00 | 1500.00 | 22500.00 | 1850.00 | 27750.00 | 540.00 | 8100.00 | 1450.00 | 21750.00 | 6750.00 | SNOWMEX ENGINEERS LIMITED
33.20 | 100 mm dia | 20.00 | Mtr |  | 1700.00 | 34000.00 | 450.00 | 9000.00 | 1000.00 | 20000.00 | 1750.00 | 35000.00 | 450.00 | 9000.00 | 1200.00 | 24000.00 | 9000.00 | SNOWMEX ENGINEERS LIMITED, KELVIN FAHREN AIRTECH PVT. LTD.
34.00 | Supply and fixing of 50mm EPS insulation for existing chilled water piping of MS "C" class Heavy duty pipe, etc complete as required and as per specification.
34.10 | 150 mm dia | 15.00 | Mtr |  | 1800.00 | 27000.00 | 100.00 | 1500.00 | 400.00 | 6000.00 | 1150.00 | 17250.00 | 500.00 | 7500.00 | 1450.00 | 21750.00 | 1500.00 | SNOWMEX ENGINEERS LIMITED
34.20 | 100 mm dia | 20.00 | Mtr |  | 1700.00 | 34000.00 | 110.00 | 2200.00 | 300.00 | 6000.00 | 1350.00 | 27000.00 | 400.00 | 8000.00 | 1200.00 | 24000.00 | 2200.00 | SNOWMEX ENGINEERS LIMITED
35.00 | Replacement of existing G.S.S square / rectangular ducting of following thickness, to be fabricated at site complete with gaskets, elbows, splitters, supports including dismantling of duct and replaced with new one, etc as per technical specification complete as required.
35.10 | 24 gauge | 50.00 | Sq.Mtr |  | 750.00 | 37500.00 | 480.00 | 24000.00 | 800.00 | 40000.00 | 950.00 | 47500.00 | 900.00 | 45000.00 | 1150.00 | 57500.00 | 24000.00 | SNOWMEX ENGINEERS LIMITED
35.20 | 22 guage | 10.00 | Sq.Mtr |  | 950.00 | 9500.00 | 485.00 | 4850.00 | 1000.00 | 10000.00 | 925.00 | 9250.00 | 1000.00 | 10000.00 | 1300.00 | 13000.00 | 4850.00 | SNOWMEX ENGINEERS LIMITED
36.00 | Replacement of existing damaged Nitrile rubber insulation of following thickness (on duct) of density 24 kg/cu.m after applying suitable adhesive, sealing all joints with self adhesive aluminium tape, including dismantling of damaged insulation and replaced with new insulation, complete etc. as required
36.10 | 13mm thick | 50.00 | Sq.Mtr |  | 350.00 | 17500.00 | 150.00 | 7500.00 | 250.00 | 12500.00 | 375.00 | 18750.00 | 450.00 | 22500.00 | 950.00 | 47500.00 | 7500.00 | SNOWMEX ENGINEERS LIMITED
36.20 | 25mm thick | 10.00 | Sq.Mtr |  | 450.00 | 4500.00 | 180.00 | 1800.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 720.00 | 7200.00 | 1200.00 | 12000.00 | 1800.00 | SNOWMEX ENGINEERS LIMITED
37.00 | SITC of Aluminium powder coated 4 way Supply air diffuser removable type with collar damper (Neck 375×375mm, outer 450×450mm) | 5.00 | Each |  | 8500.00 | 42500.00 | 150.00 | 750.00 | 2000.00 | 10000.00 | 2100.00 | 10500.00 | 2700.00 | 13500.00 | 6500.00 | 32500.00 | 750.00 | SNOWMEX ENGINEERS LIMITED
38.00 | SITC of Aluminium powder coated 4 way Return air diffuser without collar damper (Neck 375×375mm, outer 450*450) | 5.00 | Each |  | 8500.00 | 42500.00 | 150.00 | 750.00 | 2000.00 | 10000.00 | 1950.00 | 9750.00 | 1800.00 | 9000.00 | 5500.00 | 27500.00 | 750.00 | SNOWMEX ENGINEERS LIMITED
39.00 | SITC of 20 Newton-meter motorised Fire damper on/off actuator with Spring return type and having manual override including removing of existing actuator and installation of new actuator with required modification for integration with existing fire/AHU control panel as per site condition. | 36.00 | Jobs |  | 5023.00 | 180828.00 | 120.00 | 4320.00 | 5000.00 | 180000.00 | 14300.00 | 514800.00 | 11700.00 | 421200.00 | 19000.00 | 684000.00 | 4320.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 6777777.77 |  | 7277780.00 |  | 8679854.40 |  | 7676000.00 |  | 8389950.00 |  | 7697780.00
Lowest Amount Quoted BY: Aqua Cool Co.Pvt Ltd(6777777.77)

## BOQ Summary
BOQ Summary Details Tender Title: FMC of 4 X 100TR AC plant and ACMC for Window, Split, Cassette, Ductable Split Air Conditioner and Water Coolers at Chennai International Airport (2022-2024). Tender ID: 2022_AAI_117097_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Aqua Cool Co.Pvt Ltd | 6777777.77 | L1
| 2 | SNOWMEX ENGINEERS LIMITED | 7277780.00 | L2
| 3 | M/s Cooltec | 7676000.00 | L3
| 4 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 7697780.00 | L4
| 5 | KELVIN FAHREN AIRTECH PVT. LTD. | 8389950.00 | L5
| 6 | ETA ENGINEERING PVT LTD | 8679854.40 | L6