## BoQ1
Government eProcurement System Created By: Rajender Kumar Bramniya Created Date/Time: 29-Jun-2022 11:40 AM Tender Title: Miscellanous civil works in Terminal building at Srinagar International Airport, Srinagar Tender ID: 2022_AAI_117196_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Civil)-II, Srinagar International Airport,Srinagar.
Name of Work: Miscellanous civil works in Terminal building at Srinagar International Airport, Srinagar
Contract No: AAI/SRN/Engg(C)/Misc/2022-23/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S ANGU INTERIOR DECORATORS(GSTN-NA) |  | M/S KUCHAY CONSTRUCTION CORPORATION(GSTN-NA) |  | BAKHTAWAR AHMAD RATHER(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 5.04 | Sqm |  | 1900.00 | 9576.00 | 2100.00 | 10584.00 | 2200.00 | 11088.00 | 9576.00 | M/S ANGU INTERIOR DECORATORS
2.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing. 30 mm thick pre laminated PVC door shutters | 8.82 | Sqm |  | 2500.00 | 22050.00 | 3200.00 | 28224.00 | 3000.00 | 26460.00 | 22050.00 | M/S ANGU INTERIOR DECORATORS
3.00 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 10.75 | Cum |  | 4500.00 | 48375.00 | 6000.00 | 64500.00 | 7000.00 | 75250.00 | 48375.00 | M/S ANGU INTERIOR DECORATORS
4.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 8.47 | Cum |  | 6000.00 | 50820.00 | 6500.00 | 55055.00 | 7000.00 | 59290.00 | 50820.00 | M/S ANGU INTERIOR DECORATORS
5.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 36.56 | Sqm |  | 600.00 | 21936.00 | 850.00 | 31076.00 | 1000.00 | 36560.00 | 21936.00 | M/S ANGU INTERIOR DECORATORS
6.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 36.56 | Sqm |  | 20.00 | 731.20 | 80.00 | 2924.80 | 100.00 | 3656.00 | 731.20 | M/S ANGU INTERIOR DECORATORS
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 4.14 | Cum |  | 3500.00 | 14490.00 | 5100.00 | 21114.00 | 4000.00 | 16560.00 | 14490.00 | M/S ANGU INTERIOR DECORATORS
8.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 36.01 | Sqm |  | 850.00 | 30608.50 | 1900.00 | 68419.00 | 1100.00 | 39611.00 | 30608.50 | M/S ANGU INTERIOR DECORATORS
9.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 1.54 | Cum |  | 1100.00 | 1694.00 | 4500.00 | 6930.00 | 1600.00 | 2464.00 | 1694.00 | M/S ANGU INTERIOR DECORATORS
10.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 79.93 | Sqm |  | 115.00 | 9191.95 | 195.00 | 15586.35 | 250.00 | 19982.50 | 9191.95 | M/S ANGU INTERIOR DECORATORS
11.00 | 15 mm cement plaster: 1:4 (1 cement : 4 fine sand) | 93.91 | Sqm |  | 150.00 | 14086.50 | 250.00 | 23477.50 | 250.00 | 23477.50 | 14086.50 | M/S ANGU INTERIOR DECORATORS
12.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer | 79.93 | Sqm |  | 50.00 | 3996.50 | 65.00 | 5195.45 | 80.00 | 6394.40 | 3996.50 | M/S ANGU INTERIOR DECORATORS
13.00 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | 93.91 | Sqm |  | 35.00 | 3286.85 | 65.00 | 6104.15 | 100.00 | 9391.00 | 3286.85 | M/S ANGU INTERIOR DECORATORS
14.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 5.00 | Each |  | 3100.00 | 15500.00 | 5000.00 | 25000.00 | 3500.00 | 17500.00 | 15500.00 | M/S ANGU INTERIOR DECORATORS
15.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 450 mm long towel rail with total length of 495 mm, 78 mm wide and effective height of 88 mm, weighing not less than 170 gms | 4.00 | Each |  | 450.00 | 1800.00 | 350.00 | 1400.00 | 500.00 | 2000.00 | 1400.00 | M/S KUCHAY CONSTRUCTION CORPORATION
16.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : Range of three urinal basins with 10litre white P.V.C. automatic flushing cistern | 1.00 | Each |  | 11500.00 | 11500.00 | 4500.00 | 4500.00 | 6000.00 | 6000.00 | 4500.00 | M/S KUCHAY CONSTRUCTION CORPORATION
17.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : Range of four urinal basins with 10 litre white P.V.C. automatic flushing cistern | 1.00 | Each |  | 16000.00 | 16000.00 | 18000.00 | 18000.00 | 5000.00 | 5000.00 | 5000.00 | BAKHTAWAR AHMAD RATHER
18.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 6.00 | Each |  | 1300.00 | 7800.00 | 350.00 | 2100.00 | 800.00 | 4800.00 | 2100.00 | M/S KUCHAY CONSTRUCTION CORPORATION
19.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | Each |  | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | BAKHTAWAR AHMAD RATHER
20.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 4.00 | Each |  | 6000.00 | 24000.00 | 3500.00 | 14000.00 | 4000.00 | 16000.00 | 14000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
21.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each |  | 9000.00 | 18000.00 | 9000.00 | 18000.00 | 8000.00 | 16000.00 | 16000.00 | BAKHTAWAR AHMAD RATHER
22.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 143.68 | Kg |  | 550.00 | 79024.00 | 550.00 | 79024.00 | 80.00 | 11494.40 | 11494.40 | BAKHTAWAR AHMAD RATHER
23.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 129.81 | Kg |  | 600.00 | 77886.00 | 600.00 | 77886.00 | 500.00 | 64905.00 | 64905.00 | BAKHTAWAR AHMAD RATHER
24.00 | Providing and fixing soil, waste and vent pipes : 75 mm diameter : Sand cast iron S&S pipe as per IS: 1729 | 100.00 | Mtr |  | 750.00 | 75000.00 | 900.00 | 90000.00 | 1800.00 | 180000.00 | 75000.00 | M/S ANGU INTERIOR DECORATORS
25.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 15 mm nominal outer dia Pipes | 20.00 | Mtr |  | 90.00 | 1800.00 | 370.00 | 7400.00 | 400.00 | 8000.00 | 1800.00 | M/S ANGU INTERIOR DECORATORS
26.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal outer dia Pipes | 30.00 | Mtr |  | 110.00 | 3300.00 | 400.00 | 12000.00 | 300.00 | 9000.00 | 3300.00 | M/S ANGU INTERIOR DECORATORS
27.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 10.00 | Each |  | 450.00 | 4500.00 | 750.00 | 7500.00 | 600.00 | 6000.00 | 4500.00 | M/S ANGU INTERIOR DECORATORS
28.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 5.00 | Each |  | 50.00 | 250.00 | 350.00 | 1750.00 | 100.00 | 500.00 | 250.00 | M/S ANGU INTERIOR DECORATORS
29.00 | Providing and fixing toilet paper holder : C.P. brass | 4.00 | Each |  | 270.00 | 1080.00 | 300.00 | 1200.00 | 200.00 | 800.00 | 800.00 | BAKHTAWAR AHMAD RATHER
30.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 5.00 | Each |  | 150.00 | 750.00 | 600.00 | 3000.00 | 250.00 | 1250.00 | 750.00 | M/S ANGU INTERIOR DECORATORS
31.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 6.00 | Each |  | 250.00 | 1500.00 | 750.00 | 4500.00 | 600.00 | 3600.00 | 1500.00 | M/S ANGU INTERIOR DECORATORS
32.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | 2000.00 | per litre |  | 7.00 | 14000.00 | 8.00 | 16000.00 | 10.00 | 20000.00 | 14000.00 | M/S ANGU INTERIOR DECORATORS
33.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 26.00 | Each |  | 30.00 | 780.00 | 70.00 | 1820.00 | 50.00 | 1300.00 | 780.00 | M/S ANGU INTERIOR DECORATORS
34.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 11.00 | Each |  | 25.00 | 275.00 | 75.00 | 825.00 | 100.00 | 1100.00 | 275.00 | M/S ANGU INTERIOR DECORATORS
35.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 861.59 | Kg |  | 135.00 | 116314.65 | 105.00 | 90466.95 | 130.00 | 112006.70 | 90466.95 | M/S KUCHAY CONSTRUCTION CORPORATION
36.00 | Providing wood work in frames of false ceiling, partitions etc. sawn and fixed in position with necessary stainless steel screws etc. (a) Kiln seasoned and chemically treated hollock wood | 2.37 | cum |  | 35000.00 | 82950.00 | 50000.00 | 118500.00 | 50000.00 | 118500.00 | 82950.00 | M/S ANGU INTERIOR DECORATORS
37.00 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. 0.63 mm thick with zinc coating not less than 275 gm/ m² | 49.22 | Sqm |  | 850.00 | 41837.00 | 700.00 | 34454.00 | 850.00 | 41837.00 | 34454.00 | M/S KUCHAY CONSTRUCTION CORPORATION
38.00 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete. 0.63 mm thick with zinc coating not less than 275 gm/m² | 10.70 | metre |  | 550.00 | 5885.00 | 125.00 | 1337.50 | 500.00 | 5350.00 | 1337.50 | M/S KUCHAY CONSTRUCTION CORPORATION
39.00 | Providing and fixing Pre-laminated flat pressed 3 layer (medium density) particle board or graded wood particle board IS : 3087 marked, with one side decorative and other side balancing lamination Grade I, Type II exterior grade IS : 12823 marked, in shelves with screws and fittings wherever required, edges to be painted with polyurethane primer (fittings to be paid separately). (a) 18 mm thick | 110.51 | sqm |  | 815.00 | 90065.65 | 1000.00 | 110510.00 | 1150.00 | 127086.50 | 90065.65 | M/S ANGU INTERIOR DECORATORS
40.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 5.00 | each |  | 900.00 | 4500.00 | 900.00 | 4500.00 | 1500.00 | 7500.00 | 4500.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
41.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : (a) 250x16 mm | 11.00 | each |  | 125.00 | 1375.00 | 350.00 | 3850.00 | 300.00 | 3300.00 | 1375.00 | M/S ANGU INTERIOR DECORATORS
42.00 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete | 5.00 | each |  | 150.00 | 750.00 | 150.00 | 750.00 | 100.00 | 500.00 | 500.00 | BAKHTAWAR AHMAD RATHER
43.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. (a) Pre-laminated particle board with decorative lamination on both sides | 39.65 | sqm |  | 780.00 | 30927.00 | 950.00 | 37667.50 | 1300.00 | 51545.00 | 30927.00 | M/S ANGU INTERIOR DECORATORS
44.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): (a) With float glass panes of 5.50 mm thickness | 3.69 | sqm |  | 1150.00 | 4243.50 | 750.00 | 2767.50 | 1500.00 | 5535.00 | 2767.50 | M/S KUCHAY CONSTRUCTION CORPORATION
45.00 | Removing and refixing glazed partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the directions of engineer-in-charge (a) With float glass panes of 12 mm thickness. | 21.95 | sqm |  | 3200.00 | 70240.00 | 900.00 | 19755.00 | 300.00 | 6585.00 | 6585.00 | BAKHTAWAR AHMAD RATHER
46.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 1392.00 | kg |  | 1.50 | 2088.00 | 5.00 | 6960.00 | 5.00 | 6960.00 | 2088.00 | M/S ANGU INTERIOR DECORATORS
47.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 19.26 | sqm |  | 2.50 | 48.15 | 3.00 | 57.78 | 10.00 | 192.60 | 48.15 | M/S ANGU INTERIOR DECORATORS
48.00 | Providing & stacking non-laminated PP bags of size 28"x14", filled with sand, its complete as per the direction and satisfaction of E-I-C. | 500.00 | Each |  | 90.00 | 45000.00 | 75.00 | 37500.00 | 150.00 | 75000.00 | 37500.00 | M/S KUCHAY CONSTRUCTION CORPORATION
49.00 | Providing and fixing white vitreous china urinal partition of size 69x16.5x32.5 cm of Hindware/Perryware or equivalent make of required shape and design, etc. complete as per direction of Engineer-in-charge. | 6.00 | Each |  | 2250.00 | 13500.00 | 3000.00 | 18000.00 | 1000.00 | 6000.00 | 6000.00 | BAKHTAWAR AHMAD RATHER
50.00 | Dismantling wooden boardings in lining of walls and partitions, excluding supporting members but including stacking within 50 metres lead : (a) Thickness above 10 mm up to 25 mm | 29.40 | sqm |  | 15.00 | 441.00 | 10.00 | 294.00 | 50.00 | 1470.00 | 294.00 | M/S KUCHAY CONSTRUCTION CORPORATION
51.00 | Dismantling wood work in frames, trusses, purlins and rafters up to 10 metres span and 5 metres height including stacking the material within 50 metres lead : (a) Of sectional area 40 square centimetres and above | .20 | cum |  | 2100.00 | 420.00 | 10.00 | 2.00 | 150.00 | 30.00 | 2.00 | M/S KUCHAY CONSTRUCTION CORPORATION
52.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 121.05 | sqm |  | 21.00 | 2542.05 | 10.00 | 1210.50 | 20.00 | 2421.00 | 1210.50 | M/S KUCHAY CONSTRUCTION CORPORATION
53.00 | Providing RCC cylindrical septic tank having 20 concrete rings of Ring size dia 1200 mm and 150 mm height, including excavation, carriage at site & filling of sides with excavated earth etc. complete to the satisfaction of EIC. | 2.00 | Each |  | 12000.00 | 24000.00 | 15000.00 | 30000.00 | 25000.00 | 50000.00 | 24000.00 | M/S ANGU INTERIOR DECORATORS
| Total in Figures |  |  |  |  | 1134714.50 |  | 1253677.98 |  | 1333252.60
Lowest Amount Quoted BY: M/S ANGU INTERIOR DECORATORS(1134714.50)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellanous civil works in Terminal building at Srinagar International Airport, Srinagar Tender ID: 2022_AAI_117196_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S ANGU INTERIOR DECORATORS | 1134714.50 | L1
| 2 | M/S KUCHAY CONSTRUCTION CORPORATION | 1253677.98 | L2
| 3 | BAKHTAWAR AHMAD RATHER | 1333252.60 | L3