## BoQ1
Government eProcurement System Created By: Vinay Prakash Created Date/Time: 15-Jun-2022 10:49 AM Tender Title: Development and upgradation of Rourkela Airport in the state of Odisha from Code 2B to Code 3C. SH Extension of Existing Terminal Building at Rourkela Airport at Rourkela Airport Tender ID: 2022_AAI_117220_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Development and upgradation of Rourkela Airport in the state of Odisha from Code 2B to Code 3C. SH: Extension of Existing Terminal Building at Rourkela Airport at Rourkela Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shiva Infra Solutions Pvt. Ltd.(GSTN-06AAOCS3129F1ZC) |  | creative prefab const. co. pvt. ltd.(GSTN-07AADCC3983C1ZT)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | (A) Civil Works Earthwork in Excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm. on plan) including getting out and disposal of excavated earth lead upto 50m and lift upto 1.5m, as directed by engineer-in-charge . All kinds of soil. | 382.00 | Cum |  | 400.00 | 152800.00 | 180.00 | 68760.00 | 68760.00 | creative prefab const. co. pvt. ltd.
2.00 | Supplying and filling in Plinth with sand under floors, including watering ramming. Consolidating & dressing complete. | 682.00 | Cum |  | 1100.00 | 750200.00 | 780.00 | 531960.00 | 531960.00 | creative prefab const. co. pvt. ltd.
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: (A) Cement mortar 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 564.00 | Cum |  | 8000.00 | 4512000.00 | 5830.00 | 3288120.00 | 3288120.00 | creative prefab const. co. pvt. ltd.
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: (A) Cement mortar 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | 24.00 | Cum |  | 7600.00 | 182400.00 | 7800.00 | 187200.00 | 182400.00 | Shiva Infra Solutions Pvt. Ltd.
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: (A) Cement mortar 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 105.00 | Cum |  | 7200.00 | 756000.00 | 5100.00 | 535500.00 | 535500.00 | creative prefab const. co. pvt. ltd.
6.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3(1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 109.00 | Cum |  | 8800.00 | 959200.00 | 8700.00 | 948300.00 | 948300.00 | creative prefab const. co. pvt. ltd.
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for: A: Foundations, footings, bases of columns etc. for mass concrete. | 429.00 | Sqm |  | 500.00 | 214500.00 | 360.00 | 154440.00 | 154440.00 | creative prefab const. co. pvt. ltd.
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 32.00 | Sqm |  | 550.00 | 17600.00 | 540.00 | 17280.00 | 17280.00 | creative prefab const. co. pvt. ltd.
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. | 31.00 | Sqm |  | 550.00 | 17050.00 | 540.00 | 16740.00 | 16740.00 | creative prefab const. co. pvt. ltd.
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 8.00 | Sqm |  | 575.00 | 4600.00 | 630.00 | 5040.00 | 4600.00 | Shiva Infra Solutions Pvt. Ltd.
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts. | 19.00 | Sqm |  | 600.00 | 11400.00 | 630.00 | 11970.00 | 11400.00 | Shiva Infra Solutions Pvt. Ltd.
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically treated bars of grade Fe-500D or more. | 13205.00 | Kg. |  | 125.00 | 1650625.00 | 108.00 | 1426140.00 | 1426140.00 | creative prefab const. co. pvt. ltd.
13.00 | Brickwork with common burnt clay F.P.S (non-modular) bricks of class designation 7.5 in foundation and plinth in. (A) Cement mortar 1:6 ( 1 cement : 6 coarse sand). | 111.00 | Cum |  | 9000.00 | 999000.00 | 6840.00 | 759240.00 | 759240.00 | creative prefab const. co. pvt. ltd.
14.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 23250.00 | Kg. |  | 135.00 | 3138750.00 | 87.00 | 2022750.00 | 2022750.00 | creative prefab const. co. pvt. ltd.
15.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete. | 2400.00 | Kg. |  | 145.00 | 348000.00 | 135.00 | 324000.00 | 324000.00 | creative prefab const. co. pvt. ltd.
16.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. | 27.00 | Sqm |  | 6000.00 | 162000.00 | 1860.00 | 50220.00 | 50220.00 | creative prefab const. co. pvt. ltd.
17.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge Size of Tile 800x800 mm. | 730.00 | Sqm |  | 400.00 | 292000.00 | 96.00 | 70080.00 | 70080.00 | creative prefab const. co. pvt. ltd.
18.00 | Providing and laying flamed finish Granite stone flooring in required design and patterns,in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 330.00 | Sqm |  | 9000.00 | 2970000.00 | 6900.00 | 2277000.00 | 2277000.00 | creative prefab const. co. pvt. ltd.
19.00 | 12mm cement plaster of mix 1:6 (a)1:6 (1 cement:6 fine sand) | 217.00 | Sqm |  | 270.00 | 58590.00 | 240.00 | 52080.00 | 52080.00 | creative prefab const. co. pvt. ltd.
20.00 | Fabricating, Supplying and Erecting at Site Prefabricated, Double Layer, Insulated, RCS Building of size 20 mt* 15 mt*4mt, as per approved drawing consisting of Main pillars of TWIN ISMC125 with MS standard bracing of 50mm x 50mm (18 G) with vertical grid @2ft c/c & horizontal grid @ 2 ½ ft c/c with provision of fixing of glazing or as required as per drawing / design with 300x350 x 16mm thick MS flanges complete with 4x600x20mm anchor bolts in each columns embedded in micro concrete columns provided in peripheral foundation keeping provision of doors windows and facade etc. (as per Typical Design approved by IIT for similar buildings / works with similar specifications ) with two coats of anti-corrosive coating after applying two or more coats of red oxide primer. The MS tubular 38mm x 38mm (18G) frame work of roofing shall be in double layer supported with detachable MS Tubular Trusses made of 60mm x 30mm (14G) @1200mm c/c to make upper grid @ 4’x2’ (approx.) for proper fixing of double skinned 0.5mm thick insulated standing seam Zincalume roofing with 50mm thick Rockwool of 24kg/m³ / Pre coated 0.45mm GI Puff Panels of 50mm thickness of 36kg/m3 with end & top profiles and lower grid shall be 4ft centre to centre both ways having clear height of 4 mtrs inside with ornamental cornices and mouldings wherever required including making provision for fixing of 2 x 28 w twin reflective luminaries / LED lights, Fans and of cassettes type AC’s wherever required . The roofing shall be leak proof and projected on front & sides covered with 8mm thick compressed PVC sheets false cieling in exteriors as per design and specifications. Outer wall shall be made of 18mm thick silica fibre cladding (12mm thick silica fibre cladding with 6mm marine base having min. density of 650 Kg/m3, Moisture Content of 8-10%, Glue Sheer Strength ( in dry state)> 1300 N/mm2, Tensile Strength Parallel to face grain > 40 N / mm2 and Perpendicular to face grain > 25 N/mm2 MOR > 45 N mm2, MOE > 4000 N / mm2 ( across the grain) and MOE > 7500 N/mm2 ( along the grain) vertical & SFB confirming to ISO 8336:1993 (E) having density > 1200 kg/m class (I) surface spread of flame & fire propagation index < 3 as per BS – 476 part 6 & 7. The ignitability, heat evolved, flame spread & smoke evolved index class should be zero index and fire resistance for ½ hour fire rating as per ISO 809 – 1979. The internal wall cladding 8mm thick should be of similar to the outer cladding treated with PU coating over epoxy base / 8mm thick laminated fiber board confirming to component grade having K1 flammability (as per DIN 51960) scratch resistance > 1.5 N medium impact, Cross cut removal - 1, Abrasion (S33) IP > 10, Cigarette Burns (3-4) and Steam resistance - 4 (all as per EN 438 – 2) and Stain resistance as - 5, against Water, Detergent, Coffee, Acetone & BAC (as per DIN 68861). The internal cladding should have 4000 mm clear height inside & no traces of discoloration or bubbles with heat or steam and cracking effect. Insulation of alkali resistant, non-deteriorating closed cell non cross linked polymer junction filler having minimum density 32 kg / m3 and compressive strength of 0.21 kg/ m2 ( as per ASTM – D – 3575 ) and Insulation of 50 mm thick glass wool of 32 kg/cum in walls shall be provided. All joints & corners should be covered with similar laminated wall finish decorative type mouldings / automotive Ducco coated cornices etc. on inside claddings & fibre rein forced skirting all over the cabin. Outer cladding shall be treated with transparent silicon coating & polyurethane texture coating of approved finish over thick layer of PU epoxy & fire resistant polymer coating in desired areas complete. | 300.00 | Sqm |  | 36000.00 | 10800000.00 | 24000.00 | 7200000.00 | 7200000.00 | creative prefab const. co. pvt. ltd.
21.00 | Dismantling the existing structure including stacking of reusable materials complete including removal of all electrical fixtures ,Air conditioners and steel structure etc complete as per the direction of engineer-in-charge. | 375.00 | Sqm |  | 6000.00 | 2250000.00 | 6000.00 | 2250000.00 | 2250000.00 | Shiva Infra Solutions Pvt. Ltd., creative prefab const. co. pvt. ltd.
22.00 | Reinstallation of existing portion of the building of 25 mt * 15 mt after remolding as per the new plan with the existing reusable materials / additional fresh materials wherever required to match with the new structure as per similar specifications mention in item no.20 complete with the similar facade and finishes in continuation to the new proposed building complete as per direction of engineer-in-charge. | 375.00 | Sqm |  | 24000.00 | 9000000.00 | 15000.00 | 5625000.00 | 5625000.00 | creative prefab const. co. pvt. ltd.
23.00 | Providing & fixing of False ceiling fixed over MS Tubular Lower grid of roofing with tresses of size 38mm x 38mm (18G) @1200 x 1200 c/c for fixing of 8mm thick Calcium Silicate Board (having min. density of 650 Kg/m3, Moisture Content of 8-10%, Glue Sheer Strength ( in dry state)> 1300 N/mm2, Tensile Strength Parallel to face grain > 40 N / mm2 and Perpendicular to face grain > 25 N/mm2 MOR > 45 N mm2, MOE > 4000 N / mm2 ( across the grain) and MOE > 7500 N/mm2 ( along the grain) vertical & SFB confirming to ISO 8336:1993 (E) having density > 1200 kg/m class (I) surface spread of flame & fire propagation index < 3 as per BS –476 part 6 & 7. The ignitability, heat evolved, flame spread & smoke evolved index class should be zero index and fire resistance for ½ hour fire rating as per ISO 809 – 1979 and shall be treated with transparent silicon coating & polyurethane texture coating of approved finish over thick layer of PU epoxy & fire resistant. | 925.00 | Sqm |  | 2000.00 | 1850000.00 | 960.00 | 888000.00 | 888000.00 | creative prefab const. co. pvt. ltd.
24.00 | Provision of S.S Brush Finished 900mm High Railing made of combination of 40x40mm & 25x25mm square pipes having 50mm dia handrail with 12mm Thick Toughened Glass and S.S Trolley fender throughout the Length along the glazed areas complete as per directions of Engineer-in-charge. | 108.00 | Mtr. |  | 12000.00 | 1296000.00 | 9600.00 | 1036800.00 | 1036800.00 | creative prefab const. co. pvt. ltd.
25.00 | Providing Toilet Fixtures for Gents , Ladies & Physical handicapped toilet including UPVC internal water / drainage & PVC Sewerage piping complete with provision of 300 x 300 or as required Vitrified wall tiles upto False Ceiling over wet areas fixed with RTV silicon sealant under water high resistant silicon epoxy ( payable separately)as per drawing & following specifications : Toilets of specified size shall be provided with Wall Mounted European type WC pan with concealed cistern and required CP fixtures of approved brand in 12mm thick Compact laminate Cubicles of 1.80 m high with PVC polymer fitting / fixtures with 150mm clearance from floor , urinals wherever required and wash basin vanities/ in sold acrylic Polymer finish for Gent's , ladies & physically handicapped Toilets etc. (make Parry ware, Jaguar, Hindustan, Cera, or equivalent ). Moulded wash basin with CP push-pillar cock, designer Full Length mirror over wash basin, paper holder, soap dispenser, towel ring etc. and complete with inside UPVC/PVC pipe lining . All fittings and fixtures shall be of reputed/approved make and as per relevant Indian standards and directions of engineer in charge. | 10.00 | Nos. |  | 155000.00 | 1550000.00 | 96000.00 | 960000.00 | 960000.00 | creative prefab const. co. pvt. ltd.
26.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete Size of Tile 800x800 mm | 400.00 | Sqm |  | 1800.00 | 720000.00 | 1680.00 | 672000.00 | 672000.00 | creative prefab const. co. pvt. ltd.
27.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).Size of Tile 500x500 mm | 249.00 | Sqm |  | 1800.00 | 448200.00 | 1680.00 | 418320.00 | 418320.00 | creative prefab const. co. pvt. ltd.
28.00 | 38 mm thick wood block flooring of first class teak wood laid over 25 mm thick leveling layer of cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 10 mm nominal size) to be paid separately, coated with a thin layer of hot bitumen penetration 80/25 (blown type) @ 2.45 kg per sqm, including fixing blocks in position after dipping in hot bitumen (blown type) up to half depth, planed, levelled smooth and finished complete. | 16.00 | Sqm |  | 5000.00 | 80000.00 | 7800.00 | 124800.00 | 80000.00 | Shiva Infra Solutions Pvt. Ltd.
29.00 | Providing 6mm thick compact high pressure laminate (HPL) sheet in combination with 4mm thick ACP Panels sealed with relevant epoxy/silicon to be fixed over facade of the building in elevations complete as prepattern/drawing and satisfaction of engineer in charge. | 246.00 | Sqm |  | 7500.00 | 1845000.00 | 6000.00 | 1476000.00 | 1476000.00 | creative prefab const. co. pvt. ltd.
30.00 | Provision of 12mm Thick Toughened Glass Doors of size 1.0m * 2.10m with Manet Flush Door Fittings or equivalent and Floor Spring with Pivots etc. complete with Aluminum Channels, Couplings and Fittings in shops, cubicals and counter areas. as per approved drawing pattern complete as per satisfaction of Engineer-in-charge. | 16.00 | Nos. |  | 36000.00 | 576000.00 | 24000.00 | 384000.00 | 384000.00 | creative prefab const. co. pvt. ltd.
31.00 | Provision of 12mm thick toughened Glazed Partition made in with 55 x 35mm aluminum framing over 38x38 (18G) MS tubular pipes , fixed with silicon epoxy / 3M tape etc. with 75 x10mm thick all-around SFB border mouldings in both sides complete wherever required as per drawing & satisfaction of Engineer-in-charge. | 75.00 | Sqm |  | 7500.00 | 562500.00 | 4500.00 | 337500.00 | 337500.00 | creative prefab const. co. pvt. ltd.
32.00 | Provision of check in counters of 1m x 1m x 1.2 m (detail dimension as per attached drawings) consisting of both side laminated 19mm BWP plywood having acralic polymer coating over external top & sides surfaces, with necessary edge coverings of similar finish , with Drawers, Keyboard stand, Wire Managers and provision of CPU unit complete all complete as per drawing attached, design and satisfaction of the Engineer-In-charge . | 3.00 | Nos. |  | 100000.00 | 300000.00 | 96000.00 | 288000.00 | 288000.00 | creative prefab const. co. pvt. ltd.
33.00 | Provision of Airlines / Ticketing / Ter. Mangr. counters as per Drawing / size available and design consisting solid acrylic polymer with necessary PVC edge coverings of similar finish , with Drawers, Keyboard stand, Wire Managers and provision of CPU unit etc all complete as per drawing ,design and satisfaction of the Engineer In charge . | 8.00 | Nos. |  | 98000.00 | 784000.00 | 33000.00 | 264000.00 | 264000.00 | creative prefab const. co. pvt. ltd.
34.00 | Providing Frisking Booths of size 1.2m x 2.10 m consisting of both side 9mm thick laminated coverings over MS tubular frames of 38x38 (18G) having glass wool insulation in between with provision of hanging curtains on both sides as per direction &satisfaction of Engineer in-charge. | 2.00 | Nos. |  | 78000.00 | 156000.00 | 87000.00 | 174000.00 | 156000.00 | Shiva Infra Solutions Pvt. Ltd.
35.00 | Provision of 6mm thick toughened reflective Glazing fixed on 55 x 35mm aluminum framing over 38x38 (18G) MS tubular pipes spacing as per drawing attached , fixed with silicon epoxy/ 3M tape etc. with 75 x 10mm thick all-around SFB border mouldings in both sides complete wherever required as per drawing & satisfaction of Engineer-in-charge. | 129.00 | Sqm |  | 7800.00 | 1006200.00 | 7800.00 | 1006200.00 | 1006200.00 | Shiva Infra Solutions Pvt. Ltd., creative prefab const. co. pvt. ltd.
36.00 | Fabricating, Supplying and Erecting at Site Double Layer, Insulated, Portable Security Cabins of overall size 2mt*2mt*2.7mt (H) , with provision of seating and storage arrangements with writing counter, provisions of LED Lights and wall Fan with necessary switches and sockets etc. with 10mm thick silica fiber Board cladding outside / inside and 8mm thick laminated fiber board cladding and false ceiling inside with complete concealed electrification in closed structural MS Tubular frame with GI roofing profile sheet over roofing and sliding etc complete as per direction of EIC. | 5.00 | Nos. |  | 150000.00 | 750000.00 | 87000.00 | 435000.00 | 435000.00 | creative prefab const. co. pvt. ltd.
37.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 30000.00 | Per Ltr. |  | 21.00 | 630000.00 | 33.00 | 990000.00 | 630000.00 | Shiva Infra Solutions Pvt. Ltd.
38.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 25 mm nominal outer dia Pipes. | 150.00 | Mtr. |  | 500.00 | 75000.00 | 420.00 | 63000.00 | 63000.00 | creative prefab const. co. pvt. ltd.
39.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 40 mm nominal outer dia Pipes. | 150.00 | Mtr. |  | 940.00 | 141000.00 | 690.00 | 103500.00 | 103500.00 | creative prefab const. co. pvt. ltd.
40.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 4.00 | Each |  | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 6000.00 | Shiva Infra Solutions Pvt. Ltd., creative prefab const. co. pvt. ltd.
41.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 40 mm nominal bore. | 4.00 | Each |  | 1800.00 | 7200.00 | 2400.00 | 9600.00 | 7200.00 | Shiva Infra Solutions Pvt. Ltd.
42.00 | Providing and fixing Pre-laminated flat pressed 3 layer (medium density) particle board or graded wood particle board IS : 3087 marked, with one side decorative and other side balancing lamination Grade I, Type II exterior grade IS : 12823 marked, in shelves with screws and fittings wherever required, edges to be painted with polyurethane primer (fittings to be paid separately). 18 mm thick | 60.00 | Sqm |  | 2800.00 | 168000.00 | 9600.00 | 576000.00 | 168000.00 | Shiva Infra Solutions Pvt. Ltd.
43.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer -in-charge, beyond 90 metre & upto 150 metre depth below ground level. All types of soil. 300 mm dia | 200.00 | Mtr. |  | 1500.00 | 300000.00 | 240.00 | 48000.00 | 48000.00 | creative prefab const. co. pvt. ltd.
44.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. 150 mm nominal size dia. | 100.00 | Mtr. |  | 1000.00 | 100000.00 | 420.00 | 42000.00 | 42000.00 | creative prefab const. co. pvt. ltd.
45.00 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by “V” notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | 50.00 | Hour |  | 750.00 | 37500.00 | 24.00 | 1200.00 | 1200.00 | creative prefab const. co. pvt. ltd.
46.00 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: 150 mm dia. | 2.00 | Each |  | 1000.00 | 2000.00 | 240.00 | 480.00 | 480.00 | creative prefab const. co. pvt. ltd.
47.00 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete :150 mm clamp. | 2.00 | Each |  | 200.00 | 400.00 | 60.00 | 120.00 | 120.00 | creative prefab const. co. pvt. ltd.
48.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.75 mm nominal inner dia Pipes. | 150.00 | Mtr. |  | 3000.00 | 450000.00 | 600.00 | 90000.00 | 90000.00 | creative prefab const. co. pvt. ltd.
49.00 | Providing and fixing gun metal non- return valve of approved quality (screwed end) : 80 mm nominal bore. | 2.00 | Each |  | 4500.00 | 9000.00 | 1500.00 | 3000.00 | 3000.00 | creative prefab const. co. pvt. ltd.
50.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 80 mm nominal bore | 2.00 | Each |  | 4500.00 | 9000.00 | 1500.00 | 3000.00 | 3000.00 | creative prefab const. co. pvt. ltd.
51.00 | (B) Electrical Works Internal Electrification I/C lights, Concealed Copper Wiring as per following specifications and directions of Engineer-in-charge, Electrification work shall be done as per requirement considering 300 average LUX level (Excluding Emergency Light) & as per drawing with LED Light Fixtures with concealed copper wiring in walls & roof. The internal electrification should be terminated to 4 Nos. PPI Horizontal Main Distribution board for Lighting & 4Nos. for AC's & Power Point, each with Incomer of 4pole 63A TPN MCB, 3 Nos. 2 pole- 40A Earth Leakage Circuit Breaker/RCCB with 100-300 Milli Ampere sensitivity & 24Nos. 6-32A SP MCB having double door with emergency lighting complete as per direction of engineer-in-charge. | 675.00 | Sq. Mt. |  | 4000.00 | 2700000.00 | 1500.00 | 1012500.00 | 1012500.00 | creative prefab const. co. pvt. ltd.
52.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required. a) Group C | 60.00 | Point |  | 2000.00 | 120000.00 | 1500.00 | 90000.00 | 90000.00 | creative prefab const. co. pvt. ltd.
53.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/recessed steel conduit as required.
53.10 | a) 2 x 2.5 sq. mm + 1 x 2.5 sq. mm earth wire | 500.00 | Metre |  | 400.00 | 200000.00 | 240.00 | 120000.00 | 120000.00 | creative prefab const. co. pvt. ltd.
53.20 | b) 2 x 6 sq. mm + 1 x 6 sq. mm earth wire | 1000.00 | Metre |  | 600.00 | 600000.00 | 330.00 | 330000.00 | 330000.00 | creative prefab const. co. pvt. ltd.
54.00 | Wiring for light / power plug with 2x4 sq mm FRLSH PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 1000.00 | Metre |  | 450.00 | 450000.00 | 276.00 | 276000.00 | 276000.00 | creative prefab const. co. pvt. ltd.
55.00 | Supplying and fixing suitable size GI box with 3 modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. ( For General Purpose). | 100.00 | Each |  | 1600.00 | 160000.00 | 600.00 | 60000.00 | 60000.00 | creative prefab const. co. pvt. ltd.
56.00 | Supply of 1200 mm sweep anti dust ceiling fan with remote high Speed fan complete as required suitable for operation on 220-240V, 50Hz, single phase power supply. Make- Crompton, Model- Silent Pro Enso or Equivalent as per AAI Approve make. | 60.00 | Each |  | 4800.00 | 288000.00 | 3300.00 | 198000.00 | 198000.00 | creative prefab const. co. pvt. ltd.
57.00 | Supply of Exhaust fan complete as required suitable for operation on 220-240V, 50Hz, 1ph power supply. Make- Crompton greaves, or Equivalent as per AAI Approve make. a) 300 mm sweep, Fibre body, with minimum 1000 rpm. | 20.00 | Each |  | 2600.00 | 52000.00 | 1950.00 | 39000.00 | 39000.00 | creative prefab const. co. pvt. ltd.
58.00 | Installation of exhaust fan upto 450mm & water heater upto 10ltr.in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 20.00 | Each |  | 490.00 | 9800.00 | 330.00 | 6600.00 | 6600.00 | creative prefab const. co. pvt. ltd.
59.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 70.00 | Each |  | 290.00 | 20300.00 | 150.00 | 10500.00 | 10500.00 | creative prefab const. co. pvt. ltd.
60.00 | Design & SITC OF Fire Alarm Items:
60.10 | UL Listed and FM approved 2 Loop, networkable type, Analog addressable & Auto dialer Fire Alarm system. Make:-Siemens, Model:-FC922 or equivalent as per AAI Approve make. | 1.00 | Nos. |  | 300000.00 | 300000.00 | 300000.00 | 300000.00 | 300000.00 | Shiva Infra Solutions Pvt. Ltd., creative prefab const. co. pvt. ltd.
60.20 | Analogue Addressable Multicriteria type Detector with standard base with all mounting accessories.(BFC), Make:-Siemens, Model:-OH921 or equivalent as per AAI Approve make. | 38.00 | Nos. |  | 3800.00 | 144400.00 | 3300.00 | 125400.00 | 125400.00 | creative prefab const. co. pvt. ltd.
60.30 | Analogue Addressable Multicriteria type Detector with standard base with all mounting accessories.(AFC), Make:-Siemens, Model:-OH921 or equivalent as per AAI Approve make. | 24.00 | Nos. |  | 3800.00 | 91200.00 | 3300.00 | 79200.00 | 79200.00 | creative prefab const. co. pvt. ltd.
60.40 | Addressable Heat type Detector with standard base with all mounting accessories., Make:-Siemens, Model:-OH921or equivalent as per AAI Approve make. | 1.00 | Nos. |  | 3800.00 | 3800.00 | 3300.00 | 3300.00 | 3300.00 | creative prefab const. co. pvt. ltd.
60.50 | Response Indicator., Make:-Agni or equivalent as per AAI Approve make. | 24.00 | Nos. |  | 300.00 | 7200.00 | 96.00 | 2304.00 | 2304.00 | creative prefab const. co. pvt. ltd.
60.60 | Addressable glass break Manual Call point., Make:-Siemens, Model:-XMS-S or equivalent as per AAI Approve make. | 5.00 | Nos. |  | 6000.00 | 30000.00 | 4200.00 | 21000.00 | 21000.00 | creative prefab const. co. pvt. ltd.
60.70 | Wall mounted Hooter cum Strobes., Make:-System Sensor, Model:-SYS-HS or equivalent as per AAI Approve make. | 5.00 | Nos. |  | 7500.00 | 37500.00 | 3300.00 | 16500.00 | 16500.00 | creative prefab const. co. pvt. ltd.
60.80 | Addressable Control Module. (for third party integration), Make:-Siemens, Model:-XTRI-R or equivalent as per AAI Approve make. | 4.00 | Nos. |  | 7500.00 | 30000.00 | 4200.00 | 16800.00 | 16800.00 | creative prefab const. co. pvt. ltd.
60.90 | Addressable Monitor Module. (for third party integration), Make:-Siemens, Model:-XTRI-S or equivalent as per AAI Approve make. | 4.00 | Nos. |  | 7500.00 | 30000.00 | 4200.00 | 16800.00 | 16800.00 | creative prefab const. co. pvt. ltd.
61.00 | Supply and Laying of 2x1.5 sq.mm FRLS armored cable with other wiring accessories., Make:-Pollycab/Bonton or equivalent as per AAI Approve make. | 1000.00 | Mtrs. |  | 150.00 | 150000.00 | 150.00 | 150000.00 | 150000.00 | Shiva Infra Solutions Pvt. Ltd., creative prefab const. co. pvt. ltd.
62.00 | Design & SITC OF PUBLIC ADDRESS SYSTEM:
62.10 | 6W Ceiling speakers supplied with adjustable mounting brackets & installation instructions etc., Make:-Bosch, Model:-LBD8352/10 or equivalent as per AAI Approve make. | 16.00 | Nos. |  | 1800.00 | 28800.00 | 1500.00 | 24000.00 | 24000.00 | creative prefab const. co. pvt. ltd.
62.20 | Mixer Power Amplifier 120 Watt., Make:-Bosch, Model:-PLE-1ME120-3IN or equivalent as per AAI Approve make. | 1.00 | Nos. |  | 66000.00 | 66000.00 | 51000.00 | 51000.00 | 51000.00 | creative prefab const. co. pvt. ltd.
62.30 | Gooseneck Microphone., Make:-Bosch, Model:-LBB1949/00 or equivalent as per AAI Approve make. | 1.00 | Nos. |  | 22000.00 | 22000.00 | 15000.00 | 15000.00 | 15000.00 | creative prefab const. co. pvt. ltd.
62.40 | Equipment rak 6U., Make:- Valrack/Eqv. or equivalent as per AAI Approve make. | 1.00 | Nos. |  | 15000.00 | 15000.00 | 9600.00 | 9600.00 | 9600.00 | creative prefab const. co. pvt. ltd.
63.00 | Design & SITC OF FIRE EXTINGUISHERS:
63.10 | ABC stored pressure type fire extinguisher of capacity 06 kgs ISI mark for fighting ABC class of fire and requirements complete including fixing with specially designed brackets over walls as per direction of engineer-in-charge. Make:- Fire Shield/Equivalent., or equivalent as per AAI Approve make. | 10.00 | Nos. |  | 3550.00 | 35500.00 | 3300.00 | 33000.00 | 33000.00 | creative prefab const. co. pvt. ltd.
63.20 | Carbon-di-oxide stored pressure type fire extinguisher of 4.5 Kgs capacity, CO2 gas filled in brand new cylinder with powder coated finish, discharge nozzle and requirements complete including fixing with specially designed brackets over walls as per direction of engineer-incharge., Make:- Fire Shield/Equivalent. or equivalent as per AAI Approve make. | 10.00 | Nos. |  | 9000.00 | 90000.00 | 6000.00 | 60000.00 | 60000.00 | creative prefab const. co. pvt. ltd.
63.30 | Water type Carbon-di-oxide fire extinguisher of 9 Ltrs. capacity and requirements complete including fixing with specially designed brackets over walls as per direction of engineer-in-charge. Make:- Fire Shield/Equivalent., or equivalent as per AAI Approve make. | 10.00 | Nos. |  | 6500.00 | 65000.00 | 3600.00 | 36000.00 | 36000.00 | creative prefab const. co. pvt. ltd.
63.40 | Supply of 2mm dia AUTO FIRE OFF (AFO) Fire Extinguisher Ball (Big 1.3 KG) suitable for 140-160 sqft. Area | 10.00 | Nos. |  | 4900.00 | 49000.00 | 4200.00 | 42000.00 | 42000.00 | creative prefab const. co. pvt. ltd.
64.00 | SH: A (SITC of VRF/VRV System ACs)
64.10 | Supply, Installations, Testing and Commissioning of top discharge type Full Inverter VRF air conditioning system comprising of modular type high efficiency all inverter technology based hermitically sealed scroll compressors suitable for R-410A refrigerant (Pre-charged) suitable for operation on 415V, 3 Phase, 50 Hz AC supply, with air cooled condenser having propeller type fan with BLDC motor & protective coated fins, interconnecting piping, suction line insulation etc., microprocessor control panel suitable for automatic operation, high speed inverter control mechanism incorporating all safety function including unit mounted starter panel complete with IP-55 protection consisting of power disconnecting switches, starters for compressor motors, under voltage / over voltage trip, single phase preventers, communication card etc. having minimum COP not less than 3.0 at 100% load including necessary pressure test with N2 to direct any league of required as follows. (all components should be mounted on welded steel based frame, structure steel profile / panels whose cost shall be deemed to be included in the item rate. outdoor cooling capacity at ARI condition: which individual unit above 16 HP shall have minimum 2 nos. compressors and all compressor shall be of digital scroll type).The Outdoor unit will be connected parallelly in load sharing mode. (a) Nominal Capacity: 18 HP | 2.00 | Job |  | 630000.00 | 1260000.00 | 600000.00 | 1200000.00 | 1200000.00 | creative prefab const. co. pvt. ltd.
65.00 | Supply, Installations, Testing and Commissioning of following VRF INDOOR UNITS including pressure testing & vacuum as per following capacities.
65.10 | (a) 4 way Cassette IDU - 1.5 TR with Panel & Cordless Remote. | 10.00 | Job |  | 56000.00 | 560000.00 | 51000.00 | 510000.00 | 510000.00 | creative prefab const. co. pvt. ltd.
65.20 | (b) 4 way Cassette IDU - 2.0 TR with Panel & Cordless Remote. | 10.00 | Job |  | 58000.00 | 580000.00 | 51000.00 | 510000.00 | 510000.00 | creative prefab const. co. pvt. ltd.
66.00 | Supply, Installations, Testing and Commissioning of Refnet joints of minimum thickness as that of refrigerant piping including Pressure testing & Vacuum. (a) Indoor Unit - Y Joints | 18.00 | Job |  | 6000.00 | 108000.00 | 5100.00 | 91800.00 | 91800.00 | creative prefab const. co. pvt. ltd.
67.00 | Supply, Installations, Testing and Commissioning of refrigerant piping connecting indoor unit & outdoor units including thermal insulation. Refrigerant piping shall be made of hard drawn copper pipe suitable for variable refrigerant flow system including all fittings, i.e. bends, elbows, tees with an internal joint type fitting etc. Pipeline must be tested for requisite pressure. Max. support distance shall be 8 ft. All refrigerant piping shall be insulated with min. 13 & 19 mm thick nitrile rubber based insulating material as per the folliwng :
67.10 | 44.5 mm dia with 19 mm thick rubber insulation | 20.00 | RMT |  | 4000.00 | 80000.00 | 4200.00 | 84000.00 | 80000.00 | Shiva Infra Solutions Pvt. Ltd.
67.20 | 41.3 mm dia with 19 mm thick nitrile rubber insulation | 30.00 | RMT |  | 3600.00 | 108000.00 | 3600.00 | 108000.00 | 108000.00 | Shiva Infra Solutions Pvt. Ltd., creative prefab const. co. pvt. ltd.
67.30 | 38.1 mm dia with 19 mm thick nitrile rubber insulation | 40.00 | RMT |  | 2900.00 | 116000.00 | 3300.00 | 132000.00 | 116000.00 | Shiva Infra Solutions Pvt. Ltd.
67.40 | 34.9 mm dia with 19 mm thick nitrile rubber insulation | 50.00 | RMT |  | 2600.00 | 130000.00 | 2400.00 | 120000.00 | 120000.00 | creative prefab const. co. pvt. ltd.
67.50 | 28.58 mm dia with 19 mm thick rubber insulation | 120.00 | RMT |  | 1800.00 | 216000.00 | 1230.00 | 147600.00 | 147600.00 | creative prefab const. co. pvt. ltd.
67.60 | 22.2 mm dia with 19 mm thick rubber insulation | 120.00 | RMT |  | 1600.00 | 192000.00 | 960.00 | 115200.00 | 115200.00 | creative prefab const. co. pvt. ltd.
67.70 | 19.5 mm dia with 13 mm thick rubber insulation | 60.00 | RMT |  | 1100.00 | 66000.00 | 600.00 | 36000.00 | 36000.00 | creative prefab const. co. pvt. ltd.
67.80 | 12.7 mm dia with 13 mm thick rubber insulation | 155.00 | RMT |  | 850.00 | 131750.00 | 510.00 | 79050.00 | 79050.00 | creative prefab const. co. pvt. ltd.
67.90 | 15.88 mm dia with 13 mm thick rubber insulation | 160.00 | RMT |  | 1200.00 | 192000.00 | 690.00 | 110400.00 | 110400.00 | creative prefab const. co. pvt. ltd.
68.00 | Supply, Installations, Testing and Commissioning of refrigerant piping connecting indoor unit & outdoor units including thermal insulation. Refrigerant piping shall be made of hard drawn copper pipe suitable for variable refrigerant flow system including all fittings, i.e. bends, elbows, tees with an internal joint type fitting etc. Pipeline must be tested for requisite pressure. Max. support distance shall be 8 ft. All refrigerant piping shall be insulated with min. 13 & 19 mm thick nitrile rubber based insulating material as per the folliwng :
68.10 | 9.5 mm dia with 13 mm thick rubber insulation | 40.00 | RMT |  | 750.00 | 30000.00 | 420.00 | 16800.00 | 16800.00 | creative prefab const. co. pvt. ltd.
68.20 | 6.4 mm dia with 13 mm thick rubber insulation | 40.00 | RMT |  | 750.00 | 30000.00 | 420.00 | 16800.00 | 16800.00 | creative prefab const. co. pvt. ltd.
69.00 | Supply, Installations, Testing and Commissioning of drain piping from hard drawn CPVC material of 32mm sizes and duly insulated with 10 mm nitrile rubber insulation. | 180.00 | RMT |  | 1600.00 | 288000.00 | 1320.00 | 237600.00 | 237600.00 | creative prefab const. co. pvt. ltd.
70.00 | Supply & Charging of extra refrigerant R-410A in VRF system. | 20.00 | Kg. |  | 1700.00 | 34000.00 | 2400.00 | 48000.00 | 34000.00 | Shiva Infra Solutions Pvt. Ltd.
71.00 | Supply & fixing of control cum trans-mission wiring of copper between indoor and outdoor unit in PVC Conduit. (a) 3C x 2.5 sqmm. Cu (Control cable from ODU to IDU for VRF units). | 750.00 | RMT |  | 325.00 | 243750.00 | 240.00 | 180000.00 | 180000.00 | creative prefab const. co. pvt. ltd.
72.10 | Supply ,Installation, testing ,commissioning of Water Cooler cum in built UV+RO water purifier with storage capacity of 80Ltrs, Cooling Capacity 40Ltr/Hr (approx.) having minimum 2(Two) nos. water Faucets(1 no. for Cold Water and 1no. for Normal water) suitable to operate on 230V,1-phase,50Hz AC power supply and meeting the Specification as Specified in Technical Specification. (Make :- Aquaguard Pure chill RO+UV(80SSRO)or Blue Star 80Ltrs Water Cooler with in Built RO+UV purification Model-SWCSDLX6080UVROE or Equivalent). | 4.00 | Each |  | 97000.00 | 388000.00 | 105000.00 | 420000.00 | 388000.00 | Shiva Infra Solutions Pvt. Ltd.
72.20 | SITC of Iron remover - Consists of no 2 chamber and pre filter camber of size not less then 10inch. | 4.00 | Each |  | 3500.00 | 14000.00 | 2400.00 | 9600.00 | 9600.00 | creative prefab const. co. pvt. ltd.
73.00 | Earthing with G.I. earth pipe 4.5 metre long,40 mm dia including accessories ,and providing masonry enclosure with cover plate having locking arrangement and water pipe etc with charcoal /coke and salt as required. | 8.00 | Each |  | 9000.00 | 72000.00 | 7800.00 | 62400.00 | 62400.00 | creative prefab const. co. pvt. ltd.
74.00 | Supplying and laying 6 SWG G.I wire at 0.50 metre below ground level for conductor earth electrode, including connection/termination GI thimble atc. As required | 200.00 | Mtr |  | 45.00 | 9000.00 | 51.00 | 10200.00 | 9000.00 | Shiva Infra Solutions Pvt. Ltd.
75.00 | Supplying and fixing of following 25 mm sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | 500.00 | Mtr |  | 330.00 | 165000.00 | 360.00 | 180000.00 | 165000.00 | Shiva Infra Solutions Pvt. Ltd.
76.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size direct in ground including excavation ,sand cushioning ,protective covering and refilling the trench etc. as required. a) Above 35 sq.mm and upto 95 sq.m | 160.00 | Mtr |  | 80.00 | 12800.00 | 240.00 | 38400.00 | 12800.00 | Shiva Infra Solutions Pvt. Ltd.
77.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME /Metal pipe as required . Above 35 sq.mm and upto 95 sq.mm | 60.00 | Mtr |  | 55.00 | 3300.00 | 60.00 | 3600.00 | 3300.00 | Shiva Infra Solutions Pvt. Ltd.
78.00 | Laying and fixing of one number PVC insulated and PVC sheathed /XLPE power couple of 1.1 KV grade of following size on wall surface as required. Above 35 sq.mm and upto 95 sq.m(clamped with 25 x 3 mm MS flat clamp) | 40.00 | Mtr |  | 160.00 | 6400.00 | 96.00 | 3840.00 | 3840.00 | creative prefab const. co. pvt. ltd.
79.00 | Supplying and making end termination with brass compression gland aluminium lugs for following size pf PVC insulated and PVC sheathed /XLPE aluminium conductor cable 1.1. KV grade as required. a) 3½ x 70 sq.mm (38 mm) | 4.00 | Each |  | 600.00 | 2400.00 | 360.00 | 1440.00 | 1440.00 | creative prefab const. co. pvt. ltd.
80.00 | SITC OF 3 HP 15 stage Three phase borewell submersible pump along with pressure gauge and NRV valves/gate valves & other required fittings. | 1.00 | Each |  | 62000.00 | 62000.00 | 60000.00 | 60000.00 | 60000.00 | creative prefab const. co. pvt. ltd.
81.00 | SITC OF 5 HP centrifugal pump along with pressure gauge and NRV valves /gate valves & other required fittings. | 2.00 | Each |  | 85000.00 | 170000.00 | 79000.00 | 158000.00 | 158000.00 | creative prefab const. co. pvt. ltd.
82.00 | 200 W LED wall mounted wide angle lights along with 6 mm copper cable in PVC conduiting with looping in MCB box and fixed with MS standard framing | 2.00 | Each |  | 29000.00 | 58000.00 | 24000.00 | 48000.00 | 48000.00 | creative prefab const. co. pvt. ltd.
83.00 | SITC of DOL starter Pumps suitable for 5HP Centrifugal Pump. | 2.00 | Each |  | 6500.00 | 13000.00 | 5100.00 | 10200.00 | 10200.00 | creative prefab const. co. pvt. ltd.
84.00 | Supply of 3 core x 10 sq mm PVC insulated and PVC sheathed / XLPE copper conductor of 1.1 KV grade. | 100.00 | Mtr |  | 692.00 | 69200.00 | 690.00 | 69000.00 | 69000.00 | creative prefab const. co. pvt. ltd.
85.00 | Supply of 3.5 core x 50 sq mm XLPE insulated PVC sheathed, Aluminium conductor, Armoured power cable of 1.1 KV grade conforming to IS 7098 (Part I), 1988 amended upto date. | 100.00 | Mtr |  | 550.00 | 55000.00 | 510.00 | 51000.00 | 51000.00 | creative prefab const. co. pvt. ltd.
86.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. Upto 35 sq. mm | 50.00 | Mtr |  | 600.00 | 30000.00 | 285.00 | 14250.00 | 14250.00 | creative prefab const. co. pvt. ltd.
87.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm ( clamped with 1 mm thick saddle) | 50.00 | Mtr |  | 80.00 | 4000.00 | 285.00 | 14250.00 | 4000.00 | Shiva Infra Solutions Pvt. Ltd.
88.00 | SITC of HDPE pipe suitable for 3 HP submersible pump i/c 2 nos., suitable size of PVC insulated GI wire rope with 8 nos. of 'U' clamp, accessories of HDPE pipe, lowering of pump, testing & commisioning etc as required. | 100.00 | Mtr |  | 275.00 | 27500.00 | 330.00 | 33000.00 | 27500.00 | Shiva Infra Solutions Pvt. Ltd.
89.00 | Supplying and laying i/c terminations/ water proof joints etc of 3 core 2.5 sq.mm flat copper cable suitable for submersible pump. | 75.00 | Mtr |  | 275.00 | 20625.00 | 330.00 | 24750.00 | 20625.00 | Shiva Infra Solutions Pvt. Ltd.
90.00 | SITC of DOL starter suitable for 3 HP submersible pump. | 1.00 | No |  | 7200.00 | 7200.00 | 5100.00 | 5100.00 | 5100.00 | creative prefab const. co. pvt. ltd.
91.00 | SITC of online UPS of 20 KVA capacity (02 Nos. UPS with separate battery bank minimum VAH 10080 each) with parallel redundant facility and 30 minutes backup. Make (PROSTARM or Equivalent AAI approved make) | 1.00 | Set |  | 800000.00 | 800000.00 | 744000.00 | 744000.00 | 744000.00 | creative prefab const. co. pvt. ltd.
| Total in Figures |  |  |  |  | 65256140.00 |  | 47071124.00
Lowest Amount Quoted BY: creative prefab const. co. pvt. ltd.(47071124.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development and upgradation of Rourkela Airport in the state of Odisha from Code 2B to Code 3C. SH Extension of Existing Terminal Building at Rourkela Airport at Rourkela Airport Tender ID: 2022_AAI_117220_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | creative prefab const. co. pvt. ltd. | 47071124.00 | L1
| 2 | Shiva Infra Solutions Pvt. Ltd. | 65256140.00 | L2