## BoQ1
Government eProcurement System Created By: UMESH CHAURASIA Created Date/Time: 29-Jun-2022 04:27 PM Tender Title: Construction of ATC Tower cum Technical Block at Raja Bhoj Airport Bhopal. SH Shifting of CCRs, GLF UPS and rerouting of GLF feeder cables. Tender ID: 2022_AAI_117241_1
Tender Inviting Authority: AGM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Construction of ATC Tower cum Technical Block at RAJA BHOJ AIRPORT BHOPAL. SH: Shifting of CCRs, GLF UPS and rerouting of GLF feeder cables.
Contract No: AAI/BPL/ENGG(E)/NIT-06/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismentling/Disconnecting, Shifting, Reinstallation, Testing and Commissioning of following capacity, Indoor type air cooled constant current regulator (CCR) complete etc. as required from Old Power House to New CCR Room at New ATC Tower near NITB of R. B. Airport Bhopal. 30 kW | 3.00 | Job |  | 7500.00 | 22500.00 | 13000.00 | 39000.00 | 12000.00 | 36000.00 | 22500.00 | Vardhman Airport Solutions Pvt Ltd
2.00 | Dismentling/Disconnecting, Shifting, Reinstallation, Testing and Commissioning of following capacity, Indoor type air cooled constant current regulator (CCR) complete etc. as required from Old Power House to New CCR Room at New ATC Tower near NITB of R. B. Airport Bhopal. 20 kW | 3.00 | Job |  | 7500.00 | 22500.00 | 12000.00 | 36000.00 | 10000.00 | 30000.00 | 22500.00 | Vardhman Airport Solutions Pvt Ltd
3.00 | Dismentling/Disconnecting, Shifting, Reinstallation, Testing and Commissioning of following capacity, Indoor type air cooled constant current regulator (CCR) complete etc. as required from Old Power House to New CCR Room at New ATC Tower near NITB of R. B. Airport Bhopal. 10 kW | 2.00 | Job |  | 7500.00 | 15000.00 | 12000.00 | 24000.00 | 8000.00 | 16000.00 | 15000.00 | Vardhman Airport Solutions Pvt Ltd
4.00 | Dismentling/Disconnecting, Shifting, Reinstallation, Testing and Commissioning of following capacity, Indoor type air cooled constant current regulator (CCR) complete etc. as required from Old Power House to New CCR Room at New ATC Tower near NITB of R. B. Airport Bhopal. 7.5 kW | 6.00 | Job |  | 7500.00 | 45000.00 | 8000.00 | 48000.00 | 7000.00 | 42000.00 | 42000.00 | Manish Electricals
5.00 | Dismentling/Disconnecting, Shifting, Reinstallation, Testing and Commissioning of following capacity, Indoor type air cooled constant current regulator (CCR) complete etc. as required from Old Power House to New CCR Room at New ATC Tower near NITB of R. B. Airport Bhopal. 4 kW | 8.00 | Job |  | 7500.00 | 60000.00 | 8000.00 | 64000.00 | 5500.00 | 44000.00 | 44000.00 | Manish Electricals
6.00 | Dismentling/Disconnecting, Shifting, Reinstallation, Testing and Commissioning of 2x160 kVA UPS (Make: Vertiv) complete etc. as required from Old Power House to New CCR Room at New ATC Tower near NITB of R. B. Airport Bhopal. | 1.00 | Job |  | 30000.00 | 30000.00 | 75000.00 | 75000.00 | 40000.00 | 40000.00 | 30000.00 | Vardhman Airport Solutions Pvt Ltd
7.00 | Dismentling/Disconnecting, Shifting, Reinstallation, Testing and Commissioning of Electrical Panel complete etc. as required from Old Power House to New CCR Room at New ATC Tower near NITB of R. B. Airport Bhopal. | 1.00 | Job |  | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 25000.00 | 25000.00 | 15000.00 | Vardhman Airport Solutions Pvt Ltd
8.00 | Supply of 6.0 sqmm, 5 KV grade copper conductor XLPE insulated, polyethylene sheathed, single core, copper tape unscreened runway cable as required. | 30400.00 | Mtr |  | 100.00 | 3040000.00 | 118.00 | 3587200.00 | 90.00 | 2736000.00 | 2736000.00 | Manish Electricals
9.00 | Supply of 16.0 sqmm, 5 KV grade copper conductor XLPE insulated, polyethylene sheathed, single core, copper tape unscreened runway cable as required. | 2400.00 | Mtr |  | 220.00 | 528000.00 | 210.00 | 504000.00 | 190.00 | 456000.00 | 456000.00 | Manish Electricals
10.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 14230.00 | Mtr |  | 130.00 | 1849900.00 | 180.00 | 2561400.00 | 148.00 | 2106040.00 | 1849900.00 | Vardhman Airport Solutions Pvt Ltd
11.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (80 cm below ground level) in the same trench including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 20000.00 | Mtr |  | 90.00 | 1800000.00 | 103.00 | 2060000.00 | 80.00 | 1600000.00 | 1600000.00 | Manish Electricals
12.00 | Providing and Fixing of 50 mm dia (medium class) G. I. pipes i/c digging work of 2 feet depth & 1 feet width for the road crossing & filling the surface with 1:3:6 PCC complete as required. | 264.00 | Mtr |  | 1500.00 | 396000.00 | 864.00 | 228096.00 | 790.00 | 208560.00 | 208560.00 | Manish Electricals
13.00 | Laying of one number PVC insulated and PVC sheathed runway cable of 5 KV grade upto 16 sqmm size in the existing RCC/ HUME/ METAL pipe as required. | 34476.00 | Mtr |  | 15.00 | 517140.00 | 18.00 | 620568.00 | 15.00 | 517140.00 | 517140.00 | Vardhman Airport Solutions Pvt Ltd, Manish Electricals
14.00 | Laying of one number PVC insulated and PVC sheathed runway cable of 5 KV grade upto 16 sqmm size in the existing masonry open duct as required. | 500.00 | Mtr |  | 15.00 | 7500.00 | 18.00 | 9000.00 | 20.00 | 10000.00 | 7500.00 | Vardhman Airport Solutions Pvt Ltd
15.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 32800.00 | Mtr |  | 20.00 | 656000.00 | 22.00 | 721600.00 | 22.00 | 721600.00 | 656000.00 | Vardhman Airport Solutions Pvt Ltd
16.00 | Supply of 6.0 sqmm, 5 KV grade plug and receptacle having suitable field attachment with 5 KV grade XLPE insulated, PE sheathed, single core copper conductor unscreened cable as required. | 80.00 | Each |  | 1200.00 | 96000.00 | 450.00 | 36000.00 | 650.00 | 52000.00 | 36000.00 | Techno Electricals
17.00 | Supply of 16.0 sqmm, 5 KV grade plug and receptacle having suitable field attachment with 5 KV grade XLPE insulated, PE sheathed, single core copper conductor unscreened cable as required. | 15.00 | Each |  | 1200.00 | 18000.00 | 450.00 | 6750.00 | 900.00 | 13500.00 | 6750.00 | Techno Electricals
18.00 | Supply of heat shrinkable jointing kit of 6.0 sq. mm size, single core copper conductor, 5 KV grade for Airfield lighting cable complete etc. as required. | 10.00 | Each |  | 600.00 | 6000.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 6000.00 | Vardhman Airport Solutions Pvt Ltd
19.00 | Supply of heat shrinkable jointing kit of 16.0 sq. mm size, single core copper conductor, 5 KV grade for Airfield lighting cable complete etc. as required. | 5.00 | Each |  | 800.00 | 4000.00 | 2700.00 | 13500.00 | 1200.00 | 6000.00 | 4000.00 | Vardhman Airport Solutions Pvt Ltd
20.00 | Earthing with G. I. pipe 4.5 m long x 40 mm dia. (Drilling of 300 mm dia, 4.5 Mtr deep by using Borewell machine) including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. including charcoal or coke and salt complete as required. | 24.00 | Set |  | 7500.00 | 180000.00 | 7000.00 | 168000.00 | 7500.00 | 180000.00 | 168000.00 | Techno Electricals
21.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 60.00 | Mtr |  | 650.00 | 39000.00 | 700.00 | 42000.00 | 680.00 | 40800.00 | 39000.00 | Vardhman Airport Solutions Pvt Ltd
22.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 60.00 | Mtr |  | 250.00 | 15000.00 | 250.00 | 15000.00 | 250.00 | 15000.00 | 15000.00 | Vardhman Airport Solutions Pvt Ltd, Techno Electricals, Manish Electricals
23.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Set |  | 10000.00 | 20000.00 | 14500.00 | 29000.00 | 17000.00 | 34000.00 | 20000.00 | Vardhman Airport Solutions Pvt Ltd
24.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 5.00 | Mtr |  | 1500.00 | 7500.00 | 1600.00 | 8000.00 | 1200.00 | 6000.00 | 6000.00 | Manish Electricals
25.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 5.00 | Mtr |  | 1200.00 | 6000.00 | 1100.00 | 5500.00 | 900.00 | 4500.00 | 4500.00 | Manish Electricals
26.00 | Supply of Following Size. XLPE insulated, PVC sheathed Al. conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required. 3.5 Core x 95 Sqmm. | 2650.00 | Mtr |  | 570.00 | 1510500.00 | 525.00 | 1391250.00 | 465.00 | 1232250.00 | 1232250.00 | Manish Electricals
27.00 | Supply of Following Size. XLPE insulated, PVC sheathed Al. conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required. 3.5 Core x 50 Sqmm. | 180.00 | Mtr |  | 370.00 | 66600.00 | 325.00 | 58500.00 | 305.00 | 54900.00 | 54900.00 | Manish Electricals
28.00 | Supply of Following Size. XLPE insulated, PVC sheathed Al. conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required. 3.5 Core x 35 Sqmm. | 440.00 | Mtr |  | 300.00 | 132000.00 | 250.00 | 110000.00 | 229.00 | 100760.00 | 100760.00 | Manish Electricals
29.00 | Supply of Following Size. XLPE insulated, PVC sheathed Al. conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required. 3.5 Core x 25 Sqmm. | 2370.00 | Mtr |  | 210.00 | 497700.00 | 250.00 | 592500.00 | 165.00 | 391050.00 | 391050.00 | Manish Electricals
30.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1340.00 | Mtr |  | 130.00 | 174200.00 | 180.00 | 241200.00 | 170.00 | 227800.00 | 174200.00 | Vardhman Airport Solutions Pvt Ltd
31.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) in the same trench including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 900.00 | Mtr |  | 90.00 | 81000.00 | 100.00 | 90000.00 | 90.00 | 81000.00 | 81000.00 | Vardhman Airport Solutions Pvt Ltd, Manish Electricals
32.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 35 sq. mm and upto 95 sq. mm | 170.00 | Mtr |  | 20.00 | 3400.00 | 25.00 | 4250.00 | 30.00 | 5100.00 | 3400.00 | Vardhman Airport Solutions Pvt Ltd
33.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/PVC pipe as required Upto 35 sq. mm | 2268.00 | Mtr |  | 18.00 | 40824.00 | 25.00 | 56700.00 | 20.00 | 45360.00 | 40824.00 | Vardhman Airport Solutions Pvt Ltd
34.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 sq. mm | 530.00 | Mtr |  | 20.00 | 10600.00 | 25.00 | 13250.00 | 20.00 | 10600.00 | 10600.00 | Vardhman Airport Solutions Pvt Ltd, Manish Electricals
35.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of XLPE insulated and PVC sheathed aluminum conductor cable of 1.1 KV grade as required 3.5 core x 50 Sq.mm (35mm) | 12.00 | Set |  | 350.00 | 4200.00 | 500.00 | 6000.00 | 500.00 | 6000.00 | 4200.00 | Vardhman Airport Solutions Pvt Ltd
36.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of XLPE insulated and PVC sheathed aluminum conductor cable of 1.1 KV grade as required 3.5 core x 35 Sq.mm (32mm) | 32.00 | Set |  | 350.00 | 11200.00 | 400.00 | 12800.00 | 500.00 | 16000.00 | 11200.00 | Vardhman Airport Solutions Pvt Ltd
37.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of XLPE insulated and PVC sheathed aluminum conductor cable of 1.1 KV grade as required 3.5 core x 25 Sq.mm (28mm) | 4.00 | Set |  | 300.00 | 1200.00 | 400.00 | 1600.00 | 500.00 | 2000.00 | 1200.00 | Vardhman Airport Solutions Pvt Ltd
| Total in Figures |  |  |  |  | 11929464.00 |  | 13554664.00 |  | 11122960.00
Lowest Amount Quoted BY: Manish Electricals(11122960.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ATC Tower cum Technical Block at Raja Bhoj Airport Bhopal. SH Shifting of CCRs, GLF UPS and rerouting of GLF feeder cables. Tender ID: 2022_AAI_117241_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 11122960.00 | L1
| 2 | Vardhman Airport Solutions Pvt Ltd | 11929464.00 | L2
| 3 | Techno Electricals | 13554664.00 | L3