## BoQ1
Government eProcurement System Created By: V VEDHANAYAGAM Created Date/Time: 23-Jun-2022 11:26 AM Tender Title: Modernization of Chennai Airport Phase II, Chennai SH Miscellaneous Electrical works 2022-23 Tender ID: 2022_AAI_117276_1
Tender Inviting Authority: Asst.General Manager (Engg-Elect) - II, Project Electrical Division, Chennai Airport Project, Chennai.
Name of Work: Modernization of Chennai Airport Phase - II, Chenai SH: Micellaneous Electrical Works 2022 - 23.
Contract No: 2022_AAI_117276_01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3½ core × 150 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 500.00 | Mtrs |  | 650.00 | 325000.00 | 678.00 | 339000.00 | 729.00 | 364500.00 | 325000.00 | Shantha ELectricals and Engineers Pvt Ltd
2.00 | Supply of 3½ core × 70 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 300.00 | Mtrs |  | 350.00 | 105000.00 | 375.00 | 112500.00 | 409.00 | 122700.00 | 105000.00 | Shantha ELectricals and Engineers Pvt Ltd
3.00 | Supply of 3½ core × 50 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 1000.00 | Mtrs |  | 260.00 | 260000.00 | 278.00 | 278000.00 | 309.00 | 309000.00 | 260000.00 | Shantha ELectricals and Engineers Pvt Ltd
4.00 | Supply of 3½ core × 35 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 800.00 | Mtrs |  | 200.00 | 160000.00 | 210.00 | 168000.00 | 229.00 | 183200.00 | 160000.00 | Shantha ELectricals and Engineers Pvt Ltd
5.00 | Supply of 3½ core × 25 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 800.00 | Mtrs |  | 160.00 | 128000.00 | 171.00 | 136800.00 | 189.00 | 151200.00 | 128000.00 | Shantha ELectricals and Engineers Pvt Ltd
6.00 | Supply of 4 core × 16 Sq.mm size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 Part 1 with upto date amendments. | 500.00 | Mtrs |  | 130.00 | 65000.00 | 138.00 | 69000.00 | 149.00 | 74500.00 | 65000.00 | Shantha ELectricals and Engineers Pvt Ltd
7.00 | Supply of 3 core x 4 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS : 694 : 1990 with upto date amendments | 500.00 | Mtrs |  | 140.00 | 70000.00 | 185.00 | 92500.00 | 139.00 | 69500.00 | 69500.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | Supply of 4 core x 6 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS : 694 : 1990 with upto date amendments | 500.00 | Mtrs |  | 260.00 | 130000.00 | 351.00 | 175500.00 | 279.00 | 139500.00 | 130000.00 | Shantha ELectricals and Engineers Pvt Ltd
9.00 | Supply of 4 core x 10 Sq.mm size of 1.1 KV grade multicore Copper conductor PVC insulated and FRLS PVC Round Sheathed as per IS : 694 : 1990 with upto date amendments | 500.00 | Mtrs |  | 440.00 | 220000.00 | 526.00 | 263000.00 | 479.00 | 239500.00 | 220000.00 | Shantha ELectricals and Engineers Pvt Ltd
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Upto 35 sq. mm etc as required.
12.00 | Direct in ground including excavation, sand cushioning, protective covering and refilling the trench | 400.00 | Mtrs |  | 400.00 | 160000.00 | 312.00 | 124800.00 | 299.00 | 119600.00 | 119600.00 | DElite System Engineering (India) Pvt. Ltd.
13.00 | In the existing RCC / HUME / METAL pipe | 600.00 | Mtrs |  | 60.00 | 36000.00 | 29.00 | 17400.00 | 29.00 | 17400.00 | 17400.00 | DElite System Engineering (India) Pvt. Ltd., vk sam engineering
14.00 | In the existing masonry open duct | 600.00 | Mtrs |  | 50.00 | 30000.00 | 29.00 | 17400.00 | 29.00 | 17400.00 | 17400.00 | DElite System Engineering (India) Pvt. Ltd., vk sam engineering
15.00 | On wall surface | 500.00 | Mtrs |  | 60.00 | 30000.00 | 34.00 | 17000.00 | 29.00 | 14500.00 | 14500.00 | DElite System Engineering (India) Pvt. Ltd.
16.00 | On cable tray | 1500.00 | Mtrs |  | 60.00 | 90000.00 | 34.00 | 51000.00 | 29.00 | 43500.00 | 43500.00 | DElite System Engineering (India) Pvt. Ltd.
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 35 sq. mm and upto 95 sq. mm etc as required.
18.00 | Direct in ground including excavation, sand cushioning, protective covering and refilling the trench | 200.00 | Mtrs |  | 400.00 | 80000.00 | 331.00 | 66200.00 | 299.00 | 59800.00 | 59800.00 | DElite System Engineering (India) Pvt. Ltd.
19.00 | In the existing RCC / HUME / METAL pipe | 200.00 | Mtrs |  | 70.00 | 14000.00 | 35.00 | 7000.00 | 29.00 | 5800.00 | 5800.00 | DElite System Engineering (India) Pvt. Ltd.
20.00 | In the existing masonry open duct | 200.00 | Mtrs |  | 60.00 | 12000.00 | 35.00 | 7000.00 | 29.00 | 5800.00 | 5800.00 | DElite System Engineering (India) Pvt. Ltd.
21.00 | On wall surface | 300.00 | Mtrs |  | 70.00 | 21000.00 | 39.00 | 11700.00 | 29.00 | 8700.00 | 8700.00 | DElite System Engineering (India) Pvt. Ltd.
22.00 | On cable tray | 400.00 | Mtrs |  | 70.00 | 28000.00 | 39.00 | 15600.00 | 29.00 | 11600.00 | 11600.00 | DElite System Engineering (India) Pvt. Ltd.
23.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size 95 sq. mm and upto 185 sq. mm etc as required.
24.00 | Direct in ground including excavation, sand cushioning, protective covering and refilling the trench | 50.00 | Mtrs |  | 450.00 | 22500.00 | 380.00 | 19000.00 | 299.00 | 14950.00 | 14950.00 | DElite System Engineering (India) Pvt. Ltd.
25.00 | In the existing RCC / HUME / METAL pipe | 100.00 | Mtrs |  | 80.00 | 8000.00 | 59.00 | 5900.00 | 39.00 | 3900.00 | 3900.00 | DElite System Engineering (India) Pvt. Ltd.
26.00 | In the existing masonry open duct | 50.00 | Mtrs |  | 70.00 | 3500.00 | 59.00 | 2950.00 | 39.00 | 1950.00 | 1950.00 | DElite System Engineering (India) Pvt. Ltd.
27.00 | On wall surface | 50.00 | Mtrs |  | 80.00 | 4000.00 | 63.00 | 3150.00 | 39.00 | 1950.00 | 1950.00 | DElite System Engineering (India) Pvt. Ltd.
28.00 | On cable tray | 250.00 | Mtrs |  | 80.00 | 20000.00 | 63.00 | 15750.00 | 39.00 | 9750.00 | 9750.00 | DElite System Engineering (India) Pvt. Ltd.
29.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
30.00 | 3½ X 400 sq. mm (82mm) | 2.00 | Each |  | 2100.00 | 4200.00 | 1365.00 | 2730.00 | 799.00 | 1598.00 | 1598.00 | DElite System Engineering (India) Pvt. Ltd.
31.00 | 3½ X 300 sq. mm (70mm) | 2.00 | Each |  | 1900.00 | 3800.00 | 1316.00 | 2632.00 | 799.00 | 1598.00 | 1598.00 | DElite System Engineering (India) Pvt. Ltd.
32.00 | 3½ X 240 sq. mm (62mm) | 10.00 | Each |  | 1800.00 | 18000.00 | 1267.00 | 12670.00 | 799.00 | 7990.00 | 7990.00 | DElite System Engineering (India) Pvt. Ltd.
33.00 | 3½ X 185 sq. mm (57mm) | 10.00 | Each |  | 1600.00 | 16000.00 | 1073.00 | 10730.00 | 799.00 | 7990.00 | 7990.00 | DElite System Engineering (India) Pvt. Ltd.
34.00 | 3½ X 95 sq. mm (45mm) | 10.00 | Each |  | 1100.00 | 11000.00 | 878.00 | 8780.00 | 799.00 | 7990.00 | 7990.00 | DElite System Engineering (India) Pvt. Ltd.
35.00 | 3.5 X 35 sq. mm (32mm) | 10.00 | Each |  | 700.00 | 7000.00 | 180.00 | 1800.00 | 699.00 | 6990.00 | 1800.00 | vk sam engineering
36.00 | 3.5 X 25 sq. mm (28mm) | 10.00 | Each |  | 550.00 | 5500.00 | 176.00 | 1760.00 | 299.00 | 2990.00 | 1760.00 | vk sam engineering
37.00 | 4 X 16 sq. mm (28mm) | 10.00 | Each |  | 400.00 | 4000.00 | 161.00 | 1610.00 | 299.00 | 2990.00 | 1610.00 | vk sam engineering
38.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for follwoing size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
39.00 | 3½ X 400 sq. mm | 2.00 | Each |  | 8000.00 | 16000.00 | 5840.00 | 11680.00 | 3999.00 | 7998.00 | 7998.00 | DElite System Engineering (India) Pvt. Ltd.
40.00 | 3½ X 300 sq. mm | 2.00 | Each |  | 6500.00 | 13000.00 | 4675.00 | 9350.00 | 3999.00 | 7998.00 | 7998.00 | DElite System Engineering (India) Pvt. Ltd.
41.00 | 3½ X 240 sq. mm | 2.00 | Each |  | 6000.00 | 12000.00 | 3948.00 | 7896.00 | 3299.00 | 6598.00 | 6598.00 | DElite System Engineering (India) Pvt. Ltd.
42.00 | 3½ X 185 sq. mm | 2.00 | Each |  | 5500.00 | 11000.00 | 3232.00 | 6464.00 | 3299.00 | 6598.00 | 6464.00 | vk sam engineering
43.00 | 3½ X 95 sq. mm | 2.00 | Each |  | 5000.00 | 10000.00 | 2193.00 | 4386.00 | 2299.00 | 4598.00 | 4386.00 | vk sam engineering
44.00 | 3.5 X 35 sq. mm | 2.00 | Each |  | 3800.00 | 7600.00 | 1618.00 | 3236.00 | 2299.00 | 4598.00 | 3236.00 | vk sam engineering
45.00 | 3.5 X 25 sq. mm | 2.00 | Each |  | 3500.00 | 7000.00 | 1394.00 | 2788.00 | 1599.00 | 3198.00 | 2788.00 | vk sam engineering
46.00 | 4 X 16 sq. mm | 2.00 | Each |  | 3200.00 | 6400.00 | 1300.00 | 2600.00 | 1299.00 | 2598.00 | 2598.00 | DElite System Engineering (India) Pvt. Ltd.
47.00 | Wiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group B | 100.00 | Point |  | 650.00 | 65000.00 | 1316.00 | 131600.00 | 899.00 | 89900.00 | 65000.00 | Shantha ELectricals and Engineers Pvt Ltd
48.00 | Wiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 500.00 | Point |  | 650.00 | 325000.00 | 1619.00 | 809500.00 | 799.00 | 399500.00 | 325000.00 | Shantha ELectricals and Engineers Pvt Ltd
49.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required.
50.00 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 3000.00 | Mtrs |  | 110.00 | 330000.00 | 254.00 | 762000.00 | 259.00 | 777000.00 | 330000.00 | Shantha ELectricals and Engineers Pvt Ltd
51.00 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 4000.00 | Mtrs |  | 140.00 | 560000.00 | 278.00 | 1112000.00 | 259.00 | 1036000.00 | 560000.00 | Shantha ELectricals and Engineers Pvt Ltd
52.00 | 2 X 4.0 sq. mm + 1 X 4.0 sq. mm earth wire | 3000.00 | Mtrs |  | 185.00 | 555000.00 | 331.00 | 993000.00 | 339.00 | 1017000.00 | 555000.00 | Shantha ELectricals and Engineers Pvt Ltd
53.00 | 4 X 6.0 sq. mm + 2 X 6.0 sq. mm earth wire | 1000.00 | Mtrs |  | 430.00 | 430000.00 | 702.00 | 702000.00 | 499.00 | 499000.00 | 430000.00 | Shantha ELectricals and Engineers Pvt Ltd
54.00 | Rewiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface / recessed steel / PVC conduit including dismantling as required. Group C | 25.00 | Point |  | 650.00 | 16250.00 | 800.00 | 20000.00 | 199.00 | 4975.00 | 4975.00 | DElite System Engineering (India) Pvt. Ltd.
55.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as required.
56.00 | 3 x 1.5 sqmm | 200.00 | Mtrs |  | 110.00 | 22000.00 | 88.00 | 17600.00 | 199.00 | 39800.00 | 17600.00 | vk sam engineering
57.00 | 3 x 2.5 sqmm | 200.00 | Mtrs |  | 140.00 | 28000.00 | 117.00 | 23400.00 | 209.00 | 41800.00 | 23400.00 | vk sam engineering
58.00 | 3 x 4.0 sqmm | 200.00 | Mtrs |  | 185.00 | 37000.00 | 176.00 | 35200.00 | 399.00 | 79800.00 | 35200.00 | vk sam engineering
59.00 | 3 x 6.0 sqmm | 100.00 | Mtrs |  | 290.00 | 29000.00 | 244.00 | 24400.00 | 499.00 | 49900.00 | 24400.00 | vk sam engineering
60.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 500.00 | Each |  | 375.00 | 187500.00 | 385.00 | 192500.00 | 399.00 | 199500.00 | 187500.00 | Shantha ELectricals and Engineers Pvt Ltd
61.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 600.00 | Each |  | 900.00 | 540000.00 | 511.00 | 306600.00 | 469.00 | 281400.00 | 281400.00 | DElite System Engineering (India) Pvt. Ltd.
62.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
63.00 | 5/6 A switch | 250.00 | Mtrs |  | 120.00 | 30000.00 | 54.00 | 13500.00 | 69.00 | 17250.00 | 13500.00 | vk sam engineering
64.00 | 3 pin 5/6 A socket outlet | 250.00 | Mtrs |  | 155.00 | 38750.00 | 93.00 | 23250.00 | 179.00 | 44750.00 | 23250.00 | vk sam engineering
65.00 | 15/16 A switch | 250.00 | Mtrs |  | 165.00 | 41250.00 | 88.00 | 22000.00 | 120.00 | 30000.00 | 22000.00 | vk sam engineering
66.00 | 6 pin 15/16 A socket outlet | 250.00 | Mtrs |  | 225.00 | 56250.00 | 137.00 | 34250.00 | 209.00 | 52250.00 | 34250.00 | vk sam engineering
67.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 50.00 | Each |  | 60.00 | 3000.00 | 29.00 | 1450.00 | 29.00 | 1450.00 | 1450.00 | DElite System Engineering (India) Pvt. Ltd., vk sam engineering
68.00 | Proving and fixing of Casing and Caping width of 25mm on wall surface etc as required | 700.00 | Mtrs |  | 25.00 | 17500.00 | 88.00 | 61600.00 | 69.00 | 48300.00 | 17500.00 | Shantha ELectricals and Engineers Pvt Ltd
69.00 | Supplying and fixing 6 module, PVC box alongwith modular base & cover plate for modular switches in recess etc. as required. | 250.00 | Mtrs |  | 350.00 | 87500.00 | 380.00 | 95000.00 | 499.00 | 124750.00 | 87500.00 | Shantha ELectricals and Engineers Pvt Ltd
70.00 | Dismantling of Existing 2 x 36 Watts / 1 x 36 watts Fixtures with all accessories etc as required | 100.00 | Mtrs |  | 75.00 | 7500.00 | 73.00 | 7300.00 | 100.00 | 10000.00 | 7300.00 | vk sam engineering
71.00 | Installation ,Testing, Commissioning of wall bracket / ceiling fittings of all sizes and shapes containing upto two GLS / CFL / LED lamps per fitting, complete with all accessories including connections etc. as required. | 100.00 | Mtrs |  | 50.00 | 5000.00 | 132.00 | 13200.00 | 199.00 | 19900.00 | 5000.00 | Shantha ELectricals and Engineers Pvt Ltd
72.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 25.00 | Each |  | 150.00 | 3750.00 | 122.00 | 3050.00 | 209.00 | 5225.00 | 3050.00 | vk sam engineering
73.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 20.00 | Each |  | 200.00 | 4000.00 | 634.00 | 12680.00 | 999.00 | 19980.00 | 4000.00 | Shantha ELectricals and Engineers Pvt Ltd
74.00 | Dismantling of Existing 12" Exhaust Fan including the damage, connection, testing, commissioning etc. as required. | 5.00 | Nos |  | 200.00 | 1000.00 | 341.00 | 1705.00 | 50.00 | 250.00 | 250.00 | DElite System Engineering (India) Pvt. Ltd.
75.00 | Supplying and fixing 6 way Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface / recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB / RCCB / Isolator) | 12.00 | Each |  | 1700.00 | 20400.00 | 1521.00 | 18252.00 | 4999.00 | 59988.00 | 18252.00 | vk sam engineering
76.00 | Supplying and fixing of following ways surface / recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
77.00 | 4 way (4 + 12), Double door | 10.00 | Each |  | 3800.00 | 38000.00 | 5889.00 | 58890.00 | 9999.00 | 99990.00 | 38000.00 | Shantha ELectricals and Engineers Pvt Ltd
78.00 | 8 way (4 + 24), Double door | 10.00 | Each |  | 5500.00 | 55000.00 | 7590.00 | 75900.00 | 12999.00 | 129990.00 | 55000.00 | Shantha ELectricals and Engineers Pvt Ltd
79.00 | Supply and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
80.00 | Single Pole | 432.00 | Each |  | 225.00 | 97200.00 | 135.00 | 58320.00 | 220.00 | 95040.00 | 58320.00 | vk sam engineering
81.00 | Double Pole | 20.00 | Each |  | 700.00 | 14000.00 | 429.00 | 8580.00 | 499.00 | 9980.00 | 8580.00 | vk sam engineering
82.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 100.00 | Each |  | 25.00 | 2500.00 | 15.00 | 1500.00 | 39.00 | 3900.00 | 1500.00 | vk sam engineering
83.00 | Supplying and fixing following rating, 415 V, 10 kA, "C" curve, 4 pole MCB (miniature circuit breaker) suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
84.00 | 40 A | 10.00 | Each |  | 2100.00 | 21000.00 | 1262.00 | 12620.00 | 999.00 | 9990.00 | 9990.00 | DElite System Engineering (India) Pvt. Ltd.
85.00 | 63 A | 10.00 | Each |  | 2100.00 | 21000.00 | 1287.00 | 12870.00 | 1599.00 | 15990.00 | 12870.00 | vk sam engineering
86.00 | 100 A | 5.00 | Each |  | 9000.00 | 45000.00 | 5937.00 | 29685.00 | 2999.00 | 14995.00 | 14995.00 | DElite System Engineering (India) Pvt. Ltd.
87.00 | Supplying and fixing Cable End Box suitable for 4 Way / 8 Way, triple pole and neutral, sheet steel, Vertical MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | 40.00 | Each |  | 2200.00 | 88000.00 | 1336.00 | 53440.00 | 3999.00 | 159960.00 | 53440.00 | vk sam engineering
88.00 | Supply of 12" heavy duty exhaust fan running at 1400 RPM operated in 230V, 50 Hz AC supply as required as per direction of Engineer In charge. | 20.00 | Nos |  | 3800.00 | 76000.00 | 3217.00 | 64340.00 | 3999.00 | 79980.00 | 64340.00 | vk sam engineering
89.00 | Supply of Recess mounted LED Luminaire with system wattage 36 W and system lumen 3600lm-3800lm, of size not less than 595mmx595mmx65mm. The luminaire efficiency shall be >100lm. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintennance. CRI should be greater than 80, housing should be CRCA Sheet of thickness of 0.5-0.6 mm thick. The diffuser shll be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor >0.9 of the inout voltage tolerance shall be 140-270 volt AC complete in all recpect including LED and other accessories etc as required. (Havells Make Model No: VENUSNEOTW2X2PLR42WLEDTWMOD) or equivalent. | 20.00 | Nos |  | 2250.00 | 45000.00 | 7932.00 | 158640.00 | 3999.00 | 79980.00 | 45000.00 | Shantha ELectricals and Engineers Pvt Ltd
90.00 | Supply of Ceiling / Wall mounted Batten type (T5) LED Tubelight fixtures with lamp wattage 20 W, Housing & cover made up of CRCA sheet steel. Cover is fixed to the housing by means of 2 nos. bolt with engineering plastic head with Epoxy powder coated white after phosphochromate complete in all recpect and other accessories etc as required. (Havells make Model No: LUMILINESMART20WLED865PCWH) or equivalent. | 20.00 | Nos |  | 800.00 | 16000.00 | 882.00 | 17640.00 | 499.00 | 9980.00 | 9980.00 | DElite System Engineering (India) Pvt. Ltd.
91.00 | Supply of Recess mounted LED downlighter with system wattage 15-24 W and system lumen 1125 lm-2400 lm. The luminaire efficiency shall be >140 lm/W. The luminaire shall be 3000K-5700K color temperature and having 50000 burning hours life. CRI should be greater than 80, housing should be die-cast aluminium heat sink & PC diffuser in white powder coated finish with integrated driver with life of 50000 hrs power factor > 0.9 of the inout voltage tolerance shall be 140-270 volt AC complete in all recpect including LED and other accessories etc as required.(Model no. :PLANO2X2PLR24WLED857S) or equivalent. | 20.00 | Nos |  | 1700.00 | 34000.00 | 2501.00 | 50020.00 | 1599.00 | 31980.00 | 31980.00 | DElite System Engineering (India) Pvt. Ltd.
92.00 | Supply of surface / wall mounted 65-70W LED IP 66 luminaire made of Die-cast aluminium housing (heat sink) for efficient thermal management, sturdiness & corrosion resistant of size of 309mm x 346mm x 60mm having tolerance +5 mm. The luminaire shall be able to deliver a system lumen of >7000 lumens. The CCT shall be 5700K, operating temperature -10° C to +45° C, operating voltage 140 V-300 V, Lumen efficacy of LED >130 lm/W and viewing angle of 120°. The electronic Powered by an integral, isolated electronic LED driver (SMPS based constant current supply) with lower THD, Output Open / Short Circuit protection, Over Voltage protection, Surge Voltage Protection & other safety test as per IS 15885 Part-2/Sec 13. The luminaire shall be complete in all respect including led tube and other accessories etc as required.(Model no.: PLUTOSURFA CE4X1PLS42WLED857S) or equivalent. | 20.00 | Nos |  | 2800.00 | 56000.00 | 4650.00 | 93000.00 | 4999.00 | 99980.00 | 56000.00 | Shantha ELectricals and Engineers Pvt Ltd
93.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 20.00 | Set |  | 9500.00 | 190000.00 | 10238.00 | 204760.00 | 9000.00 | 180000.00 | 180000.00 | DElite System Engineering (India) Pvt. Ltd.
94.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal / coke and salt as required. | 10.00 | Set |  | 13000.00 | 130000.00 | 15600.00 | 156000.00 | 19000.00 | 190000.00 | 130000.00 | Shantha ELectricals and Engineers Pvt Ltd
95.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection / terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 200.00 | Mtrs |  | 1200.00 | 240000.00 | 1487.00 | 297400.00 | 900.00 | 180000.00 | 180000.00 | DElite System Engineering (India) Pvt. Ltd.
96.00 | Providing and fixing earth bus of 50 mm X 5 mm copper strip on surface for connections etc. as required. | 100.00 | Mtrs |  | 2900.00 | 290000.00 | 2720.00 | 272000.00 | 1200.00 | 120000.00 | 120000.00 | DElite System Engineering (India) Pvt. Ltd.
97.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 20.00 | Each |  | 6500.00 | 130000.00 | 4875.00 | 97500.00 | 6000.00 | 120000.00 | 97500.00 | vk sam engineering
98.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection / terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 500.00 | Mtrs |  | 180.00 | 90000.00 | 268.00 | 134000.00 | 269.00 | 134500.00 | 90000.00 | Shantha ELectricals and Engineers Pvt Ltd
99.00 | Supply and fixing of Earth Electrodes, 17.2mm dia. exothermic welded copper bonded rod 17.2mm dia, 3 mtr. long with terminal size 32x10mm with 50 Kgs. Of backfil earth enhancing compound. Base metal shall be IS marked branded MS Rod and providng masonry enclosure with cover plate including all other accessories. (Chemical Earthing) | 5.00 | Each |  | 15000.00 | 75000.00 | 8775.00 | 43875.00 | 9999.00 | 49995.00 | 43875.00 | vk sam engineering
100.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface / recessed conduit / submain wiring / cable as required. | 6000.00 | Mtrs |  | 45.00 | 270000.00 | 29.00 | 174000.00 | 32.00 | 192000.00 | 174000.00 | vk sam engineering
101.00 | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | 30.00 | Each |  | 850.00 | 25500.00 | 678.00 | 20340.00 | 1999.00 | 59970.00 | 20340.00 | vk sam engineering
102.00 | Supplying and fixing 16 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 20.00 | Each |  | 5300.00 | 106000.00 | 4290.00 | 85800.00 | 2999.00 | 59980.00 | 59980.00 | DElite System Engineering (India) Pvt. Ltd.
103.00 | Supplying and fixing 63A , 415 V, TPN Industrial type socket outlet, with 5 pole and earth, metal enclosed plug top alongwith 63 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 20.00 | Each |  | 11900.00 | 238000.00 | 8765.00 | 175300.00 | 3999.00 | 79980.00 | 79980.00 | DElite System Engineering (India) Pvt. Ltd.
104.00 | Execution of miscellaneous electrical works like providing temporary power supply, dismantling of fixtures, fans, exhaust fand switch points, extension of existing power points and attending the AC fault etc whenever required on daily wages basis as follows
105.00 | Electrician | 200.00 | days |  | 1500.00 | 300000.00 | 1170.00 | 234000.00 | 799.00 | 159800.00 | 159800.00 | DElite System Engineering (India) Pvt. Ltd.
106.00 | Wireman | 200.00 | days |  | 1000.00 | 200000.00 | 975.00 | 195000.00 | 799.00 | 159800.00 | 159800.00 | DElite System Engineering (India) Pvt. Ltd.
107.00 | AC Technician | 50.00 | days |  | 1200.00 | 60000.00 | 1462.00 | 73100.00 | 799.00 | 39950.00 | 39950.00 | DElite System Engineering (India) Pvt. Ltd.
108.00 | Helper | 500.00 | days |  | 900.00 | 450000.00 | 878.00 | 439000.00 | 699.00 | 349500.00 | 349500.00 | DElite System Engineering (India) Pvt. Ltd.
109.00 | Providing 01 No. Skilled Driver for Project Electrical Departmental Vehicle from 0930 hrs to 1800 etc as per direction of Engineer in charge etc as required | 12.00 | Month |  | 30000.00 | 360000.00 | 19500.00 | 234000.00 | 34999.00 | 419988.00 | 234000.00 | vk sam engineering
110.00 | Providing the following machinaries with operator from 0930 hrs to 1800 hrs on requirement basis for carryout the work etc as required
111.00 | Excavator (JCB) | 5.00 | days |  | 15000.00 | 75000.00 | 10725.00 | 53625.00 | 1200.00 | 6000.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd.
112.00 | Crane capacity of handling 12 Tons | 5.00 | days |  | 15000.00 | 75000.00 | 10725.00 | 53625.00 | 1200.00 | 6000.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd.
113.00 | Supplying and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc., complete as required.
114.00 | In the existing trench | 50.00 | Mtrs |  | 210.00 | 10500.00 | 107.00 | 5350.00 | 199.00 | 9950.00 | 5350.00 | vk sam engineering
115.00 | Direct in ground (75 cm below ground level) | 50.00 | Mtrs |  | 280.00 | 14000.00 | 195.00 | 9750.00 | 209.00 | 10450.00 | 9750.00 | vk sam engineering
116.00 | Supplying and laying of 90 mm dia (OD-90 mm & ID-76 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required.
117.00 | In the existing trench | 50.00 | Mtrs |  | 255.00 | 12750.00 | 161.00 | 8050.00 | 299.00 | 14950.00 | 8050.00 | vk sam engineering
118.00 | Direct in ground (75 cm below ground level) | 50.00 | Mtrs |  | 320.00 | 16000.00 | 244.00 | 12200.00 | 299.00 | 14950.00 | 12200.00 | vk sam engineering
119.00 | Supplying and laying of 160 mm dia (OD-90 mm & ID-76 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required.
120.00 | In the existing trench | 50.00 | Mtrs |  | 435.00 | 21750.00 | 327.00 | 16350.00 | 399.00 | 19950.00 | 16350.00 | vk sam engineering
121.00 | Direct in ground (75 cm below ground level) | 50.00 | Mtrs |  | 495.00 | 24750.00 | 444.00 | 22200.00 | 399.00 | 19950.00 | 19950.00 | DElite System Engineering (India) Pvt. Ltd.
122.00 | Supplying and laying of 200 mm dia (OD-90 mm & ID-76 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required.
123.00 | In the existing trench | 50.00 | Mtrs |  | 510.00 | 25500.00 | 454.00 | 22700.00 | 499.00 | 24950.00 | 22700.00 | vk sam engineering
124.00 | Direct in ground (75 cm below ground level) | 50.00 | Mtrs |  | 590.00 | 29500.00 | 699.00 | 34950.00 | 499.00 | 24950.00 | 24950.00 | DElite System Engineering (India) Pvt. Ltd.
125.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 2 coarse sand : 6 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 50.00 | Cum |  | 9500.00 | 475000.00 | 7500.00 | 375000.00 | 8000.00 | 400000.00 | 375000.00 | vk sam engineering
126.00 | Providing, laying & fixing following dia G.I. pipe(medium class) in ground complete with G.I. fittings including trenching (75cm deep)& refilling etc. as required 150mm dia | 30.00 | Mtrs |  | 3800.00 | 114000.00 | 1994.00 | 59820.00 | 2999.00 | 89970.00 | 59820.00 | vk sam engineering
127.00 | Providing, laying & fixing following dia G.I. pipe(medium class) in ground complete with G.I. fittings including trenching (75cm deep)& refillinf etc. as required 100mm dia | 30.00 | Mtrs |  | 2600.00 | 78000.00 | 1336.00 | 40080.00 | 2999.00 | 89970.00 | 40080.00 | vk sam engineering
128.00 | Erection of metallic pole of Above 4.5 metre and upto 6.5 metre length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. | 5.00 | Each |  | 12000.00 | 60000.00 | 5850.00 | 29250.00 | 7999.00 | 39995.00 | 29250.00 | vk sam engineering
129.00 | Erection of metallic pole of Above 8.0 metre and upto 11.0 metre length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. | 5.00 | Each |  | 18000.00 | 90000.00 | 7313.00 | 36565.00 | 7999.00 | 39995.00 | 36565.00 | vk sam engineering
130.00 | Dismantling of exising metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required.
131.00 | Above 4.5 metre and upto 6.5 metre | 5.00 | Each |  | 4500.00 | 22500.00 | 5263.00 | 26315.00 | 1500.00 | 7500.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd.
132.00 | Above 8.0 metre and upto 11.0 metre | 5.00 | Each |  | 6500.00 | 32500.00 | 5363.00 | 26815.00 | 1500.00 | 7500.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd.
133.00 | Providing and Fixing of Precast RCC earth pit alongwith G.I. cover plate 600 mm X 600 mm X 6 mm thick for Protection of Earthing pit etc. as required. | 20.00 | Jobs |  | 18000.00 | 360000.00 | 3413.00 | 68260.00 | 3999.00 | 79980.00 | 68260.00 | vk sam engineering
134.00 | SITC of 1.5 TR Split Type Air Conditioner 3 Star rating nominal cooling capacity 4500 kcal / Hr shall be fully factory assembled, wired, internally piped & tested with all accessories like IR module, remotes etc for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 4.00 | Nos |  | 51000.00 | 204000.00 | 44850.00 | 179400.00 | 39999.00 | 159996.00 | 159996.00 | DElite System Engineering (India) Pvt. Ltd.
135.00 | SITC of 2 TR Split Type Air Conditioner 3 Star rating nominal cooling capacity 5500 kcal / Hr shall be fully factory assembled, wired, internally piped & tested with all accessories like IR module, remotes etc for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 5.00 | Nos |  | 72000.00 | 360000.00 | 59144.00 | 295720.00 | 49999.00 | 249995.00 | 249995.00 | DElite System Engineering (India) Pvt. Ltd.
136.00 | SITC of 2 TR Ceiling mounted Cassete Type Air Conditioner Star rating with refrigerant gas, PVC drain pipe etc shall be fully factory assembled, wired, internally piped & tested with all accessories like IR module, remotes etc for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 2.00 | Nos |  | 87000.00 | 174000.00 | 85215.00 | 170430.00 | 99000.00 | 198000.00 | 170430.00 | vk sam engineering
137.00 | Supply, Installation, Testing and Commissioning of Air Cooled High Wall mounted Split Air Conditioner of following capacity consisting of High wall mounted type room unit with Cordless remote control and one number Outdoor condensing unit comprising of energy efficient suitable rotary compressor for operation on single phase, 230 V, 50Hz supply, fixing the outdoor unit on a raised platform as per manufacturers recommendation and fixing of room unit on wall, upto 10 m distance refrigerant copper piping with 13mm nitrile rubber insulation, providing and making interconnection between room & condenser as per site conditions, comprising of 1" dia. drain pipe with insulation, canvas connections, full electrical cabling from power plug near indoor unit and to outdoor unit, ODU MS stand, first charge refrigerant gas, etc. complete as required. (Hi Wall DX Split Units - Inverter Type) 2.5TR Capacity, Minimum 3 Star Rated as per BEE, Copper Condenser tubes, Inverter Type unit | 2.00 | Nos |  | 130000.00 | 260000.00 | 176596.00 | 353192.00 | 120000.00 | 240000.00 | 240000.00 | DElite System Engineering (India) Pvt. Ltd.
138.00 | SITC of 4 TR Cassete Type Air Conditioner Star rating with refrigerant gas, PVC drain pipe etc shall be fully factory assembled, wired, internally piped & tested with all accessories like IR module, remotes etc for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 2.00 | Nos |  | 145000.00 | 290000.00 | 161460.00 | 322920.00 | 179999.00 | 359998.00 | 290000.00 | Shantha ELectricals and Engineers Pvt Ltd
139.00 | SITC of 2 TR Fan Cooling Coil Unit shall be fully factory assembled, wired, internally piped & tested with all accessories for units. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 2.00 | Nos |  | 87000.00 | 174000.00 | 60000.00 | 120000.00 | 50000.00 | 100000.00 | 100000.00 | DElite System Engineering (India) Pvt. Ltd.
140.00 | SITC of 3 TR Slim line tower type Vertical air conditioner split AC unit suitable for operation at 230V, 50Hz AC supply with all accessories including standard length of suction and discharge coper pipe line with inisulation, initial gas charging, leak testing, electrical cabling, regrigerant piping, remote control, providing fixing of MS Channel / bracket frame work for mounting indoor and outdoor units etc as required | 2.00 | Nos |  | 125000.00 | 250000.00 | 120000.00 | 240000.00 | 120000.00 | 240000.00 | 240000.00 | DElite System Engineering (India) Pvt. Ltd., vk sam engineering
141.00 | SITC of Air Conditoner Stabilizers capacity of 4 KVA shall be fully factory assembled, wired & tested with all accessories etc. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 10.00 | Nos |  | 3500.00 | 35000.00 | 6337.00 | 63370.00 | 3000.00 | 30000.00 | 30000.00 | DElite System Engineering (India) Pvt. Ltd.
142.00 | SITC of Air Conditoner Stabilizers capacity of 5 KVA shall be fully factory assembled, wired & tested with all accessories etc. The units shall be suitable for operation with 220 V, 50 Hz, power supply etc as required. | 10.00 | Nos |  | 4300.00 | 43000.00 | 7848.00 | 78480.00 | 4999.00 | 49990.00 | 43000.00 | Shantha ELectricals and Engineers Pvt Ltd
143.00 | Flexible duct Supply, Installation, Testing and Commissioning of Thermal insulated flexible duct of following requirements suitable for jet nozzles duly supported at regular interval with proper accessories as per site requirement etc. Insulation Thickness - 25mm thick, Insulation Density - 16 – 24 Kg/m3, Inner Dia. 315mm to suit Jet nozzles, FIRE RATED INSULATED DUCT TESTED & APPROVED AS PER BS - 476 PART 5 & 6, | 300.00 | Mtrs |  | 2250.00 | 675000.00 | 663.00 | 198900.00 | 999.00 | 299700.00 | 198900.00 | vk sam engineering
144.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cabletray“bends“(galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. 300 mm width X 50 mm depth X 1.6 mm thickness | 200.00 | Mtrs |  | 925.00 | 185000.00 | 1116.00 | 223200.00 | 1100.00 | 220000.00 | 185000.00 | Shantha ELectricals and Engineers Pvt Ltd
145.00 | Supply, Installation, Testing and Commissioning of cubicle type LT panel, IP42, suitable for 415V+/-10%, 3 Phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized modular design from CRCA sheet steel of 2 mm thick for frame work and covers, 3 mm thick for gland, plates i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having 4P aluminium alloy bus bars for high conductivity, DMC/SMC bus bar supports, with short circuit with stand capacity of 35 KA for 1 sec, bottom base channel of MS section not less than 100 mm x 50 mm x 5 mm thick, fabrication shall be done in transportable sections,
146.00 | The entire panel shall have a common copper earth bar of size 25 mm x 5 mm at the rear with 2 Nos. earth stud, solid / flexible connections from main bus bar to switchgears and from switchgear output to cable termination in cable alley with required size of AL conductors / bus bars and control wiring with 2.5 sqmm PVC insulated copper conductor cable (FRLS), cable alleys, cable gland plates in two half, i/c providing following switchgears/accessories as per specifications. Panel shall be completed in all respect and must follow technical specification.
147.00 | Additional neutral CT shall be considered for earth fault protection (with current adjustability). Differentiation of electrical fault (O/L & S/C) and earth fault shall be provided on panel door. Electrical fault trip indication shall be provided to diffrentiate Trip & electrical fault trip.
148.00 | INCOMER
149.00 | 1 Nos.100 Amp,4P, Moulded Case Circuit Breaker (Ics = Icu = 25 KA) with thermal magnetic release with O/L , S/C & E/F protection with current adjustability , with extended rotary handle as per technical specification.2 Set Indication Lamps, LED type, for breaker 'ON' , 'OFF', 'TRIP' lamps with 2 Amp MCB for controlling
150.00 | Each Incomer shall have one set of the following Items:
151.00 | 1 No. Digital MFM meter and one set of 3 nos. CTs of ratio 125/5A , Class I accuracy and 10 VA burden- 1 set.
152.00 | 3 Nos.phase indicating LED lamps each with 2 amp back up MCB.
153.00 | BUS BAR
154.00 | 4P aluminium bus bars of minimum 125 Amps capacity with heat shrinkable coloured sleeves and i/c, SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 25 KA for 1 sec.
155.00 | OUTGOING
156.00 | 32 Amp TPN Moulded Case Circuit Breaker (Ics = Icu = 10 KA), thermal magnetic release with adjustable setting with O/L,S/C protection and 1 No. digital energy meter along with one set of 3 nos. CTs of ratio 32/5A , Class I accuracy and 10 VA burden as per specification- 8 Set
157.00 | Note
158.00 | All incoming & outgoing MCCB shall be with adjustable O/L protection
159.00 | All incomers and Buscoupler breakers shall be mechanical interlocked with suitable accessories.
160.00 | All breakers breaking capacities shall be Icu=Ics upto 415 V.
161.00 | Breaker ON,OFF & TRIP indication LED light with back up 2 Amp SP MCB for each Outgoing
162.00 | 1 Set Rotary operating mechanism and terminal extension spreaders for all the MCCBs.
163.00 | Meter Board as described above | 2.00 | Set |  | 195000.00 | 390000.00 | 341250.00 | 682500.00 | 200000.00 | 400000.00 | 390000.00 | Shantha ELectricals and Engineers Pvt Ltd
164.00 | Supply, Installation, Testing and Commissioning of cubicle type LT panel, IP42, suitable for 415V+/-10%, 3 Phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized modular design from CRCA sheet steel of 2 mm thick for frame work and covers, 3 mm thick for gland, plates i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having 4P aluminium alloy bus bars for high conductivity, DMC/SMC bus bar supports,with short circuit withstand capacity of 35 KA for 1 sec, bottom base channel of MS section not less than 100 mm x 50 mm x 5 mm thick, fabrication shall be done in transportable sections.
165.00 | The entire panel shall have a common copper earth bar of size 25 mm x 5 mm at the rear with 2 Nos. earth stud, solid / flexible connections from main bus bar to switchgears and from switchgear output to cable termination in cable alley with required size of AL conductors / bus bars and control wiring with 2.5 sqmm PVC insulated copper conductor cable (FRLS), cable alleys, cable gland plates in two half, i/c providing following switchgears / accessories as per specifications. Panel shall be completed in all respect and must follow technical specification.
166.00 | Additional neutral CT shall be considered for earth fault protection (with current adjustability). Differentiation of electrical fault (O/L & S/C) and earth fault shall be provided on panel door. Electrical fault trip indication shall be provided to diffrentiate Trip & electrical fault trip.
167.00 | INCOMER
168.00 | 1 Nos.100 Amp,4P, Moulded Case Circuit Breaker (Ics = Icu = 25 KA) with thermal magnetic release with O/L , S/C & E/F protection with current adjustability , with extended rotary handle as per technical specification.2 Set Indication Lamps, LED type, for breaker 'ON' , 'OFF', 'TRIP' lamps with 2 Amp MCB for controlling.
169.00 | Each Incomer shall have one set of the following Items:
170.00 | 1 No. Digital MFM meter and one set of 3 nos. CTs of ratio 125/5A , Class I accuracy and 10 VA burden- 1 set.
171.00 | 3 Nos.phase indicating LED lamps each with 2 amp back up MCB.
172.00 | BUSBAR
173.00 | 4P aluminium bus bars of minimum 125 Amps capacity with heat shrinkable coloured sleeves and i/c, SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 25 KA for 1 sec.
174.00 | OUTGOING
175.00 | 32 Amp DP Miniature circuit breaker (Ics = Icu = 10 KA) and 1 No. digital energy meter as per specification- 8 Set
176.00 | Note
177.00 | All incoming & outgoing MCCB shall be with adjustable O/L protection
178.00 | All incomers and Buscoupler breakers shall be mechanical interlocked with suitable accessories.
179.00 | All breakers breaking capacities shall be Icu=Ics upto 415 V.
180.00 | Breaker ON,OFF & TRIP indication LED light with back up 2 Amp SP MCB for each Outgoing
181.00 | 1 Set Rotary operating mechanism and terminal extension spreaders for all the MCCBs.
182.00 | Meter Board as described above | 4.00 | Set |  | 195000.00 | 780000.00 | 278850.00 | 1115400.00 | 170000.00 | 680000.00 | 680000.00 | DElite System Engineering (India) Pvt. Ltd.
183.00 | Provding and Fixing of Three phase Energy meter box made from CRCA sheet steel of 2 mm thick with front door opening and powder coated etc., as required. | 50.00 | Nos |  | 13000.00 | 650000.00 | 4460.00 | 223000.00 | 2999.00 | 149950.00 | 149950.00 | DElite System Engineering (India) Pvt. Ltd.
184.00 | Provding and Fixing of 10 - 60 Amps Digital rating Three phase Energy meter operating at 3 x 240 Volt, 50Hz etc as required. | 25.00 | Nos |  | 10500.00 | 262500.00 | 4875.00 | 121875.00 | 3999.00 | 99975.00 | 99975.00 | DElite System Engineering (India) Pvt. Ltd.
185.00 | Provding and Fixing of 10 - 60 Amps Digital rating Single phase Energy meter operating at 240 Volt, 50Hz etc as required. | 25.00 | Nos |  | 6800.00 | 170000.00 | 4875.00 | 121875.00 | 1999.00 | 49975.00 | 49975.00 | DElite System Engineering (India) Pvt. Ltd.
186.00 | Hire Charges for following Boom lift and Scissor lift including operator,transport up & down and fuel on Per Month basis (Excluding Sundays & Public holidays (26 days per month ) and operating 10 Hours Per day Including Lunch Break 1 Hour etc as per the direction of Engineer-In-Charge
187.00 | 40FT Diesel Operated Boomlift | 1.00 | Month |  | 225000.00 | 225000.00 | 156000.00 | 156000.00 | 99999.00 | 99999.00 | 99999.00 | DElite System Engineering (India) Pvt. Ltd.
188.00 | 40FT Diesel Operated Scissorlift | 1.00 | Month |  | 245000.00 | 245000.00 | 156000.00 | 156000.00 | 99999.00 | 99999.00 | 99999.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 16287600.00 |  | 16798986.00 |  | 14995973.00
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(14995973.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modernization of Chennai Airport Phase II, Chennai SH Miscellaneous Electrical works 2022-23 Tender ID: 2022_AAI_117276_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. | 14995973.00 | L1
| 2 | Shantha ELectricals and Engineers Pvt Ltd | 16287600.00 | L2
| 3 | vk sam engineering | 16798986.00 | L3