## BoQ1
Government eProcurement System Created By: Ram kesh Meena Created Date/Time: 28-Jun-2022 06:36 PM Tender Title: Supply of Electrical spares at Kishangarh Airport, Ajmer (Year 2022) Tender ID: 2022_AAI_117567_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-E), Kishangarh Airport, Ajmer
Name of work :- Supply of Electrical spares at Kishangarh Airport, Ajmer (Year 2022).
Contract No: 2022_AAI_117567_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Trishul Enterprises(GSTN-07AQOPS2079M1Z0) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | paras electricals(GSTN-24AAEFP6990Q1ZF) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.5 Sqmm FRLSH PVC insulated (unsheated) multistranded single core copper conductor flexible cable of 1100 Volts grade confirming to IS-694 and up to date amendments. | 90.00 | Mtr | 100.00 | 25.00 | 2250.00 | 16.00 | 1440.00 | 19.00 | 1710.00 | 17.00 | 1530.00 | 17.00 | 1530.00 | 1440.00 | Bafna Electric Corp
2.00 | Supply of 2.5 Sqmm FRLSH PVC insulated (unsheated) multistranded single core copper conductor flexible cable of 1100 Volts grade confirming to IS-694 and up to date amendments. | 90.00 | Mtr | 100.00 | 40.00 | 3600.00 | 26.00 | 2340.00 | 30.00 | 2700.00 | 27.00 | 2430.00 | 28.00 | 2520.00 | 2340.00 | Bafna Electric Corp
3.00 | Supply of 4 Sqmm FRLSH PVC insulated (unsheated) multistranded single core copper conductor flexible cable of 1100 Volts grade confirming to IS-694 and up to date amendments. | 90.00 | Mtr | 100.00 | 50.00 | 4500.00 | 40.00 | 3600.00 | 47.00 | 4230.00 | 40.00 | 3600.00 | 42.00 | 3780.00 | 3600.00 | Bafna Electric Corp, paras electricals
4.00 | Supply of 3 core, 4.0 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1100V, confirming to IS-694 and up to date amendments. | 100.00 | Mtr | 100.00 | 170.00 | 17000.00 | 127.00 | 12700.00 | 150.00 | 15000.00 | 131.00 | 13100.00 | 149.00 | 14900.00 | 12700.00 | Bafna Electric Corp
5.00 | Supply of 4 core, 6.0 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1100 V, confirming to IS-694 and up to date amendments. | 100.00 | Mtr | 100.00 | 290.00 | 29000.00 | 245.00 | 24500.00 | 288.00 | 28800.00 | 285.00 | 28500.00 | 320.00 | 32000.00 | 24500.00 | Bafna Electric Corp
6.00 | Supply of 6A to 32A rating,Single Pole, 240/415 V, 6/10 kA, "C" curve, ISI marked,MCB suitable for inductive load in the existing MCB DB. Make:-Hager | 30.00 | Each | 100.00 | 160.00 | 4800.00 | 117.00 | 3510.00 | 134.00 | 4020.00 | 132.00 | 3960.00 | 137.00 | 4110.00 | 3510.00 | Bafna Electric Corp
7.00 | Supply of 20A, Double Pole, 240V, 6/10kA “C” curve ISI marked MCB suitable for existing DB. Make:- Hager | 10.00 | Each | 100.00 | 650.00 | 6500.00 | 377.00 | 3770.00 | 430.00 | 4300.00 | 425.00 | 4250.00 | 439.00 | 4390.00 | 3770.00 | Bafna Electric Corp
8.00 | Supply of 32A, Double Pole, 240V, 6/10kA,“C” curve ISI marked MCB suitable for existing DB. Make:- Hager | 10.00 | Each | 100.00 | 650.00 | 6500.00 | 377.00 | 3770.00 | 430.00 | 4300.00 | 425.00 | 4250.00 | 439.00 | 4390.00 | 3770.00 | Bafna Electric Corp
9.00 | Supply of 40A, Four pole, 10kA breaking capacity MCCB with thermomagnetic release and terminal spreaders,suitable in existing DB. Make:- Heger, Model-NCN440N | 10.00 | Each | 100.00 | 3500.00 | 35000.00 | 2935.00 | 29350.00 | 1359.00 | 13590.00 | 1344.00 | 13440.00 | 1136.00 | 11360.00 | 11360.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Supply of 63A, Three pole, 10 kA breaking capacity MCCB with thermomagnetic release and terminal spreaders,suitable in existing DB. Make:- Heger, Model-NCN363N | 10.00 | Each | 100.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 1070.00 | 10700.00 | 1058.00 | 10580.00 | 1136.00 | 11360.00 | 10580.00 | paras electricals
11.00 | Supply of 63A, Four pole, 10kA breaking capacity MCCB with thermomagnetic release and terminal spreaders,suitable in existing DB. Make:- Heger, Model-NCN463N | 5.00 | Each | 100.00 | 3500.00 | 17500.00 | 2935.00 | 14675.00 | 1360.00 | 6800.00 | 1344.00 | 6720.00 | 1389.00 | 6945.00 | 6720.00 | paras electricals
12.00 | Supply of S.P. 6/10A, one way modular switch, ISI marked. (Make Anchor) | 25.00 | Each | 100.00 | 50.00 | 1250.00 | 35.00 | 875.00 | 25.00 | 625.00 | 28.00 | 700.00 | 35.00 | 875.00 | 625.00 | Yash Energy Pvt. Ltd
13.00 | Supply of S.P. 15/16A, one way modular switch, ISI marked.(Make Anchor) | 30.00 | Each | 100.00 | 110.00 | 3300.00 | 88.00 | 2640.00 | 65.00 | 1950.00 | 55.00 | 1650.00 | 84.00 | 2520.00 | 1650.00 | paras electricals
14.00 | Supply of 3 pin, 5/6A, modular socket outlet, ISI marked.(Make Anchor) | 20.00 | Each | 100.00 | 110.00 | 2200.00 | 86.00 | 1720.00 | 68.00 | 1360.00 | 57.00 | 1140.00 | 84.00 | 1680.00 | 1140.00 | paras electricals
15.00 | Supply of 6 pin, 6/16A, modular socket outlet, ISI marked. (Make Anchor) | 30.00 | Each | 100.00 | 175.00 | 5250.00 | 141.00 | 4230.00 | 111.00 | 3330.00 | 97.00 | 2910.00 | 86.00 | 2580.00 | 2580.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Supply of 3 pin, 5/6A, plug top, ISI marked. | 15.00 | Each | 100.00 | 50.00 | 750.00 | 50.00 | 750.00 | 51.00 | 765.00 | 44.00 | 660.00 | 40.00 | 600.00 | 600.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Supply of 3 pin 15/16A, plug top, ISI marked. | 25.00 | Each | 100.00 | 85.00 | 2125.00 | 64.00 | 1600.00 | 68.00 | 1700.00 | 57.00 | 1425.00 | 54.00 | 1350.00 | 1350.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Supply of Surge arrester of 30 kV rated voltage, 5kA Discharge Current, suitable for 750 KVA (33/0.415 KV dry type) power transformer, conforming to IS 3070-3/ IEC 60099-4. Make:-ASIATIC, Model No:-30SGSA | 6.00 | Each | 100.00 | 4000.00 | 24000.00 | 4600.00 | 27600.00 | 4697.00 | 28182.00 | 16500.00 | 99000.00 | 5400.00 | 32400.00 | 24000.00 | Trishul Enterprises
19.00 | Supply of power supply driver working on 230 Volt, 50 Hz, AC Supply with Overcurrent, Overvoltage & Short circuit protection suitable for, Bajaj /Crompton Make ,15/18 W, LED Round shape downlighter. | 50.00 | Each | 100.00 | 750.00 | 37500.00 | 357.00 | 17850.00 | 440.00 | 22000.00 | 528.00 | 26400.00 | 270.00 | 13500.00 | 13500.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Supply of 2.0 MFd capacitor suitable for exhaust fan. | 15.00 | Each | 100.00 | 50.00 | 750.00 | 20.00 | 300.00 | 26.00 | 390.00 | 77.00 | 1155.00 | 27.00 | 405.00 | 300.00 | Bafna Electric Corp
21.00 | Supply of LED Indication Lamp (R/Y/B/W/G) with integral circuit suitable for LT panel. | 40.00 | Each | 100.00 | 120.00 | 4800.00 | 145.00 | 5800.00 | 110.00 | 4400.00 | 110.00 | 4400.00 | 151.00 | 6040.00 | 4400.00 | Yash Energy Pvt. Ltd, paras electricals
22.00 | Supply of Digital programable Time switch (24 hours) 240V AC supply, suitable for controlling outdoor lightng system. | 6.00 | Each | 100.00 | 3500.00 | 21000.00 | 1800.00 | 10800.00 | 1996.00 | 11976.00 | 1650.00 | 9900.00 | 2465.00 | 14790.00 | 9900.00 | paras electricals
23.00 | Supply of Electronic driver unit of 6.5A, 230 V AC, suitable for LED signages. (Make:- Lumenark Electronics). | 30.00 | Each | 100.00 | 1500.00 | 45000.00 | 1600.00 | 48000.00 | 479.00 | 14370.00 | 220.00 | 6600.00 | 810.00 | 24300.00 | 6600.00 | paras electricals
24.00 | Supply of Electronic driver unit of 12.5A, 230 V AC, suitable for LED signages. (Make:- Lumenark Electronics). | 30.00 | Each | 100.00 | 1750.00 | 52500.00 | 1850.00 | 55500.00 | 868.00 | 26040.00 | 330.00 | 9900.00 | 1296.00 | 38880.00 | 9900.00 | paras electricals
25.00 | Supply of Constant Current LED driver, input voltage 240VAC,50 Hz, output voltage 31 VDC suitable for BRTFG 72W LED V3 WH 240V, 50Hz LED street light. Make:-Bajaj Electricals Ltd. Model No:-BI-MB-2073-72-2.15 | 25.00 | Each | 100.00 | 1500.00 | 37500.00 | 1800.00 | 45000.00 | 1327.00 | 33175.00 | 1408.00 | 35200.00 | 486.00 | 12150.00 | 12150.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Supply of 10 kV Surge Protecter, continous voltage 280 VAC, Maximum current 15A, rated peak current 10kA(8/20micro second), suitable for BRTFG 72W LED V3 WH 240V, 50Hz LED street light. Make:-Bajaj Electricals Ltd. | 25.00 | Each | 100.00 | 250.00 | 6250.00 | 250.00 | 6250.00 | 270.00 | 6750.00 | 528.00 | 13200.00 | 486.00 | 12150.00 | 6250.00 | Trishul Enterprises, Bafna Electric Corp
27.00 | Supply of Constant Current LED driver, input voltage 240VAC,50 Hz, output voltage 18-32VDC suitable for BCLST 20W LED, 240V, 50Hz street light. Make:-Bajaj Electricals Ltd. Model No:-BRLED25P | 80.00 | Each | 100.00 | 550.00 | 44000.00 | 620.00 | 49600.00 | 611.00 | 48880.00 | 748.00 | 59840.00 | 191.00 | 15280.00 | 15280.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Supply of 12V, 180AH, 25 plate Lead Acid Battery with buyback of old batteries, suitable for D.G. Set. | 4.00 | Each | 100.00 | 13500.00 | 54000.00 | 13300.00 | 53200.00 | 17026.00 | 68104.00 | 14351.00 | 57404.00 | 15336.00 | 61344.00 | 53200.00 | Bafna Electric Corp
29.00 | Supply of 12V, 100AH Lead Acid Battery with buyback of old batteries, suitable for HT panel. | 4.00 | Each | 100.00 | 7000.00 | 28000.00 | 7585.00 | 30340.00 | 6693.00 | 26772.00 | 6703.00 | 26812.00 | 8424.00 | 33696.00 | 26772.00 | Yash Energy Pvt. Ltd
30.00 | Supply of 12V, 26AH Lead Acid Battery with buyback of old batteries suitable for DG synchronising panel. | 20.00 | Each | 100.00 | 3500.00 | 70000.00 | 2680.00 | 53600.00 | 3053.00 | 61060.00 | 2750.00 | 55000.00 | 2246.00 | 44920.00 | 44920.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Supply of 12V, 7.2AH SMF Battery buyback of old batteries suitable for fire alarm panel. | 4.00 | Each | 100.00 | 1500.00 | 6000.00 | 950.00 | 3800.00 | 1057.00 | 4228.00 | 688.00 | 2752.00 | 842.00 | 3368.00 | 2752.00 | paras electricals
32.00 | Supply of LED strip module of 60 x 10 mm, 3 LED each of 0.5 Watt, operation on 12 V DC, suitable for signage board. Make:-Samsung or ABBS | 500.00 | Each | 100.00 | 15.00 | 7500.00 | 40.00 | 20000.00 | 29.00 | 14500.00 | 100.00 | 50000.00 | 64.00 | 32000.00 | 7500.00 | Trishul Enterprises
33.00 | Supply of National Flag of size 20 feet x 30 feet in 100% knitted polyester (160gsm), with reinforced super -strong nylon webbing on all 3 sides & rope/toggle sleeve. | 10.00 | Each | 100.00 | 10500.00 | 105000.00 | 10500.00 | 105000.00 | 14638.00 | 146380.00 | 8580.00 | 85800.00 | 9180.00 | 91800.00 | 85800.00 | paras electricals
34.00 | Supply of 250 mm fresh air/ventilation fan with plastic body suitable for operation on 240 volt, AC supply with all accessories. Make:-Bajaj | 10.00 | Each | 100.00 | 1500.00 | 15000.00 | 1200.00 | 12000.00 | 2090.00 | 20900.00 | 1359.00 | 13590.00 | 1404.00 | 14040.00 | 12000.00 | Bafna Electric Corp
35.00 | Supply of 300 mm fresh air/ventilation fan with plastic body suitable for operation on 240 volt, AC supply with all accessories. Make:-Bajaj | 5.00 | Each | 100.00 | 1500.00 | 7500.00 | 1475.00 | 7375.00 | 2372.00 | 11860.00 | 1625.00 | 8125.00 | 1512.00 | 7560.00 | 7375.00 | Bafna Electric Corp
36.00 | Supply of 300 mm fresh air/ventilation fan with metal body suitable for operation on 240 volt, AC supply with all accessories. Make:-Bajaj | 3.00 | Each | 100.00 | 1500.00 | 4500.00 | 1350.00 | 4050.00 | 3323.00 | 9969.00 | 1490.00 | 4470.00 | 2684.00 | 8052.00 | 4050.00 | Bafna Electric Corp
37.00 | Supply of 20 watt LED batten type tube light (4 ft.) ultra slim with extruded polycarbonate, Suitable for 230V, 50Hz, AC Supply with all accessories. | 10.00 | Each | 100.00 | 750.00 | 7500.00 | 190.00 | 1900.00 | 247.00 | 2470.00 | 275.00 | 2750.00 | 281.00 | 2810.00 | 1900.00 | Bafna Electric Corp
38.00 | Supply of instant electrically operated regular duty hand dryer for public toilets suitable for single phase 230 volt, 50Hz AC supply complete with three pin plug top and standard 3 core PVC insulated Cu conductor lead, wall mounting arrangment etc with all accessories. Make:-Euronics. | 8.00 | Each | 100.00 | 4500.00 | 36000.00 | 9850.00 | 78800.00 | 6576.00 | 52608.00 | 6050.00 | 48400.00 | 14247.00 | 113976.00 | 36000.00 | Trishul Enterprises
39.00 | Supply of 25 watt LED type out door lighting luminaire with die cast aluminium housing suitable for airport perimeter wall illumination, having uniform lighting distribution with luminare efficiency of 100 lumen per watt including driver and other accessories, IP66 protection. | 20.00 | Each | 100.00 | 2500.00 | 50000.00 | 1090.00 | 21800.00 | 1174.00 | 23480.00 | 1100.00 | 22000.00 | 1166.00 | 23320.00 | 21800.00 | Bafna Electric Corp
40.00 | Supply of digital Clamp meter with all its accessories suitable for measurement of (a) AC Voltage of range 6V-60V-600V-750V with of accuracy of 1.5% (b) DC Voltage of range 400 mV-4V-40V-400V-1000V with of accuracy of 0.75% (c) AC Current 40A-400A-1000A with accuracy 1.5% (d) Resistance 400Ω -4kΩ-40kΩ-400kΩ-4MΩ-40MΩ (e) Frequency 10Hz -500 kHz with Accuracy of 0.2% (f) Capacitance of 5nFarad-50nFarad-500nFarad-5MicroFarad-50MicroFarad-200MicroFarad Jaw size of the clamp meter shall be 51 mm Dia. with provision of Diode test, continuity test, data Hold, Back Light facility Available. Make:-RISHABH Instruments. Model:- RISH clamp ES1000 AC/ES400AC | 2.00 | Each | 100.00 | 300.00 | 600.00 | 2700.00 | 5400.00 | 3288.00 | 6576.00 | 3008.00 | 6016.00 | 2954.00 | 5908.00 | 600.00 | Trishul Enterprises
41.00 | Supply of Solar Photovoltaic module suitable for existing solar operated obstraction light. | 1.00 | Each | 100.00 | 5000.00 | 5000.00 | 11000.00 | 11000.00 | 11390.00 | 11390.00 | 10670.00 | 10670.00 | 11664.00 | 11664.00 | 5000.00 | Trishul Enterprises
42.00 | Supply of Tech 115D suitable for Avaids Technovators Make solar operated obstraction light. | 3.00 | Each | 100.00 | 7000.00 | 21000.00 | 7650.00 | 22950.00 | 7986.00 | 23958.00 | 7481.00 | 22443.00 | 7345.00 | 22035.00 | 21000.00 | Trishul Enterprises
43.00 | Supply of Charge Controlle suitable for Avaids Technovators Make solar operated obstraction light. | 2.00 | Mtr | 100.00 | 4500.00 | 9000.00 | 21400.00 | 42800.00 | 22275.00 | 44550.00 | 20870.00 | 41740.00 | 20488.00 | 40976.00 | 9000.00 | Trishul Enterprises
44.00 | Supply of Tech 150 suitable for Avaids Technovators Make solar operated obstraction light. | 2.00 | Mtr | 100.00 | 18000.00 | 36000.00 | 8250.00 | 16500.00 | 8572.00 | 17144.00 | 8030.00 | 16060.00 | 7884.00 | 15768.00 | 15768.00 | ABHISHEK INTEGRATIONS LIMITED
45.00 | Supply of Medium intesity Aviation Warning Light, (LED Type), Type 'B &C' conforming to ICAO regulations for night time use only, with intesity of 2000 CD +/- 25 %, Flashing red light, Operating voltage 12 V DC, cast aluminum body for Omni-directional use. Model:- TASS-MI-XLL-1 or equivalent | 1.00 | Each | 100.00 | 36000.00 | 36000.00 | 42300.00 | 42300.00 | 44033.00 | 44033.00 | 41250.00 | 41250.00 | 40500.00 | 40500.00 | 36000.00 | Trishul Enterprises
46.00 | Supply of pressure guage 0-200 PSI ( 0 - 14 Kg ) range, 3/8" BSP bottom entry, 4" dial weather proof with stainless steel internals and siphon tube. | 10.00 | Each | 100.00 | 500.00 | 5000.00 | 1200.00 | 12000.00 | 1744.00 | 17440.00 | 1320.00 | 13200.00 | 756.00 | 7560.00 | 5000.00 | Trishul Enterprises
47.00 | Supply of 60 Second timer of 5A,230VAC/28VDC,50Hz resistive load suitable for existing LT panels. Make:- LEGNA control. Model:-801-S1-60 SEC-ON-230V | 5.00 | Each | 100.00 | 550.00 | 2750.00 | 350.00 | 1750.00 | 423.00 | 2115.00 | 1100.00 | 5500.00 | 605.00 | 3025.00 | 1750.00 | Bafna Electric Corp
48.00 | Supply of 12 Volt, 2 x 11W double beam LED type emergency light suitable for 2 hours continous glow in case of failure of power supply duly housed in suitabale MS Sheet box with power coated paint, complete with 7 AH maintenance free battery charging system with 230 volt single phase AC supply, protection against low and over charging, separately controlled switch for each beam light. | 3.00 | Each | 100.00 | 5500.00 | 16500.00 | 6875.00 | 20625.00 | 4932.00 | 14796.00 | 3960.00 | 11880.00 | 3361.00 | 10083.00 | 10083.00 | ABHISHEK INTEGRATIONS LIMITED
49.00 | Supply of single phase 220V, 200 Amp, Portable Inverter ARC, Gas and Gasless MIG, Lift TIG,MMA, 220V Flux Cored Wire Solid Core Wire Welding Equipment, 4 in 1 Multifunction Welding Mahcine, clour LCD display, with all accessories. Make:- ‎HITBOX, Model:- MT-2000 II | 1.00 | Each | 100.00 | 24000.00 | 24000.00 | 25500.00 | 25500.00 | 29355.00 | 29355.00 | 22550.00 | 22550.00 | 24840.00 | 24840.00 | 22550.00 | paras electricals
50.00 | Supply of Small Professional Angle Grinder Machine 750 W, 100 mm wheel diameter, No load speed 11,000 rpm, operated on 230V, 50 Hz power supply,suitable for Cutting with Auxiliary handle. Make:- BOSCH, Model No:- GWS 750-100 | 1.00 | Each | 100.00 | 4000.00 | 4000.00 | 3050.00 | 3050.00 | 3288.00 | 3288.00 | 2948.00 | 2948.00 | 2592.00 | 2592.00 | 2592.00 | ABHISHEK INTEGRATIONS LIMITED
51.00 | Supply of rechargeable battery operated digital insulation tester, 100/250/500/1000/2500/5000 Volt DC, suitable for measure insulation resistance up to 10 TΩ,Polarisation Index(PI),Dielectric Absorption Ratio (DAR), Ramp Test Mode, with test leads & other accessories. (Make- Rishabh, Model No-Rish Insu 5Dx+) | 1.00 | Each | 100.00 | 122000.00 | 122000.00 | 125950.00 | 125950.00 | 138967.00 | 138967.00 | 186670.00 | 186670.00 | 178632.00 | 178632.00 | 122000.00 | Trishul Enterprises
52.00 | Supply of Digital Phase Sequence Indicator, input voltage 60-500V with leads & other accessories. (Make, Meco or equivalent ). | 1.00 | Each | 100.00 | 2500.00 | 2500.00 | 1300.00 | 1300.00 | 1350.00 | 1350.00 | 1320.00 | 1320.00 | 1296.00 | 1296.00 | 1296.00 | ABHISHEK INTEGRATIONS LIMITED
53.00 | Supply of 100A, bakalite connector/terminal plate, 4 pole type suitable for street light power supply panel . | 20.00 | Each | 100.00 | 25.00 | 500.00 | 300.00 | 6000.00 | 47.00 | 940.00 | 176.00 | 3520.00 | 259.00 | 5180.00 | 500.00 | Trishul Enterprises
54.00 | Supply of 63A, bakalite connector/terminal plate, 4 pole type suitable for street light junction box. | 80.00 | Each | 100.00 | 250.00 | 20000.00 | 95.00 | 7600.00 | 59.00 | 4720.00 | 110.00 | 8800.00 | 227.00 | 18160.00 | 4720.00 | Yash Energy Pvt. Ltd
| Total in Figures |  |  |  |  | 1140675.00 |  | 1139760.00 |  | 1104996.00 |  | 1138110.00 |  | 1101890.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(1101890.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Electrical spares at Kishangarh Airport, Ajmer (Year 2022) Tender ID: 2022_AAI_117567_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 1101890.00 | L1
| 2 | Yash Energy Pvt. Ltd | 1104996.00 | L2
| 3 | paras electricals | 1138110.00 | L3
| 4 | Bafna Electric Corp | 1139760.00 | L4
| 5 | Trishul Enterprises | 1140675.00 | L5