## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 01-Jul-2022 05:17 PM Tender Title: ARMO of E and M Installations at Coimbatore Airport for the year 22_23 and 23_24, SH Job Contract for O and M of GLF systems and Perimeter Lighting, Substation installations, Pump house and Electrical installations at New AAI Residential colony. Tender ID: 2022_AAI_117620_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: ARMO of E&M Installations at Coimbatore International Airport for the year 2022-23/2023-24, SH: Job Contract for Operation and Maintenance of GLF systems & Perimeter Lighting, Substation installations, Pump house and Electrical installations at New AAI Residential Colony.
Tender ID: 2022_AAI_117620_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: Operation & Maintenance of E&M Installations.
1.01 | Operation and Maintenance of Ground Lighting Facilities, Internal & External electrical installations of Ops area & Navaid buildings, Water supply pumps, Perimeter Lighting etc., by deploying required qualified manpower as specified in the Special Conditions & specifications for operation, monitoring, recording performance log books, carrying out preventive maintenance activities & maintaining records, attending breakdown complaints and minor repair works on round the clock basis i/c. Sundays and Holidays, including providing consumables etc. complete as required.
1.01 | 1st Year | 12.00 | Months |  | 763099.00 | 9157188.00 | 765000.00 | 9180000.00 | 908200.00 | 10898400.00 | 828371.00 | 9940452.00 | 773000.00 | 9276000.00 | 9157188.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
1.01 | 2nd Year | 12.00 | Months |  | 763099.00 | 9157188.00 | 775000.00 | 9300000.00 | 908200.00 | 10898400.00 | 828371.00 | 9940452.00 | 773000.00 | 9276000.00 | 9157188.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
1.02 | Operation and Maintenance of HT & LT installations at Substation, Standby DG Sets, etc by deploying required qualified manpower as Special Conditions & specifications in the specifications for operation, monitoring, recording performance log books, carrying out preventive maintenance activities & maintaining records, attending breakdown complaints and minor repair works on round the clock basis i/c. Sundays and Holidays, including providing consumables etc. complete as required.
1.02 | 1st Year | 12.00 | Months |  | 386686.00 | 4640232.00 | 383000.00 | 4596000.00 | 459640.00 | 5515680.00 | 419411.00 | 5032932.00 | 399333.00 | 4791996.00 | 4596000.00 | DOSHI ELECTRIC ENGG. CO.
1.02 | 2nd Year | 12.00 | Months |  | 386686.00 | 4640232.00 | 385000.00 | 4620000.00 | 459640.00 | 5515680.00 | 419411.00 | 5032932.00 | 399333.00 | 4791996.00 | 4620000.00 | DOSHI ELECTRIC ENGG. CO.
1.03 | Operation and Maintenance of Substation, E&M, Internal & External Electrical Installations, Fire alaram & Fire Fighting systems at New Residential colony by deploying required qualified manpower as specified in the Special Conditions & specifications for operation, monitoring, recording performance log books, carrying out preventive maintenance activities & maintaining records, attending breakdown complaints and minor repair works on round the clock basis i/c. Sundays and Holidays, including providing consumables etc. complete as required.
1.03 | 1st Year | 12.00 | Months |  | 430988.00 | 5171856.00 | 430000.00 | 5160000.00 | 512940.00 | 6155280.00 | 467809.00 | 5613708.00 | 443444.00 | 5321328.00 | 5160000.00 | DOSHI ELECTRIC ENGG. CO.
1.03 | 2nd Year | 12.00 | Months |  | 430988.00 | 5171856.00 | 435000.00 | 5220000.00 | 512940.00 | 6155280.00 | 467809.00 | 5613708.00 | 443444.00 | 5321328.00 | 5171856.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.00 | SH-II: Filtration of Transformer Oil, Relay Calibration, ACBs and HT VCBs Servicing
2.01 | Filtration of Transformer oil for 1 no. 1500 KVA Transformer of oil capacity 850 litres and 1 no. 1500 KVA HT -AVR with Transformer of oil capacity 1600L, HT AVR On load Voltage Controller of oil capacity 970 Ltr, and OLTC unit of oil capacity 1400 ltrs installed at substation with high vacuum filtration apparatus to obtain BDV value 40 KV for 1 minute as required. | 9640.00 | Ltr |  | 3.00 | 28920.00 | 10.00 | 96400.00 | 9.00 | 86760.00 | 9.00 | 86760.00 | 8.00 | 77120.00 | 28920.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.02 | Testing the Di-electric strength, the acidity/ the PH value of transformer oil and submission of reports. | 8.00 | Nos |  | 500.00 | 4000.00 | 1500.00 | 12000.00 | 2000.00 | 16000.00 | 999.00 | 7992.00 | 2000.00 | 16000.00 | 4000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.03 | Carrying out secondary injection tests on following three pole over current and earth fault relay (Make Easun Reyrolle Type MIT) of 11 KV HT panel and calibration of the same including submission of reports as required.
2.03 | XR 351 type relays | 8.00 | Nos |  | 800.00 | 6400.00 | 3000.00 | 24000.00 | 1250.00 | 10000.00 | 799.00 | 6392.00 | 1000.00 | 8000.00 | 6392.00 | DElite System Engineering (India) Pvt. Ltd.
2.03 | B 24 type relays | 8.00 | Nos |  | 800.00 | 6400.00 | 3500.00 | 28000.00 | 1500.00 | 12000.00 | 799.00 | 6392.00 | 1000.00 | 8000.00 | 6392.00 | DElite System Engineering (India) Pvt. Ltd.
2.03 | B 33 x 3 type relays | 12.00 | Nos |  | 750.00 | 9000.00 | 4500.00 | 54000.00 | 1500.00 | 18000.00 | 799.00 | 9588.00 | 1000.00 | 12000.00 | 9000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.03 | MIT 113 & MIT 103 type relays | 8.00 | Nos |  | 1050.00 | 8400.00 | 3500.00 | 28000.00 | 1500.00 | 12000.00 | 799.00 | 6392.00 | 1000.00 | 8000.00 | 6392.00 | DElite System Engineering (India) Pvt. Ltd.
2.04 | Supply of transformer oil conforming to IS 335/ 1993 (with latest ammendments ) as per site conditions | 400.00 | Ltr |  | 120.00 | 48000.00 | 150.00 | 60000.00 | 160.00 | 64000.00 | 199.00 | 79600.00 | 120.00 | 48000.00 | 48000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, ABHISHEK INTEGRATIONS LIMITED
2.05 | Supply of Silica gel for transformer breather as per standards. | 20.00 | Kg |  | 350.00 | 7000.00 | 600.00 | 12000.00 | 250.00 | 5000.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 5000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
2.06 | Carrying out complete servicing and overhauling of all mechanical and electrical mechanism of C&S make Electrical Draw Out Microprocessor type (EDO, MICROPRO 4.1) ACBs with 1000 A to 2500 A rating installed in the LT panels by providing trained service engineer with all tools and plant i/c attending all breakdown repairs during the period of contract complete as per detailed specifications of work and instructions of Engineer -in-charge.
2.06 | 1st Year | 33.00 | Job |  | 3000.00 | 99000.00 | 3500.00 | 115500.00 | 3000.00 | 99000.00 | 3500.00 | 115500.00 | 3000.00 | 99000.00 | 99000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, ABHISHEK INTEGRATIONS LIMITED, PREMIER ENGINEERING TECHNICS PVT. LTD.
2.06 | 2nd Year | 33.00 | Job |  | 3000.00 | 99000.00 | 4000.00 | 132000.00 | 3500.00 | 115500.00 | 3500.00 | 115500.00 | 3000.00 | 99000.00 | 99000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, ABHISHEK INTEGRATIONS LIMITED
2.07 | Carrying out complete servicing and overhauling of all mechanical and electrical mechanism of JYOTI make 11 KV HT VCBs installed in HT panels by providing trained service engineer with all tools and plant i/c attending all breakdown repairs during the period of contract complete as per detailed specifications of work and instructions of Engineer -in-charge.
2.07 | 1st Year | 4.00 | Job |  | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 7999.00 | 31996.00 | 9000.00 | 36000.00 | 20000.00 | DOSHI ELECTRIC ENGG. CO., PREMIER ENGINEERING TECHNICS PVT. LTD.
2.07 | 2nd Year | 4.00 | Job |  | 15000.00 | 60000.00 | 6000.00 | 24000.00 | 6000.00 | 24000.00 | 7999.00 | 31996.00 | 9000.00 | 36000.00 | 24000.00 | DOSHI ELECTRIC ENGG. CO., PREMIER ENGINEERING TECHNICS PVT. LTD.
3.00 | SH:III Rate Contract for GLF / Internal & External Electrical Installations.
3.01 | Execution of items of schedule of rates CPWD DSR-2018 as and when required for attending breakdowns, repair & maintenance and upkeep of electrical installations as per direction of E-I-C at different locations in Ground Lighting Facilities, Power supply HT & LT installations, Standby DG Sets, Internal & External electrical installations of Ops area buildings, Water supply pumps, Perimeter Lighting as per the special Terms and Condition in addition to General Terms and Condition of Contract as required. The bidder shall quote the rate in INR only for the job corresponding to Rs.5,00,000/- and percentage (%) above / below shall be calculated by AAI and paid accordingly after deducting GST component from the DSR-2018 rates. | 1.00 | Job |  | 300000.00 | 300000.00 | 450000.00 | 450000.00 | 400000.00 | 400000.00 | 500000.00 | 500000.00 | 450000.00 | 450000.00 | 300000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
3.02 | Supply of Distalled water for Lead acid batteries | 3000.00 | Ltr |  | 3.50 | 10500.00 | 7.00 | 21000.00 | 12.00 | 36000.00 | 20.00 | 60000.00 | 6.00 | 18000.00 | 10500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
3.03 | Painting and numbering of Approach/Runway/Taxiway light fittings with ISI approved enamel paint with double coat yellow paint and numbering with black paint of suitable size in series etc., complete as required. | 1100.00 | Job |  | 125.00 | 137500.00 | 100.00 | 110000.00 | 100.00 | 110000.00 | 150.00 | 165000.00 | 80.00 | 88000.00 | 88000.00 | ABHISHEK INTEGRATIONS LIMITED
3.04 | Providing additional Semi-Skilled manpower experienced in maintenance of Electrical installations at airports for supporting site works/breakdown maintenance as and when required, as per the direction of EIC. | 50.00 | Days |  | 840.00 | 42000.00 | 810.00 | 40500.00 | 850.00 | 42500.00 | 999.00 | 49950.00 | 800.00 | 40000.00 | 40000.00 | ABHISHEK INTEGRATIONS LIMITED
3.05 | Providing additional Un-Skilled manpower experienced in maintenance of Electrical installations at airports for supporting site works/breakdown maintenance as and when required, as per the direction of EIC. | 50.00 | Days |  | 804.00 | 40200.00 | 770.00 | 38500.00 | 800.00 | 40000.00 | 999.00 | 49950.00 | 766.00 | 38300.00 | 38300.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 38904872.00 |  | 39341900.00 |  | 46249480.00 |  | 42509192.00 |  | 39868068.00
Lowest Amount Quoted BY: SHRADDHA ENGINEERING AND FACILITY SERVICES(38904872.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Coimbatore Airport for the year 22_23 and 23_24, SH Job Contract for O and M of GLF systems and Perimeter Lighting, Substation installations, Pump house and Electrical installations at New AAI Residential colony. Tender ID: 2022_AAI_117620_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 38904872.00 | L1
| 2 | DOSHI ELECTRIC ENGG. CO. | 39341900.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 39868068.00 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. | 42509192.00 | L4
| 5 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 46249480.00 | L5