## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 13-Jul-2022 01:35 PM Tender Title: Replacement of power supply cable and allied switchgear. SH Provision of Battery operated Tug charging points and alternate source of different ESS at NIPTB. Tender ID: 2022_AAI_117634_1
Tender Inviting Authority: AGM EE I
Name of Work: Replacement of power supply cable and allied switchgear. SH: Provision of Battery operated Tug charging points and alternate source of different ESS at NIPTB..
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | Shahi Electric Engg Co Pvt Ltd(GSTN-19AAECS3962N1ZP) |  | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6) |  | T K MAZUMDER(GSTN-19AADFT2150K1Z3) |  | LAKHAN ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Aluminium conductor power cable conforming to IS 7098 (Part 1) amended upto date.
1.01 | 3.5C X 35 Sq.mm | 1000.00 | Meter |  | 215.00 | 215000.00 | 195.00 | 195000.00 | 233.00 | 233000.00 | 180.00 | 180000.00 | 215.00 | 215000.00 | 270.00 | 270000.00 | 180000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
1.02 | 3.5C X 120 Sq.mm | 1000.00 | Meter |  | 530.00 | 530000.00 | 540.00 | 540000.00 | 645.00 | 645000.00 | 490.00 | 490000.00 | 585.00 | 585000.00 | 695.00 | 695000.00 | 490000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
1.03 | 3.5C X 240 Sq.mm | 500.00 | Meter |  | 1000.00 | 500000.00 | 1010.00 | 505000.00 | 1209.00 | 604500.00 | 916.00 | 458000.00 | 1100.00 | 550000.00 | 800.00 | 400000.00 | 400000.00 | LAKHAN ENTERPRISES
1.04 | 3.5C X 300 Sq.mm | 500.00 | Meter |  | 1200.00 | 600000.00 | 1225.00 | 612500.00 | 1471.00 | 735500.00 | 1113.00 | 556500.00 | 1340.00 | 670000.00 | 850.00 | 425000.00 | 425000.00 | LAKHAN ENTERPRISES
1.05 | 3.5C X 400 Sq.mm | 500.00 | Meter |  | 1500.00 | 750000.00 | 1575.00 | 787500.00 | 1893.00 | 946500.00 | 1429.00 | 714500.00 | 1729.00 | 864500.00 | 1050.00 | 525000.00 | 525000.00 | LAKHAN ENTERPRISES
2.00 | Supply and Fixing of following size On Load Changeover Switch - Disconnectors conforming to IEC 60947-3, IS/IEC 60947-3 amended upto date..
2.01 | 100 Amp | 2.00 | Each |  | 6500.00 | 13000.00 | 6590.00 | 13180.00 | 7219.00 | 14438.00 | 4019.00 | 8038.00 | 6070.00 | 12140.00 | 35000.00 | 70000.00 | 8038.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
2.02 | 200 Amp | 1.00 | Each |  | 9000.00 | 9000.00 | 9300.00 | 9300.00 | 13471.00 | 13471.00 | 8044.44 | 8044.44 | 12224.00 | 12224.00 | 50000.00 | 50000.00 | 8044.44 | MANNA ELECTRONICS AND ELECTRICAL WORKS
2.03 | 315 Amp | 1.00 | Each |  | 13000.00 | 13000.00 | 13200.00 | 13200.00 | 19607.00 | 19607.00 | 12024.60 | 12024.60 | 1843.00 | 1843.00 | 120000.00 | 120000.00 | 1843.00 | T K MAZUMDER
3.00 | Supply and Fixing of prewired 3Ph Meter box having 1 no. 125 A FP MCCB as incomer, 1 no. 3Ph 4 W kWh CT meter, 3 nos. 125/5 A CTs as complete as required. | 8.00 | Job |  | 5500.00 | 44000.00 | 5300.00 | 42400.00 | 11951.00 | 95608.00 | 10000.00 | 80000.00 | 16200.00 | 129600.00 | 20000.00 | 160000.00 | 42400.00 | ANIRBAN ENTERPRISE
4.00 | Supply, installation, testing and commissioning of 4 pole 63amps rating, 415 volts, "C" curve, miniature circuit breaker with connection etc. as required. | 16.00 | Each |  | 1200.00 | 19200.00 | 1150.00 | 18400.00 | 1445.00 | 23120.00 | 1897.28 | 30356.48 | 350.00 | 5600.00 | 8500.00 | 136000.00 | 5600.00 | T K MAZUMDER
5.00 | Supply, installation, testing and commissioning of 6 way 630 amps rating, Wall Mounted Busbar Chamber as required. | 3.00 | Each |  | 15500.00 | 46500.00 | 15000.00 | 45000.00 | 2563.00 | 7689.00 | 5000.00 | 15000.00 | 16875.00 | 50625.00 | 3500.00 | 10500.00 | 7689.00 | Shahi Electric Engg Co Pvt Ltd
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
6.01 | Upto 35 sq. mm Metre | 200.00 | Meter |  | 265.00 | 53000.00 | 275.00 | 55000.00 | 274.00 | 54800.00 | 210.00 | 42000.00 | 750.00 | 150000.00 | 120.00 | 24000.00 | 24000.00 | LAKHAN ENTERPRISES
6.02 | Above 35 sq. mm and upto 95 sq. mm | 200.00 | Meter |  | 275.00 | 55000.00 | 280.00 | 56000.00 | 286.00 | 57200.00 | 218.00 | 43600.00 | 790.00 | 158000.00 | 185.00 | 37000.00 | 37000.00 | LAKHAN ENTERPRISES
7.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
7.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 250.00 | Meter |  | 40.00 | 10000.00 | 30.00 | 7500.00 | 54.00 | 13500.00 | 15.00 | 3750.00 | 40.00 | 10000.00 | 35.00 | 8750.00 | 3750.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
7.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 200.00 | Meter |  | 50.00 | 10000.00 | 50.00 | 10000.00 | 89.00 | 17800.00 | 54.00 | 10800.00 | 50.00 | 10000.00 | 50.00 | 10000.00 | 10000.00 | LAKHAN ENTERPRISES, Youngmen Traders, ANIRBAN ENTERPRISE, T K MAZUMDER
7.03 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 300.00 | Meter |  | 80.00 | 24000.00 | 75.00 | 22500.00 | 105.00 | 31500.00 | 60.00 | 18000.00 | 70.00 | 21000.00 | 120.00 | 36000.00 | 18000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
8.00 | Laying and fixing of one number PVC insulated PVC sheathed / XLPE power cable of 1.1 KV grade of following sizes on cable tray as required.
8.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 250.00 | Meter |  | 32.00 | 8000.00 | 25.00 | 6250.00 | 45.00 | 11250.00 | 15.00 | 3750.00 | 25.00 | 6250.00 | 50.00 | 12500.00 | 3750.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
8.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 100.00 | Meter |  | 50.00 | 5000.00 | 40.00 | 4000.00 | 82.00 | 8200.00 | 54.00 | 5400.00 | 35.00 | 3500.00 | 165.00 | 16500.00 | 3500.00 | T K MAZUMDER
8.03 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40 x3mmMS flat clamp) | 450.00 | Meter |  | 55.00 | 24750.00 | 50.00 | 22500.00 | 89.00 | 40050.00 | 60.00 | 27000.00 | 55.00 | 24750.00 | 168.00 | 75600.00 | 22500.00 | ANIRBAN ENTERPRISE
8.04 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 1200.00 | Meter |  | 85.00 | 102000.00 | 75.00 | 90000.00 | 120.00 | 144000.00 | 75.00 | 90000.00 | 80.00 | 96000.00 | 120.00 | 144000.00 | 90000.00 | ANIRBAN ENTERPRISE, MANNA ELECTRONICS AND ELECTRICAL WORKS
9.00 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required.
9.01 | 150 mm width X 50 mm depth X 1.6 mm thickness | 50.00 | Meter |  | 400.00 | 20000.00 | 375.00 | 18750.00 | 675.00 | 33750.00 | 350.00 | 17500.00 | 700.00 | 35000.00 | 600.00 | 30000.00 | 17500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
9.02 | 300 mm width X 50 mm depth X 1.6 mm thickness | 150.00 | Meter |  | 550.00 | 82500.00 | 525.00 | 78750.00 | 974.00 | 146100.00 | 430.00 | 64500.00 | 1350.00 | 202500.00 | 800.00 | 120000.00 | 64500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
10.01 | 3½ X 35 sq. mm (32mm) | 10.00 | Each |  | 260.00 | 2600.00 | 250.00 | 2500.00 | 819.00 | 8190.00 | 100.00 | 1000.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 1000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.02 | 3½ X 70 sq. mm (38mm) | 10.00 | Each |  | 280.00 | 2800.00 | 275.00 | 2750.00 | 1216.00 | 12160.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 2000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.03 | 3½ X 120 sq. mm (45mm) | 20.00 | Each |  | 350.00 | 7000.00 | 350.00 | 7000.00 | 1444.00 | 28880.00 | 250.00 | 5000.00 | 700.00 | 14000.00 | 500.00 | 10000.00 | 5000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.04 | 3½ X 240 sq. mm (62mm) | 12.00 | Each |  | 450.00 | 5400.00 | 425.00 | 5100.00 | 2810.00 | 33720.00 | 300.00 | 3600.00 | 1100.00 | 13200.00 | 550.00 | 6600.00 | 3600.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.05 | 3½ X 300 sq. mm (70mm) | 6.00 | Each |  | 500.00 | 3000.00 | 475.00 | 2850.00 | 3552.00 | 21312.00 | 350.00 | 2100.00 | 1400.00 | 8400.00 | 650.00 | 3900.00 | 2100.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.06 | 3½ X 400 sq. mm (82mm) | 4.00 | Each |  | 650.00 | 2600.00 | 625.00 | 2500.00 | 4875.00 | 19500.00 | 684.00 | 2736.00 | 1900.00 | 7600.00 | 750.00 | 3000.00 | 2500.00 | ANIRBAN ENTERPRISE
11.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 400.00 | Meter |  | 160.00 | 64000.00 | 145.00 | 58000.00 | 120.00 | 48000.00 | 120.00 | 48000.00 | 115.00 | 46000.00 | 250.00 | 100000.00 | 46000.00 | T K MAZUMDER
12.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 600.00 | Meter |  | 31.00 | 18600.00 | 20.00 | 12000.00 | 26.00 | 15600.00 | 30.00 | 18000.00 | 40.00 | 24000.00 | 50.00 | 30000.00 | 12000.00 | ANIRBAN ENTERPRISE
13.00 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections with necessary Cu Bus bars etc. as required.
13.01 | 400 A,50KA,FPMCCB | 2.00 | Each |  | 18000.00 | 36000.00 | 15000.00 | 30000.00 | 19312.00 | 38624.00 | 23477.10 | 46954.20 | 25000.00 | 50000.00 | 120000.00 | 240000.00 | 30000.00 | ANIRBAN ENTERPRISE
| Total in Figures |  |  |  |  | 3275950.00 |  | 3275430.00 |  | 4122569.00 |  | 3008153.72 |  | 3985232.00 |  | 3776850.00
Lowest Amount Quoted BY: MANNA ELECTRONICS AND ELECTRICAL WORKS(3008153.72)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of power supply cable and allied switchgear. SH Provision of Battery operated Tug charging points and alternate source of different ESS at NIPTB. Tender ID: 2022_AAI_117634_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 3008153.72 | L1
| 2 | ANIRBAN ENTERPRISE | 3275430.00 | L2
| 3 | Youngmen Traders | 3275950.00 | L3
| 4 | LAKHAN ENTERPRISES | 3776850.00 | L4
| 5 | T K MAZUMDER | 3985232.00 | L5
| 6 | Shahi Electric Engg Co Pvt Ltd | 4122569.00 | L6