## BoQ1
Government eProcurement System Created By: Kamal Kishore Created Date/Time: 04-Jul-2022 11:23 AM Tender Title: Procurement of AC, Water Cooler and RO for Various location at CA Khajuraho Tender ID: 2022_AAI_117679_1
Tender Inviting Authority: Senior Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: "Procurement of AC, water cooler and RO for Various location at CA Khajuraho."
Contract No: 2022_AAI_117679_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following capacity wall mounted type Split AC unit (5 star rating invertor type) working on Refregerent R- 32/410A, fitted with hermetically sealed compressor operating on 230 V, 50 Hz Single phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, including mounting stand for outdoor units,refrigerant piping,drain piping,control cabling upto standard length as per OEM complete etc as required.
1.10 | 1.5 TR | 10.00 | Nos. |  | 38000.00 | 380000.00 | 35000.00 | 350000.00 | 34400.00 | 344000.00 | 344000.00 | SAURABH ENTERPRISES
1.20 | 2.0 TR | 1.00 | Nos. |  | 40000.00 | 40000.00 | 45000.00 | 45000.00 | 42200.00 | 42200.00 | 40000.00 | Manish Electricals
2.00 | Supply of 3 Ton vertical tower type split AC unit, 3 phase complete with copper condenser coil of outdoor unit, cordless remote fitted with rotary/scroll compressor, Non CFC refrigerant suitable for operation on 415V,50 HZ Ac Supply etc complete as required and capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. as required. | 2.00 | Each |  | 85000.00 | 170000.00 | 95000.00 | 190000.00 | 73000.00 | 146000.00 | 146000.00 | SAURABH ENTERPRISES
3.00 | SITC of following capacity voltage stabilisers with having range of 170 to 270 voltage single phase, 50 Hz AC supply i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of standered length, complete, etc as required. ( Make- V-GAURD/VOLTAS/MICROTECH or equivalent as approved by engineer In-charge)
3.10 | 5 KVA | 11.00 | Job |  | 2500.00 | 27500.00 | 2500.00 | 27500.00 | 3300.00 | 36300.00 | 27500.00 | Manish Electricals, Awasthi Electric Works
4.00 | Supply and Installation of required size copper pipe (beyond the standered size by OEM) for suction and delivery line with all accessories suitable for following capacity ACs i/c Insulation, gas refiling, power & Control cabling etc completed as required.
4.10 | 1.5 TR Split type AC unit | 10.00 | Meter |  | 450.00 | 4500.00 | 1100.00 | 11000.00 | 10.00 | 100.00 | 100.00 | SAURABH ENTERPRISES
4.20 | 2.0 TR Split type AC unit | 3.00 | Meter |  | 450.00 | 1350.00 | 1300.00 | 3900.00 | 15.00 | 45.00 | 45.00 | SAURABH ENTERPRISES
4.30 | 3.0 TR Tower AC | 2.00 | Meter |  | 450.00 | 900.00 | 1500.00 | 3000.00 | 20.00 | 40.00 | 40.00 | SAURABH ENTERPRISES
5.00 | Supplying & laying of condensate water drain pipe made of PVC having size of 20 mm , for additional requirement for AC units i/c necessary clamps, screws, supports, etc completed as required. | 30.00 | Meter |  | 90.00 | 2700.00 | 40.00 | 1200.00 | 100.00 | 3000.00 | 1200.00 | Awasthi Electric Works
6.00 | Dismantelling the following Split AC with Indoor/outdoor Unit with all accessories completed as required.
6.10 | 1.5 TR Split type/1.5 TR Window type AC unit | 8.00 | Each |  | 250.00 | 2000.00 | 500.00 | 4000.00 | 1000.00 | 8000.00 | 2000.00 | Manish Electricals
6.20 | 4.0 TR Tower type AC unit | 2.00 | Each |  | 250.00 | 500.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 500.00 | Manish Electricals
7.00 | ITC of 3.0 Ton vertical tower type/Cassette type/ split AC unit,3 phase complete with outdoor unit including supply and fixing of MS angle structure base frame (including painting) for Indoor & outdoor units, top up refrigerant i/c necessary Civil works complete as required. | 2.00 | Each |  | 1500.00 | 3000.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 3000.00 | Manish Electricals
8.00 | ITC of 1.5 / 2.0 Ton Split inverter A/C i/c supply & fixing of Iron Angle structure stand suitable for outdoor unit, makeup interconnection, top up refrigerent, painting i/c necessary Civil works complete as required. | 11.00 | Each |  | 500.00 | 5500.00 | 2500.00 | 27500.00 | 1500.00 | 16500.00 | 5500.00 | Manish Electricals
9.00 | Supply of floor mounted type hot and cold water dispenser of 20 ltrs. cabinet capacity with minimum 1 ltr. Hot water storage capacity and 3 ltrs. cold water storage capacity, with hot water temperature range 82 to 85 degree centigrade and cold water temperature range 5 to 12 degree centigrate. The heating capacity minimum 5 ltr/h and cooling capacity minimum 1 ltr/h. The refrigerant used for the purpose should be non CFC. All accessories complete as required. (Make:-Voltas/ Indipure / Blue star) | 1.00 | Each |  | 10000.00 | 10000.00 | 10200.00 | 10200.00 | 8400.00 | 8400.00 | 8400.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 647950.00 |  | 683300.00 |  | 610985.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(610985.00)

## BOQ Summary
BOQ Summary Details Tender Title: Procurement of AC, Water Cooler and RO for Various location at CA Khajuraho Tender ID: 2022_AAI_117679_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 610985.00 | L1
| 2 | Manish Electricals | 647950.00 | L2
| 3 | Awasthi Electric Works | 683300.00 | L3