## BoQ1
Government eProcurement System Created By: Kamal Kishore Created Date/Time: 05-Jul-2022 11:18 AM Tender Title: Replacement of existing conventional type taxiway edge light with LED type Edge light and provision of Insulating mat in Power House and Switch Rooms at Khajuraho Airport Tender ID: 2022_AAI_117680_1
Tender Inviting Authority: Senior Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: "Replacement of existing conventional type taxiway edge light with LED type Edge light & provision of Insulating mat in Power House/Switch Rooms at Khajuraho Airport.."
Contract No: 2022_AAI_117680_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sai Avionics(GSTN-07ADHFS8725N1ZC) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | CREATIVE TRADING CO(GSTN-07AMEPK8023F1Z9) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | RAJASTHAN CRANE SERVICES(GSTN-NA) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub-Head-1
1.01 | Supply of elevated type Omni‐directional, medium intensity upto 3 watt LED Taxiway Edge Light fitting suitable for Taxiway, Apron Edge Lights, for operation at 6.6 Amps, series circuit supply, complete with Omnidirectional Blue lens, Lens clamping mechanism, breakable coupling, gasket, two pin secondary leads, base plate with 06 Nos , M ‐ 10 stainless steel bolts and other accessories including White LED with an integrated encapsulated electronic module suitable for replacement of existing 45 watt halogen MIRL fixtures, complete as required conforming to latest ICAO Annex‐14 requirement,FAA compliant and as specified in Aerodrome Design Manual Part-4 (Visual Aids), ICAO Aerodrome Design Manual Part-6 (Frangibility) latest edition. | 148.00 | Each |  | 4400.00 | 651200.00 | 4500.00 | 666000.00 | 3800.00 | 562400.00 | 3500.00 | 518000.00 | 3500.00 | 518000.00 | 2000.00 | 296000.00 | 3900.00 | 577200.00 | 296000.00 | RAJASTHAN CRANE SERVICES
1.02 | Supply of 5 KV 50 Hz, PCP encapsulated isolating transformer suitable for individual series lamps airport lighting circuits. The transformer shall be designed to be waterproof and suitable for direct burial in the earth or installation in a base complete as per specifications attached. 15 watts, 6.6A/6.6A, 5KV, 50Hz | 148.00 | Each |  | 2700.00 | 399600.00 | 2900.00 | 429200.00 | 2500.00 | 370000.00 | 2800.00 | 414400.00 | 2900.00 | 429200.00 | 2000.00 | 296000.00 | 2400.00 | 355200.00 | 296000.00 | RAJASTHAN CRANE SERVICES
1.03 | Installation, testing & commissioning of elevated type Omni‐directional, medium intensity LED Taxiway Edge Light fitting in existing transformer housing box including isolating transformer, connection etc. complete as required. | 148.00 | Each |  | 50.00 | 7400.00 | 110.00 | 16280.00 | 100.00 | 14800.00 | 100.00 | 14800.00 | 50.00 | 7400.00 | 150.00 | 22200.00 | 50.00 | 7400.00 | 7400.00 | Sai Avionics, SAURABH ENTERPRISES, Manish Electricals
1.04 | Dismantling of existing elevated type taxiway fittings completely alongwith isolating transformers after disconnecting the existing cable termination etc. all complete as required and stacking in electrical store in good condition within airport premises. | 148.00 | Each |  | 50.00 | 7400.00 | 75.00 | 11100.00 | 100.00 | 14800.00 | 100.00 | 14800.00 | 50.00 | 7400.00 | 50.00 | 7400.00 | 50.00 | 7400.00 | 7400.00 | Sai Avionics, SAURABH ENTERPRISES, RAJASTHAN CRANE SERVICES, Manish Electricals
2.00 | Sub-Head-2
2.01 | Supply and fixing of nominal 2.00mm +/- 10% thick, 1000mm wide Antistatic Electric Insulated Synthetic Mat confirming to IS: 15652: 2006 with upto date amendments suitable for 3.3 KV installation alongwith adhesive/resin, sealing material and similar type of taping on sealing at all joints and corners etc. as per tender conditions as required. | 56.00 | Sqm |  | 700.00 | 39200.00 | 875.00 | 49000.00 | 1000.00 | 56000.00 | 800.00 | 44800.00 | 530.00 | 29680.00 | 650.00 | 36400.00 | 508.00 | 28448.00 | 28448.00 | SAURABH ENTERPRISES
2.02 | Supply and fixing of nominal 2mm +/-0.1mm (0.5mm sandwiched conductive layer) thick, 2000mm wide Antistatic ESD Floor Mat confirming to BS 2050 / 1978IS 3462 / 1986 or ANSI standard or equivalent standard with upto date amendments suitable for 220 Volt DC Supply electronic equipments/devices & installation alongwith adhesive/resin, sealing material and similar type of taping on sealing at all joints and corners etc. as per tender conditions as required. | 263.00 | Sqm |  | 700.00 | 184100.00 | 1050.00 | 276150.00 | 1000.00 | 263000.00 | 650.00 | 170950.00 | 530.00 | 139390.00 | 1300.00 | 341900.00 | 684.00 | 179892.00 | 139390.00 | Manish Electricals
| Total in Figures |  |  |  |  | 1288900.00 |  | 1447730.00 |  | 1281000.00 |  | 1177750.00 |  | 1131070.00 |  | 999900.00 |  | 1155540.00
Lowest Amount Quoted BY: RAJASTHAN CRANE SERVICES(999900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing conventional type taxiway edge light with LED type Edge light and provision of Insulating mat in Power House and Switch Rooms at Khajuraho Airport Tender ID: 2022_AAI_117680_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RAJASTHAN CRANE SERVICES | 999900.00 | L1
| 2 | Manish Electricals | 1131070.00 | L2
| 3 | SAURABH ENTERPRISES | 1155540.00 | L3
| 4 | M/s LEESHA ELECTRICALS | 1177750.00 | L4
| 5 | CREATIVE TRADING CO | 1281000.00 | L5
| 6 | Sai Avionics | 1288900.00 | L6
| 7 | Techno Electricals | 1447730.00 | L7