## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 21-Jul-2022 06:08 PM Tender Title: ARMO of E and M Installations at Vijayawada Airport (2022-23).SH Repair of Fire Hydrant Pipe Line Tender ID: 2022_AAI_117694_1
Tender Inviting Authority: Senior Manager (Engg-E), AAI, Vijayawada International Airport.
Name of Work: ARMO E&M Installations at Vijayawada Airport (2022-23). SH: Repair of Fire hydrant pipe line
Contract No: 2022_AAI_117694_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sevenhillssafetyequipmentsandsystem pvt ltd(GSTN-37AANCS2872C1Z6) |  | HORMAH ELECTRO TECH PRIVATE LIMITED(GSTN-NA) |  | SRI SARADHI FIRE SAFETY SYTEMS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing laying, testing & commissioning of following size 'C' class heavy duty MS Pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. in ground including welding, excavation bitumen road & providing cement concrete blocks as supports, anticorrosive treatment with coaltar/asphalt tape as per IS 10221, refilling the trench etc. of following sizes complete as required
1.10 | 150 mm | 60.00 | Mtr | 2850.00 | 5500.00 | 330000.00 | 2720.00 | 163200.00 | 3410.00 | 204600.00 | 163200.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
1.20 | 80 mm | 20.00 | Mtr | 1850.00 | 3600.00 | 72000.00 | 1100.00 | 22000.00 | 1650.00 | 33000.00 | 22000.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
2.00 | Providing laying, testing & commissioning of following size 'C' class heavy duty MS Pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. above ground including welding, & providing cement concrete blocks/MS angle as supports from ground/ ceiling/wall, anticorrosive treatment with coaltar/asphalt tape as per IS 10221, etc. of following sizes complete as required
2.10 | 150 mm | 450.00 | Mtr | 2850.00 | 4500.00 | 2025000.00 | 2600.00 | 1170000.00 | 2759.00 | 1241550.00 | 1170000.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
2.20 | 80 mm | 36.00 | Mtr | 1850.00 | 3000.00 | 108000.00 | 1100.00 | 39600.00 | 1450.00 | 52200.00 | 39600.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
3.00 | Supplying, fixing, testing and commissioning of following size butterfly valve of PN 1.6 rating with bronze/gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required
3.10 | 150 mm dia | 15.00 | Each | 7550.00 | 9600.00 | 144000.00 | 9500.00 | 142500.00 | 7500.00 | 112500.00 | 112500.00 | SRI SARADHI FIRE SAFETY SYTEMS
3.20 | 65 mm dia | 1.00 | Each | 4150.00 | 5200.00 | 5200.00 | 6900.00 | 6900.00 | 6519.00 | 6519.00 | 5200.00 | sevenhillssafetyequipmentsandsystem pvt ltd
4.00 | Providing, Installation, testing and commissioning of following size NON-return valve of following size conforming to IS 5312 complete with nuts, GI bolts, washers, rubber gaskets etc. as required
4.10 | 200 mm dia | 1.00 | Each | 25000.00 | 96800.00 | 96800.00 | 33500.00 | 33500.00 | 16200.00 | 16200.00 | 16200.00 | SRI SARADHI FIRE SAFETY SYTEMS
4.20 | 150 mm dia | 1.00 | Each | 18000.00 | 47900.00 | 47900.00 | 19500.00 | 19500.00 | 12199.00 | 12199.00 | 12199.00 | SRI SARADHI FIRE SAFETY SYTEMS
4.30 | 65 mm dia | 1.00 | Each | 5500.00 | 75200.00 | 75200.00 | 13500.00 | 13500.00 | 7401.00 | 7401.00 | 7401.00 | SRI SARADHI FIRE SAFETY SYTEMS
5.00 | Supplying and fixing Single headed stainless steel external yard hydrant valve with 1 No. 63 mm dia instantaneous FM Stainless Steel coupling and cast iron wheel, ISI marked, conforming to IS 5290 (type A) with blank Stainless Steel cap and chain as required | 8.00 | Each | 5850.00 | 7600.00 | 60800.00 | 6900.00 | 55200.00 | 7810.00 | 62480.00 | 55200.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
6.00 | Supplying and fixing of 63mm dia stainless steel , 15 mtr long RRL hose pipe with 63mm dia male and female couplings duly bound with GI wire, rivets etc., confirming to IS 636 (type-A) Stainless steel (Grade-304) as require | 6.00 | Set | 4950.00 | 5750.00 | 34500.00 | 5900.00 | 35400.00 | 4950.00 | 29700.00 | 29700.00 | SRI SARADHI FIRE SAFETY SYTEMS
7.00 | Supplying & fixing 63 mm dia gun metal short branch pipe with 20 mm nominal internal diameter size nozzle conforming to IS 903 suitable for instantaneous connection to interconnect hose pipe coupling as required :
7.10 | Gunmetal | 3.00 | Each | 1650.00 | 2800.00 | 8400.00 | 3100.00 | 9300.00 | 2850.00 | 8550.00 | 8400.00 | sevenhillssafetyequipmentsandsystem pvt ltd
8.00 | Supplying and fixing first-aid Hose Reel with MS construction spray painted in post office red, conforming to IS 884 complete with the following as required. 20 mm nominal internal dia water hose thermoplastic (Textile reinforced) type -2 as per IS: 12585 20 mm nominal internal dia gun metal globe valve & nozzle. Drum and brackets for fixing the equipmets on wall. Connections from riser with 25 mm dia stop gun metal valve & M.S. Pipe and socket.
8.10 | 30 m | 2.00 | Set | 7500.00 | 8900.00 | 17800.00 | 8000.00 | 16000.00 | 8900.00 | 17800.00 | 16000.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
9.00 | Supplying and fixing of hose cabinet of size 600 mm x 1000 mm x 450 mm made of 2 mm thick MS sheet with 6 mm thick glazed glass doors I/c 'necessary locking arrangement suitable to accommodate external hydrant with butterfly valuve, 2Nos. 15 mts. Long Hose pipe, 1 No. branch pipe, mounted on wall OR raised brick platform & duly painted with Post Office red externally and white internally with synthetic enamel paint complete in all respect, for internal hydrant, as required. | 4.00 | Job | 4800.00 | 16500.00 | 66000.00 | 9500.00 | 38000.00 | 9950.00 | 39800.00 | 38000.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
10.00 | Constructing masonry Chamber 1200x1200x1200 mm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for butterfly valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 6.00 | Job | 14500.00 | 58600.00 | 351600.00 | 25000.00 | 150000.00 | 14000.00 | 84000.00 | 84000.00 | SRI SARADHI FIRE SAFETY SYTEMS
11.00 | Repairing of Internal/external hydrant pipe lines by excavating hard rock/soft soil/concrete/tiles etc. up to depth of 1.5 mtr, checking the hydrant pipe, making it good by welding/painting/insulating etc. as require to make the pipe work and refillig the same to make look good as directed by E-I-C | 15.00 | Job | 20000.00 | 15500.00 | 232500.00 | 8500.00 | 127500.00 | 5200.00 | 78000.00 | 78000.00 | SRI SARADHI FIRE SAFETY SYTEMS
12.00 | Excavation of hard rock/floor/bitumen road/concrete pvement not exceeding 0.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil, refilling of soil and disposal of excess excavated soil as directed within a lead of 50 metres. | 20.00 | CuM | 750.00 | 5000.00 | 100000.00 | 1500.00 | 30000.00 | 1500.00 | 30000.00 | 30000.00 | SRI SARADHI FIRE SAFETY SYTEMS, HORMAH ELECTRO TECH PRIVATE LIMITED
13.00 | Providing and laying in position cement concrete 1:3:6 (1cement : 2 coarse sand : 6 graded stone aggregate 40 mm nominal size)etc including formwork as required. | 20.00 | CuM | 5640.00 | 9500.00 | 190000.00 | 5500.00 | 110000.00 | 7300.00 | 146000.00 | 110000.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
14.00 | Supplying, Fixing,cutting, welding of MS angle frame of size 75x75x6 on wall/truss for making additional support for hydrant pipe line including drilling holes, supporting rods, MS bolts & washers etc as required | 500.00 | KG | 230.00 | 170.00 | 85000.00 | 145.00 | 72500.00 | 125.00 | 62500.00 | 62500.00 | SRI SARADHI FIRE SAFETY SYTEMS
| Total in Figures |  |  |  |  | 4050700.00 |  | 2254600.00 |  | 2244999.00
Lowest Amount Quoted BY: SRI SARADHI FIRE SAFETY SYTEMS(2244999.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Vijayawada Airport (2022-23).SH Repair of Fire Hydrant Pipe Line Tender ID: 2022_AAI_117694_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI SARADHI FIRE SAFETY SYTEMS | 2244999.00 | L1
| 2 | HORMAH ELECTRO TECH PRIVATE LIMITED | 2254600.00 | L2
| 3 | sevenhillssafetyequipmentsandsystem pvt ltd | 4050700.00 | L3