## BoQ1
Government eProcurement System Created By: Biraj Kumar Ganguly Created Date/Time: 21-Jul-2022 01:16 PM Tender Title: Provision of LED Solar Car Park Lights in front of AAI Operational Building at NSCBI Airport Kolkata Tender ID: 2022_AAI_117736_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: Provision of LED Solar Car Park Lights in front of AAI Operational Building at NSCBI airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | R.K Industries a Unit of Cosmos Merchandise Pvt.Ltd.(GSTN-19AACCC4429J1ZJ) |  | P. P. ELEKTRO POWER(GSTN-19AAKFP7946A1ZZ) |  | Imperial Solar Solutions(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Single Step dimming LED Solar Street Light of not less than 30 W and lumen output > 110 Lm/W in Aluminium pressure die cast housing suitable for Indian climate outdoor application with minimum of IP65 protection and Optical lense to achieve the desired lux level along with all accessories like Solar PV module, Maintenance Free Lithium ferro Phosphate (LiFePO4) battery, MPPT charge controller, Self-diagnosis health Monitoring with LED indicators for solar charging and low battery and automatic Dusk to dawn operation and Supply of minimum 6 Mtrs. long Hot dip Galvanized tubular Street light pole with Foundation bolts complete with Panel Mounting frame, Battery Box, Fitting Mounting Angle and all fixing accessories complete with Nuts and Bolts etc. complete as required. Warranty of the total system is minimum of 5years. | 40.00 | Set |  | 39500.00 | 1580000.00 | 37898.00 | 1515920.00 | 49661.00 | 1986440.00 | 1515920.00 | P. P. ELEKTRO POWER
2.00 | Design, Installation,Testing and Commissioning of above street light fitting in the existing GI tubular street light pole with necessary fixing arrangement, base plate and foundation bolt including necessary civil foundation work for erecting the Strret light pole etc as required | 40.00 | Job |  | 17000.00 | 680000.00 | 3500.00 | 140000.00 | 2400.00 | 96000.00 | 96000.00 | Imperial Solar Solutions
3.00 | Pole Earthing i/c Supply and fixing of Spike Earthing (Minimum1830 X 20 mm with 6 SWG GI wire) | 40.00 | Job |  | 6400.00 | 256000.00 | 299.00 | 11960.00 | 2000.00 | 80000.00 | 11960.00 | P. P. ELEKTRO POWER
| Total in Figures |  |  |  |  | 2516000.00 |  | 1667880.00 |  | 2162440.00
Lowest Amount Quoted BY: P. P. ELEKTRO POWER(1667880.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of LED Solar Car Park Lights in front of AAI Operational Building at NSCBI Airport Kolkata Tender ID: 2022_AAI_117736_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P. P. ELEKTRO POWER | 1667880.00 | L1
| 2 | Imperial Solar Solutions | 2162440.00 | L2
| 3 | R.K Industries a Unit of Cosmos Merchandise Pvt.Ltd. | 2516000.00 | L3