## BoQ1
Government eProcurement System Created By: GUNDA SHIVA KUMAR Created Date/Time: 01-Jul-2022 05:27 PM Tender Title: ARMO of E M Installations at Coimbatore Airport for the year 2022_23 and 2023_24. SH. Operation and Maintenance of Terminal Building, Lifts and Escalators and Baggage Handling System. Tender ID: 2022_AAI_117809_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: ARMO of E & M Installations at Coimbatore International Airport for the year 2022-23/2023-24. SH: Operation and Maintenance of Terminal Building, Lifts & Escalators and Baggage Handling System.
Tender ID No: 2022_AAI_117809_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of electrical and mechanical installations in terminal building, technical building, fire station, cargo complex, M.T. Building, Car parking, CISF Barracks and road lighting and other ancillary buildings, including carrying out the preventive maintenance and break down maintenance, minor additions & alterations on round the clock basis on all the days, holidays etc as directed by Engineer - in - charge and as per the special conditions. | 24.00 | Month |  | 571748.00 | 13721952.00 | 709019.00 | 17016456.00 | 632421.00 | 15178104.00 | 577111.00 | 13850664.00 | 13721952.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.00 | Operation and Daily maintenance of Elevator and Escalators installed in the Terminal Building, on round the clock basis on all the days, holidays etc as directed by Engineer - in - charge and as per the special conditions. | 24.00 | Month |  | 179234.00 | 4301616.00 | 219742.00 | 5273808.00 | 127647.00 | 3063528.00 | 187777.00 | 4506648.00 | 3063528.00 | DElite System Engineering (India) Pvt. Ltd.
3.00 | Operation and Daily maintenance of Siemens make Departure and Arrival Baggage Handling Systems installed in the Terminal Building on round the clock basis on all the days, holidays etc as directed by Engineer - in - charge and as per the special conditions. | 24.00 | Month |  | 253312.00 | 6079488.00 | 310526.00 | 7452624.00 | 177272.00 | 4254528.00 | 261444.00 | 6274656.00 | 4254528.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | Supply or Execution of scheduled items of internal and external works as per DSR/DAR 2018 as per site requirements as directed by Engineer-in-charge. The bidder shall quote the rate in INR only for the job corresponding to Rs.7,22,464/- and percentage (%) above / below shall be calculated by AAI and paid accordingly after deducting GST component from the DSR-2018 rates. | 1.00 | Job |  | 400000.00 | 400000.00 | 585196.00 | 585196.00 | 800000.00 | 800000.00 | 650217.00 | 650217.00 | 400000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
5.00 | Supply of Plug top 5/6 A, 3 pin, 230 V electrical accessories as on required basis. | 30.00 | Each |  | 40.00 | 1200.00 | 24.00 | 720.00 | 70.00 | 2100.00 | 49.00 | 1470.00 | 720.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
6.00 | Supply of Plug top 15/16 A, 3 pin, 230 V electrical accessories as on required basis. | 30.00 | Each |  | 60.00 | 1800.00 | 41.00 | 1230.00 | 90.00 | 2700.00 | 60.00 | 1800.00 | 1230.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
7.00 | Supply of Remote Control calling bell use with AA pencil Battery (Batteries included), Duration 3 to 15 sec and easy to install as on required basis. | 20.00 | Each |  | 150.00 | 3000.00 | 162.00 | 3240.00 | 500.00 | 10000.00 | 700.00 | 14000.00 | 3000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
8.00 | Supply of AA type pencil battery for applications of AC remotes etc as required as on required basis. | 10.00 | Each |  | 12.00 | 120.00 | 21.00 | 210.00 | 20.00 | 200.00 | 12.00 | 120.00 | 120.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, ABHISHEK INTEGRATIONS LIMITED
9.00 | Supply of AAA type pencil battery for applications of AC remotes etc as required as on required basis. | 10.00 | Each |  | 12.00 | 120.00 | 29.00 | 290.00 | 20.00 | 200.00 | 11.00 | 110.00 | 110.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Supply of "C" Series MCB of DP 63A,10 kA rating suitable for operation at 415V 50 Hz AC as on required basis. | 5.00 | Each |  | 1125.00 | 5625.00 | 689.00 | 3445.00 | 900.00 | 4500.00 | 563.00 | 2815.00 | 2815.00 | ABHISHEK INTEGRATIONS LIMITED
11.00 | Supply of "C" Series MCB of TP 63A,10 kA rating suitable for operation at 415V 50 Hz AC as on required basis. | 25.00 | Each |  | 1700.00 | 42500.00 | 1013.00 | 25325.00 | 1200.00 | 30000.00 | 824.00 | 20600.00 | 20600.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Supply of "C" Series MCB of FP 32A,10 kA rating suitable for operation at 415V 50 Hz AC as on required basis. | 15.00 | Each |  | 1500.00 | 22500.00 | 1094.00 | 16410.00 | 1400.00 | 21000.00 | 749.00 | 11235.00 | 11235.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Supply of "C" Series MCB of FP 40A,10 kA rating suitable for operation at 415V 50 Hz AC as on required basis. | 5.00 | Each |  | 2150.00 | 10750.00 | 1458.00 | 7290.00 | 1500.00 | 7500.00 | 1029.00 | 5145.00 | 5145.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Supply of "C" Series MCB of FP 63A,10 kA rating suitable for operation at 415V 50 Hz AC as on required basis. | 15.00 | Each |  | 2150.00 | 32250.00 | 1863.00 | 27945.00 | 1500.00 | 22500.00 | 1062.00 | 15930.00 | 15930.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Supply of "C" Series MCB of FP 100A,10 kA rating suitable for operation at 415V 50 Hz AC as on required basis. | 10.00 | Each |  | 8500.00 | 85000.00 | 7290.00 | 72900.00 | 2200.00 | 22000.00 | 4190.00 | 41900.00 | 22000.00 | DElite System Engineering (India) Pvt. Ltd.
16.00 | Supply of 3C 1.5Sq.mm PVC insulated & FRPVC round sheathed Copper conductor (Flexible) Industrial cable, 1.1 KV grade conforming to IS 694 etc as required as on required basis. | 750.00 | Mtr |  | 50.00 | 37500.00 | 53.00 | 39750.00 | 120.00 | 90000.00 | 50.00 | 37500.00 | 37500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, ABHISHEK INTEGRATIONS LIMITED
17.00 | Supply of 3C 2.5Sq.mm PVC insulated & FRPVC round sheathed Copper conductor (Flexible) Industrial cable, 1.1 KV grade conforming to IS 694 etc as on required basis. | 900.00 | Mtr |  | 85.00 | 76500.00 | 75.00 | 67500.00 | 190.00 | 171000.00 | 83.00 | 74700.00 | 67500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
18.00 | Supply of 3C 4 Sq.mm PVC insulated & FRPVC round sheathed Copper conductor (Flexible) Industrial cable, 1.1 KV grade conforming to IS 694 etc as on required basis. | 200.00 | Mtr |  | 125.00 | 25000.00 | 122.00 | 24400.00 | 220.00 | 44000.00 | 124.00 | 24800.00 | 24400.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
19.00 | supply of 6mm SS Rope for 100 ft height of flag Mast & Highmast complete as on required basis. | 180.00 | Mtr |  | 198.00 | 35640.00 | 284.00 | 51120.00 | 150.00 | 27000.00 | 70.00 | 12600.00 | 12600.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Supply of 4Cx25 Sq.mm PVC insulated & FRPVC round sheathed Copper conductor (Flexible) Industrial cable, 1.1 KV grade conforming to IS 694 etc as on required basis. | 100.00 | Mtr |  | 995.00 | 99500.00 | 162.00 | 16200.00 | 1150.00 | 115000.00 | 963.00 | 96300.00 | 16200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
21.00 | Supply of 4Cx50 Sq.mm PVC insulated & FRPVC round sheathed Copper conductor (Flexible) Industrial cable, 1.1 KV grade conforming to IS 694 etc as on required basis. | 50.00 | Mtr |  | 1350.00 | 67500.00 | 284.00 | 14200.00 | 2200.00 | 110000.00 | 1980.00 | 99000.00 | 14200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
22.00 | Supply of 15" inch Heavy duty industrial exhaust fan suitable for operation 230 V, 50 Hz Ac supply as on required basis. | 5.00 | Each |  | 2150.00 | 10750.00 | 3645.00 | 18225.00 | 4500.00 | 22500.00 | 2850.00 | 14250.00 | 10750.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
23.00 | Supply of 12" inch 300 mm sweep Heavy duty industrial exhaust fan suitable for operation 230 V, 50 Hz Ac supply as on required basis. | 15.00 | Each |  | 1650.00 | 24750.00 | 2835.00 | 42525.00 | 3999.00 | 59985.00 | 2380.00 | 35700.00 | 24750.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
24.00 | Supply of 9" inch Heavy duty industrial exhaust fan suitable for operation 230 V, 50 Hz Ac supply as on required basis. | 5.00 | Each |  | 850.00 | 4250.00 | 2025.00 | 10125.00 | 3999.00 | 19995.00 | 1100.00 | 5500.00 | 4250.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
25.00 | Supply of Wall Mounting Fan 400mm sweep suitable for operation 230 V, 50 Hz Ac supply as on required basis. | 20.00 | Each |  | 1650.00 | 33000.00 | 2025.00 | 40500.00 | 4999.00 | 99980.00 | 1800.00 | 36000.00 | 33000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
26.00 | Supply of Pedestal fan 400mm sweep suitable for operation 230 V, 50 Hz Ac supply as on required basis. | 10.00 | Each |  | 1800.00 | 18000.00 | 2430.00 | 24300.00 | 4999.00 | 49990.00 | 2100.00 | 21000.00 | 18000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
27.00 | Supply of 25mm X 16mm sizes ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover etc as on required basis. | 200.00 | Mtr |  | 36.00 | 7200.00 | 61.00 | 12200.00 | 90.00 | 18000.00 | 28.00 | 5600.00 | 5600.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Supply of 50mmX50mm sizes ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover etc as on required basis. | 75.00 | Mtr |  | 150.00 | 11250.00 | 102.00 | 7650.00 | 110.00 | 8250.00 | 125.00 | 9375.00 | 7650.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
29.00 | Supply of 75 mm X 50mm sizes ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover etc as on required basis. | 100.00 | Mtr |  | 255.00 | 25500.00 | 162.00 | 16200.00 | 150.00 | 15000.00 | 392.00 | 39200.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
30.00 | Supply of 100 mm X 50mm sizes ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover etc as on required basis. | 50.00 | Each |  | 350.00 | 17500.00 | 122.00 | 6100.00 | 150.00 | 7500.00 | 490.00 | 24500.00 | 6100.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
31.00 | Supply of 150 mm X 50mm sizes ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover etc as on required basis. | 30.00 | Mtr |  | 850.00 | 25500.00 | 203.00 | 6090.00 | 200.00 | 6000.00 | 743.00 | 22290.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd.
32.00 | Supply of Candle light 3W LED Filament lamp 2700K with operate at 230 V, 50 Hz AC supply etc as as on required basis. | 40.00 | Each |  | 80.00 | 3200.00 | 284.00 | 11360.00 | 150.00 | 6000.00 | 120.00 | 4800.00 | 3200.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
33.00 | Supply of 9W LED Lamp 6500K with operate at 230 V, 50 Hz AC supply etc as on required basis. (Make: Havells CAT Ref. No.:LHLDEUEEML8R009, Panasonic CAT Ref.No: PBUM01097 OR equalant) | 30.00 | Each |  | 100.00 | 3000.00 | 689.00 | 20670.00 | 120.00 | 3600.00 | 65.00 | 1950.00 | 1950.00 | ABHISHEK INTEGRATIONS LIMITED
34.00 | Supply of 120W LED High bay light fixture with High pressure die-cast aluminium/standard alloy housing frame. In addition to that > 4 KV built in surge protection driver.The luminaire shall be minimum IP65 protected with colour temperature range of 5700K ± 300K. The operating voltage range should be AC 140-270V complete with all necessary accessories and as per technical specifications as required. | 30.00 | Each |  | 10000.00 | 300000.00 | 2430.00 | 72900.00 | 15000.00 | 450000.00 | 5850.00 | 175500.00 | 72900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
35.00 | Supply of 36W recessed mounted LED 2X2 luminaire (full glow) with CRCA steel sheet housing with opal acrylic diffuser fixed in separate CRCA steel sheet frame with (including frame) operating voltage range (140-270V AC). LED driver with warm white/cool white color and as per technical specifications enclosed in tender document. complete accessories as on required basis. | 100.00 | Each |  | 1450.00 | 145000.00 | 1619.00 | 161900.00 | 3999.00 | 399900.00 | 1210.00 | 121000.00 | 121000.00 | ABHISHEK INTEGRATIONS LIMITED
36.00 | Supply of 36W ultra slim type recessed mounted LED 2X2 luminaire (full glow) with CRCA steel sheet housing with opal acrylic diffuser, suitable to operating voltage range (140-270V AC). LED driver with warm white/cool white and as per technical specifications enclosed in tender document. complete accessories as on required basis. | 50.00 | Each |  | 1850.00 | 92500.00 | 1418.00 | 70900.00 | 3999.00 | 199950.00 | 1210.00 | 60500.00 | 60500.00 | ABHISHEK INTEGRATIONS LIMITED
37.00 | Supply of self ballasted 18 W LED lamp equivalent to 36W Fluorescent tube light and suitable for retrofitting in the existing Mirror optic fitting, along with driver, other accessories as required as per technical specification mentioned in the tender document. (Make: Havells CAT Ref. No.:LHLDDCXCML8Q020, Crompton CAT Ref.No: LGT8-20-865-2 OR equalant)as on required basis. | 100.00 | Each |  | 365.00 | 36500.00 | 284.00 | 28400.00 | 150.00 | 15000.00 | 220.00 | 22000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
38.00 | Surface/wall mtd battern LED lighting fixture housing inwhite powder coated CRCA housing, pre-wired (double side) frame and suitable to LED tube operate at 230 V, 50 Hz AC supply etc as on required basis. | 100.00 | Each |  | 200.00 | 20000.00 | 284.00 | 28400.00 | 400.00 | 40000.00 | 220.00 | 22000.00 | 20000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
39.00 | Supply of recess mounting round profile COB LED down lighting fixture with extruded polycarbonate LED of having 12W,suitable to operating voltage range (140-270V AC), LED driver with warm white/cool white color etc complete as on required basis. | 10.00 | Each |  | 700.00 | 7000.00 | 284.00 | 2840.00 | 2000.00 | 20000.00 | 630.00 | 6300.00 | 2840.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
40.00 | Supply of recess mounting round profile LED lighting fixture with extruded polycarbonate LED of having 15W, with warm white/cool white color etc complete as on required basis. | 150.00 | Each |  | 600.00 | 90000.00 | 324.00 | 48600.00 | 1500.00 | 225000.00 | 585.00 | 87750.00 | 48600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
41.00 | Supply of surface mounting square batten with extruded polycarbonate LED tube of having 10W, with warm white/ white color etc complete as required as per technical specifications as on required basis. . (Make: Panasonic CAT Ref. No.:PBTM01103, Polycab CAT Ref.No: LD00103028 OR equalant) | 5.00 | Each |  | 198.00 | 990.00 | 365.00 | 1825.00 | 1200.00 | 6000.00 | 530.00 | 2650.00 | 990.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
42.00 | Hiring and running charges for tele handler service including taking passes to enter the premises at Coimbatore international Airport as on required basis. | 15.00 | Each |  | 1000.00 | 15000.00 | 850.00 | 12750.00 | 120000.00 | 1800000.00 | 1700.00 | 25500.00 | 12750.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
43.00 | Supply of MCCB of FP160A, 25KA rating suitable for operation at 415V 50 Hz AC complete as on required basis. | 3.00 | Each |  | 10250.00 | 30750.00 | 10125.00 | 30375.00 | 39999.00 | 119997.00 | 6435.00 | 19305.00 | 19305.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | Supply of Automatic touch less automatic hand sanitizer dispenser with 5 liter capacity suitable to operate 240 V, 50Hz supply etc as required. | 5.00 | Each |  | 3650.00 | 18250.00 | 2835.00 | 14175.00 | 19999.00 | 99995.00 | 6500.00 | 32500.00 | 14175.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
45.00 | Supply of portable Monoblock pump, Power rated-1 kw to 1.5 Kw, working Voltage range 180-240 V single phase, as required. | 1.00 | Each |  | 8500.00 | 8500.00 | 8100.00 | 8100.00 | 17000.00 | 17000.00 | 14400.00 | 14400.00 | 8100.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
46.00 | Spray painting of electrical Panels at various locations with enamel paint of required colour, approved brand and manufacturer as on required basis. | 100.00 | Sq.mtr |  | 300.00 | 30000.00 | 203.00 | 20300.00 | 300.00 | 30000.00 | 120.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
47.00 | Powder coated painting of electrical Panels at various locations with enamel paint of required colour, approved brand and manufacturer as on required basis. | 100.00 | Sq.mtr |  | 350.00 | 35000.00 | 405.00 | 40500.00 | 300.00 | 30000.00 | 450.00 | 45000.00 | 30000.00 | DElite System Engineering (India) Pvt. Ltd.
48.00 | Supply of SMC cable junction box with cover (IP 65) suitable for incoming cable 4 x 25 sqmm copper cable including terminal connector of suitable rating for cable (one incoming + one / two outgoings) etc. complete as on required basis. | 10.00 | Each |  | 925.00 | 9250.00 | 810.00 | 8100.00 | 1500.00 | 15000.00 | 3250.00 | 32500.00 | 8100.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
49.00 | Supply of portable three phase extension cable drum/roller/ Reel with cable(5Cx 6sq.mm = 25 meters) and movable trolley wheel arrangement, 1 no's 32 A incoming plug Terminal and Outgoing 2 no's 16A (3 pin) Schuko socket type, & 2 no's 16A (3 Pin)socket, Complete as on required basis. | 1.00 | Each |  | 25000.00 | 25000.00 | 2025.00 | 2025.00 | 90000.00 | 90000.00 | 16500.00 | 16500.00 | 2025.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
50.00 | Supply of 12V/7 Ah SMF VRLA type Batteries, Complete as on required basis. | 10.00 | Each |  | 925.00 | 9250.00 | 972.00 | 9720.00 | 19999.00 | 199990.00 | 770.00 | 7700.00 | 7700.00 | ABHISHEK INTEGRATIONS LIMITED
51.00 | Supply of "B" Series MCB of single pole, 6-32A,10kA rating suitable for operation at 230V 50 Hz AC,Complete as on required basis. | 10.00 | Each |  | 150.00 | 1500.00 | 243.00 | 2430.00 | 300.00 | 3000.00 | 93.00 | 930.00 | 930.00 | ABHISHEK INTEGRATIONS LIMITED
52.00 | Supply of 4C 10 Sq.mm PVC insulated & FRPVC round sheathed Copper conductor (Flexible) Industrial cable, 1.1 KV grade conforming to IS 694 etc as on required basis. (100 mtr each coil) | 2.00 | Each |  | 40000.00 | 80000.00 | 12053.00 | 24106.00 | 58800.00 | 117600.00 | 42336.00 | 84672.00 | 24106.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
53.00 | Supply of 2.5 MFD fan capacitor for Ceiling fans, suitable for operation 230 V, 50 Hz Ac supply as on required basis. | 15.00 | Each |  | 60.00 | 900.00 | 41.00 | 615.00 | 50.00 | 750.00 | 30.00 | 450.00 | 450.00 | ABHISHEK INTEGRATIONS LIMITED
54.00 | Supply of Tube light starter, suitable for operation 230 V, 50 Hz Ac supply as on required basis. | 15.00 | Each |  | 50.00 | 750.00 | 13.00 | 195.00 | 50.00 | 750.00 | 12.00 | 180.00 | 180.00 | ABHISHEK INTEGRATIONS LIMITED
55.00 | Supply of surface mounting square type surface box LED of having 6 watts, suitable to operating voltage range (140-270V AC), LED driver with warm white/cool white color etc complete as on required basis. | 10.00 | Each |  | 300.00 | 3000.00 | 203.00 | 2030.00 | 999.00 | 9990.00 | 605.00 | 6050.00 | 2030.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
56.00 | Supply of surface mounting square type, surface box LED of having 18 watts, suitable to operating voltage range (140-270V AC), LED driver with warm white/cool white color etc complete as on required basis. | 10.00 | Each |  | 600.00 | 6000.00 | 203.00 | 2030.00 | 1500.00 | 15000.00 | 825.00 | 8250.00 | 2030.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
57.00 | Supply of manpower for maintenance/ repairing works of electrical and mechanical installations in terminal building, technical building, fire station, cargo complex, M.T. Building, Car parking, CISF Barracks and road lighting and other ancillary buildings, including break down maintenance, minor additions & alterations on round the clock basis, carrying out exigencies works etc...as on required basis.
57.10 | Skilled | 100.00 | Each |  | 860.00 | 86000.00 | 729.00 | 72900.00 | 999.00 | 99900.00 | 816.00 | 81600.00 | 72900.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
57.20 | Semi-skilled | 200.00 | Each |  | 840.00 | 168000.00 | 713.00 | 142600.00 | 999.00 | 199800.00 | 800.00 | 160000.00 | 142600.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
57.30 | Unskilled | 200.00 | Each |  | 804.00 | 160800.00 | 680.00 | 136000.00 | 999.00 | 199800.00 | 766.00 | 153200.00 | 136000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
58.00 | Supply of 30 W LED drive for retrofitting to Existing 36W recessed mounted 2X2 LED lights, suitable for operation at 230V 50 Hz AC, Complete as on required basis. | 100.00 | Each |  | 650.00 | 65000.00 | 1215.00 | 121500.00 | 3599.00 | 359900.00 | 1600.00 | 160000.00 | 65000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
59.00 | Supply of 36W recessed mounted LED 1X4 luminaire (full glow) with CRCA steel sheet housing with opal acrylic diffuser fixed in separate CRCA steel sheet frame with (including frame) operating voltage range (140-270V AC). LED driver with warm white/cool white color and as per technical specifications enclosed in tender document. complete accessories as on required basis. | 10.00 | Each |  | 2000.00 | 20000.00 | 1215.00 | 12150.00 | 3500.00 | 35000.00 | 1980.00 | 19800.00 | 12150.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
60.00 | Supply of recess mounting round profile LED lighting fixture with extruded polycarbonate LED of having 24W, with warm white/cool white color etc complete as on required basis. | 130.00 | sq.mt |  | 1000.00 | 130000.00 | 809.00 | 105170.00 | 2000.00 | 260000.00 | 1100.00 | 143000.00 | 105170.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
| Total in Figures |  |  |  |  | 26828401.00 |  | 32099740.00 |  | 29351982.00 |  | 27483612.00
Lowest Amount Quoted BY: SHRADDHA ENGINEERING AND FACILITY SERVICES(26828401.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E M Installations at Coimbatore Airport for the year 2022_23 and 2023_24. SH. Operation and Maintenance of Terminal Building, Lifts and Escalators and Baggage Handling System. Tender ID: 2022_AAI_117809_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 26828401.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 27483612.00 | L2
| 3 | DElite System Engineering (India) Pvt. Ltd. | 29351982.00 | L3
| 4 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 32099740.00 | L4